ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Central Region |
| --- | --- |
| SUB-REGION: | Islands |
| Name of Local Government | Kalangala District |
| VERIFIER PARTICULARS |  |
| Full name | Kyazike Miriam Violet |
| Contact/ email and Telephone | +256 774508735/ +256 757884844 Violamiriam50@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Mr. Kalyowa Lawrence |
| Contact | +256 774106047 |
| Date of submission | September 2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: …Bubeke Health Center III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

Assets are still new and have no maintenance challenges. However, a team from the district usually picks items for maintenance periodically.

Sterilization and general cleaning of the apparatus and accessories

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

Inventory is taken annually. Those in use mainly

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- There has been provision of equipment for disease diagnosis which was a challenge. The laboratory has been improved.

- We admit more clients than before reducing referrals to Kalangala hence saving more lives than before.

However,

- The solar power is still too little to support most of the equipment given under UGift. For example when we power on the refrigerator, it uses up all the power and we remain in darkness. We recommend that they ministry considers giving us Hydro Electric Power.

Installation and assembling some of the apparatus needs a qualified personnel who is not available at the centre.

Appreciate UGIFT service delivery to the facility.

Ugift has eased life for the health workers, the community has benefitted too.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……Kalangala district…………………………………… NAME OF HEALTH FACILITY…Bubeke Health Center III……………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Height meter | Health |  | 2 height meters, grey/black in colour, one in store |  | No engravement |  |  |  |  |  |  |  | Good | items that were originally for kept in the store were not engraved even though some are being used at the moment |
| Refrigerator | Health |  | 2 refrigerators, white in colour, one in store, one in the laboratory |  | BBK/MOH/RF/01-02 |  |  |  |  |  |  |  | Good |  |
| Stove, Gas | Health |  | 2 Blue stove gas 1 under use, 1 in the store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| B.P. Machine (Aneroid wall mounted) | Health |  | 1 Aneroid BP machine, dark grey in colour |  | Not engraved |  |  |  |  |  |  |  | Working well |  |
| Weighing scale adult | Health |  | 1adult weighing scale with height meter, black/grey |  | No engravement |  |  |  |  |  |  |  | Works well |  |
| Weighing scale infant | Health |  | 1 white infant weighing scale with black base |  | No engravement |  |  |  |  |  |  |  | Good | Not under use at the moment, in store |
| Weighing scale toddler |  |  | 1 White toddler weighing scale with black |  | No engravement |  |  |  |  |  |  |  | Good | Not under use, in store |
| Diagnostic equipment set for MCH |  |  | 2 boxes marked |  | No engravement |  |  |  |  |  |  |  | Good | in store |
| Diagnostic equipment set for OPD |  |  | 2 boxes |  | No engravement |  |  |  |  |  |  |  | Good | in store |
| Glassware/ instrument set laboratory |  |  | 2 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Hollow ware set, treatment |  |  | 2 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument set dressing |  |  | 2 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument set ENT, basic for HCIII |  |  | 1 box in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| nebulizer |  |  | 1 nebulizer in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument set suture |  |  | 3 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bed adult |  |  | 20 silver grey metallic beds with mattresses |  | Not engraved |  |  |  |  |  |  |  | Good | Some were given to the health center IV. Though not sure how many |
| Bed, pediatric |  |  | 4 pediatric metallic beds with mattresses |  | BBK/MOH/PB/01-04 |  |  |  |  |  |  |  | Good |  |
| Delivery bed |  |  | 1 silver grey delivery bed with black mattress |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Resuscitator manual adult |  |  | 1 white box, in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Resuscitator manual, infant |  |  | 1 box in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Suction apparatus, foot |  |  | 1 suction apparatus in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Kangaroo mother care chair |  |  | 1 kangaroo mother care chair, green seat and brown arm chairs in maternity/delivery room |  | BBK/MOH/KAN/01 |  |  |  |  |  |  |  | Good |  |
| Nebulizer |  |  | 1 nebulizer in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Oxygen concentrators |  |  | 1 box in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Baby cots |  |  | 2 silver baby cots seen with black mattresses |  | BBK/MOH/BC/01-02 |  |  |  |  |  |  |  | Good |  |
| Diagnostic equipment set for ward |  |  | 2 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Hollow ware set, ward |  |  | 2 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument set delivery |  |  | 2 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument set dressing |  |  | 3 boxes in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument set, stitch removing |  |  | 2 boxes In store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| MVA kit reuseable |  |  | 4 boxes In store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bowl kick |  |  | 2 bowl kick, silver grey in colour, in maternity ward |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument tray set |  |  | 30 by 15 by 2cm silver colour (12 in number) in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Instrument tray set |  |  | 30 by 20 by 2cm silver colour (7 in number) in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Kidney dish |  |  | 10 Kidney shaped tray, 24 cm in dimension |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bowl, Hollow ware set, ward |  |  | 0.2 litres for cesearean section (16 in number), in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bowl, Hollow ware set, ward |  |  | 0.5 liters (10 in number), in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Measuring jag |  | 3 | 1 litre, silver measuring jags (3 of them), in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Kidney dish |  |  | Kidney shaped, 20cm (10 of them), in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bowl stand |  |  | 1 bowl stand silver in colour |  | BBK/MOH/BS/01 |  |  |  |  |  |  |  | Good |  |
| Cheacle forceps with jar |  |  | 3 of them, Silver in color, in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Urinals male |  |  | 13 Silver, small urinals (½ litre) |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Cupboard steel lockable |  |  | 6 cream metallic cupboards |  | BBK/MOH/CB/01-06 |  |  |  |  |  |  |  | Good |  |
| Drip stand |  |  | Silver grey in color, 6 in store |  | BBK/MOH/DP/01-08 |  |  |  |  |  |  |  | Good |  |
| Hemoglobin meter |  |  | 6 hemoglobin meters in the store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Examination couch |  |  | 4 examination couches |  | BBK/MOH/EC/01-04 |  |  |  |  |  |  |  | Good |  |
| Pulse oximeter |  |  | 2 pulse oximeters, Black, in boxes, in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Examination light |  |  | 3 Examination lights, silver/black in color, 1 in store |  | BBK/MOH/EL/O1-03 |  |  |  |  |  |  |  | Good |  |
| Examination trolley |  |  | 4 silver grey examination trolleys. |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Sunction machine |  |  | 1 suction machine in store, in box |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Patient trolley |  |  | 5 patient trolleys, silver in colour, |  | No engravement |  |  |  |  |  |  |  | Good | 1 in store, 1 in in-charge’s office, 1 in examination room, 1 in maternity |
| Patient screen |  |  | 5 silver/blue screens |  | No engravement |  |  |  |  |  |  |  | Good | 1 in maternity, 2 in store, 1 store |
| Bowls |  |  | 8 bowls, 1.5 liters in volume in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bowls |  |  | 6 bowls, 4 liters in volume in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bowls |  |  | 6 bowls, 6 liters volume in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Bowls |  |  | 6 Extra-large bowls in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Stretcher |  |  | 1 patient stretcher |  | BBK/MOH/SR/01 |  |  |  |  |  |  |  | Good |  |
| Wheel chair |  |  | 4 wheel chairs, black/grey colored |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Laboratory stool |  |  | 5 laboratory stools- black |  | BBK/MOH/CH/01-05 |  |  |  |  |  |  |  | Good |  |
| Filling cabinets |  |  | 6 filing cabinets with 4 multi colored cabinets made by Saikang company |  | BBK/MOH/FC/01-06 |  |  |  |  |  |  |  | good | Made by Saikang company |
| Medical waste bins |  |  | 20 Silver medical waste bins in store |  | No engravement |  |  |  |  |  |  |  | Still new | In their packaging |
| Bedside locker |  |  | 10 grey coloured metallic bedside lockers |  | BBK/MOH/SL/01-10 |  |  |  |  |  |  |  | Good |  |
| Oxygen therapy apparatus |  |  | 2 oxygen therapy apparatus, in boxes, in store |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Sterilization drums |  |  | 12 sterilization drums in boxes, A set of 4 per box in the store, 2 in use |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Stool surgeon |  |  | 1 Black stool/chair |  | No engravement |  |  |  |  |  |  |  | Good | Used as the laboratory chairs/stools |
| Flow splitters |  |  | 1 flow splitter |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Centrifuge |  |  | 1 electric cream centrifuge |  | Not engraved |  |  |  |  |  |  |  | Good |  |
| Penguin suckers |  |  | 1 cream silicon penguin sucker, |  | N/A |  |  |  |  |  |  |  | Good | Can not be engraved because of the silicone nature |
| Wall clock |  |  | 4 wall clocks, black & gold in colour, |  | BBK/MOH/WC/01-04 |  |  |  |  |  |  |  | Good | 1 in maternity/ delivery room, 3 in store |
| Benches |  |  | 1 Brown wooden bench |  | BBK/MOH/BN/01 |  |  |  |  |  |  |  | Good |  |
| Autoclave |  |  | 3 autoclaves in box in store, 20 liters |  | No engravement |  |  |  |  |  |  |  | Still new | In-charge is not sure whether these were given by UGIFT |
| Office chairs |  |  | 7 Dark grey office chairs |  | BBK/MOH/CH/01-07 |  |  |  |  |  |  |  | Good |  |
| Desks |  |  | 5 Mahogany coloured desks |  | BBK/MOH/DSK/01-05 |  |  |  |  |  |  |  | Good |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Waste pit |  |  | 1 pentagon shaped waste pit |  | No engravement |  |  |  |  |  |  |  | Fair | Located behind the administration block- not yet under use, it has filled with rain water |
| Placenta pit |  |  | 1 placenta pit |  | No engravement |  |  |  |  |  |  |  | Good | behind the administration block on the left side |
| Latrine |  |  | 1 latrine (2 female and 2 male rooms) |  | No engravement |  |  |  |  |  |  |  | Good | behind the administration block on the right side |
| Administration block |  |  | 1 new block, (office of the in-charge, reception, laboratory room, delivery room, examination rooms.) |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff quarters |  |  | 1 block with 2 houses, (2 bedrooms each) |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Others |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solar panels |  |  | 3 Flat solar panels on top of the administration block |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Over-head water tank |  |  | 1- 5,000L over-head water tank |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Ground water tank and taps |  |  | 1-10,000L water tank |  | No engravement |  |  |  |  |  |  |  | Good |  |
| Water pump |  |  | 1 water Pump |  | No engravement |  |  |  |  |  |  |  | Good | (used both for the staff quarter tanks and the admin block tanks) |
| Lightening conductors |  |  | 4 lightening conductors (2 On the main block and 2 on the staff quarters) |  | No engravement |  |  |  |  |  |  |  | Good |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |