ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | GREATER MASAKA |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KALUNGU DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | NANTUME PENNINAH/NASSALI VICTORIA K |
| Contact/ email and Telephone | 0760349649/0704321431 |
| Supervisor/ Sub team leader |  |
| Name | KALYOWA LAWRENCE |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KABAALE HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

They receive funds

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Challenges

They are out dated in things they use

They don’t have enough staff

They lack profession in using these equipments

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG:  KALUNGU DISTRICT LOCAL GOVERNMENT  NAME OF HEALTH FACILITY: KABAALE HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| B.P. Machine (Aneroid wall mounted) | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Bowl Stand | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Counting chamber Neubauer- Improved | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Cupboard Steel, Lockable | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Drip Stand | WARD | 8 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| ESR Stand | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Examination Couch | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Examination light,LED | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Glucometer | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Haemoglobin Meter, Digital | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Height Meter | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Instrument Trolley | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Microscope Binocular | LAB | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Otoscope | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Patient Screen | WARD | 4 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Patient Trolley | OPD | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Refrigerator, Basic | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Stethoscope | MOH | 4 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Stop Watch | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Stretcher | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Stove, Gas | LAB | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Weighing Scale with Height Meter, Adult | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Weighing Scale, Infant | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Weighing Scale, Toddler | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | OPD | 6 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Wall Clock | OPD | 4 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for MCH | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for OPD | OPD | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Glassware Set, Laboratory, Basic | LAB | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Basic ENT | MOH | 3 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Bed, Adult Patient with Mattress | WARD | 10 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Bed, Pediatric Patient, With Mattress | WARD | 5 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | OPD | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Delivery Bed, Hydraulic Manual | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Resuscitator Manual, Infant, with all Mask sizes | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Resuscitator Manual, Adult, with all mask sizes | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Suction Apparatus, (Electric) | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Nebulizer, Ultrasonic | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Oxygen Concentrator, Duo Flow | MOH | 4 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Bench | OPD | 4 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Disinfection Buckets | OPD | 6 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Baby Cot | MOH | 5 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for Ward | MOH | 3 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Hollow Ware Set, Ward | MOH | 3 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Delivery | MOH | 3 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Instrument Set, Stitch Removing | MOH | 3 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| MVA Kit | MOH | 4 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Stool, Laboratory | LAB | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Penguin Sucker | MOH | 3 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Fetoscope, Dopplar | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | MOH | 2 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Kangaroo Mother Care Chair | MOH | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | OFFICE | 7 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Desk | OPD | 3 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  | 1 |  |  |  | 4/6/2025 | 5/6/2025 |  |  |  |  |  | Good | Functional |

Signpost                                                                         Reception                                                           Drip stands

Microscope

Wheelchairs

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: LUKAAYA SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: KALUNGU DISTRICT LOCAL GOVERNMENT Name of SCHOOL: LUKAAYA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desk | Education | 120 |  |  |  |  |  |  |  |  |  |  | In use | functional |
| Tables | Education | 52 |  |  |  |  |  |  |  |  |  |  | In use | functional |
| Stools | Education | 92 |  |  |  |  |  |  |  |  |  |  | In use | functional |
| Office cabin | Education | 2 |  |  |  |  |  |  |  |  |  |  | In use | functional |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: KALUNGU DISTRICT LOCAL GOVERNMENT  Name of SCHOOL: LUKAAYA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Computers | Education | 28 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Printers | Education | 1 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Projector | Education | 1 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| CCTV | Education | 1 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Gas cylinder | Education | 2 |  |  |  |  |  |  |  |  |  |  | Good | Functional |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG KALUNGU DISTRICT LOCAL GOVERNMENT  Name of SCHOOL: LUKAAYA SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Classroom blocks | Education | 3 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Multipurpose hall | Education | 1 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Library/ICT block | Education | 1 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Science lab | Education | 1 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Tanks | Education | 2 |  |  |  |  |  |  |  |  |  |  | Good | Functional |
| Toilets | Education | 3 |  |  |  |  |  |  |  |  |  |  | Good | Functional |

Desks                                                                                 Stools                                             Computer lab                                                              Projector

Camera

Administration block