ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Eastern |
| --- | --- |
| SUB-REGION: | Bukedi |
| Name of Local Government | Tororo District |
|  | Tororo District |
| VERIFIER PARTICULARS |  |
| Full name | Kayongo Tonny, Lydia Nakiganda |
| Contact/ email and Telephone | tkayongo1@gmail.com 0783405610, lydianakiganda3@gmail.com 0704948564 |
| Supervisor/ Sub team leader |  |
| Name | Kassim Luminsa |
| Contact | +256 702 806116 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Kamuli HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift UgIFT Asset are still in good shape except the tables. However the facility has a vote under PHC for operation and maintenance. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes. They have an inventory Register for functionality of Assets. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT is very good, the contractor repainted the facility after completion of the maternity block. Service delivery improvement for the facility. Quality equipment. Good working conditions for health workers. Challenges: staff accommodation is a challenge; fencing of the facility because of security issues; under staffing; currently the facility has 11 out of 19 of total staff structure. Recommendations: fencing to help enhance on security of the facility; staff accommodation construction; table replacement because the one supplied were of poor quality; deploy more staff to support in service delivery. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: Tororo District        NAME OF HEALTH FACILITY: Kamuli HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (03) | Health |  | TRANSTEK SN: 2003374231006234 |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. This wasn't delivered. |
| Autoclave 20 Liters., Duo Operated (02) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use in maternity, others are in store. |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Nothing was seen at the facility. |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. It wasn't seen at the facility. |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification exercise. |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Drip Stand (9) | Health |  | Health |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen at the facility. |
| Examination Couch (03) | Health | - | Metallic with a mattress |  | Not engraved |  |  |  |  |  |  |  | 1 in good condition, 2 broken down | They delivered poor quality. |
| Examination light, LED |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Glucometer (01) | Health |  | White ONE Touch |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Haemoglobin Meter, Digital (01) | Health |  | Plus MED white with red colours |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  | Not delivered. |
| Instrument Trolley (02) | Health |  | Stainless with plastic bases |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use, another in store. |
| Microscope Binocular (01) | Health |  | White & black |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Otoscope (01) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | All kept in store. |
| Patient Screen (10) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | 3 in use, 7 in store. |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Nothing was seen at facility for verification. |
| Refrigerator, Basic (02) | Health |  | Pionway medical lab |  | Not engraved |  |  |  |  |  |  |  | One in use | 01 in use, another in store. |
| Stethoscope (06 pcs) | Health |  | Black with plastic tube & stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in store; 01 for children. |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Nothing was seen during verification. |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. The one at the facility is not UgIFT. |
| Stove, Gas | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Weighing Scale with Height Meter, Adult (03) | Health |  | White & black base |  |  |  |  |  |  |  |  |  | Good condition | 2 in use, 01 in store. |
| Weighing Scale, Infant (03) | Health |  | Metallic with a scale |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Wheel Chair (01) | Health |  |  |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Audio Visual Equipment (01 TV, Startimes) | Health |  | 32 Inch TV Screen |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Medical Waste Bin (17) | Health |  | Plastic black big size |  | Not engraved |  |  |  |  |  |  |  | Good condition | 10 in use, 07 in store. |
| Wall Clock (08) | Health |  | Ajanta Brand |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. 2 maternity, 2 OPD. |
| Diagnostic Equipment Set for MCH (02 Sets) | Health | - | Stainless steel |  |  |  |  |  |  |  |  |  | Good condition | All in store. Mixed up with Diagnostic Equipment Set for OPD. |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  | Mixed up. |
| Glassware Set, Laboratory, Basic | Health |  |  |  |  |  |  |  |  |  |  |  |  | Not seen during verification. |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen. |
| Instrument Set, Dressing (02 Sets) | Health | - | Stainless steel |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in store. |
| Instrument Set, Basic ENT (01 Set) | Health | - | Black casing | - | Not engraved |  |  |  |  |  |  |  | Good condition | In store. |
| Instrument Set, Suture (04) | Health | - | Stainless steel |  |  |  |  |  |  |  |  |  | Good condition | One in use, 3 in store. |
| Pulse Oximeter, Hand held (02) | Health | - |  |  |  |  |  |  |  |  |  |  |  | Not seen. Not seen during verification. |
| Bed, Adult Patient with Mattress (24) | Health | - | Plastic with blue & white colour with a mattress |  |  |  |  |  |  |  |  |  | Good condition | Redistributed 5 to Atangi HC III. |
| Bed, Pediatric Patient, With Mattress (11) | Health | - | Stainless steel with a blue covered mattress |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Bedside Locker (12) | Health | - | Plastic with wheels, blue and cream |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (01) | Health | - | Off white metallic |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use. |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health | - | Blue colour | - | Not engraved |  |  |  |  |  |  |  | Good condition | In use but they have never used. |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  | Not seen during verification | Not seen. |
| Resuscitator Manual, Adult, with all mask sizes (04 sets) | Health | - | Plastic container transparent | - | Not engraved |  |  |  |  |  |  |  | Good condition | All in store. |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  | Not seen during verification | Not seen. |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. |
| Bench (04) | Health |  |  |  |  |  |  |  |  |  |  |  | Good condition | 2 broken, 2 in use. Those in use have torn sitting surface. |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  | Mixed up and identifiable. The sets which are in store are mixed up in content. All are in store. |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  | Mixed up and identifiable. The sets which are in store are mixed up in content. |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  | Mixed up and identifiable. The sets which are in store are mixed up in content. |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  | Mixed up and identifiable. The sets which are in store are mixed up in content. |
| MVA Kit (3 SETS) | Health |  | Transparent container |  | Not engraved |  |  |  |  |  |  |  | Good condition | One in use, two in store. |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  | Not delivered. Not seen during verification. |
| Penguin Sucker (04) | Health | - | Penguin shape | - | Not engraved |  |  |  |  |  |  |  | 3 in good condition | 01 was disposed off. |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Centrifuge (Electric) (01) | Health |  | Bowl shaped white & blue |  | Not engraved |  |  |  |  |  |  |  | Good condition | In use in lab. |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Delivery Bed (03) | Health |  |  |  |  |  |  |  |  |  |  |  | 3 in use | Redistributed 01 to Malaba HC IV. |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Instrument set, ENT Basic for HCIII (02 sets) | Health |  | Black casing with stainless steel instruments | - | Not engraved |  |  |  |  |  |  |  | Good condition | All in store. |
| Bag Valve mask (Ambu Bag), Neonatal (01) | Health | - | Blue coloured |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in store. |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. Not seen during verification. |
| Office Chair (15) | Health | - | Black with plastic hand handles |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Desk / Tables (05) | Health | - | Wood brown soft wood make |  | Not engraved |  |  |  |  |  |  |  | Two in good condition, 3 are broken | The supplier delivered poor quality tables. |
| Filing Cabinet (02) | Health |  | Grey with lockers |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Non Residential Buildings | Health |  | Maternity Block: cream & maroon paint. Placenta pit: orange paint. The maternity block has a 10,000 litre capacity water tank on ground and a 3000 litre capacity water tank on a tank platform with a water pump. Another tank of 5000 litre capacity connected on water pipes from the roof. Pit latrine has two stances for both males and females with two bathrooms. Painted orange and cream / yellowish paint. |  | Not engraved |  |  |  |  |  |  |  | Good condition | All in use. |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received. No staff accommodation at the facility. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: NOT APPLICABLE - this facility is a health centre

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: Tororo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: Tororo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: Tororo District        Name of SCHOOL: NOT APPLICABLE - this facility is a health centre

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

OUTSTANDING ON THE HAND-FILLED COPY

- Date of submission on the hand-filled copy is 31/08/2026; structured output leaves it blank per RULES.md 3.15.

- Supervisor on the page is Kassim Sekajja / Wasswa Wilson with contacts 0702806116 / 0783230321; filled toolkit will use Kassim Luminsa / +256 702 806116 per RULES.md 3.15.

- Verifier on the page is Tonny Kayengo (email kkayengo1@gmail.com); the usual team spelling is Kayongo. No telephone is written on the contact line.

- The programme list carries Kamuli HCII; the cover, discussion-guide heading (Kamuli Health Center III), checklist header (Kamuli HCIII) and roadside signboard read HC III. Facility is recorded as Kamuli HC III; the level difference is not corrected on the schedule.

- Drip Stand (9): description cell repeats Health (department overflow); no physical description on the page.

- Autoclave quantity 03 struck to 02; remarks One in use in maternity, others are in store.

- Examination Couch (03): status 1 in good condition, 2 broken down; remarks They delivered poor quality.

- Otoscope (01) and Patient Screen (10): description and tag blank; only department, quantity and facing status/remarks filled.

- Refrigerator brand reads Pionway medical lab - confirm spelling.

- Stethoscope (06 pcs): remarks All in store; 01 for children - does not account for six.

- Weighing Scale, Infant (03): remarks only In use; does not split the three.

- Wall Clock (08): remarks All in use, with a margin note 2 Maternity, 2 OPD that does not account for eight.

- Adult weighing scale: tag blank on the page.

- Diagnostic MCH (02 Sets) and OPD bracketed Mixed up; OPD row otherwise blank.

- Instrument Set, Basic ENT: quantity 01 Set may be struck through; kept as written with facing In store.

- Pulse Oximeter, Hand held (02): Not seen in the left margin; facing Not seen during verification; other columns blank.

- Bed, Adult Patient with Mattress (24): remarks only Redistributed 5 to Atangi HC III - the other 19 are not accounted for. Atangi spelling as on the page.

- Bed, Pediatric Patient (11): top of p11 (form p12) continues qty 11 with description Stainless steel rods and blue Mattress; folded into the pediatric line, not a separate item.

- Cupboard, Instrument: left row otherwise blank; no quantity, description or facing note paired with certainty.

- Delivery Bed, Hydraulic Manual (01): left also writes Not Received under the quantity, while description/tag are filled and facing reads In use - contradictory.

- Resuscitator Manual, Infant / Adult: facing Not seen vs All in store pairing is soft against left-page order (Infant Not seen, Adult 04 sets filled).

- Oxygen Therapy Apparatus: remarks In use but they have never used.

- Bench (04): 05 struck to 04; remarks 2 broken, 2 in use, torn sitting surface.

- Ward diagnostic / hollow-ware / delivery / stitch-removing sets: bracket Mixed up and identifiable with diagonal The sets which are in store are mixed up in content; facing All are in store on the group. Identifiable vs unidentifiable is soft.

- Penguin Sucker: Not delivered is written above the printed name, yet quantity 04, description Penguin shape and facing 3 in good condition / 01 was disposed off are filled. Treated as found. Disposed off kept as written.

- Delivery Bed (03): status 3 in use; remarks Redistributed 01 to Malaba HC IV (one for the disabled woman is struck through on the facing page). 3 in use plus 1 redistributed does not match quantity 03. Malaba HC IV as on the page.

- Office Chair quantity 15 with facing All in use - confirm.

- Desk / Tables (05): verifier wrote Tables beside Desk; status Two in good condition, 3 are broken; remarks The supplier delivered poor quality tables. Matches cover recommendation on table replacement.

- Placenta pit, pit latrine and water tanks were written under Non Residential Buildings; folded into that description with the freehand notes below the table.

- Residential Buildings: Not received; facing No staff accommodation at the facility.

- No asset number, life, purchase/service dates, cost or depreciation on most lines; left blank per RULES.md 5.