ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | BUKEDEA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | ECWOU MARK ARTHUR, ADIMO RACHEAL |
| Contact/ email and Telephone | 0761096555, 0786749089 ecwoum@gmail.com, r.dimo223@gmail.com. |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact | 0779622063 |
| Date of submission | 08/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: AKUORO HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, but locked in in-charge’s office. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

  - So far no damages and no losses but incase of anything, they ere told to call the suppliers.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS:

UGIFT has helped by providing equipment that were not there before at the facility

ISSUE:

- None at visit of the facility.

CHALLENGES:

- The Hemocues were provided without guvettes.

- UGIFT never put up any building in Akuoro Health Centre.

- Some equipments are few for example catheters and urine bags.

- There’s need for more staff at the facility.

- They have no stretcher.

- They have no insenerator.

RECOMMENDATIONS:

- They facility requests UGIFT to supply the cuvettes to be used in the hemocues(The hemocue is there. It was supplied by UGIFT. However, the cuvettes to be used in it are not there. So, it is redundant)

- They request UGIFT supplies more equipment such as CATHETERS and urine bags.

- They also request construction of more buildings.

- They request for more staff at the facility.

- They need a stretcher.

- They are requesting for an incinerator.

- They are requesting for refresher training on use of CPAP and other devices.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

NAME OF LG: BUKEDEA DISTRICT LOCAL GOVERNMENT 		NAME OF HEALTH FACILITY: AKUORO HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (02) | Health |  | Wingnut type | 60 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick (20) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Bowl Stand (03) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Counting chamber Neubauer- Improved (02) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Cupboard Steel, Lockable (02) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (03) | Health |  | Metallic with cushion | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | In use and in good condition |
| Examination light,LED (02) | Health |  | Metallic and coated | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Glucometer (02) | Health |  | Round, Plastic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Haemoglobin Meter, Digital (02) | Heath |  | Kits / digital And metallic | 10 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Height Meter (03) | Health |  | Metallic with a weighing scale down | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Instrument Trolley (01) | Health |  | Metallic | 12 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Microscope Binocular (01) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Otoscope (02) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Patient Screen (07) | Health |  | Metallic stands with clothe screens | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Patient Trolley (01) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Refrigerator, Basic (01) |  |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Stethoscope (02) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult (03) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Weighing Scale, Infant (01) | Health |  | Metallic | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Weighing Scale, Toddler (02) | Health |  | Metallic with a clothe for hanging the toddler | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | One was in use, one kept |
| Wheel Chair (01) | Health |  | Metallic stand, cushioned top | 120 | NOT engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good and in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (06) | Health |  | Plastic with a steel cover | 36 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Wall Clock (06) | Health |  | Round shaped | 60 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Diagnostic Equipment Set for MCH (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Diagnostic Equipment Set for OPD (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Glassware Set, Laboratory, Basic (01) | Health |  | Metallic | 60 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing (02) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Instrument Set, Basic ENT (02) | Health |  | Metallic | 60 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Instrument Set, Suture (01) | Health |  | Metallic | 60 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Pulse Oximeter, Hand held (01) | Health |  | Metallic | 60 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, in use |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument (01) | Health |  | Steel | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Delivery Bed, Hydraulic Manual (01) | Health |  | Cushioned with metallic stands | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes (04) | Health |  | Plastic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | Plastic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Suction Apparatus, (Electric) (01) | Health |  | Plastic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Nebulizer, Ultrasonic (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Oxygen Concentrator, Duo Flow (02) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Bench (04) | Health |  | Wooden | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Disinfection Buckets | Health |  | Plastic | 60 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Baby Cot (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Diagnostic Equipment Set for Ward (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Hollow Ware Set, Ward (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Instrument Set, Delivery (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Instrument Set, Stitch Removing (04) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Penguin Sucker (02) | Health |  | Plastic | 72 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Centrifuge (Electric) (02) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (01) | Health |  | Cushioned, metallic stands. | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Examination light (02) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Instrument set, ENT Basic for HCIII (01) | Health |  | Metallic | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (08) | Health |  | Cushioned, Metallic stand. | 84 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Desk (04) | Health |  | Wooden | 72 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Filing Cabinet (06) | Health |  | Steel | 120 | Not engraved |  | 16/09/25 |  |  |  |  |  | Functional | Good, In use |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |