ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | BUKEDEA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | ECWOU MARK ARTHUR, ADIMO RACHEAL |
| Contact/ email and Telephone | 0761096555, 0786749089 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact | 0779622063 |
| Date of submission | 08/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NALUGAI H III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, but locked in in-charge’s office. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- None repaired because there ae no damages.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS:

- UGIFT has helped in the giving of the service. Ever since UGIFT gave equipments, the Health facility has given quality work.

ISSUE:

- Delay in construction.

CHALLENGES:

- Oxygen concentrator disturbs. It runs and stops.

- Weighing scale for babies doesn’t work properly.

- There is a communication gap between UGIFT team and the facility.

- Buildings are ok but the water systems are breaking, e.g sinks.

- One Hemometer has no strips and is redundant.

- Lighting system is poor.

- Staff houses are not enough.

RECOMMENDATIONS:

- There should be a technical person to check equipment before delivery, for example, the oxygen concentrator and hemometer were faulty from delivery.

- Labor suite needs two big lights.

- Nurse’s rooms are needed for resting.

- UGIFT needs to provide more houses for staff.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

NAME OF LG: BUKEDEA DISTRICT LOCAL GOVERNMENT 		NAME OF HEALTH FACILITY: NALUGAI HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (04) | Health |  | Wall mounted | 60 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Autoclave 20 Liters.,Duo Operated (02) | Health |  | Wingnut type | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  |  |  |
| Bowl, Kick (01) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Bowl Stand (03) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Counting chamber Neubauer- Improved (02) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Cupboard Steel, Lockable (06) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Drip Stand (09) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch (04) | Health |  | Metallic with cushion | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | In use and in good condition |
| Examination light,LED (03) | Health |  | Metallic and coated | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Glucometer (02) | Health |  | Round, Plastic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Haemoglobin Meter, Digital (02) | Heath |  | Kits / digital And metallic | 10 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Height Meter (03) | Health |  | Metallic with a weighing scale down | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Instrument Trolley (04) | Health |  | Metallic | 12 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Microscope Binocular (01) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Otoscope (01) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Patient Screen (05) | Health |  | Metallic stands with clothe screens | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Patient Trolley (01) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Refrigerator, Basic (02) |  |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Stethoscope (08) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas (02) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult (02) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Weighing Scale, Infant (01) | Health |  | Metallic | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Weighing Scale, Toddler (02) | Health |  | Metallic with a clothe for hanging the toddler | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | One was in use, one kept |
| Wheel Chair (01) | Health |  | Metallic stand, cushioned top | 120 | NOT engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good and in use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (20) | Health |  | Plastic with a steel cover | 36 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Wall Clock (01) | Health |  | Round shaped | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Diagnostic Equipment Set for MCH (03) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Diagnostic Equipment Set for OPD (02) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Glassware Set, Laboratory, Basic (02) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Hollow Ware Set, Treatment (02) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Instrument Set, Dressing (07) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Instrument Set, Basic ENT (01) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Instrument Set, Suture (03) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress (04) | Health |  | Cushioned, Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Bedside Locker (10) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual (01) | Health |  | Cushioned with metallic stands | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (01) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Resuscitator Manual, Infant, with all Mask sizes (01) | Health |  | Plastic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Resuscitator Manual, Adult, with all mask sizes (01) | Health |  | Plastic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Suction Apparatus, (Electric) (01) | Health |  | Plastic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Nebulizer, Ultrasonic (01) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Oxygen Concentrator, Duo Flow (02) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Bench (04) | Health |  | Wooden | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Disinfection Buckets | Health |  | Plastic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Baby Cot (02) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Diagnostic Equipment Set for Ward (02) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Hollow Ware Set, Ward (02) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Instrument Set, Delivery (02) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Instrument Set, Stitch Removing (03) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory (03) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Penguin Sucker (03) | Health |  | Plastic | 72 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Fetoscope, Dopplar (03) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (01) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Kangaroo Mother Care Chair (01) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli (02) | Health |  | Metallic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Delivery Bed (01) | Health |  | Cushioned, metallic stands. | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Examination light (03) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Instrument set, ENT Basic for HCIII (01) | Health |  | Metallic | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Bag Valve mask (Ambu Bag), Neonatal (14) | Health |  | Plastic | 60 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, in use |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (04) | Health |  | Cushioned, Metallic stand. | 84 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Desk (05) | Health |  | Wooden | 72 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Filing Cabinet (03) | Health |  | Steel | 120 | Not engraved | 18/05/2023 | 23/05/2023 |  |  |  |  |  | Functional | Good, In use |
| Non Residential Buildings (01) | Health |  | Metallic | 60 | Not engraved |  |  |  |  |  |  |  | Functional | Good, in use |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |