ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | BUKEDI |
| Name of Local Government | BUTEBO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | ECWOU MARK ARTHUR, ADIMO RACHEAL |
| Contact/ email and Telephone | 0761096555, 06786749089 ecwoum@gmail.com, r.adimo223@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | MR. BUDALI DENIS |
| Contact | 0779622063 |
| Date of submission | 8TH.SEPTEMBER.2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KACHURU HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- They Repair and maintain simple works e.g. lights and door handles

- The facility can’t maintain major repairs over 1million shillings.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Ugift support:

- Upgraded the facility to health center III

- Safe delivery, lab services and maternity services are now available

- In patient services are now available because beds were provided

- Minor surgery is now possible at the health center.

Issues:

- There’s no piped water in the facility

- Not connected to the grid

- Struggling with the community for water

Challenges:

- Power and water are scarce

- Less medical supply

- Inadequate staff at the facility (only 2 midwives)

- Inadequate accommodation for staff

Recommendations:

- Electricity connection is needed

- More medical supply is needed

- More staff is needed especially midwives

- More accommodation for staff is needed

- Resting room for midwives during night shift is needed

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

HEALTH CENTRE CHECKLIST

NAME OF LG: BUTEBO DISTRICT LOCAL GOVERNMENT NAME OF HEALTH FACILITY: KACHURU HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (02) | Health |  | Digital | 60 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| B.P. Machine (Aneroid wall mounted) (02) | Health |  | Wall mounted | 60 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Autoclave 20 Liters., Duo Operated (02) | Health |  | Wingnut | 60 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Bowl, Kick (01) | Health |  | Metallic | 60 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Bowl Stand (01) | Health |  | Metallic | 60 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Counting chamber Neubauer- Improved (02) | Health |  | Glass | 60 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Not in use | In store |
| Cupboard Steel, Lockable (05) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Drip Stand (09) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| ESR Stand (01) | Health |  | Metallic | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Examination Couch (04) | Health |  | Metallic with black cushion | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Examination light, LED (03) | Health |  | Metallic | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Glucometer (02) | Health |  | Plastic | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Hemoglobin Meter, Digital (02) | Health |  | Plastic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Height Meter (02) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Instrument Trolley (04) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Microscope Binocular (01) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Otoscope (01) | Health |  | Metallic and plastic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Patient Screen (05) | Health |  | Polyester | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Patient Trolley (02) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Refrigerator, Basic (02) | Health |  | Hisense | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Stethoscope (08) | Health |  | Metallic and rubber | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | 2 in use and 6 in the facility store |
| Stop Watch (01) | Health |  | Digital | 60 | Not engraved |  | 15/02/2022 |  |  |  |  |  |  |  |
| Stretcher (02) | Health |  | Metallic and leather | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Stove, Gas (02) | Health |  | Metallic cylinder (Stabex) | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Weighing Scale with Height Meter, Adult (02) | Health |  | Metallic | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Weighing Scale, Infant (02) | Health |  | Metallic | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Weighing Scale, Toddler (01) | Health |  | Hanging type | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Wheel Chair (04) | Health |  | Leather and Metallic | 72 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Audio Visual Equipment (01) | Health |  | Television | 120 | Not engraved |  |  |  |  |  |  |  | Functional | In use and in good condition |
| Medical Waste Bin (01) | Health |  | Plastic | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Wall Clock (04) | Health |  | Analog | 120 | Not engraved |  | 15/02/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Diagnostic Equipment Set for MCH (03) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Diagnostic Equipment Set for OPD (02) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Glassware Set, Laboratory, Basic (02) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Hollow Ware Set, Treatment (04) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility stores |
| Instrument Set, Dressing (07) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility stores |
| Instrument Set, Basic ENT (01) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility store |
| Instrument Set, Suture | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility store |
| Pulse Oximeter, Hand held (02) | Health |  | Rubber | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility stores |
| Bed, Adult Patient with Mattress (10) | Health |  | Metallic and cushioned | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Bed, Pediatric Patient, With Mattress (04) | Health |  | Metallic and cushioned | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Bedside Locker (10) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Cupboard, Instrument (01) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Delivery Bed, Hydraulic Manual (01) | Health |  | Leather | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Oxygen Therapy Apparatus, Mininum 45L cylinder (02) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility store |
| Resuscitator Manual, Infant, with all Mask sizes (01) | Health |  | Variety | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility stores |
| Resuscitator Manual, Adult, with all mask sizes (01) | Health |  | Variety | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility stores |
| Suction Apparatus, (Electric) (01) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | In the facility stores |
| Nebulizer, Ultrasonic (01) | Health |  | Metallic And plastic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | store |
| Oxygen Concentrator, Duo Flow (01) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Not in use | store |
| Bench (04) | Health |  | Wooden and metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Disinfection Buckets | Health |  | Plastic buckets | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Baby Cot (02) | Health |  | Metallic And leather | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Diagnostic Equipment Set for Ward (01) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Hollow Ware Set, Ward (02) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Instrument Set, Delivery (06) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Instrument Set, Stitch Removing (05) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| MVA Kit (05) | Health |  | Metallic | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Stool, Laboratory (04) | Health |  | Metallic And leather | 120 | Not engraved |  | 08/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Penguin Sucker (03) | Health |  | Rubber | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | One in use out of the three |
| Fetoscope, Dopplar (02) | Health |  | Plastic | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Bubble CPAP | Health |  |  | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  |  | Not seen |
| Centrifuge (Electric) (01) | Health |  | Metallic | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Not in use | Not in use due to no electricity/power |
| Kangaroo Mother Care Chair (01) | Health |  | Leather | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | Never been used |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  | Not seen | Not seen |
| Haemoglobin Meter, Sahli (03) | Health |  | Plastic | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  |  | Not seen |
| Delivery Bed (01) | Health |  | Metallic with cushion | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Examination light (03) | Health |  | Metallic | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | One in use out of the three |
| Instrument set, ENT Basic for HCIII (01) | Health |  | Metallic | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (07) | Health |  | Leather | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Desk (05) | Health |  | Wooden and Metallic | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | In use and in good condition |
| Filing Cabinet (06) | Health |  | Metallic | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maternity ward (01) | Health |  | Non-Residential building |  |  |  |  |  |  |  |  |  | Functional | All in use and in good condition |
| Tanks: 10000L (2) 5000L (2) | Health |  | Water tanks | 120 | Not engraved |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Pit latrine (01) | Health |  | 2 stances | 240 | Not labelled |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Staff houses (01) | Health |  | 2 units | 600 | Not labelled |  | 15/01/2022 |  |  |  |  |  | Functional | All in use and in good condition |