ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | AMORATA DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | BABIRYE ALIXAH |
| Contact/ email and Telephone | 0751905372 |
| Supervisor/ Sub team leader |  |
| Name | BUDALI DENIS |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KYANKARAMATA

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If not ask how many were supplied and when. | MANY |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility USES phc fund to maintain the assts provided under ugift

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No, the facility did not provide a list of the items available |
| --- | --- | --- |

The facility had asset register or a functionality list for equipment in place.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The incharge expressed gratitude to the UGIFT program for equipping the health facilty with the necessary equipment which eased their mandate as health workers. he also complained about the board that was brought was of low quality because its getting off

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: AMORATAR DISTRICT    NAME OF HEALTH FACILITY: ARWOTCEK HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | sionocare bp machine |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | FUNCTIONAL | IN USE |
|  | Health |  | Sinocare bp machine, |  | Not engraved |  |  |  |  |  |  |  | functional |  |
| B.P. Machine (Aneroid wall mounted) | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Autoclave 20 Liters., Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 2Autoclave, external heated, 20liters |  | 805/ARC/HC/001-002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  |  |  |  |  |  |  | 5/06/2024 |  |  |  |  |  |  |  |
| Bowl, Kick | Health |  | 1 bowl kick |  | 805/ARC/HLT/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Bowl Stand | HEALTH |  | Stainless steel movable |  | 805/ARC/HLT/BS/001 |  |  |  |  |  |  |  |  |  |
|  | health |  | Stainless steel movable |  |  |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | Stainless steel movable |  | 805/ARC/HLT/002 |  | 5/6/2024 |  |  |  |  |  | functional | IN USE |
| Counting chamber Neubauer- Improved | Health |  | 1 Counting chambers, with droppers |  | 805/ARC/HLT/001 |  | 5/6/2024 |  |  |  |  |  | functional | IN USE |
|  | health |  | 1 Counting Rectangular shaped apparatus with droppers |  | 805/ARC/HLT/002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | HEALTH |  | Cup board steelwith transparent glass,lockable |  |  |  | 5/06/2024 |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Health |  |  |  |  |  | 1111111111111111FGFG1115/06/2024; 5/6/2024. 5/06/2024. s |  |  |  |  |  |  |  |
|  | HEALTH |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | HEALTH |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not |  | 5/6/2024 |  |  |  |  |  | functional |  |
|  | HEALTH |  |  |  |  |  | 5/06/2024 |  |  |  |  |  |  |  |
|  | Health |  | 1 Drip stand, stainless steel attached to the beds |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 5/6/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 2 Drip stand, |  | 805/ARC/HLT/DS/001 805/ARC/HLT/DS/002 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 2Drip stand, |  | 805/ARC/HLT/DS/003 805/ARC/HLT/DS/004 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, |  | 805/ARC/HLT/DS/005 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 1Drip stand, |  | 805/ARC/HLT/DS/006 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, |  | 805/ARC/HLT/DS/007 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 Drip stand, |  | 805/ARC/HLT/DS/008 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 ESR was available with sedimentation tubes |  | 805/ARC/HLT/ESR/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 2 Examination couch metallic with a mattress |  | 805/ARC/HLT/EC/001 805/ARC/HLT/EC002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 2 Examination couch metallic with a mattress |  | 805/ARC/HLT/EC/003 805/ARC/HLT/EC/004 |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | LED examination light |  | 805/ARC/HLT/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | LED examination light |  | 805/ARC/HLT/002 |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  | IN USE |
|  | health |  | A Yuwell glucometer |  | NOT ENGRAVED |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | health |  | A Yuwell glucometer |  | NOT ENGRAVED |  | 5/06/2024 |  |  |  |  |  | t functional | IN USE |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Height Meter |  |  | 1 Height metre |  | 805/ARC/HLT/HM/002 |  | 5/06/2024 |  |  |  |  |  |  |  |
|  | Health |  | 1 height meter |  | 805/ARC/HLT/HM/001, |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Instrument Trolley |  |  |  |  |  |  | 5/06/2024 |  |  |  |  |  |  |  |
|  | health |  | 2 instrument trolly |  | 805/ARC/HLT/T /001 805/ARC/HLT/T/002 |  | 5/6/2024 |  |  |  |  |  | Functional | IN USE |
|  | health |  | 2 instrument trolly |  | 805/ARC/HLT/T/003 805/ARC/HLT/T/004 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 microscope binocular, |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 otoscope |  |  |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 patient screen, |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | health |  | 1 patient screen, metallic, blue in colour, movable |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | health |  | 1 patient screen |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional | IN USE |
|  | health |  | 2 patient screen, metallic, blue in colour, movable |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional | IN USE |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 patient trolley of casp |  | 805/ARC/HLT/PT/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 2 refrigerator basic, Hisense brand |  | 805/ARC/HLT/R/001 805/ARC/HLT/R/002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 2 ,stethoscope |  | 805/ARC/HLT/001,002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE IN USE |
|  | Health |  | 2 stethoscope |  | 805/ARC/HLT/003,004 |  | 5/6/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 2 stethoscope |  | 805/ARC/HLT/005,006 |  | 5/06/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 2 stethoscope |  | 805/ARC/HLT/007,008 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Stopwatch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 stopwatch |  | 805/ARC/HLT/SW/001 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 2 stretcher, movable |  | 805/ARC/HLT/S/001 805/ARC/HLT/S/002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Stove, Gas | health |  | 2 STOVE GAS |  | 805/ARC/HLT/G/001 805/ARC/HLT/G/002 |  | 5/06/2024 |  |  |  |  |  | t Functional | IN USE |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  | IN USE |
|  | Health |  | 1 weighing scale with height measure |  | 805/ARC/HLT/WSA/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | health |  | 1 weighing scale with height measure |  | 805/ARC/HLT/WSA/002 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Hanging weighing scale foe infants |  | 805/ARC/HLT/WSI/001 |  | 5/06/2024 |  |  |  |  |  | FUNCTIONAL | IN USE |
|  | Health |  | Hanging weighing scale foe infants |  | 805/ARC/HLT/WSI/002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 weighing scale toddler, KUANYI |  | 805/ARC/HLT/WST/001 |  | 5/06/2024 |  |  |  |  |  | Functional in the maternity ward | IN USE |
| Wheelchair | HEALTH |  | 2 WHEEL CHAIR |  | 805/ARC/HLT/WC/001 805/ARC/HLT/WC/002 |  | 5/06/2024 |  |  |  |  |  | FUNCTIONAL | IN USE |
|  | Health |  | 2 wheelchair |  | 805/ARC/HLT/WC/003 805/ARC/HLT/WC/OO4 |  | 5/06/2024 |  |  |  |  |  | Not functional | All Wheelchairs were spoilt |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | HEALTH |  | PROJECTOR |  | 805/ARC/HLT/P/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 4 Stainless steel bins |  | 805/ARC/HLT/WB/001 805/ARC/HLT/WB/002 805/ARC/HLT/WB/003 805/ARC/HLT/WB/004 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 4Stainless steel bins |  | 805/ARC/HLT/WB/005 805/ARC/HLT/WB/006 805/ARC/HLT/WB/007 805/ARC/HLT/WB/008 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 4Medical waste bins |  | 805/ARC/HLT/WB/009 805/ARC/HLT/WB/010 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 2Medical waste bins |  | 805/ARC/HLT/WB/011 805/ARC/HLT/WB/12 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 4Medical waste bins |  | 805/ARC/HLT/WB/013 805/ARC/HLT/WB/014 805/ARC/HLT/WB/15 805/ARC/HLT/WB/016 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 4Medical waste bins |  | 805/ARC/HLT/WB/017 805/ARC/HLT/WB/018 805/ARC/HLT/WB/019 805/ARC/HLT/WB/20 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Wall clock | health |  | Wall clock |  | 805/ARC/HLT/WC/001 |  |  |  |  |  |  |  |  | IN USE |
|  |  |  | Wall clock |  | 805/ARC/HLT/WC/002 |  |  |  |  |  |  |  |  |  |
|  |  |  | Wall clock |  | 805/ARC/HLT/WC/003 |  |  |  |  |  |  |  |  |  |
|  |  |  | Wall clock |  | 805/ARC/HLT/WC/004 |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 5/06/2024 |  |  |  |  |  | FUNCTIONAL | IN USE |
|  | Health |  | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 5/06/2024 |  |  |  |  |  | NOT FUNCTIONAL | These items were provided to them but l was unable to see them because they were kept in the store but still new and in good condition |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 diagnostic equipment set OPD |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 diagnostic equipment set OPD |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Not functional | IN USE |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Hollow Ware Set, Treatment | Health |  | 1 hollow ware set, full set |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 hollow ware set, full set |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Instrument Set, Dressing | Health |  | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Instrument set basic ENT |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Instrument Set, Suture | HEALTH |  | 3 Instrument set suture |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Bed, Adult Patient with Mattress | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/HLT/B/001 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/HLT/B/002 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/HLT/B/003 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/HLT/B/004 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattress |  | 805/ARC/HLT/B/005 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/HLT/B/006 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/HLT/B/007 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/’HLT/B/008 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, |  | 805/ARC/HLT/B/09 |  | 5/6/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | 805/ARC/HLT/ B/010 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  | IN USE |
|  | Health |  | Pediatric beds with metallic mattresses |  | 805/ARC/HLT/B/001 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | pediatrics beds with mattresses metallic |  | 805/ARC/HLT/B/002 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | pediatrics beds with mattresses metallic |  | 805/ARC/HLT/003 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | pediatric beds with mattresses metallic |  | 805/ARC/HLT/003 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | Pediatric beds with metallic mattresses |  | 805/ARC/HLT/004 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Metallic bedside lockers, steel |  | 805/ARC/HLT/001 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | 805/ARC/HLT/002 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | Metallic bedside lockers, steel |  | 805/ARC/HLT/003 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Delivery Bed, Hydraulic Manual | health |  | 1 Delivery bed manual hydraulic |  | NOT ENGRAVED |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | health |  | 1 Delivery bed manual hydraulic |  |  |  |  |  |  |  |  |  | functional | IN USE |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 5/6/2024 |  |  |  |  |  | functional | IN USE |
|  |  |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 resuscitator manual |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 resuscitator manual |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Not functional | These items were provided to them but l was unable to see them because they were kept in the store but still new and in good condition |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 suction apparatus, electric |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 nebulizer ultrasonic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional | IN USE |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Oxygen concentrator |  | not |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Machine no longer in use because it over heats |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 WOODEN vanished bench |  | 805/ARC/HLT/BH/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 WOODEN vanished bench |  | 805/ARC/HLT/BH/002 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 WOODEN vanished bench |  | 805/ARC/HLT/BH/003 |  | 5/6/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 WOODEN vanished bench |  | 805/ARC/HLT/BH/004 |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 5/06/2024. 5/6/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  |  |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  |  |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  |  |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  |  |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  |  |  |  |  |  |  | functional | IN USE |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 baby cot |  | Not engraved |  |  |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 baby cot |  | 805/ARC/HLT/BC/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 baby cot |  | 805/ARC/HLT/BC/002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Instrument Set, Delivery | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 3 movable metallic stool |  | 805/ARC/HLT/S/001-003 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 2 fetoscope |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | In the store |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Centrifuge, |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 kangaroo mother care chair, brown colour |  | Not engraved |  | 5/6/2024 |  |  |  |  |  | functional | IN USE |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | IN USE |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  | IN USE |
|  | Health |  | 1 Delivery bed |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 2 examination light |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 examination light |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  | 5/06/2024 |  |  |  |  |  |  |  |
|  | HEALTH |  | 1 Instrument set, ENT basic |  | Not engraved |  |  |  |  |  |  |  | Not functional | IN USE |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Office chair, leather coshoned |  | 805/ARC/HLT/CH/00 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | health |  | Office chair, leather coshoned |  | 805/ARC/HLT/CH/002 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather coshoned |  | 805/ARC/HLT/CH/003 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather coshoned |  | 805/ARC/HLT/CH/004 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather coshoned |  | 805/ARC/HLT/CH/005 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather coshoned |  | 805/ARC/HLT/CH/006 |  | 5/06/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather coshioned |  | 805/ARC/HLT/CH/007 |  | 5/06/2024 |  |  |  |  |  | functional |  |
| Desk | health |  | Frame of wooden top |  | 805/ARC/HLT/TB/001 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | frame of wooden top |  | 805/ARC/HLT/TB/002 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | frame of wooden top |  | 805/ARC/HLT/TB/003 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | frame of wooden top |  | 805/ARC/HLT/TB/004 |  | 5/06/2024 |  |  |  |  |  | functional |  |
|  | health |  | Frame of wooden top |  | 805/ARC/HLT/TB/005 |  | 5/06/2024 |  |  |  |  |  |  |  |
| Filling cabin | Health |  | 3 Filling cabinet |  | 805/ARC/HLT/CB/001 805/ARC/HLT/CB/002 805/ARC/HLT/CB/003 |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |
|  | Health |  | 3 Filing cabinet |  | 805/ARC/HLT/CB/004 805/ARC/HLT/CB/005 805/ARC/HLT/CB/006 |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Non-Residential Buildings | Health |  | MATERNITY BUILDING, with a placenta pit |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
|  | Health |  | 1 fenced solar house with solar panels and batteries |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | functional | IN USE |
| Residential Buildings | Health |  | 1 staff house, 2 rooms with water 2 water tanks |  | Not engraved |  | 5/06/2024 |  |  |  |  |  | Functional | IN USE |