ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | Mid Northern |
| --- | --- |
| SUB-REGION: | Lango |
| Name of Local Government | Amolatar District Local Government |
| VERIFIER PARTICULARS |  |
| Full name | MUYOBYA EPHRAIM |
| Contact/ email and Telephone | rubumbaephraim@gmail.com; 0700589049 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………………………ACII HC III……………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes . |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift -Maintenance done by Lira regional referral workshop. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Issues- 1. Delays in construction of UgIFT building - Electricity not connected, and no solar back up in place in the UgIFT building. Operating in darkness.. - Landscaping not completed. - Some UgIFT assets/equipment not delivered at the health facility Challenges. - Facility do not have modern OPD block with laboratory - Few staffing at UgIFT facility; only 7 staffs out of 55 as per new staffing Norms - Few staffs accommodation. Others with sagging ceiling Board Recommendation. - UgIFT to support with Solar backup to help run/operate the equipments when there is no electricity. - Contractor to be engaged to complete electricity Connection and landscaping. - Contractor to have cooperate responsibility whenever like construction of kitchen for patients that will be admitted in ward. - Support Recruitment of staffs at UgIFT health facility. - Engage suppliers of undelivered assets/ to deliver this at the facility |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION Health centre checklist

NAME OF LG………AMOLATAR DISTRICT LOCAL GOVERNMENT……… NAME OF HEALTH FACILITY………ACII HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (3) | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD | The UGIFT assets were newly delivered. |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD | I found out that they were delivered on 4th sep. 2026. They were still in boxes and others sealed. |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD | But I saw them, not yet put to use. They were just assembling them. |
| Bowl, Kick | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Bowl Stand | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Counting chamber Neubauer- Improved | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Cupboard Steel, Lockable | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Drip Stand | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| ESR Stand | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Examination Couch | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Examination light,LED | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Glucometer | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Haemoglobin Meter, Digital | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Height Meter | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Instrument Trolley | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Otoscope | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Patient Trolley | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Refrigerator, Basic | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Stethoscope | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Stop Watch | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Stretcher | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Stove, Gas | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Weighing Scale with Height Meter, Adult | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Weighing Scale, Infant | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Weighing Scale, Toddler | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Wheel Chair | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Audio Visual Equipment | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Medical Waste Bin | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Wall Clock | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Diagnostic Equipment Set for MCH | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Diagnostic Equipment Set for OPD | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Glassware Set, Laboratory, Basic | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Hollow Ware Set, Treatment | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Instrument Set, Dressing | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Instrument Set, Basic ENT | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Instrument Set, Suture | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Pulse Oximeter, Hand held | HEALTH |  |  |  |  |  |  |  |  |  |  |  | NOT FUNCTIONAL |  |
| Bed, Adult Patient with Mattress | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Bed, Pediatric Patient, With Mattress | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Bedside Locker | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Cupboard, Instrument | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Delivery Bed, Hydraulic Manual | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Suction Apparatus, (Electric) | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Nebulizer, Ultrasonic | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Oxygen Concentrator, Duo Flow | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
|  | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Diagnostic Equipment Set for Ward | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Hollow Ware Set, Ward | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Instrument Set, Delivery | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Instrument Set, Stitch Removing | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Stool, Laboratory | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Penguin Sucker | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Fetoscope, Dopplar | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Bubble CPAP | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Centrifuge (Electric) | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
|  | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
|  | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
|  | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Delivery Bed | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Examination light | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |
| Instrument set, ENT Basic for HCIII | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Bag Valve mask (Ambu Bag), Neonatal | HEALTH |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERED |  |
| Incubator | HEALTH |  |  |  |  |  |  |  |  |  |  |  | NOT DELIVERD |  |
| Office Chair | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Desk | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  | NOT ASSEMBLED |
| Filing Cabinet | HEALTH |  |  |  | NOT Engraved |  |  |  |  |  |  |  | GOOD |  |
| Non Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |