ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | AMOLATAR DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | MUYOBYA EPHRAIM |
| Contact/ email and Telephone | rubumbaephraim@gmail.com 0700589049 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact | 0779622063 |
| Date of submission | 8/9/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre    BIKO HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The program has improved the overall capacity of Biko health centre III to offer the basic medical services

- It has also boosted the moral standards of staffs due to availability of UgiFT assets

- The project has helped in terms of record keeping and accountability of equipments at the facility

- Easy access to improved health service delivery and reduced referrals due to capacity building at the facility.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG…AMOLATAR       NAME OF HEALTH FACILITY       BIKO HCIII

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital 2 | Health |  | White in color | 36 | Not Engraved_ | _ | _ | _ | _ | _ | _ | _ | They good | Received 2 and all are in use |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | Black | 36 | Not Engraved _ | _ | _ | _ | _ | _ | _ | _ | in good working conditions | Received 2 and all functioning |
| Autoclave 20 Liters Duo Operated 2 | Health |  | Stainless steel | 36 | Not Engraved |  |  |  |  |  |  |  | Not in use | The facility received 2 but were received without power cable |
| Bowl, Kick 1 | Health |  | Stainless steel | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 1 bowl kick supplied and in use |
| Bowl Stand 3 | Health |  | Stainless steel | 36 | Not Engraved |  |  |  |  |  |  |  | In good condition | 3 bowl stand supplied and all are working |
| Counting chamber Neubauer- Improved 2 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  | Good looking | 2 counting chambers supplied and all working |
| Cupboard Steel, Lockable 6 | Health |  | Cream in color | 36 | Not Engraved |  |  |  |  |  |  |  | Good working condition | They got 6 and all are in use |
| Drip Stand 9 | Health |  | Stainless in color | 36 | Not Engraved |  |  |  |  |  |  |  | Well kept | 9 drip stands received and 4 got spoiled |
| ESR Stand 1 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  |  | Received 1 ERS stand and still in store |
| Examination Couch 4 | Health |  | Black and cream in color | 36 | Not Engraved |  |  |  |  |  |  |  | Only 3 are working | 4 couch received and 1 got spoiled |
| Examination light,LED 3 | Health |  | Black | 36 | Not Engraved |  |  |  |  |  |  |  |  | 3 exam lights got and all are in use |
| Glucometer 2 | Health |  | Black in color | 36 | Not Engraved |  |  |  |  |  |  |  | Not in good working conditions | 2 of them were received but 1 got spoiled |
| Haemoglobin Meter, Digital 2 | Health |  | They are color white | 36 | Not Engraved |  |  |  |  |  |  |  | Not in use | Relieved 2 HBs and all are not functioning |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley 3 | Health |  | Stainless | 36 | Not Engraved |  |  |  |  |  |  |  | In working conditions | 3 trolleys and all are functional |
| Microscope Binocular 1 | Health |  | Black and white in color | 36 | Not Engraved |  |  |  |  |  |  |  | Not in use | Received 1 microscope but not functional |
| Otoscope 1 | Health |  | Black in color | 36 | Not Engraved |  |  |  |  |  |  |  | In use | Received 1 and functioning |
| Patient Screen 2 | Health |  | Black color | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 2 screens received 2 and all working |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic 2 | Health |  | Cream in color | 36 | Not Engraved |  |  |  |  |  |  |  | In use | Received 2 refrigerators and 1 is not working |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher 2 | Health |  | Cream and white | 36 | Not Engraved |  |  |  |  |  |  |  | seen | Received 2 but all still in store |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult 2 | Health |  | White and pink | 36 | Not Engraved |  |  |  |  |  |  |  | Not in use | 2 weighing scales and all are not working |
| Weighing Scale, Infant 1 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  | In good condition | 1 weighing scale and in use |
| Weighing Scale, Toddler 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair 4 | Health |  | Black | 36 | Not Engraved |  |  |  |  |  |  |  | Good in use | The hospital got 4 wheel chairs and functional but 2 in store. Because there is no high demand for them, 2 are enough |
| Audio Visual Equipment 2 | Health |  | Black | 36 | Not Engraved |  |  |  |  |  |  |  | In use | Received 2 and functioning |
| Medical Waste Bin 20 | Health |  | Stainless steel | 36 | Not Engraved |  |  |  |  |  |  |  | In good working conditions | 20 bins and all in use |
| Wall Clock 4 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  |  | 4 received and all working |
| Diagnostic Equipment Set for MCH 3 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  | Well put into use | 3 sets received and all in use |
| Diagnostic Equipment Set for OPD 2 | Health |  | Some are black and others are white | 36 | Not Engraved |  |  |  |  |  |  |  | Looking new | Got 2 sets and all are in use |
| Glasswar e Set, Laboratory, Basic 2 | Health |  | Some are black and others are white | 36 | Not Engraved |  |  |  |  |  |  |  | Good | 2 sets got and all in use |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing 7 | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | Well kept | They got 7 sets and all in use |
| Instrument Set, Basic ENT 1 | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | seen | 1 set and almost getting finished |
| Instrument Set, Suture 3 | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | In use | They got 3 sets and all in use |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress 10 | Health |  | Blue and cream in color | 36 | Not Engraved |  |  |  |  |  |  |  | Very good | Received 10 and all working |
| Bed, Pediatric Patient, With Mattress 4 | Health |  | Blue and white | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 4 beds received and all functional but 1 mattress is missing |
| Bedside Locker 10 | Health |  | Light grey | 36 | Not Engraved |  |  |  |  |  |  |  | Not in good condition | 10 bed side lockers received and all are in use |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual 1 | Health |  | Black and white | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 1 bed and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | Red in color | 36 | Not Engraved |  |  |  |  |  |  |  |  | 2 cylinders received and all in use |
| Resuscitator Manual, Infant, with all Mask sizes 1 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  | In use | Received 1 set and is in use |
| Resuscitator Manual, Adult, with all mask sizes 1 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  | In use | Received 1 set and is in use |
| Suction Apparatus, (Electric) 1 | Health |  | Black in color | 36 | Not Engraved |  |  |  |  |  |  |  | Not in use | Received 1 and not functioning |
| Nebulizer, Ultrasonic 1 | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 1 and is functional |
| Oxygen Concentrator, Duo Flow 1 | Health |  | White in color | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 1 cylinder and is functional |
| Bench 4 | Health |  | Coffee brown in color | 36 | Not Engraved |  |  |  |  |  |  |  | In good use | 4 were received and all in use |
| Disinfection Buckets 2 | Health |  | Stainless steel | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 2 buckets got and all in use |
| Baby Cot 2 | Health |  | Stainless steel | 36 | Not Engraved |  |  |  |  |  |  |  | In use | Received 2 and all functioning |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward 2 sets | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | In use | 2 sets received and all in use |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit 5 | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | seen | Received 5 sets and 2 are still in store, still utilizing the three ones |
| Stool, Laboratory 3 | Health |  | Stainless and black |  | Not Engraved |  |  |  |  |  |  |  | In good working conditions | 3 stools got and all in use |
| Penguin Sucker 3 | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | Good | 3 suckers and all in working condition |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | Black and white in color | 36 | Not Engraved |  |  |  |  |  |  |  | In use | Received 1 and is working |
| Kangaroo Mother Care Chair 1 | Health |  | Brown and white color |  |  |  |  |  |  |  |  |  | Needs replacement | Received 1 and not in good condition |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal 15 sets | Health |  |  | 36 | Not Engraved |  |  |  |  |  |  |  | Good in use | Received 15 sets of masks and 8 are in store. They are still using 7 |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings 3 | Health |  | Cream and orange painted | 36 | Not Engraved |  |  |  |  |  |  |  | They are all in use | Non residential building include the hospital building, placenta pit, and the pit latrine |
| Residential Buildings 1 | Health |  | Cream and orange painted | 46 | Not Engraved |  |  |  |  |  |  |  | Fully occupied | The residential include staff quarters. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |