ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTHERN UG |
| --- | --- |
| SUB-REGION: | LANGO |
| Name of Local Government | Apac DIstrict Local Government |
| VERIFIER PARTICULARS |  |
| Full name | MUYOBYA EPHRAIM |
| Contact/ email and Telephone | 0700589049 rubumbaephraim@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDARI |
| Contact | 0779622063 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……KUNGU HEALTH CENTRE III…………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | N/A |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift. Done by LIRA RRH teams and facility in charge for other items/equipmets. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Greatly improved service delivery after the upgrade of facility from HC II, and supply of equipment's way back in 2021. Challenge noted was on microscope; too small and very low power resolution of the microscope Lens/Binocular that can’t view/examine most specimens |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……………APAC………………………… NAME OF HEALTH FACILITY……………KUNGU HC III……………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digita 5 | Health |  |  |  | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | BP machines are not engraved. Only 3 are in use and about 5 are still in store. |
| B.P. Machine (Aneroid wall mounted) 2 | Health |  | BLACK | 60 | APA/KHCIII/BP/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | Received 2 and are in store, the digital ones are more convenient than wall mount. |
|  | Health |  | BLACK | 60 | APA/KHCIII/BP/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Working |
|  |  |  |  | 60 |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated 2 | Health |  | STAINLESS | 60 | APA/KHCIII/AC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 2 Autoclaves and all in use |
|  | Health |  | STAINLESS | 60 | APA/KHCIII/OC/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Bowl, Kick 1 | Health |  | STAINLESS | 60 | APA/KHCIII/BK/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 1 and in use |
| Bowl Stand 3 | Health |  | STAINLESS | 60 | APA/KHCIII/BS/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 3 and all in use |
|  | Health |  | STAINLESS | 60 | APA/KHCIII/BS/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS | 60 | APA/KHCIII/BS/2021-03 |  | 1/3/2022 |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved 1 | Health |  |  | 60 | AP/A/KHCIII/CCH/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 1 and in use |
| Cupboard Steel, Lockable 6 | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/FC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 6 and all are in usel |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/FC/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/FC/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good. | Functional |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/FC/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/FC/2021-05 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/FC/2021-06 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Drip Stand 10 | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 10 drip stands and all are functioning |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-05 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-06 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-07 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-08 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-09 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | STAINLESS AND BLACK | 60 | APA/KHCIII/DP/2021-10 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch 4 | Health |  | BLACK AND CREAM | 60 | APA/KHCIII/EC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 4 examination couches and all are functioning |
|  | Health |  | BLACK AND CREAM | 60 | APA/KHCIII/EC/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLACK AND CREAM | 60 | APA/KHCIII/EC/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLACK AND CREAM | 60 | APA/KHCIII/EC/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLACK AND CREAM | 60 |  |  |  |  |  |  |  |  |  |  |
| Examination light, 3 | Health |  | BLACK | 60 | APA/KHCIII/LT/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Got 3 and all are use |
|  | Health |  | BLACK | 60 | APA/KHCIII/LT/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLACK | 60 | APA/KHCIII/LT/2021-03 |  |  |  |  |  |  |  | Good | Functional |
| Glucometer 1 | Health |  | BLACK | 60 | APA/KHCIII/GLU/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | 1 Glucometer and in use |
|  | Health |  | BLACK | 60 | APA/KHCIII/GLU/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLACK | 60 |  |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Haemoglobin Meter, Digital 1 | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/HB/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Only received and functioning |
| Height Meter 2 | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/HM/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Got 2 and is in use |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/HM/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Instrument Trolley 4 | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/TR/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | 4 were delivered and they are in use |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/TR/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/TR/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/TR/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/ML/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Non Functional-Low resolution power lens. |
| Otoscope 1 | Health |  | BLACK | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | 1 received and in use |
| Patient Screen 5 | Health |  |  | 60 | APA/KHCIII/WS/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | The facility got 5 but 3 still in store. They are first using the 2 ones |
|  | Health |  |  | 60 | APA/KHCIII/WS/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  |  | 60 | APA/KHCIII/WS/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  |  | 60 | APA/KHCIII/WS/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  |  | 60 | APA/KHCIII/WS/2021-05 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Patient Trolley 2 | Health |  |  | 60 | APA/KHCIII/PT/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | All in use |
|  | Health |  |  | 60 |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic 2 | Health |  | CREAM IN COLOR | 60 | APA/KHCIII/FG/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | All are in use but one of them has mechanical issues |
|  | Health |  | CREAM IN COLOR | 60 | APA/KHCIII/FG/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Stethoscope 1 | Health |  | BLACK | 60 | NA |  | 1/3/2022 |  |  |  |  |  | In use | 1 received and working |
| Stop Watch 1 | Health |  |  | 60 | APA/KHCIII/SW/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | Received 1 and in use |
| Stretcher 2 | Health |  | CREAM IN COLOR | 60 | APA/KHCIII/ST/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | 2 received and 1 is faulty though in use |
|  | Health |  | CREAM IN COLOR | 60 | APA/KHCIII/ST/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Stove, Gas 2 | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/GS/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 2 stoves. 1 in store because they are using one at the moment |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Weighing Scale with Height Meter, Adult 2 | Health |  | WHITE | 60 | APA/KHCIII/WS-AD/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | Got 2 and in use |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/WS-AD/2021-02 |  | 1/3/2022 |  |  |  |  |  | In use | Functional |
| Weighing Scale, Infant 2 | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/WS-INF/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | Received 2 all in use |
|  | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/WS-INF/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Weighing Scale, Toddler 1 | Health |  | WHITE IN COLOR | 60 | APA/KHCIII/WS-TD/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Only 1 got and functioning |
| Wheel Chair 4 | Health |  | BLACK | 60 | APA/KHCIII/WC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | They got 4 and all are working |
|  | Health |  | BLACK | 60 | APA/KHCIII/WC/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLACK | 60 | APA/KHCIII/WC/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLACK | 60 | APA/KHCIII/WC/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Audio Visual Equipment 1 | Health |  | BLACK | 60 | APA/KHCIII/PR/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | One received and si working |
| Medical Waste Bin 15 | Health |  | STAINLESS | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | 15 bins received and all are in use |
| Wall Clock 4 | Health |  | MIXED BLUE AND WHITE | 60 | APA/KHCIII/WC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | 4 received 2 are in store. They are first utilising the 2 |
|  | Health |  | MIXED BLUE AND WHITE | 60 | APA/KHCIII/WC/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | MIXED BLUE AND WHITE | 60 | APA/KHCIII/WC/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | MIXED BLUE AND WHITE | 60 | APA/KHCIII/WC/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for MCH 3 | Health |  | WHITE COLOR | 60 | N/A |  | 1/3/2022 |  |  |  |  |  | In use | They received 3 and all are in use |
|  | Health |  | WHITE COLOR | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | WHITE COLOR | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for OPD 2 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | In use | Received 2 and all are in use |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Glassware Set, Laboratory, Basic 2 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Got 2 all functioning |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Hollow Ware Set, Treatment 1 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Only 1 received and in use |
| Instrument Set, Dressing 1 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Instrument Set, Basic ENT 1 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  |  | 60 |  |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Pulse Oximeter, Hand held 2 | Health |  |  | 60 | APA/KHCIII/OXY-FM/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | 2 received and in use |
|  | Health |  |  | 60 | APA/KHCIII/OXY-FM/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Bed, Adult Patient with Mattress 10 | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Received 10 beds and all are in use |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-05 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-06 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-07 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-08 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-09 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND CREAM | 60 | APA/KHCIII/AB/2021-10 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Bed, Pediatric Patient, With Mattress 4 | Health |  | BLUE AND WHITE | 60 | APA/KHCIII/PB/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 4 bed and missing 1 mattresses |
|  | Health |  | BLUE AND WHITE | 60 | APA/KHCIII/PB/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND WHITE | 60 | APA/KHCIII/PB/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | BLUE AND WHITE | 60 | APA/KHCIII/PB/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Bedside Locker 10 | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | The facility got 10 lockers and all in usel |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-03 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-04 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-05 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-06 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-07 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-08 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-09 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  | LIGHT GREY | 60 | APA/KHCIII/LC/2021-10 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | Health |  |  |  | APA/KHCIII/MC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Received 1 and is in use |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual 1 | Health |  | BLACK AND WHITE | 60 | APA/KHCIII/DB/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | 1 bed received and functional |
| Oxygen Therapy Apparatus, Mininum 45L cylinder 2 | Health |  | RED IN COLOR | 60 | APA/KHCIII/OXY-MY/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | The facility got 2 oxygen and all are in use |
|  | Health |  | RED IN COLOR | 60 | APA/KHCIII/OXY-MY/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Resuscitator Manual, Infant, with all Mask sizes 1 | Health |  |  |  | APA/KHCIII/RES/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | One received and in use |
| Resuscitator Manual, Adult, with all mask sizes 1 | Health |  |  |  | APA/KHCIII/RES/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | 1 received and in use |
| Suction Apparatus, (Electric) 1 | Health |  | BLACK | 60 | APA/KHCIII/SA/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | One in use |
|  | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic 1 | Health |  |  |  | APA/KHCIII/NEB/2021-01 |  | 1/3/2022 |  |  |  |  |  | Not in use | It’s in store due to the presence of old one, which is not under UGIFT |
| Oxygen Concentrator, Duo Flow 1 | Health |  | WHITE | 60 | APA/KHCIII/OXY-CON/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Bench 4 | Health |  | COFFEE BROWN IN COLOR | 60 | APA/KHC/BC/2021-01 |  | 1/3/2022 |  |  |  |  |  | In good working condition | 4benches received all put to use |
|  | Health |  | COFFEE BROWN IN COLOR | 60 | APA/KHC/BC/2021-02 |  | 1/3/2022 |  |  |  |  |  | In good working condition | Functional |
|  | Health |  | COFFEE BROWN IN COLOR | 60 | APA/KHC/BC/2021-03 |  | 1/3/2022 |  |  |  |  |  | In good working condition | Functional |
|  | Health |  | COFFEE BROWN IN COLOR | 60 | APA/KHC/BC/2021-04 |  | 1/3/2022 |  |  |  |  |  | In good working condition | Functional |
| Disinfection Buckets 1 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | 1 received and in use |
| Baby Cot 2 | Health |  |  | 60 | APAKHCIII/COT/2021-01 |  | 1/3/2022 |  |  |  |  |  | Look a bit old | 2 baby cot and in use |
|  | Health |  |  | 60 | APAKHCIII/BC/2021-02 |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Diagnostic Equipment Set for Ward 3 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | In use | Received 3 sets and 2 have been used. 1 still in store waiting for the 2 to be done |
| Hollow Ware Set, Ward 2 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Very few in the box | 2 received and they are almost done |
| Instrument Set, Delivery 2 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | In use | 2 sets received and all are in use |
| Instrument Set, Stitch Removing 4 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | In use | They received 4 sets and 1 in store. Waiting for the 3 to get done. |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Not engraved |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Not engraved |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Not engraved |
| MVA Kit 5 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | good | Not engraved |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  | Not engraved |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  | Not engraved |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  | Not engraved |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  | Not engraved |
| Stool, Laboratory 3 | Health |  |  | 60 | APA/KHCIII/KHCIII/LAB-ST/2021-01 |  | 1/3/2022 |  |  |  |  |  |  | Received 3 stools and all in use |
|  | Health |  |  | 60 | APA/KHCIII/ST/2021-02 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  |  | 60 | APA/KHCIII/LAB-ST/2021-03 |  | 1/3/2022 |  |  |  |  |  |  |  |
| Penguin Sucker 4 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  | Got 4 penguins and 1 is not functioning |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  |  |  |
| Fetoscope, Dopplar 1 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | They got only Fetoscope without Doppler | Still in the store waiting for Doppler |
| Bubble CPAP 2 | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Told its in use but seems very brand new not in use | Still brand new, |
|  | Health |  |  | 60 | Not engraved |  | 1/3/2022 |  |  |  |  |  | Good | Functional |
| Centrifuge (Electric) 1 | Health |  |  | 60 | APA/KHCIII/LAB-CENT/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | Received 1 and working |
| Kangaroo Mother Care Chair 1 | Health |  | BROWN AND WHITE | 60 | APA/KHCIII/KMC/2021-01 |  | 1/3/2022 |  |  |  |  |  | In poor condition | 1 in use but not good |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli 1 | Health |  |  |  | Not engraved |  | 1/3/2022 |  |  |  |  |  | In use | 1 and working |
| Delivery Bed 1 | Health |  | BLACK | 60 | APA/KHCIII/DB/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | 1 received and in use |
| Examination light 3 | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/LT/2021-01 |  | 1/3/2022 |  |  |  |  |  | In use | All the 3 received are in use |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/LT/2021-02 |  | 1/3/2022 |  |  |  |  |  | In use | Functional |
|  | Health |  | BLACK | 60 | APA/KHCIII/LT/2021-03 |  | 1/3/2022 |  |  |  |  |  | In use | Functional |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair 7 | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/OC/2021-01 |  | 1/3/2022 |  |  |  |  |  | In good conditions | All the 7 chairs in good use |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/OC/2021-02 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/OC/2021-03 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/OC/2021-04 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/OC/2021-05 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/OC/2021-06 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  | BLACK IN COLOR | 60 | APA/KHCIII/OC/2021-07 |  | 1/3/2022 |  |  |  |  |  |  |  |
| Desk 5 | Health |  | COFFEE BROWN | 60 | APA/KHCIII/DC/01 |  | 1/3/2022 |  |  |  |  |  | They are in good conditions | Received 5 desks and all in use |
|  | Health |  | COFFEE BROWN | 60 | APA/KHCIII/DC/02 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  | COFFEE BROWN | 60 | APA/KHCIII/DC/03 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  | COFFEE BROWN | 60 | APA/KHCIII/DC/04 |  |  |  |  |  |  |  |  |  |
|  | Health |  | COFFEE BROWN | 60 | APA/KHCIII/DC/05 |  | 1/3/2022 |  |  |  |  |  |  |  |
| Filing Cabinet 6 | Health |  |  | 60 | APA/KHCIII/FC/2021-01 |  | 1/3/2022 |  |  |  |  |  | Good looking | All 6 in use |
|  | Health |  |  | 60 | APA/KHCIII/FC/2021-02 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  |  | 60 | APA/KHCIII/FC/2021-03 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  |  | 60 | APA/KHCIII/FC/2021-04 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  |  | 60 | APA/KHCIII/FC/2021-05 |  | 1/3/2022 |  |  |  |  |  |  |  |
|  | Health |  |  | 60 | APA/KHCIII/FC/2021-06 |  | 1/3/2022 |  |  |  |  |  |  |  |
| Non Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  | All in use | 1 maternity ward 1 pit latrine 1 placenta pit |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Health |  |  |  |  |  |  |  |  |  |  |  |  | 1 staff quarters |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |