ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | NORTH CENTAL |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government | KYANKWANZI |
| VERIFIER PARTICULARS |  |
| Full name | NAKITENDE SHARIFAH FATUMA YASIN NAKAGWA HINDU |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIKOMA  HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift B y repairing them (Mubende Region) |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, Every after 6 months |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | - Poor electricity - Lack of water |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 02 | OPD |  | BLACK,GREY |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| Autoclave 20 Liters.,Duo Operated 02 | MAT& STORE |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | 1 IN USE 1 IN STORE |
| Bowl, Kick | MAT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | MAT |  | SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved | LAB |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | MAT, OPD, OFFICES |  | OFF WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  |  |  |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | WARD |  | BLUE,WHITE,SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | MAT |  | SLIVER, BLACK |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | MAT, STORE |  | BLACK, GREY |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED | MAT, STORE |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 | LAB |  | BLACK |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 04 | LAB, STORE |  | RED, STORE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | 2 IN LAB,2 IN STORE |
| Height Meter | OPD ,MAT |  | GREY,WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 02 | MAT, OPD |  | SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONNG | IN USE |
| Microscope Binocular | LAB, STORE |  | CREAM |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | 1 IN LAB, 1 STORE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | OPD, MAT |  | BLACK |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | POSTNENTO WARD, WARD, MAT |  | BLUE,SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| Patient Trolley | OPD, MAT |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | LAB, MAT |  | GREY |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | OPD MAT |  | BLUE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN UDE |
| 08 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch | LAB |  | WHITE, GREY |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | OPD , WARD, MAT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | MAT |  | SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | MAT, OPD |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | MAT |  | GREY |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | EPI |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | OPD MAT |  | BLACK |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | EVERY DEPT |  | SLIVER WITH A PEDAL |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | MAT |  | SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | OPD |  | SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | LAB |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | WARD |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | OPD |  | SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | OPD |  | SLIVER |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | OPD MAT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | FEMALE WARD MALE WARD |  | BLUE, WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | PEDIATRIC WARD |  | PINK,BLUE, WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | EVERY DEPT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | MAT |  | GREY |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | PEDIRIATIC WARD, MAT, STORE |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | KANGARO |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | MAT |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | MAT |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | WARD |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | KANGARO, MAT |  | GREY |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench | MAT |  | BLACK, BROWN |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | MAT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory | LAB |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | MAT |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar | MAT |  | WHITE |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | LAB |  | GREEN |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | KANGARO |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer | MAT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | MAT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light | MAT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | OPD |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | LAB INCHARGE 2 |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 06 | ANC 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | DATA 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ASS IN CHARGE 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | LAB 1 ANC 1 |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 05 | INCHARGE 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | DATA 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | C/O 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | LABOUR SUIT 1 |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | IMPATIENT |  | 12 ECEPTION |  | KKMHC111/OF/03 |  |  |  |  |  |  |  |  |  |
| 02 BLOCKS | LABOUR SUIT |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
|  | POSTNETO |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  | EACH WITH 2 SELF CONTAINED ROOMS |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| 03 BLOCKPLACENTA PIT (1) |  |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| PATIENTS PIT LATRINE (2) |  |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| STAFF QUARTER TOILETS (03) |  |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUNCTIONING | IN USE |
| WATER TANKS(9) 10,000 LTRS (2) 5000 LTRS(6), 1000 LTRS (6) |  |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUCTIONING | IN USE |
| SOLAR |  |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUCTIONING | IN USE |
| FIRE EXTINGUISHERS |  |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUCTIONING | IN USE |
| NOTICES BOARDS (5) |  |  |  |  | KKMHC111/OF/03 |  |  |  |  |  |  |  | FUCTIONING | IN USE |

APPENDIX

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: BUNANYWA SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | 1162 |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift By repairing them |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Lunch for Leaners

- Transport during rainy season

- Lack of enough blocks

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL……………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3 Seater desks (119) | classrooms |  | Brown |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | Still in use |  |
| Teacher tables (12) | Staffroom |  | Brown |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Teacher chairs (12) | Staffroom |  | Brown,Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Labaratory stool (182) | Lab, Store |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | 15 not in use |  |
| Lab tables (46) | Lab |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | All Functioning | In use |  |
| Teachers tables (12) | Staffroom |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Lockable Shelves (17) | Staffroom |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Office desks (3) | Office |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Office chairs (3) | Office |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Oppen Shelves (6) | Office |  | Functioning |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Chairs (303) | Library |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | 7 broken other in use | In use |  |
| Tables (113) | Library |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Office chairs (19) | Office |  | Brown, Black |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Office desks (4) | Office |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Class rooms (6 blocks) | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Science lab (1 block) | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Multi purpose hall (1) | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Administration block (1) | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Staff houses (3 blocks) | Staff quators |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Kitchen (3 blocks) | Teachers quators |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| 2 Stance VIP (2 blocks) | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| 5 Stance VIP (2 Blocks) | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Computers (29) | Computer lab |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In n use |  |
| Projector (1) | Classroom |  |  |  |  |  |  |  |  |  |  | Functioning | In use |  |
| Printer (1) | Computer Labaratory |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Water tank (3) | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Gas system (2) | Science lab |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Bunsen bunners (26) | Computer lab |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Din board (58) | Classrooms |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | 12 are broken | 46 in use |  |
| Laptop (02) | Office |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |
| Pitch | Compound |  |  |  | NOT ENGRAVED |  |  |  |  |  |  | Functioning | In use |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

APPENDX