# ASSET VERIFICATION AND RECORDING TOOL KIT

Nyamarunda Health Centre III, Kibaale

Transcribed from the combined handwritten scan DOC-20260924-WA0023.pdf. Only the rows read from the named pages are entered. The scan is filed once under team-30/_team-documents.

# Verification details

| Region | Central |
| --- | --- |
| Sub-region | Buganda |
| Verifiers | Ali Kasule and Nakandi Aidah |
| Supervisor | Depaul Mbonigaba, 0788483159 |
| Handwritten source | DOC-20260924-WA0023.pdf, filed once under team-30/_team-documents |
| Local government | Kibaale District |
| Facility | Nyamarunda Health Centre III |
| Scan pages | 107-121 |

# Interview

| Question | Answer |
| --- | --- |
| 2. Maintenance | They report the broken items to the district DHO. There is no known system used to monitor the assets. They are put aside and await feedback from the DHO. |
| 3. Functionality record | Yes. They record all the nonfunctional and broken assets and wait for their supervisor's guidance. |
| 4. Effect and challenges | Poor workmanship in staff quarters and poor electrical installation. Inadequate water security. Poor compound levelling and drainage. Inadequate storage space. Assets not labelled. Incomplete fixed-asset register. |
| Recommendations | Conduct a technical assessment of the staff quarters. Install appropriate burglar-proofing on windows. Consider expanding or improving the storage facilities to accommodate and secure storage of instruments and supplies. |

# Checklist opening page

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Cost | Recovery Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Aneroid wall mounted |  | 1 | Blue and white |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters, Duo Operated |  | 1 | Circular, stainless steel |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  | 2 | Stainless steel with wheels |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Steel, Lockable |  | 3 | Chrome metal grey |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Drip Stand |  | 10 | Stainless steel with blue plastic handles |  | Not engraved |  |  |  |  |  |  |  |  |  |