# ASSET VERIFICATION AND RECORDING TOOL KIT

Busunju Health Centre III, Mityana

Transcribed from the combined handwritten scan DOC-20260924-WA0023.pdf. Only the rows read from the named pages are entered. The scan is filed once under team-30/_team-documents.

# Verification details

| Region | Central |
| --- | --- |
| Sub-region | Buganda |
| Verifiers | Ali Kasule and Nakandi Aidah |
| Supervisor | Depaul Mbonigaba, 0788483159 |
| Handwritten source | DOC-20260924-WA0023.pdf, filed once under team-30/_team-documents |
| Local government | Mityana District |
| Facility | Busunju Health Centre III |
| Scan pages | 1-20 |

# Interview

| Question | Answer |
| --- | --- |
| 2. Maintenance | There is no known system used to monitor the assets at the facility and the compound. Broken assets are put aside to wait for their supervisor to send down new ones. |
| 3. Functionality record | Yes, but only by putting the records to wait for their supervisor's guidance. |
| 4. Effect | Improved diagnosis and monitoring equipment, especially BP machines and weighing scales, has improved the facility's ability to improve maternity and newborn care. |
| Challenges | Inadequate and unreliable water supply. Poor access to the main road during the rainy season. Staffing gaps outstanding. |
| Recommendation | The district and Ministry of Health should prioritise water and sanitation access to the maternity ward. Staffing follow-up by the supervisor should be undertaken to ensure gaps in staffing are addressed. |

# Checklist opening page

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Cost | Recovery Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD |  | White, digital, blue ink |  | Not engraved |  |  |  |  |  |  |  |  |  |
| B.P. Machine, Aneroid wall mounted | OPD |  | Blue and white |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters, Duo Operated |  |  | Silver and blue |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Maternity |  | 1 stand, stainless steel |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Maternity |  | 1 stand, stainless steel |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Counting chamber, Neubauer improved | Lab |  | 2 microscopes, white |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Cupboard, Steel, Lockable | Lab |  | 2 metallic, white in colour |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Drip Stand | Casualty | 8 | Stainless steel with wheels and castors |  | Not engraved |  |  |  |  |  |  |  |  |  |