# ASSET VERIFICATION AND RECORDING TOOL KIT

Namungo Health Centre III, Mityana

Transcribed from the combined handwritten scan DOC-20260924-WA0023.pdf. Only the rows read from the named pages are entered. The scan is filed once under team-30/_team-documents.

# Verification details

| Region | Central |
| --- | --- |
| Sub-region | Buganda |
| Verifiers | Ali Kasule and Nakandi Aidah |
| Supervisor | Depaul Mbonigaba, 0788483159 |
| Handwritten source | DOC-20260924-WA0023.pdf, filed once under team-30/_team-documents |
| Local government | Mityana District |
| Facility | Namungo Health Centre III |
| Scan pages | 75-106 |

# Interview

| Question | Answer |
| --- | --- |
| 2. Maintenance | The facility ensures daily cleaning and safe storage. Items that have been damaged are reported to the DHO. |
| 3. Functionality record | They record all the unfunctional and broken assets to the DHO and wait for feedback. |
| 4. Effect | Improved quality of care. The BP machines have improved screening for hypertension in OPD and maternity. Improved maternity and infection prevention; bowls and bed stands helped in infection control. |
| Challenges | Some items like BP machines are no longer working. They got spoilt because it has been a long time since they were supplied. Inadequate staff quarters, the medicine building is in bad state. No water supply; they depend on rainwater. Lack of space for wards and laboratory. |

# Checklist opening page

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Cost | Recovery Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  | 4 | White and blue |  | Not engraved |  |  |  |  |  |  |  |  |  |
| B.P. Machine, Aneroid wall mounted |  | 2 | Blue |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters, Duo Operated |  | 2 | Metallic, grey and blue |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  | 1 | Stainless steel, silver |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Counting chamber, Neubauer improved |  | 2 | White and blue |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  | Silver and blue |  | Not engraved |  |  |  |  |  |  |  |  |  |