ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | KASANDA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | Ali Kasule – Nakandi Aidah |
| Contact/ email and Telephone | 0758399112 – aalikasule@gmail.com 0703266299 – nakandiaidah6@gmail.com |
| Supervisor/ Sub team leader | DePaul Mbonigaba Rukara |
| Name | DePaul Mbonigaba Rukara |
| Contact | +256 788 483159 |
| Date of submission | 28/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NAMABAALE HC 111

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes the facility had a delivery note from the supplier but lacked proper assets register that has standard detailed points like serial numbers, Tag numbers. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift - There is no known system used to maintain the assets at the facility and all the worn out and Brocken down assets are put aside to wait for their superiors to guide them on next steps. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yess they but by only putting them aside to wait from their superior’s guidance. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT support has significantly improved service delivery at Namabaale Health Centre III by providing essential medical equipment and facility assets that have strengthened diagnosis, treatment, maternal and newborn care, and the general working environment. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: KASANDA DISTRICT LOCAL GOVERNMENT     NAME OF HEALTH FACILITY: NAMABAALE HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | OPD |  |  |  | NOT Engraved |  | 23/12/2025 |  |  |  |  |  |  | Supplier quantity: 2 |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters., Duo Operated | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Maternity - |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 3 |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | General ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | OPD -1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Hemoglobin Meter, Digital | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | MCH / Child Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | MCH / Child Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | 1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Medical Waste Bin | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | General ¦ Facility |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | OPD-4 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 4 |
| Instrument Set, Basic ENT | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient with Mattress | WARD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filling Cabinet | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | General ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | General ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | General ward -2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Delivery Bed, Hydraulic Manual | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Maternity / Ward-2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Resuscitator Manual, Infant, with all Mask sizes | OPD -1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Resuscitator Manual, Adult, with all mask sizes | OPD -1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Suction Apparatus, (Electric) | Maternity / Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Maternity / Ward -1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Oxygen Concentrator, Duo Flow | Maternity / Ward -1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Bench | OPD / Waiting Area -4 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 4 |
| Disinfection Buckets | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Diagnostic Equipment Set for Ward | OPD -2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Hollow Ware Set, Ward | OPD -2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Instrument Set, Delivery | 5 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 5 |
| Instrument Set, Stitch Removing | OPD -5 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 5 |
| MVA Kit | OPD-5 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 5 |
| Stool, Laboratory | LAB |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | Maternity / Neonatal -3 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 3 |
| Fetoscope, Doppler | Maternity -2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Bubble CPAP | Maternity / Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Maternity / Neonata -1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | 1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | 14 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 14 |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave, External Heater | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 ¦ Added from Rima delivery/installation document |
| B.P. Machine aneroid | Maternity / Ward - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Bed, Pediatric | Maternity / Ward -4 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 4 |
| Fetoscope | Maternity / Ward - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Suction Apparatus, foot | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |
| Bucket, Set (3 each) for disinfection | Maternity / Ward - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 2 |
| Venturi Mask with tubing | Maternity / Ward - 15 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 15 |
| Stool, Surgeon | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Supplier quantity: 1 |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school:

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG KASANDA  LOCAL GOVERNMENT Name of SCHOOL – _________________________________________

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL ____________________________________________

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL ____________________________________

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

MAJOR CONCERNS, CHALLENGES AND RECOMMENDATIONS

NAMABAALE HEALTH CENTRE III

UGIFT ASSET VERIFICATION – FIELD OBSERVATIONS

A. Absence of an Assets Register

Concern/Observation: The Health Centre did not have a proper Assets Register available for review during the verification exercise. This makes it difficult to establish a complete and reliable record of the equipment and other assets received, including their identification, location, condition and accountability status.

Recommendation: The Health Centre should establish and maintain an updated Assets Register in the prescribed format. All UGIFT-supported assets should be recorded promptly with relevant identification details, including asset description, quantity, asset/tag number, location, condition and other applicable particulars. The register should be kept securely and updated whenever assets are received, transferred, repaired, disposed of or otherwise change status.

B. Unavailability of the Facility In-charge and Delayed Access to Assets

Concern/Observation: The Facility In-charge was not available at the time of the verification exercise, and the required items were not made available within the expected time. This delayed the verification process and made it difficult to promptly confirm the presence, location and status of the relevant assets.

Recommendation: For future verification, the facility management should ensure that the In-charge or another officially designated responsible officer is available throughout the scheduled exercise. The required UGIFT assets and supporting documentation should also be identified and prepared in advance to facilitate timely physical verification, reconciliation and recording.

C. Inadequate Number of Beds

Concern/Observation: The verification exercise noted that the number of beds available at the Health Centre was not adequate for the facility's service delivery needs. The limited bed capacity may constrain the facility's ability to accommodate patients appropriately and provide services in a suitable care environment.

Recommendation: The responsible authorities should assess the facility's bed requirements against its service delivery needs and determine the additional bed capacity required. Where justified, consideration should be given to providing additional appropriate beds and mattresses to improve patient accommodation and support effective service delivery.

Overall Recommendation

The Health Centre should strengthen asset management and preparedness for verification exercises by maintaining an updated Assets Register, ensuring availability of responsible facility personnel and supporting documents, and addressing identified gaps in essential facility equipment and furniture, particularly bed capacity.

Namabaale Health Centre III – Major Concerns, Challenges and Recommendations