ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: | WAKISO AND GREATER MPIGI |
| Name of Local Government | KIRA MUNICIAPL COUNCIL |
| VERIFIER PARTICULARS |  |
| Full name | NAMPEBWA EMILY |
| Contact/ email and Telephone | 0767056346 emilynampebwa@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Lawrence Kalwoya |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NSAWO  HEALTH CENTER  III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility uses PHC funds to repair/ service/ replace the assets provided under UgIFT

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

YES

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

BENEFITS

- Better service delivery- number of deliveries and OPD patients has increased because the facility has enough equipment’s and supplies to meet the targeted population.

- Fridge and centrifuge in the laboratory help to keep vaccines safe and samples safe too.

CHALLENGES

- Power challenge- the existing power source is not enough to enable the efficient running of some of the machines that were received by the facility.

- Poor external drainage and compound flooding during heavy downpour

- Fence is made of bribed ware which increases the risk of theft

RECOMMENDATIONS

- Construction of drainage channel around the facility, levelling and murramming of the compound

- Extend solar/ or an alternative power backup

- Provide a linkage between the facility administration and service providers for maintenance of faulty equipment.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: KIRA MUNICIPAL COUNCIL NAME OF HEALTH FACILITY: KIREKA NSAWO HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (01) | HEALTH |  | Consists of an inflatable cuff with a connecting tube, digital display unit and uses batteries for operations |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| B.P. Machine (Aneroid wall mounted) (02) | HEALTH |  | Clinical sphygmomanometer with a large, rotatable round dial |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Autoclave 20 liters., Duo Operated (1) | HEALTH |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Bowl, Kick (02) | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame that can be moved around by kicking with foot |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Bowl Stand (03) | HEALTH |  | Low stand made of stainless steel with two circular rings to hold washing bowls |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Counting chamber Neubauer- Improved (02) | HEALTH |  | Glass counting chamber with improved Neubauer ruling for counting blood cells |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Cupboard Steel, Lockable (02) | HEALTH |  | Double door storage cabinet, locking steel handles and shelves inside |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Drip Stand(04) | HEALTH |  | Stainless steel with adjustable height with wheels and hooks to hang medicine drips |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| ESR Stand (01) | HEALTH |  | Rectangular plastic stand with holes and clips to hold ESR tubes |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Examination Couch(02) | HEALTH |  | Washable padded black surface with a metallic frame adjustable black rest (head) |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Examination light,LED (02) | HEALTH |  | White in color, movable with functional rollers and cables to enable charging |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Glucometer (3) | HEALTH |  | Hand held electronic device with a small screen, a slot where you insert a test strip and button for control |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  | In use |
| Height Meter (01) | HEALTH |  | Head piece that rests on patient’s head, with a scale in centimeters |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Instrument Trolley(02) | HEALTH |  | Stainless steel with shelves, push handles and a ring for inserting a bowl |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Microscope Binocular (01) | HEALTH |  | Brand; Euromex White in color with black lens |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Otoscope(01) |  |  |  |  |  |  |  |  |  |  |  |  |  | In use |
| Patient Screen (04) | HEALTH |  | Foldable, white and blue curtains with a steel frame and movable from one place to another |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Patient Trolley(01) |  |  |  |  |  |  |  |  |  |  |  |  |  | In use |
| Refrigerator, Basic (01) | HEALTH |  | 2 doors, silver in color |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Stethoscope (02) | HEALTH |  | Black tube, ear tip stainless steel chest piece |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (01) | HEALTH |  | Blue mattress wheeled with a steel frame |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Stove, Gas (01) | HEALTH |  | 2 Burner gas with auto ignition BRAND :UMAX |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Weighing Scale with Height Meter, Adult(02) |  |  |  |  |  |  |  |  |  |  |  |  |  | In use |
| Weighing Scale, Infant(02) | HEALTH |  | White in color tray type that uses batteries to operate |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Weighing Scale, Toddler(02) | HEALTH |  | Spring-loaded hanging mechanism with an analog circular dial face. |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Wheel Chair | HEALTH |  | Foldable, black in color with a drip stand, rubber tires |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (06) | HEALTH |  | Stainless metallic containers with foot operation. |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Wall Clock (04) | HEALTH |  | Battery operated circular device with numbers and a frame with glass |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Diagnostic Equipment Set for MCH (02)s | HEALTH |  | Contains many equipment in a carry case |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Diagnostic Equipment Set for OPD (02) |  |  |  |  |  |  |  |  |  |  |  |  | Good | In use |
| Glassware Set, Laboratory, Basic (02) | HEALTH |  | A set of glass apparatus used in the laboratory |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Hollow Ware Set, Treatment | HEALTH |  | A set of stainless-steel equipment |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Instrument Set, Dressing (02) | HEALTH |  | Stainless steel and contains all equipment |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Instrument Set, Basic ENT(03) | HEALTH |  | A Complete Basic ENT Diagnostic Set Packed in Stainless Carry Case With A Cover |  |  |  |  |  |  |  |  |  | Good | In use |
| Instrument Set, Suture | HEALTH |  | A Standard Suture Set Packed in A Stainless-Steel Tray With A Cover |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Pulse Oximeter, Hand held (02) | HEALTH |  | Digital white display rechargeable battery, |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Bed, Adult Patient with Mattress (08) | HEALTH |  | Metallic frame white in color with a black washable mattress, adjustable back rest with wheels and a drip stand |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Bed, Pediatric Patient, With Mattress (05) | HEALTH |  | Black mattress with ,side rails, white and blue with drip stand |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Bedside Locker | HEALTH |  | Grey like lockers with a blue base, has wheels |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Cupboard, Instrument(01) | HEALTH |  | A Metallic Double Door with Upper Glass Panels And Lower Solid Metal Panels |  |  |  |  |  |  |  |  |  |  | In use |
| Delivery Bed, Hydraulic Manual(01) |  |  |  |  |  |  |  |  |  |  |  |  |  | In use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen |
| Resuscitator Manual, Infant, with all Mask sizes (03) | HEALTH |  | White containers containing masks |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Resuscitator Manual, Adult, with all mask sizes (03) | HEALTH |  | White container contains adult masks |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Suction Apparatus, (Electric) (01) | HEALTH |  | Has 2 jars, suction tubing and a foot pedal |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Nebulizer, Ultrasonic (01) | HEALTH |  | Has mask, mouth piece, air tubing medication cups |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Oxygen Concentrator, Duo Flow (02) | HEALTH |  | Humidifier bottle air filter with a nasal cannula |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Bench | HEALTH |  | Wooden metallic frame furniture |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Disinfection Buckets(06) | HEALTH |  | White plastic with covers |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Baby Cot (05) | HEALTH |  | Small bed with a metallic frame, drop sides, wheels and a black mattress |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Diagnostic Equipment Set for Ward(03) | HEALTH |  | Contains Assorted Diagnostic Equipment Packed In A Carry Case |  | Not engraved |  |  |  |  |  |  |  | GOOD | In store |
| Hollow Ware Set, Ward(03) | HEALTH |  | A Set of Stainless Steel Hallow Ware Packed In A Tray |  | Not engraved |  |  |  |  |  |  |  | GOOD | In store |
| Instrument Set, Delivery (03) | HEALTH |  | Complete Delivery Set Packed in A Stainless-Steel Drum with A Cover |  | Not engraved |  |  |  |  |  |  |  | GOOD | In store |
| Instrument Set, Stitch Removing (03) | HEALTH |  | Contains a set of equipment in a carry bag |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| MVA Kit (03) | HEALTH |  | Packed in stainless tray with a cover |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Stool, Laboratory | HEALTH |  | A movable revolving laboratory stool with adjustable heights |  |  |  |  |  |  |  |  |  | Good | In use |
| Penguin Sucker (03) | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Fetoscope, Doppler(01) | HEALTH |  | Hand held portable battery-operated device for detecting and measuring fetal heart rate |  | Not engraved |  |  |  |  |  |  |  | Good | In use |
| Bubble CPAP (02) | HEALTH |  | Patient circuit nasal interface |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Centrifuge (Electric) (02) | HEALTH |  | A grey and blue machine with a timer used in the laboratory |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Kangaroo Mother Care Chair (01) | HEALTH |  | Brown chair padded with seat, has a back rest that can be adjusted with arm and foot rests |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Radiant Infant Warmer (1) | HEALTH |  | Mobile electronically operated warmer with glasses consisting of trolley with a base net, switch , control panels and alarms |  | Not engraved |  |  |  |  |  |  |  | GOOD | The radiant infant warmer was received without glasses |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | In use |
| Delivery Bed (1) | HEALTH |  | Black in color, adjustable with padded shoulder rests, a large metal base with brakes |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal (04) | HEALTH |  |  |  |  |  |  |  |  |  |  |  | GOOD | In use |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair (4) | HEALTH |  | Black leather with handles and wheels |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Desk (3) | HEALTH |  | Long brown wooden tables with lockable drawers |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Filing Cabinet | HEALTH |  | Grey 4 drawer with a vertical locking system |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Non-Residential Buildings | HEALTH |  | Placenta pit Incinerator Medical waste pit Pit latrine with showers |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use |
| Residential Buildings | HEALTH |  | 2 floored building Ground floor has OPD 1st floor has the IPD Another building harbors the maternity ward |  | Not engraved |  |  |  |  |  |  |  | GOOD | In use. |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |