ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: |  |
| Name of Local Government |  |
| VERIFIER PARTICULARS |  |
| Full name |  |
| Contact/ email and Telephone |  |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG; KIIRA TOWN COUNCIL                                        NAME OF HEALTH FACILITY: KIRINYA HC 111, BWEYOGERERE

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | White in color with a screen and plastic frame |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | Functional | IN USE |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | Navy blue, has a bulb and tubing, has a black pulse rate connected on an arm cuff on a holder |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | Functional | One machine is faculty, the needle found in the gauge moves backwards |
| Autoclave 20 Liters, Duo Operated | HEALTH |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves MODEL; YX-280B(24l) NO; EYXB250131 |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | Functional | Not yet in use |
| Bowl, Kick (2) | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame with wheels that can be moved around by kicking with the foot |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | Functional | One is use, while the other is kept in the store |
| Bowl Stand (1) | HEALTH |  | Low stand made of stainless steel with two circular rings to hold washing bowls |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | Functional | In use |
| Counting chamber Neubauer- Improved | HEALTH |  | Rectangular glass slide with droppers |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | SEEN | In store |
| Cupboard Steel, Lockable | HEALTH |  | Rectangular grey double door storage cabinet, locking steel handles and shelves inside |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use |
| Drip Stand | HEALTH |  | Tall stainless-steel with adjustable height with wheels and hooks at the top to hang the drip |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | Some are in use while others are kept at the store |
| ESR Stand | HEALTH |  | Rectangular plastic stand with holes and clips to hold ESR tubes |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In store |
| Examination Couch | HEALTH |  | SIZE:180*70*80cm FUNCTION: Headrest adjustable |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use |
| Examination light, LED | HEALTH |  | Movable lamp on a wheeled stainless-steel stand |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Glucometer | HEALTH |  | Hand held electronic device with a small screen, a slot where you insert a test strip and button for control |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | HB strips received aren’t compactible with the machine |
| Hemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | HEALTH |  | Head piece that rests on patients’ head, stable base plate scale in centimeters |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use, thou not stable on the ground. |
| Instrument Trolley | HEALTH |  | Stainless steel with shelves, push handles and 2 rings for bowls |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use |
| Microscope Binocular | HEALTH |  | Metal body, rotatable white in color |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Patient Screen | HEALTH |  | Foldable, blue curtain and a stainless-steel frame |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Patient Trolley | HEALTH |  | Stainless steel, wheeled push handles at both ends |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Refrigerator, Basic | HEALTH |  | 2 door, CHiQ brand, silver in color Type: CTM150DSK3 NUMBER: 25W 1360151 |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | Seen and well functional |
| Stethoscope | HEALTH |  | Black tube, ear tips stainless steel chest piece |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use,some kept in the store |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  | Not seen |
| Stretcher | HEALTH |  | Blue mattress wheeled with a steel frame with a height adjustable backrest angel adjustable LOT: SS25010110 |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOD | IN USE |
| Stove, Gas | HEALTH |  |  |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN STORE |
| Weighing Scale with Height Meter, Adult | HEALTH |  | Heavy duty steel platform, aluminum height rod, rubber mat |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Weighing Scale, Infant | HEALTH |  | Bowl/tray type battery operated white tray |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE, while the other is kept in the store |
| Weighing Scale, Toddler | HEALTH |  | A small, sturdy device with a flat or tray like platform where a toddler sits or stands |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use |
| Wheel Chair | HEALTH |  | Black, folding, rubber tyres seat and back push handles, rest Frame: Epoxy coated tubular Lot: SS25010115 |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | Some are in use, while the others are kept in the store room |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Medical Waste Bin | HEALTH |  | Metallic containers, foot-operated with a lid |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use across various departments in the health center |
| Wall Clock | HEALTH |  | Battery operated circular, plastic frame with glass |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Diagnostic Equipment Set for MCH | HEALTH |  | Contains many equipment in a carry case |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Diagnostic Equipment Set for OPD | HEALTH |  | Contains many equipment in carry case |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Glassware Set, Laboratory, Basic | HEALTH |  | A set of glass apparatus used in laboratory |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Hollow Ware Set, Treatment | HEALTH |  | A set of stainless-steel equipment’s |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Instrument Set, Dressing | HEALTH |  | Set of stainless-steel instruments, auto cleavable stainless steel |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Instrument Set, Suture | HEALTH |  |  |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Pulse Oximeter, Hand held | HEALTH |  | Digital display rechargeable battery, alarm, white YK-820MiniA 250104080402049 |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Bed, Adult Patient with Mattress | HEALTH |  | Black mattress metallic frame washable adjustable back rest with wheels and drip stand |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Black mattress side rails, cream in color with drip stand. |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Cupboard, Instrument | HEALTH |  | Grey steel with shelves inside |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Delivery Bed, Hydraulic Manual | HEALTH |  | Blue padded surface, washable |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | FUNCTIONAL | Delivery bed was received with a side damage and was patched up. “Refer to the picture in the report” |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | White containers containing different equipment with a cover and reusable |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | SEEN | IN STORE |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | White container containing different equipment and reusable |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | SEEN | IN STORE |
| Suction Apparatus, (Electric) | HEALTH |  | Machine has 2 jars, suction tubing, foot pedal |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE AND ITS FUNCTIONAL |
| Nebulizer, Ultrasonic | HEALTH |  | Has mask, mouth piece, air tubing, medication cups |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | SEEN | IN STORE |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Floor standing, humidifier bottle, air filter, nasal cannula MZJ1OD 144789 Lot No: 23L 1498 |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | FUNCTIONAL AND IN USE |
| Bench | HEALTH |  | Furniture with a metallic frame |  | GOU/MOH-UGIFT PROJECT F/Y 2023/2024 |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Baby Cot | HEALTH |  | Rectangular small bed for infants of steel frame with drop sides, a pink mattress and wheels |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Diagnostic Equipment Set for Ward | HEALTH |  | Consists of different equipment in a carry bag like patella hammer, digital thermometer tongue depressor, penlight, stethoscope |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN STORE |
| Hollow Ware Set, Ward | HEALTH |  | Contains a list of equipment’s |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN STORE |
| Instrument Set, Delivery | HEALTH |  | Contains a list of equipment |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| MVA Kit | HEALTH |  |  |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN STORE |
| Stool, Laboratory | HEALTH |  |  |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | In use, thou one is faulty |
| Penguin Sucker | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Fetoscope, Doppler | HEALTH |  |  |  | Not engraved |  | 6/11/2025 |  |  |  |  |  |  | NOT SEEN |
| Bubble CPAP | HEALTH |  |  |  | Not engraved |  | 6/11/2025 |  |  |  |  |  |  | NOT SEEN |
| Centrifuge (Electric) | HEALTH |  | A grey machine with a timer used in the laboratory S |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | IN USE |
| Kangaroo Mother Care Chair | HEALTH |  | Brown chair with backrest and leg rest angle adjustable, with table board. |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Radiant Infant Warmer | HEALTH |  | Mobile electronically operated warmer with glasses consisting of trolley with a base net, switch, control panels and alarms |  | Not engraved |  | 6/11/2025 |  |  |  |  |  |  |  |
| Hemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | NOT SEEN |
| Office Chair | HEALTH |  | Black leather with handles and wheels |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Desk | HEALTH |  | Long brown wooden tables with lockable drawers |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Filing Cabinet | HEALTH |  | Grey in color with a vertical locking system |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Non-Residential Buildings | HEALTH |  | Placenta pit Incinerator Medical waste pit Pit latrine with showers |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN |
| Residential Buildings | HEALTH |  | 3 Floored building 1st floor has OPD, 2nd floor has maternity wing and 3rd floor has the IPD. |  | Not engraved |  | 6/11/2025 |  |  |  |  |  | GOOD | SEEN Note, the male ward has a leakage from the ceiling |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …BUDDE SECONDARY ……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: ……………………………………………………………………..

Name of SCHOOL: …………………………………………………………

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: ………………………………………………………………..Name of SCHOOL: ……………………………………………………………..

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |