ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: | WAKISO AND GREATER MPIGI |
| Name of Local Government | MAKINDYE SSABAGABO DIVISON |
| VERIFIER PARTICULARS |  |
| Full name | NAMPEBWA EMILY |
| Contact/ email and Telephone | 0767056346 emilynampebwa@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Lawrence Kalwoya |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: MUTUNGO  HEALTH CENTER  III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility commenced operations on 24t August 2026.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

The facility commenced operations on24th August 2026 into the newly constructed health center III building.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Benefits

- The newly constructed facility has got enough rooms and space which provides privacy and comfort for patients during clinical examinations.

- Safe and secure storage of drugs, files and laboratory reagents

- The building has provided shelter to both the patients and staff unlike before when they were operating from an open tent shelter

Challenges

- The facility is less staffed compared to the population.

- Power shortage

- The facility staff aren’t well vast with how to assemble certain medical equipment’s for example the delivery bed.

- Incomplete placenta pit and incinerator

Recommendations

- Solar system to act as a back-up

- Create a linkage between service providers and the health center administration

- Provide training sessions to staff on how to use and operate certain medical equipment

- Complete the constructions of the placenta pit and incinerators.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: MAKINDYE- SSABAGABO DIVISON           NAME OF HEALTH FACILITY: MUTUNGO HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) (2) | HEALTH |  | Clinical sphygmomanometer with a large, rotatable round dial |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Autoclave 20 Liters., Duo Operated (02) | HEALTH |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Bowl, Kick (1) | HEALTH |  | A mobile stainless-steel bowl mounted on a metal frame that can be moved around by kicking with foot |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Bowl Stand (3) | HEALTH |  | Low stand made of stainless steel with two circular rings to hold washing bowls |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable (2) | HEALTH |  | Double door storage cabinet, locking steel handles and shelves inside |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Drip Stand (4) | HEALTH |  | Stainless steel with adjustable height with wheels and hooks to hang medicine drips |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| ESR Stand (1) | HEALTH |  | Rectangular plastic stand with holes and clips to hold ESR tubes |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Examination Couch (2) | HEALTH |  | Washable padded black surface with a metallic frame adjustable black rest (head) |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Examination light, LED (2) | HEALTH |  | White in color, movable with functional rollers and cables to enable charging |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Glucometer (1) | HEALTH |  | Hand held electronic device with a small screen, a slot where you insert a test strip and button for control |  | Not engraved |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) | HEALTH |  | Head piece that rests on patient’s head, with a scale in centimeters |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Instrument Trolley (2) | HEALTH |  | Stainless steel with shelves, push handles and a ring for inserting a bowl |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Microscope Binocular (1) | HEALTH |  | Brand; Olympus CX23 White in color with black lens |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen (4) | HEALTH |  | Foldable, white and blue curtains with a steel frame and movable from one place to another |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic ( |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope (4) | HEALTH |  | Black tube, ear tip stainless steel chest piece |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (2) | HEALTH |  | Blue mattress wheeled with a steel frame |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant( | HEALTH |  | White in color tray type that uses batteries to operate |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Weighing Scale, Toddler | HEALTH |  | Spring-loaded hanging mechanism with an analog circular dial face. |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Wheel Chair (2) | HEALTH |  | Foldable, black in color with a drip stand, rubber tires |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin (4) | HEALTH |  | Stainless metallic containers with foot operation. |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Wall Clock (2) | HEALTH |  | Battery operated circular device with numbers and a frame with glass |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress (10) | HEALTH |  | Metallic frame white in color with a black washable mattress, adjustable back rest with wheels and a drip stand |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Bed, Pediatric Patient, With Mattress (5) | HEALTH |  | Black mattress with ,side rails, white and blue with drip stand |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | HEALTH |  | Has 2 jars, suction tubing and a foot pedal |  | MSMC/MUTUNGO H/C III |  |  |  |  |  |  |  | GOOD | Seen |
| Nebulizer, Ultrasonic) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow (4) | HEALTH |  | Humidifier bottle air filter with a nasal cannula |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Bench | HEALTH |  | Wooden metallic frame furniture |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Disinfection Buckets(4) | HEALTH |  | White plastic with covers |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Baby Cot (5) | HEALTH |  | Small bed with a metallic frame, drop sides, wheels and a black mattress |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit (3) | HEALTH |  | Packed in stainless tray with a cover |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Stool, Laboratory(1) | HEALTH |  | Wheeled round adjustable seat |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Penguin Sucker (1) | HEALTH |  | Soft rubber liked bulb shaped with a penguin nozzle |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) (1) | HEALTH |  | A grey and blue machine with a timer used in the laboratory |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Kangaroo Mother Care Chair (1) | HEALTH |  | Brown chair padded with seat, has a back rest. |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen with broken tray |
| Radiant Infant Warmer () |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed (1) | HEALTH |  | Blue in color, adjustable with padded shoulder rests, a large metal base with brakes |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal (04) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | HEALTH |  | Grey 4 drawer with a vertical locking system |  | Not engraved |  |  |  |  |  |  |  | GOOD | Seen |
| Non Residential Buildings | HEALTH |  | Placenta pit Incinerator Medical waste pit Pit latrine with showers |  | Not engraved |  |  |  |  |  |  |  | GOOD | The placenta pit and incinerator aren’t complete |
| Residential Buildings | HEALTH |  | 3 floored building Ground floor has OPD 1ST floor has maternity wing 2nd floor has IPD with male ward and women together with children’s ward. |  | Not engraved |  |  |  |  |  |  |  | GOOD | All fit for use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |