ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
Email: Cpa@Cpa.Ug

Www.Cpa.Com

August To September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: |  |
| --- | --- |
| SUB-REGION: | WAKISO AND GREATER MPIGI |
| Name Of Local Government | WAKISO LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full Name | NAMPEBWA EMILY |
| Contact/ Email And Telephone | 0767056346 Emilynampebwa@Gmail.Com |
| Supervisor/ Sub Team Leader |  |
| Name | Lawrence Kalwoya |
| Contact | 0774106047 |
| Date Of Submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name Of Health Centre: KASANGATI NGABO HEALTH CENTER  III

| 1a | Does The Facility Have A Record Of All Assets Provided Under Ugift. (Obtain A Record And Verify If It Has The Costs And Numbers Supplied | YES |
| --- | --- | --- |
| 1b | If Not Ask How Many Were Supplied And When. |  |

| 2 | How Does This Facility Maintain (Repair/Service/Replace) The Assets Provided Under Ugift |
| --- | --- |

The Facility Commenced Operations On 1st  August 2026.

| 3 | Does The Facility Take Regular Record About Functionality/ Or Breakdown Of The Assets Provided? |  |
| --- | --- | --- |

The Facility Commenced Operations On 1st August 2026.

| 4 | How Has The Ugift Support Helped In Service Delivery In The Area, Any Issues, Challenges And Any Recommendations For Better Program Implementation. |  |
| --- | --- | --- |

Challenges

- The facility is less staffed compared to the population.

- Power shortage

- One delivery bed is not stable on the ground

- Microscope is faulty

Recommendations

- Solar system to act as a back-up

- Create a linkage between service providers and the health center administration

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health Centre Checklist

NAME OF LG : MAKINDYE- SSABAGABO DIVISON           NAME OF HEALTH FACILITY: KASANGATI NGABO  HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life In Months | Tag Number (Engrave No.) | Date Of Purchase | Date Placed In Service | Recoverable Cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital (2) | HEALTH |  | Consists of an inflatable cuff with a connecting tube, digital display unit and uses batteries for operations |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | Good | Seen |
| B.P. Machine (Aneroid Wall Mounted) (1) | HEALTH |  | Clinical Sphygmomanometer With A Large, Rotatable Round Dial |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Autoclave 20 liters., Duo Operated (01) | HEALTH |  | Cylindrical Drum Made Of Stainless Steel With A Heavy Cover With Black Pressure Valves |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Autoclave Doesn’t Have Drums |
| Bowl, Kick (1) | HEALTH |  | A Mobile Stainless-Steel Bowl Mounted On A Metal Frame That Can Be Moved Around By Kicking With Foot |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bowl Stand | HEALTH |  | Low Stand Made Of Stainless Steel With Two Circular Rings To Hold Wahing Bowls |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Counting Chamber Neubauer- Improved (2) |  |  |  |  |  |  | 01st August 2026 |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | HEALTH |  | Double Door Storage Cabinet, Locking Steel Handles And Shelves Inside |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Drip Stand(3) | HEALTH |  | Stainless Steel With Adjustable Height With Wheels And Hooks To Hang Medicine Drips |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| ESR Stand (1) | HEALTH |  | Rectangular Plastic Stand With Holes And Clips To Hold ESR Tubes |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Examination Couch(3) | HEALTH |  | Washable Padded Black Surface With A Metallic Frame Adjustable Black Rest (Head) |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Examination Light,LED (2) | HEALTH |  | White In Color, Movable With Functional Rollers And Cables To Enable Charging |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Glucometer (1) | HEALTH |  | Hand Held Electronic Device With A Small Screen, A Slot Where You Insert A Test Strip And Button For Control |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Haemoglobin Meter, Digital (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter (2) | HEALTH |  | Head Piece That Rests On Patient’s Head, With A Scale In Centimeters |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Instrument Trolley(2) | HEALTH |  | Stainless Steel With Shelves, Push Handles And A Ring For Inserting A Bowl |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Microscope Binocular (1) | HEALTH |  | White In Color with Black Lens |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | It Doesn’t Visaualize, Machine Can Only Do Urinalysis |
| Otoscope |  |  |  |  |  |  | 01st August 2026 |  |  |  |  |  |  |  |
| Patient Screen (4) | HEALTH |  | Foldable, White And Blue Curtains With A Steel Frame And Movable From One Place To Another |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic (1) | HEALTH |  | 2 Doors, Silver In Color |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stethoscope (5) | HEALTH |  | Black Tube, Ear Tip Stainless Steel Chest Piece |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher (1) | HEALTH |  | Blue Mattress Wheeled with A Steel Frame |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stove, Gas (1) | HEALTH |  | 2 Burner Gas with Auto Ignition |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Thou It Was received When broken |
| Weighing Scale With Height Meter, Adult (2) | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant(2) | HEALTH |  | White In Color Tray Type That Uses Batteries To Operate |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Weighing Scale, Toddler(2) | HEALTH |  | Spring-Loaded Hanging Mechanism With An Analog Circular Dial Face. |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Wheel Chair (4) | HEALTH |  | Foldable, Black In Color With A Drip Stand, Rubber Tires |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Pead Wheel Chair=3 Adult Wheel Chair=1 |
| Audio Visual Equipment | HEALTH |  | TV 40 Inch |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | SEEN |
| Medical Waste Bin (7) | HEALTH |  | Stainless Metallic Containers With Foot Operation. |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Wall Clock (1) | HEALTH |  | Battery Operated Circular Device With Numbers And A Frame With Glass |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set For MCH (1)S | HEALTH |  | Contains Many Equipment In A Carry Case |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set For OPD |  |  |  |  |  |  | 01st August 2026 |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic (2) | HEALTH |  | A Set Of Glass Apparatus Used In The Laboratory |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Hollow Ware Set, Treatment (3) | HEALTH |  | A Set Of Stainless-Steel Equipment |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Instrument Set, Dressing (2) | HEALTH |  | Stainless Steel And Contains All Equipment |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Instrument Set, Basic ENT (1) | HEALTH |  | A Complete Basic ENT Diagnostic Set Packed In Stainless Carry Case With A Cover |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | Good | Seen |
| Instrument Set, Suture (1) | HEALTH |  | A Standard Suture Set Packed In A Stainless-Steel Tray With A Cover |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Pulse Oximeter, Hand Held (4) | HEALTH |  | Digital White Display Rechargeable Battery, |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bed, Adult Patient With Mattress (10) | HEALTH |  | Metallic Frame White In Color With A Black Washable Mattress, Adjustable Back Rest With Wheels And A Drip Stand |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bed, Pediatric Patient, With Mattress (10) | HEALTH |  | Black Mattress With, Side Rails, White And Blue With Drip Stand |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen, THOU One Bed Has A Broken Drip Stand |
| Bedside Locker | HEALTH |  | Grey Like Lockers With A Blue Base, Has Wheels |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Cupboard, Instrument | HEALTH |  | A Metallic Double Door With Upper Glass Panels And Lower Solid Metal Panels |  |  |  | 01st August 2026 |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L Cylinder (3) | HEALTH |  | Metallic Cylinder Black In Color |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Resuscitator Manual, Infant, With All Mask Sizes (15) | HEALTH |  | White Containers Containing Masks |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Resuscitator Manual, Adult, With All Mask Sizes (15) | HEALTH |  | White Container Contains Adult Masks |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Suction Apparatus, (Electric) (1) | HEALTH |  | Has 2 Jars, Suction Tubing And A Foot Pedal S/N 043825 |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Nebulizer, Ultrasonic (1) | HEALTH |  | Has Mask, Mouth Piece, Air Tubing Medication Cups Brand: FLO CLINEB |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Oxygen Concentrator, Duo Flow (4) | HEALTH |  | Humidifier Bottle Air Filter With A Nasal Cannula |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Bench (4) | HEALTH |  | Wooden Metallic Frame Furniture |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Disinfection Buckets(4) | HEALTH |  | White Plastic With Covers |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Baby Cot (2) | HEALTH |  | Small Bed With A Metallic Frame, Drop Sides, Wheels And A Black Mattress |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Diagnostic Equipment Set For Ward (2) | HEALTH |  | Contains Assorted Diagnostic Equipment Packed In A Carry Case |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | SEEN |
| Hollow Ware Set, Ward (1) | HEALTH |  | A Set Of Stainless Steel Hallow Ware Packed In A Tray |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | SEEN |
| Instrument Set, Delivery (4) | HEALTH |  | Complete Delivery Set Packed In A Stainless-Steel Drum With A Cover |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | SEEN |
| Instrument Set, Stitch Removing (2) | HEALTH |  | Contains A Set Of Equipment In A Carry Bag |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| MVA Kit (3) | HEALTH |  | Packed In Stainless Tray With A Cover |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Stool, Laboratory | HEALTH |  | Wheeled Round Adjustable Seat |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Penguin Sucker (6) | HEALTH |  | Soft Rubber Liked Bulb Shaped With A Penguin Nozzle |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP (2) | HEALTH |  | Patient Circuit Nasal Interface |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Centrifuge (Electric) (1) | HEALTH |  | A Grey And Blue Machine With A Timer Used In The Laboratory |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer (1) | HEALTH |  | Mobile Electronically Operated Warmer With Glasses Consisting Of Trolley With A Base Net, Switch , Control Panels And Alarms |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Haemoglobin Meter, Sahli (2) |  |  |  |  |  |  | 01st August 2026 |  |  |  |  |  |  |  |
| Delivery Bed (2) | HEALTH |  | Black In Color, Adjustable With Padded Shoulder Rests, A Large Metal Base With Brakes |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen. The Delivery Bed Is Not Stable On The Ground Which Compiled Them To Dismantle It Into Parts |
| Examination Light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, ENT Basic For HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve Mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  | 01st August 2026 |  |  |  |  |  |  |  |
| Office Chair (3) | HEALTH |  | Black Leather With Handles And Wheels |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Desk (4) | HEALTH |  | Long Brown Wooden Tables With Lockable Drawers |  | Not Engraved |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Filing Cabinet | HEALTH |  | Grey 4 Drawer With A Vertical Locking System |  | GOU/MOH UGIFT- PROJECT FY 2023/2024 |  | 01st August 2026 |  |  |  |  |  | GOOD | Seen |
| Non Residential Buildings | HEALTH |  | Placenta Pit Incinerator Medical Waste Pit Pit Latrine With Showers |  |  |  | 01st August 2026 |  |  |  |  |  | GOOD | All Fit For Use |
| Residential Buildings | HEALTH |  | 3 Floored Building Ground Floor Has OPD 1ST Floor Has Maternity Wing 2nd Floor Has IPD With Male Ward And Women Together With Children’s Ward. |  |  |  | 01st August 2026 |  |  |  |  |  | GOOD | All Fit For Use |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name Of School: ………………………………………………………………………………..

| 1a | Does The Facility Have A Record Of All Assets Provided Under Ugift. (Obtain A Record And Verify If It Has The Costs And Numbers Supplied |  |
| --- | --- | --- |
| 1b | If Not Ask How Many Were Supplied And When. |  |

| 2 | How Does This Facility Maintain (Repair/Service/Replace) The Assets Provided Under Ugift |
| --- | --- |

| 3 | Does The Facility Take Regular Record About Functionality/ Or Breakdown Of The Assets Provided? Nonfunctional/ Working, And Reasons For Non-Functionality. |  |
| --- | --- | --- |

| 4 | How Has The Ugift Support Helped In Service Delivery In The Area, Any Issues, Challenges And Any Recommendations For Better Program Implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office Chairs, Laboratory Stools, Book Shelves)

Name Of LG………………………………………………………………… Name Of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life In Months | Tag Number ( Engrave No.) | Date Of Pur | Date Placed In Service | Recoverable Cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name Of LG…………………………………………………………………………… Name Of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life In Months | Tag Number ( Engrave No.) | Date Of Pur | Date Placed In Service | Recoverable Cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential And Residential, Kitchen, Toilets/Pit Latrine Water Tanks, Fences Etc.)

Name Of LG…………………………………………………………………………… Name Of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life In Months | Tag Number ( Engrave No.) | Date Of Pur | Date Placed In Service | Recoverable Cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment Status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |