ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | GREATER MASAKA |
| Name of Local Government | Kyotera District |
| VERIFIER PARTICULARS |  |
| Full name | Nassali Victoria Katrina and Nantumwe Penninah |
| Contact/ email and Telephone | 0760349649/0704321431 |
| Supervisor/ Sub team leader |  |
| Name | Kalyowa Lawrence |
| Contact | 0774106047 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……Nangoma health center 3 …………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

they get funds from different health sector

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | yes |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- CHALLENGES

- they don't know how to use these machines

- they don't have proper means of transport

- they don't have electricity to use this equipment

- they don't have enough workers

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

RECOMMENDATION

- teaching them how to use these equipments

- providing good power

- providing enough workers

- getting them better means

Health centre checklist

NAME OF LG……kyotera District …………………………………… NAME OF HEALTH FACILITY………………nangoma health center 3 …………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | they received 2 white in colour |  | not engraved |  |  |  |  |  |  |  | good | functional |
| B.P. Machine (Aneroid wall mounted) | health |  | they received 2 white in colour with a metallic base |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Autoclave 20 Liters.,Duo Operated | health |  | they are 2 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Bowl, Kick | health |  | they are 2 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Bowl Stand | health |  | they are 2 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Counting chamber Neubauer- Improved | health |  | they are 2 dark UMEC |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Cupboard Steel, Lockable | health |  | they are 2 white in colour |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Drip Stand | health |  | they are 8 white in colour |  | not engraved |  |  |  |  |  |  |  | good | functional |
| ESR Stand | health |  | it is 1 stainless steel |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | health |  | they are 2 Acon brand |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Haemoglobin Meter, Digital | health |  | they are 2 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | health |  | they are 2 stainless |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Microscope Binocular | health |  | it is 1 white in colour |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | health |  | they are 5 pukang |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Patient Trolley | health |  | they are 2 stainless |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Refrigerator, Basic | health |  | they are 2 grey brand basic |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch | health |  | they are 2 not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Stretcher | health |  | they are 2 Guang-dong brand |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Stove, Gas | health |  | they are 2 stabex white 6 kg |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | health |  | they are 6 black in colour with wheels |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Audio Visual Equipment | health |  | it is 1 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Medical Waste Bin | health |  | they received 6 stainless steel |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Wall Clock | health |  | they are 4 round white |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Diagnostic Equipment Set for MCH | health |  | they are 2 durable but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Diagnostic Equipment Set for OPD | health |  | they are 2 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Glassware Set, Laboratory, Basic | health |  | they are 2 glassless and breakable |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Hollow Ware Set, Treatment | health |  | it is 1 durable but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Instrument Set, Dressing | health |  | they are 7 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Instrument Set, Basic ENT | health |  | it is 1 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Instrument Set, Suture | health |  | they are 3 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Pulse Oximeter, Hand held | health |  | they are 2 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Bed, Adult Patient with Mattress | health |  | they are 10 pukang brand |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Bed, Pediatric Patient, With Mattress | health |  | they are 4 pukang brand |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Bedside Locker | health |  | they are 10 grey in colour |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | health |  | it is 1 with a blue mattress |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | health |  | they received 30 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | health |  | it is 1 Owgels |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Bench | health |  | they received 4 wooden |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Disinfection Buckets | health |  | they received 20 normal |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | health |  | they are 2 durable |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Hollow Ware Set, Ward | health |  | it is 1 durable |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Instrument Set, Delivery | health |  | they received 5 durable |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Instrument Set, Stitch Removing | health |  | they received 5 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| MVA Kit | health |  | they received 5 different use WCG brand |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Stool, Laboratory | health |  | they have 3 executive |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | health |  | they are 7 black with swinging in nature |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Desk | health |  | they are 5 wooden |  | not engraved |  |  |  |  |  |  |  | good | functional |
| Filing Cabinet | health |  | they are 6 but not verified |  |  |  |  |  |  |  |  |  | good | functional |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | health |  | it is 1 building for medical |  |  |  |  |  |  |  |  |  | good | functional |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: …KASAALI SEED SECONDARY SCHOOL ……………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

we reached the facility but it was closed no body was there and we tried to take pictures of the assets that we could capture

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| multipurpose hall | education |  | it is 1 block for main hall |  | not engraved |  |  |  |  |  |  |  | good | functional |
| classroom block | education |  | they are 6 classrooms with 3 blocks |  | not engraved |  |  |  |  |  |  |  | good | functional |
| administration block | education |  | it is 1 block shared with office and staff room |  | not engraved |  |  |  |  |  |  |  | good | functional |
| staff quarters | education |  | they are 3 blocks each with 2 rooms |  | not engraved |  |  |  |  |  |  |  | good | functional |
| toilet | education |  | they are 5 blocks with 3 stances |  | not engraved |  |  |  |  |  |  |  | good | functional |