## Sheet1
ARUA REG. BLOOD BANK EQUIPMENT INVENTORY
SN | MODEL NAME | MODEL NO. | SERIAL NO. | ENGRAVED NO. | CONDITION | FACILITY | LEVEL OF FACILITY | DEPARTMENT | ROOM
1 | Stationary donor couch | DK6430 | KA30-1017-00 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
2 | Stationary donor couch | DK6431 | KA30-1017-01 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
3 | Stationary donor couch | DK6432 | KA30-1017-02 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
4 | Stationary donor couch | DK6433 | KA30-1017-03 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
5 | Blood collection balance | BCM-12A | 2309003 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
6 | Blood collection balance | BCM-12A | 2309002 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
7 | Blood collection balance | BCM-12A | 2309008 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
8 | Blood collection balance | BCM-12A | 2309010 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
9 | Blood collection balance | BCM-12A | 2309011 |  | A | ARUA RBB | REG. BLOOD BANK | DONOR CARE | DONOR ROOM
10 | Blood bank freezer | DW-40l568 | DW40L568(01)0694957350807 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
11 | Blood bank freezer | DW-40l569 | DW40L568(01)06949531(11)231028 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
12 | blod bank refrigerator double door | BR4-1000 | BEPDL230830004 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
13 | blod bank refrigerator double door | BR4-1000 | BEPDL230830005 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
14 | Blood bank refrigerator single door | HXC-629 | BEOHC 7EAPO.OQJPB 6007 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
15 | Blood bank refrigerator single door |  | BEOHC 7EAPO.OOJPE 60008 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
16 | Plasma blast freezer | DPSF-1240 | WJ432 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
17 | Plasma blast freezer | meditek | 786525304 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
18 | platelet agitator | meditek | M78652530 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
19 | Plasma cryobath | meditek | M78652530 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
20 | Plasma cryobath | meditek | M78652530 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
21 | preparatory centrifuge | Sorvall BP 8 | 60153596 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
22 | preparatory centrifuge | Cryofuge 16 | 43312790 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
23 | Automated cell washer | LX100CWC | LX2415240 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
24 | Double pan weighing scale | BA2204B | 87041 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
25 | Double pan weighing scale | BA2204B | 87046 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
26 | Wall split air conditioners | CSC-24000 | G3090072185827830113001V |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
27 | Wall split air conditioners | CSC-24001 | G3090072185827837830113001C |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
28 | Wall split air conditioners | CSC-24002 | G309007218582783830113001R |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
29 | Wall split air conditioners | CSC-24003 | G3090072185878301130021 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
30 | Binocular microscope | XSZ107BN | 2320501 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
31 | Water distiller |  |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
32 | CBC hematology analyzer | Zybio Z3 | Z323091 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
33 | CBC hematology analyzer | Zybio Z4 | Z323092 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
34 | Hematocrit centrifuge | BKC-MH12-B | LXJTG1270115K |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
35 | Bench top tube sealer | SLM-T2008 | BEPKD230824003 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
36 | Bench top tube sealer | SLM-T2008 | BEPKD230824004 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
37 | Sterile tube sealer | LBTS-A10 | LB20240801004 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
38 | CCTV CAMERA system |  |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
39 | Sterile tube welder | STW6810-RFID | ESAR-019366 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
40 | Laboratory incubator | BJPX-H54BK(G) | BJPXH5410800324 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
41 | Autoclave | BKMZB | BKMZB23075 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
42 | BioSafety cabinet | BBS- V1300 | BBS13VD23080151A |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
43 | Sample centrifuge | CFG-B5BL | BEPLXY08241 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
44 | Sample centrifuge | CFG-B5BL | BEPLXY08240 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
45 | Plasma extractor | BJPX-FJ | BJPXFJ0800170 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
46 | PH meter | PHS-25W | 230906-030 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
47 | PH meter | PHS-25W | 230906-028 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
48 | PH meter | PHS-25W | 230906-029 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
49 | Desk top computer | DELL | 29D5Y14 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
50 | Desk top computer | DELL | B4MPWV3 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
51 | Desk top computer | DELL | BSXWPV3 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
52 | Desk top computer | DELL | J506Y14 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
53 | Desk top computer | DELL | C6MPWV3 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
54 | Lap top computers |  |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
55 | Lap top computers |  |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
56 | Lap top computers |  |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
57 | voltage power stabilizers | LWDAVR |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
58 | voltage power stabilizers | LWDAVR |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
59 | Printer |  |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
60 | Emergency eye wash |  |  |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
61 | De-ionizer | BW30-4021 | 90173476 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
62 | Washing machine | F3L2CRV21 | 404VWQSIY404 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
63 | Blood coagulation analyser | 40.006 | E-043006 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
64 | Ultra freezer -86 | TSX60086V | 1146353201240400 |  | A | ARUA RBB | REG. BLOOD BANK | LAB | LAB
other items receceived
| ITEM | QUANTITY | LOCATION | STATUS
1 | HB Meter | 2 | Donor care | A
1 | Hand stripper | 3 | Donor care | A
1 | Sterile connecting device | 2 | LAB | A
66 | BP Machine Digital | 8 | Donor care | A
67 | spring balances | 8 | Donor care | A
68 | cool boxes | 6 | Donor care | A
69 | thermometers | 6 | Donor care | A
70 | stethoscope | 5 | Donor care | A
71 | Adult weighing scale | 2 | Donor care | A
72 | Capillary tubes | 10 | Donor care | CONSUMED
73 | sterile gauze | 25 | Donor care | CONSUMED
74 | vacutainers 6Ml | 10 | Donor care | CONSUMED
75 | vacutainers 4Ml | 10 | Donor care | CONSUMED
76 | blood lancets | 10 | Donor care | CONSUMED
77 | cotton wool | 5 | Donor care | CONSUMED
78 | examination gloves | 10 | Donor care | CONSUMED
79 | Aprons | 10 | Donor care | CONSUMED
80 | mobile donor couches | 6 | Donor care | A
81 | Automatic micropipettes | 4 | LAB | A
82 | Filing cabinet | 4 | LAB | A
83 | Tourniquet | 30 | LAB | A
84 | stop clock | 5 | LAB | A
85 | measuring cylinders | 5 | LAB | A
86 | Round bottomed flask | 5 | LAB | A
87 | UPS - 3KVA | 7 | LAB | A
88 | Office chair | 5 | LAB | A
89 | single blood bags | 5 | Donor care | CONSUMED
90 | Quadrupple blood bags | 4 | Donor care | CONSUMED
91 | Bowls | 2 | Donor care | A
92 | Kidney dishes | 1 | Donor care | A
93 | Desk tops | 4 | LAB | A
94 | Examination gloves | 10 | LAB | CONSUMED