## Field Findings Report on Physical Asset Verification under the UgIFT Programme of Seed Secondary Schools and Upgraded Health Center IIIs (HCIIIs) in Busoga Sub-Region

## 1.0 Introduction

The Uganda Intergovernmental Fiscal Transfers (UgIFT) Programme, initiated by the Government of Uganda in partnership with the World Bank, aimed to finance localized capital investments to bridge regional disparities in service delivery focusing on expanding secondary education access via Seed Secondary Schools in unserved sub-counties and upgrading primary healthcare through Upgrading Health Center IIs to Health Center IIIs standard.

The core objective of this physical asset verification exercise is to ensure billions in funding shifted effectively to underserved LGs and that public funds translate into functional, high-quality, and accountable physical infrastructure on the ground, Confirm the physical presence, exact location, and current construction or operational status of all targeted seed schools and Health facilities.

Team Composition

| Teams | District | Seed schools & Health centers |  |
| --- | --- | --- | --- |
| Team 16 - WANDERA SOLOMON - KIYUBA SALIM | Namutumba Luuka Mayuge Bugweri | Seed Schools | Ugraded Health Centers |
|  |  | 1.Budhaya SS 2.Iwemba SS 3.Nawanyingi Seed 4.Buwala SS 5.Buwenge SS 6.Bukamba ss 7.Bumanya seed 8.Nansolo ss 9.Buhemba ss 10.Mutumba ss 11.Kitayunjwa ss 12.Waraisa ss 13.Mpungwe ss | 1.Bugiri Municipal HCIII 2.Bubago HCIII 3.Kimaka HCIII 4.Budomero HCIII 5.Kaskwe HCIII 6.Kisinda HCIII 7.Nawampiti HCIII 8.Lolwe HCIII 9.Sanyonja HCIII 10.Kitayunjwa HCIII 11.Muggi HCIII 12.Bukatube HCII 13.Busaal HCII 14.Jaguzi HCIII 15. Kagulu HCIII |
| Team 17 - SHANITAH NAKABIITO - KOJJO SHADRACK | Bugiri Namayingo Iganga Kaliro Jinja |  |  |
| Team 18 - PEACE MUKAYISIRE - NAMUGANGA SHARIPHER | Mukono Buikwe Kayunga Buyende Kamuli |  |  |

2.0 Process/ Methodology

2.1. Scope of the exercise

The exercise conducted an exhaustive, multi-sector physical verification focused on two primary infrastructural pillars; Education and Health.

2.1.1. Education (Seed Secondary Schools)

Teams verified the completion and asset delivery of standard infrastructure blocks, including Classroom blocks, an administration block, a fully equipped multi-purpose science laboratory, an ICT/Library block, staff housing units, institutional latrines, sporting infrastructure: Functional football pitches and recreation fields and water harvesting systems. They also verified non-fixed assets such as desks, computers, science kits, and distributed textbooks. The physical checks quantified and tested:

2.1.2. Health (Upgraded Health Center IIs (HCIIIs))

The team verified the transition of existing Health Center IIs up to HCIII status alongside newly established facilities. Verification parameters included:

- Medical Buildings: Operational Out-Patient Departments (OPD), general wards, and dedicated maternity wards equipped for local deliveries.

- Medical Equipment: Operational equipments like the B.P. Machines, Autoclave, capboard Steel, Drip stand and others

- Laboratory Installations: Functional labs capable of diagnostics at the HCIII tier.

- Staff Accommodation: The structural completion of twin-staff houses designed to ensure emergency medical worker availability.

- Medical Waste Infrastructure: Structural placement of functional placenta pits and medical waste pits.

- Water Sanitation: On-site deep boreholes, protected springs, and rainwater harvesting tanks to ensure continuous clean water.

2.2. Methodology & Field Execution

The exercise was conducted using multi-sectoral evaluation protocols to cross-match Asset Registers/List of Asset from the Local Government and Municipalities/cities by the COAs and Town clerks to reconcile with actual field observations/live field realities.

2.2.1. Field Execution

Before visiting the facilities in their rural sub-counties, the team obtained the district Asset Register/List of Assets and hand-over certificates for the completed buildings from the District COA as this formed the data baseline.

Equipped with the Asset Verification Recording Tool Kit, the verification teams were deployed across the Sub-Region of Busoga and part of Buganda and started their field work with Stakeholder engagements like On-site interviews were held with Head teachers, Health Facility In-charges, District Engineers, and Chief Administrative Officers (CAOs) to provide asset registers, verify operational handovers and recurring challenges in the facilities.

The teams documented what they verified physically at the facilities; Recording laboratory items and their engravement numbers, noting building sizes and categories and verifying functional status of the assets, presence of the Asset alone was insufficient the teams went ahead and cross checked if they were properly recorded in the Local Government Asset Register or List and evidenced this with photos.

# 3.0. Emerging Issues/Challenges

3.1. Emerging Issues

The field findings highlighted systematic gaps that occurred between structural handover and actual service delivery:

- More than half of the visited health facilities and newly constructed schools were either non-operational or under-utilized due to delayed operationalization protocols.

- Many upgraded HCIIIs continue to receive drug packages and essential medicine kits scaled for the smaller, legacy HCII capacity. This undercuts the quality of healthcare for the larger patient load.

- Completed infrastructure sits idle due to a lack of baseline utilities, specifically missing grid connectivity or solar power loops, alongside unreliable water harvesting components. Many facilities lacked full utility links. For example, science laboratories and medical wards were physically complete but stood idle due to a lack of power or water infrastructure.

- There is an immediate lack of recurrent funding structures and localized technical plans allocated for the ongoing Operations and Maintenance (O&M) of physical structures and delicate laboratory equipments.

3.2. Challenges

Field teams encountered several structural, geographical, and operational challenges during the exercise:

- Many UgIFT investments target remote sub-counties. Poor road access, seasonal rain disruptions, and spotty telecommunication signals delayed data collection and physical travel between distant field sites making it costly and time consuming.

- Missing documentation at the Local Government level slowed down the verification reconciliation. Discrepancies emerged where centrally purchased equipment packages reached sites without being logged in local asset registers

- Incomplete or missing UgIFT asset registers, from the Local Government and the Municipalities/Cities delayed baseline-level data collection and the whole exercise.

- Almost all the assets were not engraved thus making the verification exercise very hard because we could not establish whether what we verifying was for Gift of not.

- Massive personnel shortfalls in most of the newly built schools and health centers meant there were no specialized custodians present to report on asset conditions or technical defects especially for the school laboratories. Specifically, in Sugu Seed Secondary School, the teachers for ICT& physics/chemistry were interdicted due to the fact that they were charged in court when 21 CPUs went missing in the computer lab creating a gap.

- Extreme geographical dispersion of seed schools and upgraded facilities in isolated sub-counties limited site access inform of transport means and cost and during poor weather windows.

Challenges faced by the Seed schools and Health canters;

Challenges Faced by Upgraded Health Center IIIs (HCIIIs)

- Despite the upgraded infrastructure to handle expanded maternal, laboratory, and inpatient services, many facilities remain severely understaffed. Local government wage caps and delays in recruiting key medical personnel (such as doctors, laboratory technicians, and mid-level clinical staff) heavily strain service delivery. In Bubago HCII, the oxygen concentrator is currently non-functional due to inadequate staff capacity to operate and maintain the equipment.

- Equipment failure: some facilities like Bubago HCII experienced equipment failure supplied like the solar inverter, weighing scale, TV screen, and blood pressure machines supplied have broken down, limiting their functionality.

- High cost incurred in operation and maintenance, High costs in replacement of the solar power system

- Critical structural omissions have hindered full deployment. Verified gaps include a lack of properly connected medical waste pits, placenta pits, and water-borne sanitation systems necessary to achieve functional hygiene standards for upgraded centers. This was evidenced at Nkonkojeru Health center III where the Incinerator   developed cracks even before commissioning the facility.

- Persistent challenges remain regarding consistent access to clean water networks and national grid electricity, alongside inadequate allocations for essential medicines and operational maintenance funds.

Challenges Faced by Seed Secondary Schools

- While physical buildings (like libraries, laboratories, and ICT centers) have been constructed, many remain empty "shells". The lack of desks, laboratory equipment, textbooks, and computer hardware undermines the intended quality of practical and science-focused education.

- Premature Facility Use: Due to structural bottlenecks and space deficits elsewhere, some incomplete infrastructure blocks (such as science laboratories under construction) have been prematurely put to use as regular classrooms, altering their original intended utility

- Contractor Incompetence & Abandoned Sites: The verification process highlighted major execution lapses from various contract firms, leading to slow civil works, delayed completion, and instances of completely abandoned sites needing contract terminations.

- Land and Titling Disputes: Many projects faced early delays due to conflicts over land acquisition, local government inability to provide the required acreage, or failure to register land titles under the schools’ names.

- Critical Personnel Deficits: Similar to the health sector, the recruitment of teaching and support staff has lagged far behind the fast pace of student enrollment, creating high student-to-teacher ratios that heavily burden the newly introduced schools

- Most of these schools lack of a perimeter fence, which threatens the security of the school, which poses security risks to learners and school property. This was evidenced at Kitayunjwa Seed Secondary School and Sugu Seed Secondary School.

- Poor access road; the road to the school is inaccessible, especially during the rainy season.

- utility and internet gap. The school was left not connected on the national grid and WiFi

- Inadequate classes due to the increasing enrolment in most of these schools

- Inadequate staff quarters

4.0.  Recommendations

To protect the massive capital investments made through UgIFT and ensure long-term community benefits, the following actions were recommended:

- The Ministry of Education and Sports alongside the Ministry of Health should prioritize synchronized human resource mobilization so staff recruitment matches civil work completion timelines in the facilities.

- Establish localized funding channels to hook up newly constructed seed schools and HCIIIs to water grids, deep boreholes, and commercial power networks immediately upon construction completion.

- Implement an Asset engravement and Standardized UgIFT Asset Registers by deploying professional personnel to engrave the assets and also come up with a district asset register across all sites to replace generic ledger descriptions with high-fidelity asset data. Engravement of the assets should be done immediately they receive the equipment for accountability and identification.

- Set aside dedicated operations and maintenance grants at the Local Government level to actively support structural repairs and the upkeep of advanced laboratory and medical equipment

5.0. Conclusions

In conclusion, the program successfully established widespread facilities, registering over 20 functional seed schools and 30 health centers that drastically increased maternal deliveries and secondary student enrollment in Busoga sub-region.

Education Sector: Significant expansion in enrollment. Out of the planned seed schools, structural completion stands at roughly 85%. However, systemic issues persist regarding resource allocation, unequipped science facilities, and delayed teacher recruitment plus utility challenges of water and Electricity

Health Sector: The upgrade of Health Centre IIs to Health Centre IIIs (HCIIIs) has greatly reduced community travel distances. The recently commissioned facilities, resulting in elevated maternal delivery metrics. Ongoing concerns involve the irregular supply of vital medicines, staff retention in remote zones. and Utility challenges