## Sheet1
S/N | Equipment Name | Type | Model Name | Model No. | Serial No. | Engraved No. | Condition | Facility | Level | Department | Room
1 | HEMATOLOGY ANALYSER | ME | ZYBIO | Z3 | Z3230912799 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
2 | HEMATOCRIT CENTRIFUGE | ME | BIOBASE | BKC-MH12-B | LXJTG12W23070107K |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
3 | CONSTANT TEMPERATURE INCUBATOR | ME | BIOBASE | BJPX-H54BK | BJPXH5411230800323B |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
4 | CLASS B TABLE TOP AUTOCLAVE | ME | BIOBASE | BKMZB | BKMZB23075020 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
5 | BIOSAFETY CABINET | ME | BIOBASE | BBS-V1300 | BBS13VD230600120A |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
6 | ULTRALOW FREEZER -80C | ME | THERMOFISHER SCIENTIFC | TSX60086V | 1146352501240400 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
7 | PLASMA BLAST FREEZER | ME | DEEPEE | DPSF-1240 | WJ430 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
8 | PLATELET INCUBATOR AGITATOR | ME | MEDITECH | MTIA02 | M786525307 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
9 | COAGULATION ANALYZER | ME | DUTCH DIAGNOSTICS | D.C. ANALYSER | J20400622 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
10 | PLASMA BATH | ME | MEDITECH | EM | 786525303 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
11 | PLASMA BATH | ME | MEDITECH | EM | 786525302 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
12 | PLASMA BLAST FREEZER | ME | MEDITECH |  | 786525305 |  | A | HOIMA | Regional Blood Bank | LAB | ANALYTICAL
13 | PREPARATIVE CENTRIFUGE | ME | THERMOFISHER SCIENTIFC | CROFUGE 16 | 43312785 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
14 | PREPARATIVE CENTRIFUGE | ME | THERMOFISHER SCIENTIFC | SORVALL BP8 | 43193911 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
15 | BLOOD BANK REFRIGERATOR | ME | HAIER | HXC-629 | BEOHC7EAPOOQJPB60006 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
16 | DEEP FREEZER -40C | ME | HAIER | DW-40L568J | BEOHQ2E0000QGPAU0004 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
17 | DOUBLE DOOR BLOOD BANK REFRIGERATOR | ME | BIOEVOPEAK | BR4-1000 | BEPDL230820002 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
18 | BLOOD BANK REFRIGERATOR | ME | HAIER | HXC-629 | BEOHC7EAPOOQJPB60005 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
19 | STERILE TUBE WELDER | ME | BMS | STW6810-RFID | 031230901-03 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
20 | DEEP FREEZER -40C | ME | HAIER | DW-40L568J | BEOHQ2E0000QGPAU0005 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
21 | DOUBLE DOOR BLOOD BANK REFRIGERATOR | ME | BIOEVOPEAK | BR4-1000 | BEPDL230820003 |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
22 | HEAVY DUTY TROLLEY | MF |  |  |  |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
23 | HEAVY DUTY TROLLEY | MF |  |  |  |  | A | HOIMA | Regional Blood Bank | LAB | PROCESSSING
24 | BENCHTOP CENTRIFUGE | ME | THERMOFISHER SCIENTIFC | MEGAFUGE ST1 | 43340651 |  | A | HOIMA | Regional Blood Bank | LAB | RECEIVING AREA
25 | BENCHTOP TUBE SEALER | ME | BIOEVOPEAK | SLM-T2008 | BEPKD23824002 |  | A | HOIMA | Regional Blood Bank | LAB | RECEIVING AREA
26 | BENCHTOP TUBE SEALER | ME | BIOEVOPEAK | SLM-T2008 | BEPKD23824004 |  | A | HOIMA | Regional Blood Bank | LAB | RECEIVING AREA
27 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309006 |  | A | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
28 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309007 |  | A | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
29 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309008 |  | A | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
30 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 23090010 |  | A | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
31 | WEIGHING SCALE | ME | SECA | SECA 762 | 7621019007 |  | A | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
32 | STATIONARY DONOR COUCH | MF | NARANG |  |  |  | A | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
33 | STATIONARY DONOR COUCH | MF | NARANG |  |  |  |  | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
34 | STATIONARY DONOR COUCH | MF | NARANG |  |  |  |  | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
35 | STATIONARY DONOR COUCH | MF | NARANG |  |  |  |  | HOIMA | Regional Blood Bank | BLOOD DONATION | DONOR
36 | PLASMA THAWING BATH | ME | MEDITECH | MTPT01 | M786525302 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
37 | EYE WASH STATION | ME | BIOBASE |  | BBS131D230600120A |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
38 | WATER DISTILLER | ME | BIOBASE | WD-5 |  |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
39 | WATER DISTILLER | ME | BIOBASE | WD-5 |  |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
40 | STERILE TUBE WELDER | ME | BMS | STW6810-RFID | 030123901-5 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
41 | HEMATOLOGY ANALYSER | ME | ZYBIO | Z3 | Z3230912805 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
42 | CELL WASHER | ME | LABDEX | LX100CW |  |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
43 | WEIGHING SCALE | ME | SECA | SECA 762 | 7621019008 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
44 | BENCHTOP TUBE SEALER | ME | BIOEVOPEAK | SLM-T2008 | BEPKD230824001 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
45 | DOUBLE PAN WEIGHING SCALE | ME | ELTEK | WS-2D | JMWS 18 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
46 | DOUBLE PAN WEIGHING SCALE | ME | ELTEK | WS-2D | JMWS 17 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
47 | ANALYTICAL WEIGHING BALANCE | ME | BIOBASE | BA2204BY |  |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
48 | BLOOD COLLECTION BALANCE | ME | BIOBASE | BCM-12A | 2309009 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
49 | WATER QUALITY METER | ME | BIOBASE | PHS-25CW | 230906-028 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
50 | BENCHTOP CENTRIFUGE | ME | BIOEVOPEAK | CFG-B5BL | BEPLXY230824003 |  | B | HOIMA | Regional Blood Bank | STORAGE | STORES
51 | WATER DEIONIZER | ME | HI-TECH | BW30-4021 | 90173 |  | A | HOIMA | Regional Blood Bank | LAUNDRY | LAUNDRY
52 | HEAVY DUTY WASHING MACHINE | ME | LG | F3L2CRV2T | 404VWVR1Y399 |  | A | HOIMA | Regional Blood Bank | LAUNDRY | LAUNDRY
Key
|  | Type | Condition
|  | ME- Medical Equipment | A- Good in Use
|  | MF- Medical Furniture | B- Good Not in Use
C-In Use Needs Repair
D-In Use Needs Replacement
E-Out of order Repairable
F-Out of Order Needs Replacement
G-Disposed off