ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN |
| --- | --- |
| SUB-REGION: | TESO |
| Name of Local Government | PALLISA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | ECWOU MARK ARTHUR ADIMO RACHEAL |
| Contact/ email and Telephone | 0761096555 0786749089 |
| Supervisor/ Sub team leader |  |
| Name | DENIS BUDALI |
| Contact | 0779622063 |
| Date of submission | 8.09.2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: OLOK SEED SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- The school uses a generator and solar to run the ICT Lab

- The facility uses a carpenter to repair broken furniture

- The school buys science lab equipment to replace broken ones

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Yes |
| --- | --- | --- |

- The Lab attendant records broken lab apparatus

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

Benefits

- The learners now have computer lessons

- The learners are motivated to learn.

Issues

- No electricity

- Incomplete structures at the facility

- School is not commissioned

Challenges

- There’s no electricity to run the computers efficiently

- Lack of maintenance

Recommendations

- More computers needed in the facility

- buildings need to be completed

- school field is needed

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG: PALLISA DISTRICT LOCAL GOVERNMENT Name of SCHOOL: OLOK SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Desks (403) | Education |  | 3 seater desks | 60 | Not engraved |  |  |  | 180000 |  |  |  | Functional | Good and in use |
| Tables (242) | Education |  | Wooden triangular top metallic stands | 60 | Not engraved |  |  |  |  |  |  |  | Functional | Good and in use |
| Teacher’s chair (91) | Education |  | Cushioned, wooden stands | 60 | Not engraved |  |  |  |  |  |  |  | Functional | Good and in use |
| Bookshelves (06) | Education |  | Wooden | 60 | Not engraved |  |  |  |  |  |  |  | Functional | Good and in use |
| Laboratory tools (125) | Education |  | Wooden top, metallic stand | 60 | Not engraved |  |  |  | 80,000 |  |  |  | Functional | Good and in use |
| Office tables (214) | Education |  | Triangular wooden top, wooden stand | 60 | Not engraved |  |  |  |  |  |  |  | Functional | Good and in use |
| Office chairs (91) | Education |  | Cushioned wooden stand | 60 | Not engraved |  |  |  |  |  |  |  | Functional | Good and in use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG: PALLISA DISTRICT LOCAL GOVERNMENT Name of SCHOOL: OLOK SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Monitor | Education | 28 | Dell 15’’ | 82 | Not engraved | 14/05/2022 | 24/04/2023 |  | 1200000 |  |  |  | Functional | Good and in use |
| CPU | Education | 28 | (CORE ID, 13TH GEN.) | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 2880000 |  |  |  |  |  |
| LaserJet Multipurpose Building | Education | 01 | Laser Jet |  | Not engraved | 14/05/2022 | 24/04/2023 |  | 550000 |  |  |  |  |  |
| Wireless router | Education | 02 |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 650000 |  |  |  |  |  |
| Server | Education | CORE i7 12TH EDITION |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 4400000 |  |  |  |  |  |
| Server ups | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 67000 |  |  |  |  |  |
| Projector | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 67000 |  |  |  |  |  |
| Power surge protector | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 1200000 |  |  |  |  |  |
| CCTV Camera | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 9000000 |  |  |  |  |  |
| Network video recorder | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 5500000 |  |  |  |  |  |
| Air conditioner | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 450000 |  |  |  |  |  |
| Keyboard (27) | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 120000 |  |  |  |  |  |
| Mouse (27) | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 550000 |  |  |  |  |  |
| UPS (27) | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 1200000 |  |  |  |  |  |
| Network rack cabinet | Education |  |  | 120 | Not engraved | 14/05/2022 | 24/04/2023 |  | 1200000 |  |  |  |  |  |
| Network switch | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 350000 |  |  |  |  |  |
| Router | Education |  |  | 60 | Not engraved | 14/05/2022 | 24/04/2023 |  | 1400000 |  |  |  |  |  |
| Firewall | Education |  |  | 80 | Not engraved | 14/05/2022 | 24/04/2023 |  | 1400000 |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG: PALLISA DISTRICT LOCAL GOVERNMENT Name of SCHOOL: OLOK SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Staff houses (03) | Education |  | Residential | 600 | Not labelled |  |  |  | 138,973,580 |  |  |  | Incomplete | - staff houses were built but incomplete - inside bathrooms are not working - inside doors have no keys |
| Staff Kitchen (03) | Education |  | Kitchen with chimney | 600 | Not labelled |  |  |  |  |  |  |  | complete | - kichen chimney was not well placed, smoke comes to the kitchen. |
| Staff pitlatrine (03) | Education |  | 2 stance pit latrine with a bathroom on both sides | 600 | Not labelled |  |  |  |  |  |  |  | complete | - the floor was not well cemented (it’s rough) |
| Classroom blocks (03) | Education |  | 2 classrooms per block | 600 |  |  |  |  | 153,930,550 |  |  |  | Functional | Good and In use |
| Administration block (01) |  |  | Headteacher’s office, deputy head teacher’s office, DOS’ office and staff room |  | ADMINISTRATION BLOCK |  |  |  |  |  |  |  | Functional | Good and In use |
| ICT LAB AND LIBRARY (01) | Education |  | Two in one building, ICT and lab. | 600 | ICT LABORATORY AND LIBRARY |  |  |  | 246,077,000 |  |  |  | Functional | Good and In use |
| MULTI PUPOSE HALL(01) | Education |  |  | 600 |  |  |  |  | 155,883,750 |  |  |  | Functional | Good and In use |
| PIT LATRINE: GIRLS BOYS | Education |  | 5 Stance pt latrines, with 2 for disables | 600 | -GIRLS’ TOILET -BOYS’ TOILET |  |  |  |  |  |  |  | Functional | Good and In use |