ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | TOORO REGION |
| Name of Local Government | NTOROKO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | ZALWANGO MARIA, NASSEJJE NADIA, NABBOSSA SUMAYA |
| Contact/ email and Telephone | 0751977570,0754884004,0708098456 |
| Supervisor/ Sub team leader |  |
| Name | DEPAUL MBONIGABA |
| Contact | 0788483159 depaulrukara@gmail.com |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  BWERAMULE H/C III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | 70 assets on 15th/11/2024 |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The assets are still in store so far nothing is being damaged.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No, the facility does not take regular functionality because all the assets are still in store not yet being used. All the buildings were in good condition. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Employment opportunities The challenges were; the power house was on and off and also scarcity of water. The source of water that was constructed was faulty. They recommend that if possible a borehole should be constructed for better services to be done. |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG NTOROKO DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY: BWERAMULE H/C III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  |  |  |  |  |  |  |  |  |  |  |  | All the assets were still in store. They weren’t being used because they have not yet been paid for, they delivered them late yet the money had been swept back. The power house was on and off. |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | health |  | . |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | health |  | Boxed |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | health |  |  |  |  |  |  |  |  |  |  |  |  |  |

Compound                                                         Sign post                                                        Compound                                                   OPD

Staff quarters