ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | TORO REGION |
| Name of Local Government | KASESE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 070250903, farivanie@gmail.com |
| Supervisor/ Sub team leader | DEPAUL MBONIGABA |
| Name | DEPAUL MBONIGABA |
| Contact | 0788433159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  BWESUMBU HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO, The in-charge found at the facility was new and was not showed the asset registry for UgiFT, We verified using the records provided from the district. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is some small amount of money allocated to the facility under Primary Health Care (PHC) to help in repairing of the minor broken equipment

The Equipment that needs Major repair is recorded and reported to District Health Officer who then sends a technician to do the repairs, however most of the Equipment provided by UGIFT is still functional and some are still boxed in store.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do. The facility New in-charge got a book where she started recording items that are functional and those that are not functional. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The upgrade of the facility has led to increase in the number of people using the facility especially the expecting mothers who used to move long journey to look for proper services and immunization services. People in the area are able to save some money, they used to spend a lot of money on bodabodas to access good medical services, but now things are different since the facility is equipped with laboratory Equipment and other services like immunization and general medical services. However, the facility has always hard issues and challenges which include: - Some Equipment provided needs technical support in installation, like the hydraulic bed, and few others. - The staff house are not enough because the block is one with two stances hence accommodating only two staff yet nurses are many and travel long distances to come to the facility. - The contractors do not come with BOQ (Bill of quantities) so it’s hard for the people on ground to monitor. - The fencing of the facility is incomplete, so the hospital is not yet safe in terms of security - There former in charge did not leave proper documentation in place so it was hard to tress UGIFT assets and equipment Recommendations: - The constructions have taken place but not yet commissioned, so it would make more since if the facility was commissioned before using it. - It would make more sense if the contractor had gone with the BOQ for easy monitoring by the people on ground. |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG BUNYANGABU DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY : KATEEBWA   HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | It is white in color in a cuboid shape with rectangular screen |  | Not engraved | 2023 | August 2024 |  |  |  |  |  | Functional | 1Verified and functional and 2 are faulty |
| B.P. Machine (Aneroid wall mounted) | health |  | Not seen |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | health |  | Long round cylindrical container with a round top and black handles with a gauge and stainless in nature |  | Not engraved | 2023 | 2025 |  |  |  |  |  | Functional | Received one and verified |
| Bowl, Kick | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | health |  | Still in the store that doctors do not prefer using them |  | Not engraved | 2023 |  |  |  |  |  |  | Functional | Kept in the store |
| Counting chamber Neubauer- Improved | health |  | Kept in the store and still boxed |  | Not engraved | 2023 |  |  |  |  |  |  | Functional | 1 varified |
| Cupboard Steel, Lockable | health |  | Off white in color with compartments, lockable in nature |  | Not engraved | 2023 | 2024 |  |  |  |  |  | Functional | 7 seen and varified |
| Drip Stand | health |  | Cylindrical shaped stands with 5 wheels with a light blue screen |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 12 varified |
| ESR Stand | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | health |  | 4 stainless stands /legs with a black soft sponge mattress with a lifter |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 3 received and verified |
| Examination light,LED | health |  | White with adjustable tubing with a cylindrical housing |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 2 received and verified |
| Glucometer | health |  | 0val like shape, red and white in color with a small screen |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 2 verified |
| Haemoglobin Meter, Digital | health |  | Rectangular shape like in white and maroon |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 3 seen and verified |
| Height Meter | health |  | Long and silver in color with a black base |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 seen and verified |
| Instrument Trolley | health |  | Stainless with rolling balls |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 3 seen and verified |
| Microscope Binocular | health |  | y-shaped with circular rotating plate white and black in color with a base |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 1 seen and verified |
| Otoscope | health |  | l-shaped gun with small funnel black and silver in color |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 1 seen and verified |
| Patient Screen | health |  | Blue screen on cylindrical steel pipes on rails with separating walls |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 4 seen and 2 still in store |
| Patient Trolley | health |  | Stainless stands with a soft black mattress with 4 rolling balls |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 2 verified and functioning |
| Refrigerator, Basic | Health |  | small size, white in color with single door |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 2 verified and functioning |
| Stethoscope | Health |  | Black tube with steel drum Y- shaped |  | Not engraved | 2023 | 2024 |  |  |  |  |  | All functioning | 4 verified |
| Stop Watch | Health |  | Rectangular shape with a time manager and black in color |  | Not engraved | 2023 | 2024 |  |  |  |  |  | Functional | 2 verified |
| Stretcher | Health |  | Long rectangular bed with 4 black wheels with two rails and a black soft sponge |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 seen and verified |
| Stove, Gas | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | health |  | Silver in color with circular face with a height meter and With a black rectangular base in nature |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 seen, verified and 3 still in store |
| Weighing Scale, Infant | health |  | White in color curved like a boat with green digital buttons and rectangular base |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 verified 1 still in store |
| Weighing Scale, Toddler | health |  | Chair format with a face clock blue and yellow in color on a large base |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 verified |
| Wheel Chair | health |  | Black in color with 2 black wheels, 2 foot pads and 2 handles |  | Not engraved | 2023 | 2024 |  |  |  |  |  | All functioning | 2 seen and verified |
| Audio Visual Equipment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health |  | Blue, red and black in color wrapped with polythene bags And cylindrical shape with silver handle |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 4 verified and 2 still in store |
| Wall Clock |  |  | Round and white in color with figures running from 1 to 12 and placed on the wall |  | Not engraved | 2023 | 2024 |  |  |  |  |  | 1 functioning | All verified, seen and 2 still in store |
| Diagnostic Equipment Set for MCH | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | Round silver container containing cotton and other small equipment |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 varified |
| Instrument Set, Basic ENT | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Health |  | Phone like shape, maroon in color with a flat screen |  | Not engraved | 2023 | 2023 |  |  |  |  |  | functional | 2 sets verified |
| Bed, Adult Patient with Mattress | health |  | Blue and white in color rectangular on 4 stands with black mattresses |  | Not engraved | 2023 | 2024 |  |  |  |  |  | All functional and new | 15 seen and verified |
| Bed, Pediatric Patient, With Mattress | health |  | Pink face, blue pipes 4 legs on 4 stands |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 2 seen and verified |
| Bedside Locker | health |  | 2 compartments with a bigger one down and upper small, white and blue in color and 4 stands |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 15 Seen, functioning, and verified |
| Cupboard, Instrument | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | Health |  | Black in color with a square base with a soft black mattress |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 1 seen and verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Long and cylindrical in nature blue and white in color |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 verified |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | Still in the store |  |  | 2023 | 2024 |  |  |  |  |  | Functional | 1 received |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | Still boxed and in store |  |  | 2023 | 2024 |  |  |  |  |  | functional | 1 received |
| Suction Apparatus, (Electric) | health |  | Still in the store and boxed |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Health |  | Blue rectangular shape with two cylindrical bottles with a gauge and on 4 rails |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 1 verified |
| Bench | health |  | Long brown wooden benches with 4 black stand |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 4 seen and verified |
| Disinfection Buckets | health |  | Normal bucket, round in shape and white in color |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 3 seen and functioning |
| Baby Cot | health |  | 2 stainless in color, rectangular mattress with rails |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 1 seen and verified |
| Diagnostic Equipment Set for Ward | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | Health |  | Rectangular shaped stainless container with a number of small equipment |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 2 seen and verified |
| Instrument Set, Stitch Removing | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Health |  | Syringe like pipe with a bulb and cannula |  | Not engraved | 2023 | 2024 |  |  |  |  |  | Functional | 1 verified |
| Stool, Laboratory | health |  | Round seat with black soft cover on 5 rails |  | Not engraved | 2023 | 2024 |  |  |  |  |  | Functional | 4 seen and verified |
| Penguin Sucker | health |  | Penguin shape, rubber and transparent in nature |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 2 received 1 functional 1 not functional |
| Fetoscope, Dopplar | health |  | White in color, oval like shape with a probe and a screen |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 verified |
| Bubble CPAP | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | health |  | Brown leather chair with a cup holder, comfortable in nature for mothers |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 seen and verified |
| Radiant Infant Warmer | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  | Rectangular Tower shaped with black housing |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 1 verified |
| Delivery Bed | Health |  | Rectangular long bed with soft mackintosh leather mattress |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 2 1 functional 1 not functional |
| Examination light |  |  | Very long thin, curved or adjustable with 5 rails, and touch like lights |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functional | 2 verified |
| Instrument set, ENT Basic for HCIII | health |  | Rectangular stainless box containing equipment in it like forceps, scissors, kidney dishes etc |  | Not engraved | 2023 | 2024 |  |  |  |  |  | Functional | 1 seen and verified |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | Medium large round soft balloon with round soft masks and transparent in nature |  | Not engraved | 2023 | 2024 |  |  |  |  |  | functioning | 2 verified |
| Incubator | Not seen |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | health |  | Black in color, swinging in nature with 5 black wheels |  | Not engraved | 2023 | 2025 |  |  |  |  |  | functioning | 7 verified and seen |
| Desk | health |  | Wooden brown top with side drawers with a black surface |  | Not engraved | 2023 | 2024 |  |  |  |  |  | Functional | 4 seen and verified |
| Filing Cabinet | Health |  | Off white in color with compartments |  | Not engraved | 2023 | 2024 |  |  |  |  |  | Functional | 3 verified |
| Non Residential Buildings | Health |  | One big block for maternity ward with 1 block of toilet with 4 stances. Metalized solar house and a constructed,3 water tanks A placenta pit and incinerator with a fence though incomplete |  |  |  |  |  |  |  |  |  | functional | All still in good condition |
| Residential Buildings | health |  | One residential block with 1 block of toilet with 2 stances with a big water tank |  |  |  |  |  |  |  |  |  | functional | Still in good condition |