ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KAMWENGE |
| VERIFIER PARTICULARS |  |
| Full name | KIHUMURO JENNIFER & NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 0776236584 & 0702560903 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KABAHANGO HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, the facility has an Asset Register but not specific for Ugift Equipment |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility currently uses the Primary Health care facility to manage repairs

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Patient turnup increased from bout 400 patients to 750.

- Facility now delivers about 55mothers monthly, previously they were not carrying out deliveries.

CHALLENGES

-Some equipment take so long to be used due to lack of personnel or specialists

-some equipment is of weak material, they brake so easily

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG : BUNYANGABU …………………………….. NAME OF HEALTH FACILITY ……. KABAHANGO HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  | Big Cylindrical like a pressure cooker |  | NOT ENGRAVED | 20-9-25 | OCT 25 |  | 720,000 |  |  |  | Functional | 1Verified |
| Bowl, Kick | HEALTH |  | Round ring with holders and rolling balls |  | NOT ENGRAVED | 20-9-25 | OCT 25 |  | 400,000 |  |  |  | Functional | 1 Verified |
| Bowl Stand | HEALTH |  | Stainless steel stand with bowls |  | NOT ENGRAVED | 20-9-25 | OCT25 |  |  |  |  |  | Functional | 2 Verified |
| Counting chamber Neubauer- Improved | HEALTH |  | Small set with glass slide, cover slips and small brown box |  | NOT ENGRAVED | 20-9-25 | OCT 25 |  | 80,000 |  |  |  | Functional | 2 Verified in store |
| Cupboard Steel, Lockable | HEALTH |  | Steel grey in color with double doors |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | Verified |
| Drip Stand | HEALTH |  | Aluminum Stands with rolling balls |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 280,000 |  |  |  | Functional | 9 Verified |
| ESR Stand | HEALTH |  | Small stand with small cubes |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 120,000 |  |  |  | Not Functional | Verified, In Store |
| Examination Couch | HEALTH |  | White stands with blue mattress |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 720,000 |  |  |  | Functional | 2Verified |
| Examination light,LED | HEALTH |  | White in Color with LED light adjustable |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,120,000 |  |  |  | Functional | 1Verified |
| Glucometer | HEALTH |  | Small remote-like shape in grey color |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 480,000 |  |  |  | Functional | 1 Verified |
| Haemoglobin Meter, Digital | HEALTH |  | Maroon and black with a holder |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  |  |  |  |  | Functioal |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | HEALTH |  | Aluminum stands with tray for rectangular trays |  | NOT ENGRAVED | 16-12-21 | NOV 22 |  |  |  |  |  | Functional | Verified |
| Microscope Binocular | HEALTH |  | Grey & black with& screen |  | NOT ENGRAVED | 16-12-21 | NOV 22 |  | 1,520,000 |  |  |  | Not Functional | 1Verified |
| Otoscope | HEALTH |  | Hand held gadget with a pointed front |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 320,000 |  |  |  | Not Functional | Verified, in Store |
| Patient Screen | HEALTH |  | Aluminium stands on rolling balls and blue material |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 384,000 |  |  |  | Functional | 4Verified |
| Patient Trolley | HEALTH |  | Aluminum stands and black mackintosh |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,120,000 |  |  |  | Functional | 1 verified |
| Refrigerator, Basic | HEALTH |  | Medium size, grey in color |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,200,000 |  |  |  | Functional | Verified |
| Stethoscope | HEALTH |  | Purple tubing with 2 ear piece and drum |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 200,000 |  |  |  | Functional | 2Verified |
| Stop Watch | HEALTH |  | White hand-held gadget with digits |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 96,000 |  |  |  | Functional | Verified |
| Stretcher | HEALTH |  | Aluminum stands with blue soft mattress |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 2,000,000 |  |  |  | Functional | 1Verified |
| Stove, Gas | HEALTH |  | Aluminum stove with 2 plates |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 560,000 |  |  |  | Functional | 1Verified |
| Weighing Scale with Height Meter, Adult | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | HEALTH |  | White tray on a base with gauge |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 960,000 |  |  |  | Functional | Verified |
| Weighing Scale, Toddler | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Stainless & blue cylindrical in nature bins |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | 10Verified |
| Wall Clock | HEALTH |  | Round faced white in color |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | 2 Verified |
| Diagnostic Equipment Set for MCH | HEALTH |  | Set containing antenatal and maternity instruments |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 560,884 |  |  |  | Functional | Verified |
| Diagnostic Equipment Set for OPD | HEALTH |  | Aluminum Set containing kidney bowls of different sizes |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 433,673 |  |  |  | Functional | Verified |
| Glassware Set, Laboratory, Basic | HEALTH |  | Glass set with test testubes & slides |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 318,027 |  |  |  | Functional | Verified |
| Hollow Ware Set, Treatment | Not Seen |  | Alluminium set with male urinals, needle holders etc |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 2,255,101 |  |  |  | Functional | Verified |
| Instrument Set, Dressing | HEALTH |  | Alluminium set with artery & dissecting forceps etc |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 484,607 |  |  |  | Functional | Verified |
| Instrument Set, Basic ENT | HEALTH |  | Nasal, ear syringes etc |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | Verified |
| Instrument Set, Suture | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | Small cuboid shaped device, Black in color |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 275,854 |  |  |  | Functional | Verified |
| Bed, Adult Patient with Mattress | HEALTH |  | Blue and white beds with black mattresses |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  |  | Verified |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Pink, blue and off-white with doll -like pics |  | RUB-HCIII-PAED-002 | 16-12-21 | Nov 22 |  | 1,975,708 |  |  |  | Functional | 5Verified |
| Bedside Locker | HEALTH |  | Blue and grey color |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 424,401 |  |  |  | Functional | Verified |
| Cupboard, Instrument | HEALTH |  | Steel double door, glass upper section |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | 1Verified |
| Delivery Bed, Hydraulic Manual | HEALTH |  | Peach color |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | 1Verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Blue long cylindrical |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 799765 |  |  |  | Not Functional | Verified |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | White packed, plastic set with masks, reservoir |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 141,655 |  |  |  | Functional | Verified |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | White packed, plastic set with masks, reservoir |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 141,655 |  |  |  | Functional | Verified |
| Suction Apparatus, (Electric) | HEALTH |  | In box |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 566,618 |  |  |  | Not Functional | Verified, in store |
| Nebulizer, Ultrasonic | HEALTH |  | In box |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 366943 |  |  |  | Not Functional | Verified, in store |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Grey & blue cuboid form with 2 humidifiers |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 2,795,813 |  |  |  | Functional | 1 verified |
| Bench | HEALTH |  | Brown, small spaced with black metallic stands |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 470450 |  |  |  | Functional | 4 Verified |
| Disinfection Buckets | HEALTH |  | White plastic buckets |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 29,822 |  |  |  | Functional | 4verified |
| Baby Cot | HEALTH |  | Stainless steel stands and small black mattress |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  |  | 2Verfied |
| Diagnostic Equipment Set for Ward | HEALTH |  | SET with stethoscope, pen- torch, urinalysis, trays |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 720,000 |  |  |  | Functional | Verified, specific instruments in use |
| Hollow Ware Set, Ward | HEALTH |  | SET with stainless bowls, Kidney dishes, basins, etc |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,565,655 |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Delivery | HEALTH |  | SET with stainless steel dissecting forceps,scissors,measuring tapes etc |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 650,000 |  |  |  | Functional | Verified in store |
| Instrument Set, Stitch Removing | HEALTH |  | Stainless steel set with stitch scissors, kidney dishes, gauze & cotton |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 546,549 |  |  |  | Functional | Verified, specific instruments in use |
| MVA Kit | HEALTH |  | Plastic set with Long double valve syringe, cannulas & tubes |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 570,000 |  |  |  | Functional | Verified, 2 in store, 1 in use |
| Stool, Laboratory | HEALTH |  | Blue in color with metallic stands |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,497,461 |  |  |  | Functional | 1Verified |
| Penguin Sucker | HEALTH |  | Small rubber-like with a pointed front like a penguin |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 119,743 |  |  |  | Functional | 2 Verified |
| Fetoscope, Dopplar | HEALTH |  | Small white hand device like a remote and the metallic trumpet |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | Verified |
| Bubble CPAP | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | HEALTH |  | Cuboid shape white in color |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | Verified |
| Kangaroo Mother Care Chair | HEALTH |  | Brown soft chair with grey off-white stopper at the arm rest |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 2,454,751 |  |  |  | Functional | 1 Verified |
| Radiant Infant Warmer | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | Stainless steel with black mattress |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  |  |  |  |  | Functional | Verified |
| Examination light | HEALTH |  | White adjustable light with a long tube |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 753,799 |  |  |  | Functional | Verified |
| Instrument set, ENT Basic for HCIII | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black with 5 rolling balls & stainless stands |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 96,922 |  |  |  | Functional | 4Verified |
| N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  | Brown top with grey body and front drawers |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 805,194 |  |  |  | Functional | 4 Verified |
| Filing Cabinet | HEALTH |  | Off white with 4 lockable filling cabins |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 668,133 |  |  |  | Functional | 2Verified |
| Non Residential Buildings | HEALTH |  | - Maternity block with 1 block of Latrines with 4 stances, shower rooms and water tanks |  |  |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | -Water Supply System |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | -Solar House for solar back up & a chain link fence |  |  |  |  |  |  |  |  |  | Functional | Verified |
| Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Staff Quarters i.e 1 block with 2 units |  |  |  |  |  |  |  |  |  | Functional | Verified |

OTHERS

-Renovation of the old Out Patient Department -OPD

-Placenta Pit and medical waste pit

-Incinerator construction

REMARKS

-All equipment in the facility was not engraved

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school ….KIYOMBYA  SEED SEC SCHOOL…………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- Repair and service is catered for in the School budget.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The support has reduced on the school drop outs because of the reduced distance to school. Initially Buheesi ss was the nearest to this community.

- The area community benefited from the gravity water after the establishment of this school.

CHALLENGES

- Each class was planned for about 60 students yet to date each class has an average of 130 students hence overcrowding.

- The library has very few books, the ratio is about 1:20.

- The school kitchen was not planned for, currently they are improvising with a makeshift .

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…………..BUNYANGABU                                           Name of SCHOOL  KIYOMBYA SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS | EDUCATION |  | brown wooden |  | Kiyombya seed sch UGIFT 22/23 183, |  | May 2022 |  |  |  |  |  | Functional | Verified |
|  |  |  | Benches |  | Kiyombya seed sch UGIFT 22/23 121 |  |  |  |  |  |  |  |  |  |
|  |  |  | With an attached |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Table like |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | On black metallic |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
| OFFICE | EDUCATION |  | Brown |  | Kiyombya |  |  |  |  |  |  |  |  | Verified |
| CHAIRS |  |  | Wooden seats and leaner on |  | Seed sch- UGIFT 256 |  | May 2022 |  |  |  |  |  |  |  |
|  |  |  | With black |  | -UGIFT 110 |  |  |  |  |  |  |  |  |  |
|  |  |  | metallic |  | -UGIFT 330 |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  | -UGIFT121 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | -UGIFT 040 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | l |  |
| TABLES(office & Lab) |  |  | Brown Wooden Top on black |  | Kiyombya seed sch -UGIFT-22/23-154, 156,202, |  | May 22 |  |  |  |  |  | Functional | Verified |
|  |  |  | metallic |  | 140,161, 203 |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
| LAB STOOLS | Education |  | 4legged |  | ALL NOT |  | May 22 |  |  |  |  |  | Functional | Verified |
|  |  |  | Black |  | ENGRAVED |  |  |  |  |  |  |  |  |  |
|  |  |  | Metallic stands |  | Kiyombya seed sch- |  | May 22 |  |  |  |  |  | Functional | Verified |
|  |  |  | With a |  | UGIFT -013, |  |  |  |  |  |  |  |  |  |
|  |  |  | Brown top |  | 122,064,071,131,023 |  |  |  |  |  |  |  |  |  |
| IN BUILT | EDUCATION |  | Inbuilt shelves with |  | NOT ENGRAVED |  | May 22 |  |  |  |  |  |  | VERIFIED |
| SHELVES |  |  | Grey Metallic shutters |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 in each class room |  |  |  |  |  |  |  |  |  |  |  |
| OPEN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SHELVES | EDUCATION |  | Open shelves made of wire mesh and brown wood |  | NOT ENGRAVED |  | May 22 |  |  |  |  |  |  | VERIFIED |
|  |  |  | And black |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | metals |  |  |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG   BUNYANGABU                                           Name of SCHOOL KIYOMBYA SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NET WORK SWITCH 24 PORT | EDUCATION |  | Glass front with grey sides and visible wires inside |  | Kiyombya seed sch 061 | 24-5-21 | June 21 |  | 3,811,400 |  |  |  | functional | Verified |
| PROJECTOR | EDUCATION |  | Epson |  | Kiyombya seed sch 054 | 24-5-21 | June 21 |  | 2,174,964 |  |  |  | Functional | Verified |
| PORT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DESKTOP COMPUTERS | EDUCATION |  | Dell, Black in color |  | Kiyombya seed sch 056,080,083, | 24-5-21 | June 21 |  | 2,783,443 |  |  |  | FUNCTIONAL | VERIFIED |
|  |  |  |  |  | 076 |  |  |  |  |  |  |  |  |  |
|  |  |  | TOTAL OF 28 |  |  |  |  |  |  |  |  |  |  |  |
| PRINTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AIR CONDITIONER | EDUCATION |  | HISENSE |  |  |  |  |  | 3,858,600 |  |  |  |  | VERIFIED |
| CCTV CAMERA | EDUCATION |  | HII vision |  |  |  |  |  | 3,500,000 |  |  |  |  | VERIFIED |
| InterSERVER PROCESSOR | EDUCATION |  | Dell optiplex |  |  |  |  |  | 3,519,043 |  |  |  |  | VERIFIED |
| PRINTERS | EDUCATION |  | HP LASERJET 428 |  |  |  |  |  | 1,808,397 |  |  |  |  | VERIFIED |
| UPS | EDUCATION |  | 650VA |  |  |  |  |  | 295,272 |  |  |  |  | VERIFIED |
|  |  |  | APC 3000VA |  |  |  |  |  | 4,484,000 |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…BUNYANGABU                                                                           Name of SCHOOL      KIYOMBYA SEED SEC SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NON | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESIDENTIAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 BLOCKS |  |  | 3 BLOCKS |  |  |  |  |  |  |  |  |  | FUNCTIONAL | VERIFIED |
| CLASS |  |  | 2ROOMS EACH |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ROOMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STAFF |  |  | 1 BLOCK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ROOM & |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADMN BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SCIENCE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LABARATORIES | EDUCATION |  | 1 BLOCK, 2ROOMS |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ICT LIB | EDUCATION |  | 1 BLOCK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | 2 ROOMS |  |  |  |  |  |  |  |  |  |  |  |
| MULT PURPOSE | EDUCATION |  | 1 BLOCK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| HALL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LATRINES |  |  | 2 BLOCKS (4stances each) |  |  |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | Boys & Girls |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 BLOCK (Staff |  |  |  |  |  |  |  |  |  |  |  |
| WATER TANKS | EDUCATION |  | BLACK |  |  |  | 2021 |  |  |  |  |  | Functional | 1 10k ltrs & 2 5k ltrs |
| RESIDENTIAL | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STAFF QUARTERS |  |  | 3 BLOCKS WITH 2 UNITS |  |  |  |  |  |  |  |  |  |  |  |
| LATRINES |  |  | 3 BLOCKS, |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2 STANCES |  |  |  |  |  |  |  |  |  |  |  |
| KITCHENS |  |  | 3 BLOCKS, 2 UNITS |  |  |  |  |  |  |  |  |  |  |  |