ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KAMWENGE |
| VERIFIER PARTICULARS |  |
| Full name | KIHUMURO JENNIFER & NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 0776236584 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KABINGO HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, the facility has an Asset Register but not specific for Ugift |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility has a small budget for maintenance but currently most Equipments and Assets are functional.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

Those that break are repaired by the facility

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The number of patients has greatly increased.

- Diagnosis and treatment is easier.

- Expectant Mothers comfort as a result of better Maternity facility

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG  KAMWENGE …………………………….. NAME OF HEALTH FACILITY ……. KABINGO HEALTH CENTRE 3

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | Cuboid like shape with a gauge and an attachment |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 342,953 |  |  |  | Functional | 1 Verified |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | Greyish with a guage |  | Kabingo/Moh/BP/02 | 1-5-23 | June 23 |  | 558,799 |  |  |  | Functional | Verified |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  | Big Cylindrical like a pressure cooker |  | Kabingo/Moh/ST/01 | 1-5-23 | June 23 |  | 957,941 |  |  |  | Functional | Verified |
| Bowl, Kick | HEALTH |  | Round ring with holders and rolling balls |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 537,099 |  |  |  | Functional | 1 Verified |
| Bowl Stand | HEALTH |  | Stainless steel stand with bowls |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 201,239 |  |  |  | Functional | 1 Verified |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | HEALTH |  | Off-white Aluminum Cupboard with a locker |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 1,131,736 |  |  |  | Functional | 3 Verified |
| Drip Stand | HEALTH |  | Aluminum Stands with rolling balls |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 198,054 |  |  |  | Functional | 5 Verified |
| ESR Stand | HEALTH |  | Small stand with small cubes |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 82,011 |  |  |  | Not Functional | Verified, In Store |
| Examination Couch | HEALTH |  | Black Mackintosh on stainless stands |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 365,320 |  |  |  | Functional | 1 Verified |
| Examination light,LED | HEALTH |  | White in Color with LED light |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 380,231 |  |  |  | Functional | 1Verified |
| Glucometer | HEALTH |  | Small oval-like shape in grey color |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 82,011 |  |  |  | Functional | Verified |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | HEALTH |  | Long grey meter with a base |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 225,091 |  |  |  | Not Functional | 1Verified, in Store |
| Instrument Trolley | HEALTH |  | Aluminium stands with tray for rectangular trays |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 1,556,137 |  |  |  | Functional | Verified |
| Microscope Binocular | HEALTH |  | Grey & black with& screen |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 1,799,551 |  |  |  | Not Functional | 1Verified |
| Otoscope | HEALTH |  | Hand held gadget with a pointed front |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 141,655 |  |  |  | Not Functional | Verified, in Store |
| Patient Screen | HEALTH |  | Aluminium stands on rolling balls and blue material |  | NOT ENGRAVED | 1-5-23 | June 25 |  | 518,713 |  |  |  | Functional | 3Verified |
| Patient Trolley | HEALTH |  | Aluminium stands and black mackintosh |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 2,423,038 |  |  |  | Functional | 1 verified |
| Refrigerator, Basic | HEALTH |  | Large white double door |  | Kabingo/Moh/six/01 | 1-5-23 | June 23 |  | 4,100,525 |  |  |  | Functional | Verified |
| Stethoscope | HEALTH |  | Black tubing with 2 ear piece and drum |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 44,733 |  |  |  | Functional | Verified |
| Stop Watch | HEALTH |  | Black hand held gadget with digits |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 7,456 |  |  |  | Functional | Verified |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | HEALTH |  | Aluminum stove with 2 plates |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 581,529 |  |  |  | Not Functional | 1Verified |
| Weighing Scale with Height Meter, Adult | HEALTH |  | White with a clock-like gauge and meter |  | Kabingo/Moh/six/01 | 1-5-23 | June 23 |  | 447,330 |  |  |  | Functional | 1 Verified |
| Weighing Scale, Infant | HEALTH |  | White tray on a base with gauge |  | Kabingo/Moh/b/c/01 | 1-5-23 | June 23 |  | 114,700 |  |  |  | Functional | Verified |
| Weighing Scale, Toddler | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | HEALTH |  | Black in color with wheels |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 613,112 |  |  |  | Functional | Verified |
| Audio Visual Equipment | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Stainless cylindrical in nature bins |  | Kabingo/Moh/MNT/17 | 1-5-23 | June 23 |  | 104,377 |  |  |  | Functional | 3 Verified |
| Wall Clock | HEALTH |  | Round faced white in color |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 44,733 |  |  |  | Functional | 1 Verified |
| Diagnostic Equipment Set for MCH | HEALTH |  | Set containing antenatal and maternity instruments |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 560,884 |  |  |  | Functional | Verified |
| Diagnostic Equipment Set for OPD | HEALTH |  | Aluminum Set containing kidney bowls of different sizes |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 433,673 |  |  |  | Functional | Verified |
| Glassware Set, Laboratory, Basic | HEALTH |  | Glass set with test testubes & slides |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 318,027 |  |  |  | Functional | Verified |
| Hollow Ware Set, Treatment | HEALTH |  | Alluminium set with male urinals, needle holders etc |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 2,255,101 |  |  |  | Functional | Verified |
| Instrument Set, Dressing | HEALTH |  | Alluminium set with artery & dissecting forceps etc |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 484,607 |  |  |  | Functional | Verified |
| Instrument Set, Basic ENT | HEALTH |  | Small set for ear, nose &throat |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 1,387,754 |  |  |  | Functional | Verified |
| Instrument Set, Suture | NOT SEEN |  | Stitching set like needle holders and scissors |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 722,789 |  |  |  | Functional | Verified |
| Pulse Oximeter, Hand held | HEALTH |  | Small cuboid shaped device, White and Black |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 275,854 |  |  |  | Functional | Verified |
| Bed, Adult Patient with Mattress | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  | Received but were given to BIHANGA HC4 with authorization of dho |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Pink, blue and off-white with doll -like pics |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 1,975,708 |  |  |  | Functional | Verified, 1 in use, 4 in store |
| Bedside Locker | HEALTH |  | Blue and grey |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 424,401 |  |  |  | Functional | Verified |
| Cupboard, Instrument | HEALTH |  | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Black cylindrical |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 799765 |  |  |  | Not Functional | Verified |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | White packed, plastic set |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 141,655 |  |  |  | Functional | Verified in store |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | White packed, plastic set |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 141,655 |  |  |  | Functional | Verified in store |
| Suction Apparatus, (Electric) | HEALTH |  | In box |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 566,618 |  |  |  | Not Functional | Verified, in store |
| Nebulizer, Ultrasonic | HEALTH |  | In box |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 366943 |  |  |  | Not Functional | Verified, in store |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Grey blue cuboid form with 2 humidifiers |  | Kabingo/Moh/oc/01 | 1-5-23 | June 23 |  | 2,795,813 |  |  |  | Functional | 1 verified |
| Bench | HEALTH |  | Brown, small spaced with black metallic stands |  | Kabingo/Moh/DSK/03 | 1-5-23 | June 23 |  | 470450 |  |  |  | Functional | 4 Verified |
| Disinfection Buckets | HEALTH |  | White plastic buckets |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 29,822 |  |  |  | Functional | 3 verified |
| Baby Cot | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | HEALTH |  | SET with stethoscope, pen- torch, urinalysis, trays |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 720,000 |  |  |  | Functional | Verified, specific instruments in use |
| Hollow Ware Set, Ward | HEALTH |  | SET with stainless bowls, Kidney dishes, basins, etc |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 1,565,655 |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Delivery | HEALTH |  | SET with stainless steel dissecting forceps,scissors,measuring tapes etc |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 650,00 |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Stitch Removing | HEALTH |  | Stainless steel set with stitch scissors, kidney dishes,gauze & cotton |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 546,549 |  |  |  | Functional | Verified, specific instruments in use |
| MVA Kit | HEALTH |  | Plastic set with Long double valve syringe, cannulas & tubes |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 570,000 |  |  |  | Functional | Verified, 3 in store, 1 in use |
| Stool, Laboratory | HEALTH |  | Back in color with metallic stands |  | Kabingo/MOH/CI/02 | 1-5-23 | June 23 |  | 1,497,461 |  |  |  | Functional | 1Verified |
| Penguin Sucker | HEALTH |  | Small rubber-like with a pointed front like a penguine |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 119,743 |  |  |  | Functional | 2 Verified |
| Fetoscope, Dopplar | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | HEALTH |  | Received but gave it to BUSOZI HV4 |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | HEALTH |  | Brown soft chair with grey off-white stopper at the arm rest |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 2,454,751 |  |  |  | Functional | 1 Verified |
| Radiant Infant Warmer | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | Black matress on stainless stands |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 5,650,654 |  |  |  | Functional | Verified |
| Examination light | HEALTH |  | White adjustable light with a long tube |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 753,799 |  |  |  | Functional | Verified |
| Instrument set, ENT Basic for HCIII | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | HEALTH |  | Bag with silicones, small masks etc |  | NOT ENGRAVED | 1-5-23 | June 23 |  |  |  |  |  | Functional | Verified |
| Incubator | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black with 5 rolling balls & stainless stands |  | Kabingo/Moh/LUH/02 | 1-5-23 | June 23 |  | 96,922 |  |  |  | Functional | Verified |
| N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  | Brown top with brown body and front drawers |  | NOT ENGRAVED | 1-5-23 | June 23 |  | 805,194 |  |  |  | Functional | 3 Verified |
| Filing Cabinet | HEALTH |  | Off white with 4 lockable filling cabins |  | Kabingo/Moh/fc/03 | 1-5-23 | June 23 |  | 668,133 |  |  |  | Functional | 3Verified |
| Non Residential Buildings | HEALTH |  | - Maternity block with 1 block of Latrines with 4 stances , shower rooms kand water tanks |  |  |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | -Placenta pit & Incinerator |  |  |  |  |  |  |  |  |  | Functional | verified |
|  |  |  | -Solar House for solar back up |  |  |  |  |  |  |  |  |  | Functional | Verified |
| Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Staff Quarters i.e 1 block with 2 units |  |  |  |  |  |  |  |  |  | Functional | Verified |

REMARKS

-Due to operational issues in in-charge handovers at different periods, Ugift asset documentation was hard to get.

-Most UGIFT Assets and Equipments is not engraved

-VIP Latrines and Placenta pit not painted.

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school …..…BWIIZI  SEED SEC SCHOOL…………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

-The School Capitalization Fund is what is used for maintenance.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Increase in students enrollment from 204 to the current 1108 Students.

- Visibility of the cctv cameras on the ICT BLOCK have helped on School Security, people fear coming closer the school.

CHALLENGES

- Expiry of the Lab Science chemicals because most of what was sent o school was for A Level yet school was an O Level planned one.

- Window burglars are very weak i.e 1 computer was stolen from the office on the admin block

- The Ceiling Boards in the ICT room are getting loose from the Metallic bars used instead of timber, it requires technical know who to manage that kind of repair unlike if it was timber holding the boards.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………….. Kamwenge                                            Name of SCHOOL BWIIZI SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS | EDUCATION |  | Long wooden |  | NOT ENGRAVED |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | Benches |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | With an attached |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Table like |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | On black metallic |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Total was 240 desks |  |  |  |  |  |  |  |  |  |  |  |
| OFFICE | EDUCATION |  | Brown |  |  |  |  |  |  |  |  |  | Functional | Verified |
| CHAIRS |  |  | Wooden seats and leaner on |  | BWZ 001, BWZ 021,BWZ017,BWZ211, |  | 2020 |  |  |  |  |  |  |  |
|  |  |  | With black |  | BWZ076,BWZ065 |  |  |  |  |  |  |  |  |  |
|  |  |  | metallic |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Total was 205 |  |  |  |  |  |  |  |  |  |  |  |
| tables | EDUCATION |  |  |  |  |  |  |  |  |  |  |  | Functional |  |
|  |  |  | Brown Wooden Top on black |  | NOT ENGRAVED |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | metallic |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Total of 80 |  |  |  |  |  |  |  |  |  |  |  |
| LAB STOOLS | Education |  | 4legged |  |  |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | Black |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Metallic stands |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | With a |  |  |  | 2020 |  |  |  |  |  | Functional | Verified |
|  |  |  | Brown top |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Total of180 |  |  |  |  |  |  |  |  |  |  |  |
| IN BUILT | EDUCATION |  | Inbuilt shelves with |  | NOT ENGRAVED |  | 2020 |  |  |  |  |  |  | VERIFIED |
| SHELVES |  |  | Metallic shutters |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Total of 6 |  |  |  |  |  |  |  |  |  |  |  |
| OPEN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SHELVES | EDUCATION |  | 4Long open |  | NOT |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | Wooden |  | ENGRAVED |  |  |  |  |  |  |  |  |  |
|  |  |  | shelves |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Total of 6 |  |  |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG   KAMWENGE                                           Name of SCHOOL BWIIZI SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PROJECTOR | EDUCATION |  | ACER X1 |  | X8D613 | 7/6/21 | 7/21 |  |  |  |  |  | Functional | Verified |
|  |  |  | 126AHDLP |  | 0597L |  |  |  |  |  |  |  |  |  |
|  |  |  | PROJECTOR |  |  |  |  |  |  |  |  |  |  |  |
| DNETWORK | EDUCATION |  | Grey |  |  |  |  |  |  |  |  |  |  | Verified |
| SWITCH 24 |  |  | And black |  |  |  |  |  |  |  |  |  |  |  |
| PORT |  |  | With |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Glass door |  |  |  |  |  |  |  |  |  |  |  |
| DDESK TOP |  |  | BLACK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| COMPUTERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| & COMPONENTS |  |  | TOTAL OF 28 |  |  |  |  |  |  |  |  |  |  |  |
| PRINTER |  |  | HPLASERJET |  | CNDRN9J41V |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | 428DW |  |  |  |  |  |  |  |  |  |  |  |
| AIR CONDITIONER | EDUCATION |  | 24000BTU HISENSE AC |  | AS-24HR4SXBTG01 |  |  |  |  |  |  |  | FUNCTIONAL | VERIFIED |
| CCTV CAMERA | EDUCATION |  | Camera eyes visible at different points of ICT |  |  |  |  |  |  |  |  |  |  | VERIFIED |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…KAMWENGE                                                                           Name of SCHOOL      BWIIZI SEED SEC SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NON | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESIDENTIAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 BLOCKS |  |  | 3 BLOCKS |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| CLASS |  |  | 2ROOMS EACH |  |  |  |  |  |  |  |  |  |  |  |
| ROOMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STAFF |  |  | 1 BLOCK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ROOM & |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADMN BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SCIENCE |  |  |  |  |  |  | 2021 |  |  |  |  |  |  |  |
| LABARATORIES | EDUCATION |  | 1 BLOCK, 2ROOMS |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ICT LIB | EDUCATION |  | 1 BLOCK |  |  |  | 2021 |  |  |  |  |  |  | VERIFIED |
|  |  |  | 2 ROOMS |  |  |  |  |  |  |  |  |  |  |  |
| MULT PURPOSE | EDUCATION |  | 1 BLOCK |  |  |  | 2021 |  |  |  |  |  |  | VERIFIED |
| HALL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LATRINES |  |  | 2 BLOCKS( 4stances each) |  |  |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | Boys & Girls |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 BLOCK(Staff |  |  |  |  |  |  |  |  |  |  |  |
| PLAYGROUND |  |  | For Football |  |  |  |  |  |  |  |  |  |  |  |

BWIIZI SEED SECONDARY SCHOOL