ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KITAGWENDA |
| VERIFIER PARTICULARS |  |
| Full name | KIHUMURO JENNIFER & NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 0776236584 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KANARA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

By use of primary Health care funds which is used for maintenance of the facility

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Diagnosis equipment which was supplied made disease diagnosis and treatment easier

- Solar Power connection has helped with the load shading issues since the entire facility

Runs on Solar

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG……KITAGWENDA…………………………………… NAME OF HEALTH FACILITY……KANARA HEALTHY CENTER I I IS …………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | HEALTH |  | Square shaped with a gauge and an attachment |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 342,953 |  |  |  | Functional | 1 In use 1 in Store(Verified) |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | A Yuwell type with a round face |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 216,210 |  |  |  | Functional | Verified |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | HEALTH |  | Round ring with holders and rolling balls |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 521,885 |  |  |  | Functional | Verified |
| Bowl Stand | HEALTH |  | Stainless steel stand with bowls |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 201,239 |  |  |  | Functional | Verified |
| Counting chamber Neubauer- Improved | HEALTH |  | Small packet containing 2-pointed scissors like gadgets |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 22,367 |  |  |  | Functional | Verified |
| Cupboard Steel, Lockable | HEALTH |  | Off-white Aluminum Cupboard with a locker |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 1,267,235 |  |  |  | Functional | Verified |
| Drip Stand | HEALTH |  | Aluminum Stands with rolling balls |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 74,555 |  |  |  | Functional | Verified |
| ESR Stand | HEALTH |  | Small stand with small cubes |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 82,011 |  |  |  | Not Functional | Verified, In Store |
| Examination Couch | HEALTH |  | Black Mackintosh on stainless stands |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 365,320 |  |  |  | Functional | 2 Verified |
| Examination light,LED | HEALTH |  | White in Color with LED light |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 380,231 |  |  |  | Functional | 1Verified, 1 in Store, 1 in use |
| Glucometer | HEALTH |  | Small oval-like shape in grey color |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 82,011 |  |  |  | Functional | Verified |
| Haemoglobin Meter, Digital | HEALTH |  | Maroon and black with a screen and holder |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 559,163 |  |  |  | Functional | Verified |
| Height Meter | HEALTH |  | Long grey meter with a base |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 119,288 |  |  |  | Not Functional | Verified, in Store |
| Instrument Trolley | HEALTH |  | Aluminium stands with tray for rectangular trays |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 484,608 |  |  |  | Functional | Verified |
| Microscope Binocular | HEALTH |  | In the box |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 931,938 |  |  |  | Not Functional | Verified, in Store |
| Otoscope | HEALTH |  | Hand held gadget with a pointed front |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 141,655 |  |  |  | Not Functional | Verified, in Store |
| Patient Screen | HEALTH |  | Aluminium stands on rolling balls and blue material |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 223,665 |  |  |  | Functional | Verified, 3 in use, 5 in store |
| Patient Trolley | HEALTH |  | Aluminium stands and black mackintosh |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 2,423,038 |  |  |  | Functional | 1 verified |
| Refrigerator, Basic | HEALTH |  | Midea type, grey medium size |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 4,100,525 |  |  |  | Functional | Verified |
| Stethoscope | HEALTH |  | Black tubing with 2 ear piece and drum |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 44,733 |  |  |  | Functional | Verified |
| Stop Watch | HEALTH |  |  |  |  |  |  |  | 7,456 |  |  |  |  |  |
| Stretcher | HEALTH |  | White in color with a small soft mattress |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 2,795,813 |  |  |  | Functional |  |
| Stove, Gas | HEALTH |  | Aluminum stove with 2 plates |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 581,529 |  |  |  | Not Functional | Verified |
| Weighing Scale with Height Meter, Adult | HEALTH |  | White with a clock-like gauge and meter |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 447,330 |  |  |  | Functional | 2 Verified |
| Weighing Scale, Infant | HEALTH |  | White tray on a base with gauge |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 114,700 |  |  |  | Functional | Verified |
| Weighing Scale, Toddler | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Stainless cylindrical in nature bins |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 104,377 |  |  |  | Functional | 2 in store, 4 in store, Verified |
| Wall Clock | HEALTH |  | Packed in Blue boxes |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 44,733 |  |  |  | NOT Functional | 4 Verified in Store |
| Diagnostic Equipment Set for MCH | HEALTH |  | IN STORE, IN BOXES |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 432,418 |  |  |  | Functional | Verified |
| Diagnostic Equipment Set for OPD | HEALTH |  | IN STORE, IN BOXES |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 1,401,634 |  |  |  | Functional | Verified |
| Glassware Set, Laboratory, Basic | HEALTH |  | IN STORE, IN BOXES |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 969,215 |  |  |  | Functional | Verified |
| Hollow Ware Set, Treatment | Not Seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | HEALTH |  | IN BOXES, IN STORE |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 484,607 |  |  |  | Functional | Verified |
| Instrument Set, Basic ENT | HEALTH |  | IN BOXES, IN STORE |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 6,821,783 |  |  |  | Functional | Verified |
| Instrument Set, Suture | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | Small device, White and Black |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 275,854 |  |  |  | Functional | Verified |
| Bed, Adult Patient with Mattress | HEALTH |  | Black covered mattress with White and Blue stands |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 738,095 |  |  |  | Functional | 10 Verified |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Pink, blue and off-white with doll -like pics |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 1,975,708 |  |  |  | Functional | Verified, 1 in use, 4 in store |
| Bedside Locker | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | HEALTH |  | Steel off white double door with glass upper |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 1,267,435 |  |  |  | Functional | 1 Verified |
| Delivery Bed, Hydraulic Manual | HEALTH |  | Pink in color |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 4,846,075 |  |  |  | Functional | 1 Verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Black cylindrical |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 1,752,043 |  |  |  | Not Functional | Verified |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | White packed, plastic set |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 141,655 |  |  |  | Functional | Verified in store |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | White packed, plastic set |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 141,655 |  |  |  | Functional | Verified in store |
| Suction Apparatus, (Electric) | HEALTH |  | In boxes |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 566,618 |  |  |  | Not Functional | Verified, in store |
| Nebulizer, Ultrasonic | HEALTH |  | In box |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 268,398 |  |  |  | Not Functional | Verified, in store |
| Oxygen Concentrator, Duo Flow | HEALTH |  | In box |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 2,795,813 |  |  |  | Functional | Verified, 2 in use 1 in store |
| Bench | HEALTH |  | Brown, small spaced with black metallic stands |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 313,131 |  |  |  | Functional | 4 Verified |
| Disinfection Buckets | HEALTH |  | White plastic buckets |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 29,822 |  |  |  | Functional | Verified, 2 in use, 4 in store |
| Baby Cot | HEALTH |  | Small Black mackintosh mattress with aluminum stands |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 417,508 |  |  |  | Functional | Verified |
| Diagnostic Equipment Set for Ward | HEALTH |  | SET with stethoscope, pen- torch, urinalysis, trays |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 596,440 |  |  |  | Functional | Verified, specific instruments in use |
| Hollow Ware Set, Ward | HEALTH |  | SET with stainless bowls, Kidney dishes, basins, etc |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 1,565,655 |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Delivery | HEALTH |  | SET with stainless steel dissecting forceps,scissors,measuring tapes etc |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 484,808 |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Stitch Removing | HEALTH |  | Stainless steel set with stitch scissors, kidney dishes,gauze & cotton |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 447,608 |  |  |  | Functional | Verified, specific instruments in use |
| MVA Kit | HEALTH |  | Plastic set with Long double valve syringe, cannulas & tubes |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 48,461 |  |  |  | Functional | Verified, 3 in store, 1 in use |
| Stool, Laboratory | HEALTH |  | Blue in color with metallic stands |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 126,744 |  |  |  | Functional | 1Verified |
| Penguin Sucker | HEALTH |  | Small rubber-like with a pointed front like a penguine |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 11,183 |  |  |  | Functional | 2 Verified |
| Fetoscope, Dopplar | HEALTH |  | Metal-like cylinder |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 178,932 |  |  |  | Functional | Verified, 1in use , 1 in store |
| Bubble CPAP | HEALTH |  | In boxes |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 10,176,758 |  |  |  | Functional | Verified, 1 in use , 2 in |
| Centrifuge (Electric) | HEALTH |  | In boxes |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 2,273,928 |  |  |  | Functional | Verified, 1in use 1 in store |
| Kangaroo Mother Care Chair | HEALTH |  | Brown soft chair with grey off-white stopper at the arm rest |  | NOT ENGRAVED | 22.9.25 | Oct 25 |  | 365,320 |  |  |  | Functional | 1 Verified |
| Radiant Infant Warmer | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black with 5 rolling balls & stainless stands |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 96,922 |  |  |  | Functional | 7 Verified |
| N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  | Offwhite top & grey drawers and grey body |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 805,194 |  |  |  | Functional | 3 Verified |
| Filing Cabinet | HEALTH |  | Off white with 4 lockable filling cabins |  | NOT ENGRAVED | 22-9-25 | Oct 25 |  | 544,252 |  |  |  | Functional | 2 Verified |
| Non Residential Buildings | HEALTH |  | - Maternity block with 1 block of Latrines with 4 stances and water tanks |  |  |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | -Placenta pit & Incenerator |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | -Solar House for solar back up |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Staff Quarters i.e 1 block with 2 self contained units |  |  |  |  |  |  |  |  |  | Functional | Verified |

RECCOMMENDATIONS

- The facility is requesting more staff houses

- There is need for more computers for the different operational sections i.e Triage, maternity, pharmacy  especially with the newly introduced central management system

CHALLENGE

- Have a challenge on the limited space for the facility for example in the Wards whereby new beds can not effectively be used due to the existence of old ones. In charge is in touch with HCIV to take the old beds

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: KANARA SEED SEC SCHOOL……………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, some of the records are in the Bursars office & was not available |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

-Construction still on going, school has not yet been handed over officially

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | N/A |
| --- | --- | --- |

- Increase in students enrollment from 122 to 250

CHALLENGES

- Delays in school construction due to a lot of compromises hence the school has taken long to be completed

- No new Curriculum Text books for use in the new library and in the school

- Lightening conductors have been placed on only 2 blocks, others don’t have.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………….. KITAGWENDA                                            Name of SCHOOL KANARA SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS | EDUCATION |  | Long wooden |  | KANSS/ |  | Works still |  |  |  |  |  | Functional | Some are in use although they have not been handed over |
|  |  |  | Benches |  | UGIFT1/ |  | On going |  |  |  |  |  |  | officially |
|  |  |  | With an attached |  | D/073 |  |  |  |  |  |  |  |  |  |
|  |  |  | Table like |  | ./.D/074 |  |  |  |  |  |  |  |  |  |
|  |  |  | On black metallic |  | /D/064 |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  | /D/065 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | /D/099 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | /D/095 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | /D/007 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | /D/023 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | /D/016 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | /D/079 |  |  |  |  |  |  |  |  |  |
| OFFICE | EDUCATION |  | Brown |  | KANSS/ |  | Works |  |  |  |  |  | Functional | Verified |
| CHAIRS |  |  | Wooden seats and leaner on |  | UGIFT1 |  | On going |  |  |  |  |  |  |  |
|  |  |  | With black |  | /2026/C/ |  |  |  |  |  |  |  |  |  |
|  |  |  | metallic |  | 089 |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  | .C/076 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/056 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/029 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/082 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/143 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/001 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/200 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/045 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | .C/088 |  |  |  |  |  |  |  |  |  |
| tables | EDUCATION |  | (4 Types seen) |  | KANSS |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | 1-small |  | /UGIFT1 |  |  |  |  |  |  |  |  |  |
|  |  |  | Squared top |  | /T/066 |  |  |  |  |  |  |  |  |  |
|  |  |  | Wooden on |  | ../T/100 |  |  |  |  |  |  |  |  |  |
|  |  |  | metallic |  | /T/021 |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  | /T/120 |  |  |  |  |  |  |  |  |  |
|  |  |  | 2- Long |  | /T/121 |  | Construc |  |  |  |  |  | Functional | Verified |
|  |  |  | rectangular |  | /T/005 |  | Tion still |  |  |  |  |  |  |  |
|  |  |  | Wooden or |  | /T/025 |  | On going |  |  |  |  |  |  |  |
|  |  |  | metallic |  | /T/183 |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  | /T/049 |  |  |  |  |  |  |  |  |  |
|  |  |  | 3- Long & big sized table with |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Black |  |  |  |  |  |  |  |  |  |  |  |
| LAB STOOLS | Education |  | 4legged |  | KANSS/ |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | Black |  | UGIFT1/ |  |  |  |  |  |  |  |  |  |
|  |  |  | Metallic stands |  | 2026/S/ |  |  |  |  |  |  |  |  |  |
|  |  |  | With a |  | 127, S/024, |  |  |  |  |  |  |  |  |  |
|  |  |  | Brown top |  | S/062 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | S/057, |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | S/111 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | S/083 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | S/028 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | S/126 |  |  |  |  |  |  |  |  |  |
| CLOSED | EDUCATION |  | Cupboard like wooden |  | KANSS1/ |  |  |  |  |  |  |  |  | VERIFIED |
| SHELVES |  |  | Shelves with wooden shutters |  | UGIFT1/ SH/017, |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | SH/005 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | SH/003 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | SH/002 |  |  |  |  |  |  |  |  |  |
| OPEN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SHELVES | EDUCATION |  | Long open |  | NOT |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | Wooden |  | ENGRAVED |  |  |  |  |  |  |  |  |  |
|  |  |  | shelves |  |  |  |  |  |  |  |  |  |  |  |
| Soft Pin boards | EDUCATION |  | Small & medium sized purple |  | NOT ENGRAVED |  |  |  |  |  |  |  |  | VERIFIED |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG   KITAGWENDA                                            Name of SCHOOL KANARA SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PROJECTOR | EDUCATION |  | Available in |  | EPSON | 13-6-25 | 15-10-25 |  |  |  |  |  | Functional | Verified |
|  |  |  | The school in |  | EB- |  |  |  |  |  |  |  |  |  |
|  |  |  | The bursars |  | X06 |  |  |  |  |  |  |  |  |  |
|  |  |  | office |  |  |  |  |  |  |  |  |  |  |  |
| DNETWORK | EDUCATION |  | Grey |  |  |  |  |  |  |  |  |  |  | Verified |
| SWITCH 24 |  |  | And black |  |  |  |  |  |  |  |  |  |  |  |
| PORT |  |  | With |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Glass door |  |  |  |  |  |  |  |  |  |  |  |
| DDESK TOP |  |  |  |  |  |  |  |  |  |  |  |  |  | DIST STORE |
| COMPUTERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| & COMPONENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PRINTER |  |  |  |  |  |  |  |  |  |  |  |  |  | DIST STORE |
| AIR CONDITIONER | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  | DIST STORE |
| CCTV CAMERA | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  | DIST STORE |
| PRINTER | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  | DIST STORE |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…KITAGWENDA                                                                           Name of SCHOOL      KANARA SEED SEC SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NON | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESIDENTIAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 BLOCKS |  |  | 3 BLOCKS |  |  |  | CONS |  |  |  |  |  |  | VERIFIED |
| CLASS |  |  |  |  |  |  | TRUCT |  |  |  |  |  |  |  |
| ROOMS |  |  |  |  |  |  | ION |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | ON GOING |  |  |  |  |  |  |  |
| STAFF |  |  | 1 BLOCK |  |  |  | CONST |  |  |  |  |  |  |  |
| ROOM & |  |  |  |  |  |  | ONGOING |  |  |  |  |  |  |  |
| ADMN BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| SCIENCE |  |  |  |  |  |  | CONST |  |  |  |  |  |  |  |
| LABARATORIES | EDUCATION |  | 1 BLOCK, 2ROOMS |  |  |  | ON |  |  |  |  |  |  | VERIFIED |
| ICT LIB | EDUCATION |  | 1 BLOCK |  |  |  | CONST |  |  |  |  |  |  | VERIFIED |
|  |  |  | 2 ROOMS |  |  |  | ON |  |  |  |  |  |  |  |
| MULT PURPOSE | EDUCATION |  | 1 BLOCK |  |  |  | CONST |  |  |  |  |  |  | VERIFIED |
| HALL |  |  |  |  |  |  | ON |  |  |  |  |  |  |  |
| LATRINES | EDUCATION |  | 1 BLOCK -BOYS (4 Stances |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 BLOCK- GIRLS(4 Stances |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1BLOCK- STAFF(2 Stances |  |  |  |  |  |  |  |  |  |  |  |
| PLAYGROUND |  |  |  |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| RESIDENTIAL | EDUCATION |  | 3BLOCKS, 2 UNITS |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| KITCHEN |  |  | 3 BLOCKS, 2 UNITS |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| LATRINES |  |  | 3 BLOCKS, 2 STANCES with shower room |  |  |  |  |  |  |  |  |  |  | VERIFIED |

REMARKS

- School is still undergoing construction therefore stuff is not yet in use.

- School fencing constructed from balances of other planned construction, its not in the original deal.