ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KASESE |
| VERIFIER PARTICULARS |  |
| Full name | KIHUMURO JENNIFER & NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 0776236584 & 0702560903 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KYEMPARA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, the facility has an Asset Register but not specific for Ugift Equipment |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

- The facility contacts the DHO and arrangements are made to send the engineer

- The Referral also does routine checks whereby service and repairs are handled.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- There is an increase in the number of patients at the facility

Challenges

- Some equipment needs technical personnel to help in teaching the resident staff on how to use better.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG KASESE …………………………….. NAME OF HEALTH FACILITY ……. KYEMPARA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  | Big Cylindrical like a pressure cooker |  | NOT ENGRAVED | 23-9-25 | Nov 25 |  | 720,000 |  |  |  | Functional | 1Verified |
| Bowl, Kick | HEALTH |  | Round ring with holders and rolling balls |  | NOT ENGRAVED | 23-9-25 | Nov 25 |  | 400,000 |  |  |  | Functional | 1 Verified |
| Bowl Stand | HEALTH |  | Stainless steel stands with bowl holder provision |  | NOT ENGRAVED | 23-9-25 | Nov 25 |  |  |  |  |  | Functional | 2 Verified |
| Counting chamber Neubauer- Improved | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | HEALTH |  | Steel grey in color with double doors |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Drip Stand | HEALTH |  | Aluminum Stands and blue color with rolling balls |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 280,000 |  |  |  | Functional | 5 Verified |
| ESR Stand | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | HEALTH |  | Stainless stands with black mattress |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 720,000 |  |  |  | Functional | 2Verified |
| Examination light,LED | HEALTH |  | White in Color with LED light adjustable |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 1,120,000 |  |  |  | Functional | 2Verified |
| Glucometer | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | HEALTH |  | Maroon and black with a holder |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Height Meter | HEALTH |  | Grey in color with a base |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Instrument Trolley | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | HEALTH |  | Hand held gadget with a pointed front |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 320,000 |  |  |  | Not Functional | Verified, in Store |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley | HEALTH |  | Aluminum stands and black mackintosh |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,120,000 |  |  |  | Functional | 1 verified |
| Refrigerator, Basic | HEALTH |  | Medium size, Midea grey in color |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,200,000 |  |  |  | Functional | Verified |
| Stethoscope | HEALTH |  | Blue tubing with 2 ear piece and drum |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 200,000 |  |  |  | Functional | 3Verified |
| Stop Watch | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | HEALTH |  | Aluminum stove with 2 plates |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 560,000 |  |  |  | Functional | 1Verified |
| Weighing Scale with Height Meter, Adult | HEALTH |  | White in color with a round face and an attached meter |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Weighing Scale, Infant | HEALTH |  | White tray on a base with gauge |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 960,000 |  |  |  | Functional | Verified |
| Weighing Scale, Toddler | HEALTH |  | Yellow and blue with a sit |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Wheel Chair | HEALTH |  | Black in color with 2 big wheels |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Audio Visual Equipment | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Stainless & blue cylindrical in nature bins |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | 4Verified |
| Wall Clock | HEALTH |  | Vicstar Vics Round faced white in color |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | 3Verified |
| Diagnostic Equipment Set for MCH | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | HEALTH |  | Glass set with test testubes & slides |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 318,027 |  |  |  | Functional | Verified |
| Hollow Ware Set, Treatment | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | HEALTH |  | Aluminum set with artery & dissecting forceps etc |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 484,607 |  |  |  | Functional | Verified |
| Instrument Set, Basic ENT | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | Small cuboid shaped device, Black in color |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 275,854 |  |  |  | Functional | Verified |
| Bed, Adult Patient with Mattress | HEALTH |  | Blue and white beds with black mattresses |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  |  | Verified |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Pink, blue and off-white with doll -like pics |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 1,975,708 |  |  |  | Functional | 5Verified |
| Bedside Locker | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | HEALTH |  | Peach color with a silver base |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | 1Verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Blue long cylindrical |  | NOT ENGRAVED | 20-9-25 | Nov25 |  | 799765 |  |  |  | Not Functional | Verified |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | HEALTH |  | A YUWELL white box |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 566,618 |  |  |  | Not Functional | Verified, in store |
| Nebulizer, Ultrasonic | HEALTH |  | In box |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 366943 |  |  |  | Not Functional | Verified, in store |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Grey & blue cuboid form with 2 humidifiers |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 2,795,813 |  |  |  | Functional | 1 verified |
| Bench | HEALTH |  | Brown, small spaced with black metallic stands |  | NOT ENGRAVED | 20-9-25 | Nov25 |  | 470450 |  |  |  | Functional | 4 Verified |
| Disinfection Buckets | HEALTH |  | White plastic buckets |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 29,822 |  |  |  | Functional | 5verified |
| Baby Cot | HEALTH |  | Stainless steel stands and small black mattress |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  |  | 4Verfied |
| Diagnostic Equipment Set for Ward | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | HEALTH |  | Plastic set with Long double valve syringe, cannulas & tubes |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 570,000 |  |  |  | Functional | Verified, 2 in store, 1 in use |
| Stool, Laboratory | HEALTH |  | Blue in color with black metallic stands |  | NOT ENGRAVED | 20-9-25 | Oct 25 |  | 1,497,461 |  |  |  | Functional | 1Verified |
| Penguin Sucker | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar | HEALTH |  | Small white hand device like a remote and the metallic trumpet |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Bubble CPAP | HEALTH |  | Blue in color with green and white tube |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Not functional | Verified in store |
| Centrifuge (Electric) | HEALTH |  | Cuboid shape white in color |  | NOT ENGRAVED | 20-9-25 | Nov25 |  |  |  |  |  | Functional | Verified |
| Kangaroo Mother Care Chair | HEALTH |  | Brown soft chair with grey off-white stopper at the arm rest |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 2,454,751 |  |  |  | Functional | 1 Verified |
| Radiant Infant Warmer | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | Stainless steel with black mattress |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  | Functional | Verified |
| Examination light | HEALTH |  | White adjustable light with a long tube |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 753,799 |  |  |  | Functional | Verified |
| Instrument set, ENT Basic for HCIII | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | HEALTH |  | Bag with valve, mask and oxygen inlet |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  |  |  |  |  |  |  |
| Incubator | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black with 5 rolling balls & stainless stands |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 96,922 |  |  |  | Functional | 7Verified |
| Desk |  |  | Brown top with grey body and front drawers |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 805,194 |  |  |  | Functional | 3 Verified |
| Filing Cabinet | HEALTH |  | Off white with 4 lockable filling cabins |  | NOT ENGRAVED | 20-9-25 | Nov 25 |  | 668,133 |  |  |  | Functional | 2Verified |
| Non Residential Buildings | HEALTH |  | - Maternity block with 1 block of Latrines with 4 stances, shower rooms and water tanks |  |  |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | -Motorized water system |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | -Solar House for solar back up & a chain link fence |  |  |  |  |  |  |  |  |  | Functional | Verified |
| Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Staff Quarters i.e 1 block with 2 units. |  |  |  |  |  |  |  |  |  | Functional | Verified |

OTHERS

-Construction of an Incinerator

- Upgrade of floor from screed to Terrazzo

-Renovation of OPD block and lab improvement.

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school ….…………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG                                           Name of SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Verified |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Verified |
|  |  |  | metallic |  | 140,161, 203 |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG   BUNYANGABU                                           Name of SCHOOL KIYOMBYA SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PRINTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…                                                                         Name of SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |