ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | EASTERN REGION |
| --- | --- |
| SUB-REGION: | TORO REGION |
| Name of Local Government | KASESE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 070250903, farivanie@gmail.com |
| Supervisor/ Sub team leader | DEPAUL MBONIGABA |
| Name | DEPAUL MBONIGABA |
| Contact | 0788433159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  NYABIRONGO HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes, however all a sets are recorded in one registry book for all the projects. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

There is some small amount of money allocated to the facility under Primary Health Care (PHC) to help in repairing of the minor broken equipment, this money is allocated by the government and equipment that need serious repairs are sent to regional referral hospital that’s Fort portal to be handled by the bio medical Engineers.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do. The facility has Asset registry record book where they record equipment that is still functional and that which is broken, however most of the equipment given out by UGIFT are still new and functional, others still kept in the store they received them in 2025 and 2026 |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The Equipment supplied by UGIFT has led to increased number of outpatients and mothers giving birth. The UGIFT support has increased trust and confidence in people of this community since they no longer move long distances to get better services since most of them are provided here including the theater, mortuary, blood and many others The construction of staff houses by UGIFT has increased trust in people since nurses work 24 hours in a day and sleep around the hospital, every time there is an emergence medical personnel are always available. Sanitation has improved due to construction of toilets, placenta pit, incinerator and a modified water system or motorized water system, water in everywhere at the hospital However, the facility has always hard issues and challenges which include: - The incharge is requesting UGIFT to help in construction of the retention wall near the maternity wall, because if it rains anything can happen to the ward block and people themselves - The staff house are not enough because the block is one with two stances hence accommodating only two staff yet nurses are many and travel long distances to come to the facility .the facility has its own land, so it will be better if there is an extension. Recommendations: - We recommend that more staff houses be built to accommodate more staff and also allocate more funds in the next phase to complete the mortuary and also construct a retention wall |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG BUNYANGABU DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY : NYABIRONGO   HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | It is white in color in a cuboid shape with rectangular screen with tubing |  | Not engraved | 16/11/2025 | Dec 2025 |  | 130,000 |  |  |  | Functional | Verified one and still functioning |
| B.P. Machine (Aneroid wall mounted) | health |  | It’s a square shaped object with a gauge and a rectangular base navy blue in color and yuwell make |  | Not engraved | 16/11/2025 | Dec 2022 |  | 120,000 |  |  |  | Not functional | 1 verified |
| Autoclave 20 Liters.,Duo Operated | health |  | Long round cylindrical container with a round top and black handles with a gauge and stainless in nature |  | Not engraved | 16/11/2025 | Dec 2022 |  |  |  |  |  | Functional | Still in store |
| Bowl, Kick | health |  | U-shaped steel and stainless in nature |  |  | 16/11/2025 | Dec 2025 |  | 250,000 |  |  |  | functional | 5 verified |
| Bowl Stand | health |  | U-shaped bowls on the stand with 4 rails |  | Not engraved | 16/11/2025 | Dec 2025 |  | 400,000 |  |  |  | Functional | 6 verified |
| Counting chamber Neubauer- Improved | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | health |  | Grey in color with compartments, lockable in nature with double doors |  | NYAB/HCIV/MAT/001 | 16/11/2025 | Dec 2025 |  | 1,150,000 |  |  |  | Functional | 2 verified and all functioning` |
| Drip Stand | health |  | Cylindrical shaped stands with 5 wheels with a light blue screen |  | Not engraved | 16/11/2025 | Dec 2025 |  | 220,000 |  |  |  | functional | 10 verified |
| ESR Stand | health |  | A stand with cylindrical small tubes with black bottle tops |  | Not engraved | 16/11/2025 | Dec 2025 |  | 200,000 |  |  |  | functional | 1 verified |
| Examination Couch | health |  | 4 stainless stands with a black soft sponge mattress in mackintosh with a lifter |  | MOH/NYAB/HCIV/IPD/002 | 4/6/2026 | 2026 |  | 900,000 |  |  |  | functional | 2 verified |
| Examination light,LED | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | health |  | 0val like shape, white in color with a small screen |  | IPD/2JP8MR/02064 | 16/11/2025 | Dec 2025 |  |  |  |  |  | functional | 2 verified |
| Haemoglobin Meter, Digital | health |  | Rectangular shape like a phone in white and red |  | Not engraved | 4/6/2026 | 2026 |  | 1,100,000 |  |  |  | functional | 1 seen and verified |
| Height Meter | health |  | Long and silver in color with a black base |  | Not engraved | 4/6/2026 | 2026 |  | 300,000 |  |  |  | functional | 1 seen and verified |
| Instrument Trolley | health |  | Silver like with rolling balls |  | MOH/NYAB/HCIV/1PD/007 | 4/6/2026 | 2026 |  | 380,000 |  |  |  | functioning | 4 seen and verified |
| Microscope Binocular | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | health |  | Rectangular with multi panel, folding in nature with wheeled casters |  | MOH/NYAB/HCIV/1PD/001 | 04/4/2026 | 2026 |  | 550,000 |  |  |  | functioning | 5 seen and verified |
| Patient Trolley | health |  | Stainless stands with a soft black mattress with 4 wheeled casters |  | Not engraved | 04/6/2026 | 2026 |  | 2,000,000 |  |  |  | functioning | 2 verified and kept in store |
| Refrigerator, Basic | Health |  | Long large rectangular box, with double door, grey in color |  | Not engraved | 4/6/2026 | 2026 |  | 9,500,000 |  |  |  | functioning | 1 verified and functioning |
| Stethoscope | Health |  | Navy blue tube with steel drum Y- shaped |  | Not engraved | 4/6/2026 | 2026 |  | 120,000 |  |  |  | All functioning | 10 verified |
| Stop Watch | Health |  | Black in color cuboid shape with a rectangular screen |  | Not engraved | 4/6/2026 | 2026 |  |  |  |  |  | All functional | 2 varified |
| Stretcher | Health |  | Long rectangular bed with 4 black wheels with two rails and a black soft sponge |  | MOH/NYAB/HCIV/002 | 16/11/2025 | Dec 2022 |  | 2,000,000 |  |  |  | functional | 1 seen and verified |
| Stove, Gas | health |  | 2 small gas containers blue in color and cylindrical in nature |  |  | 16/11/2025 | Dec 2022 |  |  |  |  |  | functional | 2 seen and verified |
| Weighing Scale with Height Meter, Adult | health |  | white in color with circular face with a height meter and With a black rectangular base in nature |  | Not engraved | 4/6/2025 | 2026 |  | 750,000 |  |  |  | functional | 1 seen, verified and functioning |
| Weighing Scale, Infant | health |  | White in color curved like a boat with green digital buttons and rectangular base |  | NYAB/HCIV/MAT/001 | 16/11/2025 | Dec 2022 |  | 600,000 |  |  |  | functional | 1 seen and verified |
| Weighing Scale, Toddler | Faulty |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | health |  | Black in color with 2 black wheels, 2 foot pads and 2 handles |  | Not engraved | 16/11/2025 | Dec 2022 |  | 670,000 |  |  |  | functional | 2 varified |
| Audio Visual Equipment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health |  | Black and red in color wrapped with polythene bags and cylindrical shape with silver handle |  | Not engraved | 16/11/2025 | Dec 2022 |  |  |  |  |  | functional | 3 verified and seen |
| Wall Clock |  |  | Round and white in color with figures running from 1 to 12 and placed on the wall |  | Not engraved | 16/11/2025 | Dec 2022 |  |  |  |  |  | 2 functioning | All 3 verified, seen and functioning |
| Diagnostic Equipment Set for MCH | health |  | Still new and boxed in the store |  | Not engraved | 4/6/2026 |  |  | 1,000,000 |  |  |  | functional | Still in store |
| Diagnostic Equipment Set for OPD | Health |  |  |  | Still boxed in the store | 4//2026 |  |  | 6,890,000 |  |  |  | Functional | In the store |
| Glassware Set, Laboratory, Basic | health |  |  |  | Still boxed and in store | 4/6/2026 |  |  | 800,000 |  |  |  | functional | In the store |
| Hollow Ware Set, Treatment | Health |  |  |  | Still boxed and in store | 4/6/2026 |  |  | 3,200,000 |  |  |  | functional | In the store |
| Instrument Set, Dressing | Health |  |  |  | Still boxed and in store | 4/6/2026 |  |  | 1,150,000 |  |  |  | functional | In the store |
| Instrument Set, Basic ENT | Health |  |  |  | Still boxed in store received 3 | 4/6/2026 |  |  | 5,200,000 |  |  |  | functional | Still in the store |
| Instrument Set, Suture | Health |  |  |  | Still in the box and in the store | 4/6/2026 |  |  | 1,600,000 |  |  |  | Functional | In the store |
| Pulse Oximeter, Hand held | Health |  | Phone like shape, white and blue in color with a flat screen |  | Model no.25052868/0101033 | 4/6/2026 | 2026 |  | 1555,000 |  |  |  | functional | 2 verified |
| Bed, Adult Patient with Mattress |  |  | White in color long rectangular shape on 4 stands with black mattresses |  | MOH/NYAB/HCIV/MAT/001 | 4/6/2026 | 2026 |  |  |  |  |  | functional | 5 verified |
| Bed, Pediatric Patient, With Mattress | Health |  | Rectangular shape, medium size full side rails with metallic bars with cartoons on sides |  | MOH/NYAB/HCIV/1PD/001 MOH,NYAB/HCIV/002 | 4/6/2026 | 2026 |  | 1,500,000 |  |  |  | Functional | 5 verified |
| Bedside Locker | health |  | 2 compartments with a bigger one down and upper small, grey and blue in color and 4 stands |  | Not engraved | 4/6/2026 | 2026 |  | 530,000 |  |  |  | functional | 10 Seen, functioning, and verified |
| Cupboard, Instrument | Health |  | Off white in color, steel and metallic with 2 double doors |  | NYAB/HCIV/NKY/001 | 4/6/2026 | 2026 |  | 1,250,000 |  |  |  | functional | 2 seen and verified |
| Delivery Bed, Hydraulic Manual | Health |  | Peach in color with a square hydraulic base |  | Not engraved | 4/6/2026 | 2026 |  | 30,000,000 |  |  |  | functioning | 1 seen and verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Long and cylindrical in nature black and white in color |  | Not engraved | 4/6/2026 | 2026 |  | 1,500,000 |  |  |  | functional | 4 verified |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | Small round oval squeezable balloon with a bag and tubing |  | Not engraved | 4/6/2026 |  |  | 300,000 |  |  |  | Functional | 2 verified |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | Round squeezable balloon shape or oval with a bag and tubing |  | Not engraved | 4/6/2026 |  |  | 300,000 |  |  |  | functional | 2 verified |
| Suction Apparatus, (Electric) | health |  | Big white machine rectangular shape with 2cylinder glasses |  | Not engraved | 4/6/2026 |  |  | 2,200,000 |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Health |  | Cuboid shape white in color with 2 flow meters on 4 rails |  | Not engraved | 4/6/2026 |  |  | 5,200,000 |  |  |  | functioning | 1 verified |
| Bench | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | health |  | Stainless stands, rectangular in shape, small in size with small black mackintosh |  | MOH//NYAB/HCIV/NICU/004 | 04/6/2026 | 2026 |  | 1,150,000 |  |  |  | Functional | 5 seen and verified |
| Diagnostic Equipment Set for Ward | health |  | Still in the store |  |  | 04/06/2026 |  |  | 600,000 |  |  |  | functional | In the store |
| Hollow Ware Set, Ward | Health |  | Still in the store and boxed |  | Not engraved | 4/6/2026 |  |  | 2,900,000 |  |  |  | functional | Received 3 sets |
| Instrument Set, Delivery | Health |  | Still in the store boxed |  | Not engraved | 4/6/2026 |  |  | 2,100,000 |  |  |  | functional | Received 3 sets |
| Instrument Set, Stitch Removing | health |  | Still in the box and in store |  | Not engraved | 4/6/2026 |  |  | 1,000,000 |  |  |  | functional | Received 2 sets |
| MVA Kit | Health |  | Pump like machine, like a syringe in shape white in color and packed in white container |  | Not engraved | 4/6/2026 |  |  | 700,000 |  |  |  | Functional | 1 verified |
| Stool, Laboratory | health |  | Round seat with black soft cover on 5 rails |  | Not engraved | 4/6/2026 |  |  | 750,000 |  |  |  | Functional | 3 seen and verified |
| Penguin Sucker | health |  | Penguin shape, rubber and transparent in nature |  | Not engraved | 4/6/2026 |  |  | 30,000 |  |  |  | functional | 3 verified |
| Fetoscope, Dopplar | health |  | White in color, oval like shape with a probe and a screen |  | Not engraved | 4//2026 |  |  | 1,000,000 |  |  |  | functional | 1 verified |
| Bubble CPAP | Not seen |  | Medium blue grey box with screen showing and tiny Y shaped head trap |  | Not engraved | 16/11/2025 |  |  |  |  |  |  | functional | 1 verified |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | Health |  | Long brown leather chair with a cup holder with a drip stand attached to it |  | Not engraved | 16/11/2025 |  |  |  |  |  |  | Functional | 1 verified |
| Radiant Infant Warmer | Not seen |  | Flat white and blue box with hating element underneath, vertical pillar with digital screen 4 rails |  | MOH/NYAB/HCIV/001 | 16/11/2025 |  |  |  |  |  |  | functional | 1 verified |
| Haemoglobin Meter, Sahli | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | health |  | Black with stainless metal with a large base on rails |  | MOH/NYAB/HCIV/MAT/001 | 4/6/2026 | 2026 |  | 9,000,000 |  |  |  | functional | 1 verified |
| Examination light | health |  | Have examination pen light |  | Not engraved | 4/6/2026 |  |  |  |  |  |  | functional | 4 verified |
| Instrument set, ENT Basic for HCIII | Not seen |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | Received but still in the box |  |  | 16/11/2025 |  |  |  |  |  |  |  | Still boxed |
| Incubator | Not seen |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | Not seen |  |  |  |  |  |  |  |  |  |  |  | l |  |
| Non Residential Buildings | Health |  | Construction of 1 maternity with a theater, sheltered way, motorized solar bore hole, incinerator and a chain leak fence |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | health |  | One block with 2 units self-contained with 1 block of toilet with 2 stances and a water tank |  |  |  |  |  |  |  |  |  |  |  |