ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KASESE |
| VERIFIER PARTICULARS |  |
| Full name | KIHUMURO JENNIFER & NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 0776236584 & 0702560903 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: NYAKIMASA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, though not sufficient. Asset register was general. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility informs the district though the DHO and then arrangements are made to send an Engineer.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Better diagnosis equipment hence improved health in the community

- Community got clean water supply by tapping from the planned water system for the facility.

CHALENGES

- Staff quarters block with the 2 units is too small based on the required staff .

- Facility is located on a very small land for example the incinerator was built across the road, away from the ward side

- Some equipment given needs technical personnel to assemble and even train users on  others.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG  KASESE …………………………….. NAME OF HEALTH FACILITY ……. NYAKIMASA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  | Big Cylindrical, like a pressure cooker |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 2Verified |
| Bowl, Kick | HEALTH |  | Round ring with holders and rolling balls |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Bowl Stand | HEALTH |  | Stainless steel stand with bowls |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1 Verified |
| Counting chamber Neubauer- Improved | HEALTH |  | Small set containing RBC/WBC pipettes |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 2 Verified |
|  |  |  | And cover slips |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | HEALTH |  | Off-white Aluminum Cupboard with a locker |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1 Verified |
| Drip Stand | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | HEALTH |  | Small fast detector with vaccine cubes |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Not Functional | Verified, In Store |
| Examination Couch | HEALTH |  | Black Mackintosh on stainless stands |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1 Verified |
| Examination light,LED | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | HEALTH |  | Small oval-like shape in marron color |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Haemoglobin Meter, Digital | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | HEALTH |  | Long grey meter with a base |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1Verified |
| Instrument Trolley | HEALTH |  | Aluminum stands with 2rectangular trays |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 2Verified |
| Microscope Binocular | HEALTH |  | Still packed in boxes |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Not Functional | 1Verified |
| Otoscope | HEALTH |  | Hand held gadget with a pointed front |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Not Functional | Verified, in Store |
| Patient Screen | HEALTH |  | Aluminium stands on rolling balls and blue material |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 3Verified |
| Patient Trolley | HEALTH |  | Movable bed on wheels in color white with blue mackintosh |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1Verified |
| Refrigerator, Basic | HEALTH |  | Large grey double door |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1Verified |
| Stethoscope | HEALTH |  | A Yuwell Black tubing with 2 ear piece and drum |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Stop Watch | HEALTH |  | Black hand-held circular gadget with digits |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1Verified |
| Stretcher | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | HEALTH |  | Aluminum stove with 2 plates plus gas cylinder |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Not Functional | 1,1Verified |
| Weighing Scale with Height Meter, Adult | HEALTH |  | White with a clock-like gauge and meter |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1 Verified |
| Weighing Scale, Infant | HEALTH |  | White tray on a base with gauge |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Weighing Scale, Toddler | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | HEALTH |  | Black in color with wheels |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Audio Visual Equipment | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Stainless cylindrical in nature bins |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 4 Verified |
| Wall Clock | HEALTH |  | Round faced white in color |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 2 Verified |
|  |  |  | In blue boxes |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | HEALTH |  | A core examination set with thermometer, |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified basing on some of the |
|  |  |  | Stethoscope, tape measure etc |  |  |  |  |  |  |  |  |  |  | Instrument in use |
| Glassware Set, Laboratory, Basic | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | HEALTH |  | Alluminium set with male urinals, needle holders etc |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified, male urinals and stool pans |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | seen |
| Instrument Set, Dressing | HEALTH |  | Alluminium set with artery & dissecting forceps etc |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Instrument Set, Basic ENT | HEALTH |  | Small set for ear, nose &throat |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Instrument Set, Suture | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | HEALTH |  | Small cuboid shaped device, White and Black |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1Verified |
| Bed, Adult Patient with Mattress | HEALTH |  | White/blue in color with black mattress |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Pink, blue and off-white with doll -like pics |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 4Verified |
| Bedside Locker | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | HEALTH |  | Pink in color with black stands & silver base model TS-48 |  | CE00200106 | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Black cylindrical |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified 1 in use 1 in store |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | White packed, plastic set greenish with masks |  | NOT ENGRAVED | 18-11-23 | DEC 25 |  |  |  |  |  | Functional | Verified 1 in use 1 in store |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | White plastic box with green compressible and tubes & masks |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified in store |
| Suction Apparatus, (Electric) | HEALTH |  | In box |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Not Functional | Verified, in store |
| Nebulizer, Ultrasonic | HEALTH |  | White rectangular in shape model BC68001 |  | SN 0177 | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1Verified |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Super Care grey in color with 2 humidifiers having green covers |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1 verified |
| Bench | HEALTH |  | Brown, small wooden spaces with black metallic stands |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 4 Verified |
| Disinfection Buckets | HEALTH |  | White plastic buckets |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 3 verified |
| Baby Cot | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | HEALTH |  | SET with stainless bowls, Kidney dishes, basins, etc |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Delivery | HEALTH |  | SET with stainless steel dissecting forceps,scissors,measuring tapes etc |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Stitch Removing | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | HEALTH |  | Plastic set with Long double valve syringe, cannulas & tubes |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified, 3 in store, 1 in use |
| Stool, Laboratory | HEALTH |  | Black Top with metallic stands |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1Verified |
| Penguin Sucker | HEALTH |  | Small rubber-like with a pointed front like a penguin |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 2 Verified |
| Fetoscope, Dopplar | NOT SEEN |  | Metal horn and White machine with blue |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Bubble CPAP | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | HEALTH |  | Blue & off-white box with knobs |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Kangaroo Mother Care Chair | HEALTH |  | Brown soft chair with grey off-white stopper at the arm rest |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | 1 Verified |
| Radiant Infant Warmer | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | HEALTH |  | New brown mattress on stainless stands |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified |
| Examination light | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | HEALTH |  | Open set has kidney trays, torch penlight & ear forceps |  | NOT ENGRAVED | 18-11-25 | DEC 25 |  |  |  |  |  | Functional | Verified based on on the specific instruments |
| Bag Valve mask (Ambu Bag), Neonatal | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black with 5 rolling balls & stainless stands |  | NOT ENGRAVED | 18-11-23 | DEC 25 |  |  |  |  |  | Functional | Verified |
| N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | HEALTH |  | Brown top with brown body and front drawers |  | NOT ENGRAVED | 18-11-23 | DEC 25 |  |  |  |  |  | Functional | 3 Verified |
| Filing Cabinet | HEALTH |  | Off white with 4 lockable filling cabins |  | NOT ENGRAVED | 18-11-23 | DEC 25 |  |  |  |  |  | Functional | 6Verified |
| Non Residential Buildings | HEALTH |  | - Maternity block with 1 block of Latrines with 4 stances , shower rooms and water tanks |  |  |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | -Incinerator construction |  |  |  |  |  |  |  |  |  | Functional | verified |
|  |  |  | -Solar House for solar back up at Maternity & OPD |  |  |  |  |  |  |  |  |  | Functional | Verified |
| Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Staff Quarters i.e 1 block with 2 units |  |  |  |  |  |  |  |  |  | Functional | Verified |

OTHERS

- Construction of a Chain link fence around the Facility.

- Extension of the gravity Water flow scheme.

- Up grade of the OPD floor from screed to Terrazzo.

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school …..………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………….                                            Name SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG                                           Name of SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG                                                                           Name of SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |