ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | BUNYAGABU |
| VERIFIER PARTICULARS |  |
| Full name | KIHUMURO JENNIFER & NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 0776236584 & 0702560903 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: RUBONA HEALTH CENTER III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES, the facility has an Asset Register but not specific for Ugift |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

As a facility there is a small budget for minor repairs therefore maintenance is managed by the facility.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

YES, mainly on the financial Year basis

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- The Ugift built the facility, especially the Maternity Ward, mothers deliver safely.

- There is Improved Sanitation.

- The solar power system is supporting a lot and saves on electric power consumption

- The number of patients has increased.

CHALLENGES

- Only 2 sockets have solar power connection.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG  BUNYANGABU …………………………….. NAME OF HEALTH FACILITY ……. RUBONA HEALTH CENTRE 3

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | HEALTH |  | Blue with a clock like face and a base |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 520,000 |  |  |  | Functional | 1Verified |
| Autoclave 20 Liters.,Duo Operated | HEALTH |  | Big Cylindrical like a pressure cooker |  | MAT-RUB-HCIII-002 | 16-12-21 | Nov 22 |  | 720,000 |  |  |  | Functional | 2 Verified |
| Bowl, Kick | HEALTH |  | Round ring with holders and rolling balls |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 400,000 |  |  |  | Functional | 1 Verified |
| Bowl Stand | HEALTH |  | Stainless steel stand with bowls |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  |  |  |  |  | Functional | 2 Verified |
| Counting chamber Neubauer- Improved | HEALTH |  | Small set with glass slide, cover slips and small brown box |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 80,000 |  |  |  | Functional | 2 Verified in store |
| Cupboard Steel, Lockable | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | HEALTH |  | Aluminum Stands with rolling balls |  | RUB-PEAD-001 | 16-12-21 | Nov 22 |  | 280,000 |  |  |  | Functional | 9 Verified |
|  |  |  |  |  | RUB- MAT-003 |  |  |  |  |  |  |  |  |  |
| ESR Stand | HEALTH |  | Small stand with small cubes |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 120,000 |  |  |  | Not Functional | Verified, In Store |
| Examination Couch | HEALTH |  | White stands with blue mattress |  | RUB-HCIII-MCH-004 | 16-12-21 | Nov 22 |  | 720,000 |  |  |  | Functional | 4 Verified |
| Examination light,LED | HEALTH |  | White in Color with LED light adjustable |  | RUB-HCIII-MAT-001 | 16-12-21 | Nov 22 |  | 1,120,000 |  |  |  | Functional | 2Verified |
| Glucometer | HEALTH |  | Small oval-like shape in grey color |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 480,000 |  |  |  | Functional | 1 Verified |
| Haemoglobin Meter, Digital | HEALTH |  | Maroon and black with a holder |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  |  |  |  |  |  |  |
| Height Meter | HEALTH |  | Long grey meter with a base |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 400,000 |  |  |  | Not Functional | 1Verified, in Store |
| Instrument Trolley | HEALTH |  | Aluminium stands with tray for rectangular trays |  | RUB-MALE-003 | 16-12-21 | NOV 22 |  |  |  |  |  | Functional | Verified |
| Microscope Binocular | HEALTH |  | Grey & black with& screen |  | NOT ENGRAVED | 16-12-21 | NOV 22 |  | 1,520,000 |  |  |  | Not Functional | 1Verified |
| Otoscope | HEALTH |  | Hand held gadget with a pointed front |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 320,000 |  |  |  | Not Functional | Verified, in Store |
| Patient Screen | HEALTH |  | Aluminium stands on rolling balls and blue material |  | RUB-HCIII-OPD-004 | 16-12-21 | Nov 22 |  | 384,000 |  |  |  | Functional | 5Verified |
| Patient Trolley | HEALTH |  | Aluminium stands and black mackintosh |  | RUB-REP-001 | 16-12-21 | Nov 22 |  | 1,120,000 |  |  |  | Functional | 1 verified |
| Refrigerator, Basic | HEALTH |  | Midium blue double door & ADH grey in color |  | RUB-HCIII-MAT-001 & LAB-002 | 16-12-21 | Nov 22 |  | 1,200,000 @ |  |  |  | Functional | Verified |
| Stethoscope | HEALTH |  | Purple tubing with 2 ear piece and drum |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 200,000 |  |  |  | Functional | 2Verified |
| Stop Watch | HEALTH |  | White hand held gadget with digits |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 96,000 |  |  |  | Functional | Verified |
| Stretcher | HEALTH |  | Alluminium stands with blue tapaulin |  | RUB-REP-001, 002 | 16-12-21 | Nov 22 |  | 2,000,000 |  |  |  | Functional | 2 Verified |
| Stove, Gas | HEALTH |  | Aluminum stove with 2 plates |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 560,000 |  |  |  | Functional | 2Verified |
| Weighing Scale with Height Meter, Adult | HEALTH |  | White with a clock-like gauge and meter |  | RUB-HCIII-OPD-001 | 16-12-21 | Nov 22 |  | 1,280,000 |  |  |  | Functional | 1 Verified |
| Weighing Scale, Infant | HEALTH |  | White tray on a base with gauge |  | RUB-HCIII-MAT-001 | 16-12-21 | N0v 22 |  | 960,000 |  |  |  | Functional | Verified |
| Weighing Scale, Toddler | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | HEALTH |  | Black & grey in color with wheels |  | RUB-HCIII-REP-004 | 16-12-21 | Nov 22 |  | 640,000 |  |  |  | Functional | Verified |
| Audio Visual Equipment | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | HEALTH |  | Stainless cylindrical in nature bins |  | RUB-HCIII-MAT-001 & LAB-001 | 16-12-21 | Nov 22 |  |  |  |  |  | Functional | 10Verified |
| Wall Clock | HEALTH |  | Round faced white in color |  | RUB-OPD-003 | 16-12-21 | Nov 22 |  |  |  |  |  | Functional | 4 Verified |
| Diagnostic Equipment Set for MCH | HEALTH |  | Set containing antenatal and maternity instruments |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 560,884 |  |  |  | Functional | Verified |
| Diagnostic Equipment Set for OPD | HEALTH |  | Aluminum Set containing kidney bowls of different sizes |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 433,673 |  |  |  | Functional | Verified |
| Glassware Set, Laboratory, Basic | HEALTH |  | Glass set with test testubes & slides |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 318,027 |  |  |  | Functional | Verified |
| Hollow Ware Set, Treatment | Not Seen |  | Alluminium set with male urinals, needle holders etc |  | RUB-HCIII-008 | 16-12-21 | Nov 22 |  | 2,255,101 |  |  |  | Functional | Verified |
| Instrument Set, Dressing | HEALTH |  | Alluminium set with artery & dissecting forceps etc |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 484,607 |  |  |  | Functional | Verified |
| Instrument Set, Basic ENT | HEALTH |  | Nasal, ear syringes etc |  | NOT ENGRAVD | 16-12-21 | Nov 22 |  |  |  |  |  |  |  |
| Instrument Set, Suture | HEALTH |  | Stitching set like needle holders and scissors |  | RUB-HCIII-008 | 16-12-21 | Nov 22 |  | 722,789 |  |  |  | Functional | Verified |
| Pulse Oximeter, Hand held | HEALTH |  | Small cuboid shaped device, White and Black |  | RUB-HCIII-MAT-001 | 16-12-21 | Nov 22 |  | 275,854 |  |  |  | Functional | Verified |
| Bed, Adult Patient with Mattress | HEALTH |  | Stainless stands with black mattress |  | RUB-HCIII-MALE-003, PNC 005 | 16-12-21 | Nov 22 |  |  |  |  |  |  | Received but were given to BIHANGA HC4 with authorization of dho |
| Bed, Pediatric Patient, With Mattress | HEALTH |  | Pink, blue and off-white with doll -like pics |  | RUB-HCIII-PAED-002 | 16-12-21 | Nov 22 |  | 1,975,708 |  |  |  | Functional | Verified, 1 in use, 4 in store |
| Bedside Locker | HEALTH |  | Blue and grey |  | RUB-PAED-009 | 16-12-21 | Nov 22 |  | 424,401 |  |  |  | Functional | Verified |
| Cupboard, Instrument | HEALTH |  | Steel double door |  | RUB-HCIII-006 | 16-12-21 | Nov 22 |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | HEALTH |  | Peach color |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | HEALTH |  | Blue long cylindrical |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 799765 |  |  |  | Not Functional | Verified |
| Resuscitator Manual, Infant, with all Mask sizes | HEALTH |  | White packed, plastic set |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 141,655 |  |  |  | Functional | Verified |
| Resuscitator Manual, Adult, with all mask sizes | HEALTH |  | White packed, plastic set |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 141,655 |  |  |  | Functional | Verified |
| Suction Apparatus, (Electric) | HEALTH |  | In box |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 566,618 |  |  |  | Not Functional | Verified, in store |
| Nebulizer, Ultrasonic | HEALTH |  | In box |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 366943 |  |  |  | Not Functional | Verified, in store |
| Oxygen Concentrator, Duo Flow | HEALTH |  | Grey blue cuboid form with 2 humidifiers |  | MAT-RUB-HCIII-001 | 16-12-21 | Nov 22 |  | 2,795,813 |  |  |  | Functional | 1 verified |
| Bench | HEALTH |  | Brown, small spaced with black metallic stands |  | RUB-HCIII-MCH-002 | 16-12-21 | Nov 22 |  | 470450 |  |  |  | Functional | 4 Verified |
| Disinfection Buckets | HEALTH |  | Blue plastic buckets |  | RUB-HCIII-SR-004 | 16-12-21 | Nov 22 |  | 29,822 |  |  |  | Functional | 3 verified |
| Baby Cot | HEALTH |  | Stainless steel and small black mattress |  | RUB-KAN-002 | 16-12-21 | Nov 22 |  |  |  |  |  |  | 2Verfied |
| Diagnostic Equipment Set for Ward | HEALTH |  | SET with stethoscope, pen- torch, urinalysis, trays |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 720,000 |  |  |  | Functional | Verified, specific instruments in use |
| Hollow Ware Set, Ward | HEALTH |  | SET with stainless bowls, Kidney dishes, basins, etc |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 1,565,655 |  |  |  | Functional | Verified, specific instruments in use |
| Instrument Set, Delivery | HEALTH |  | SET with stainless steel dissecting forceps,scissors,measuring tapes etc |  | RUB-HCIII-013 | 16-12-21 | Nov 22 |  | 650,000 |  |  |  | Functional | Verified in store |
| Instrument Set, Stitch Removing | HEALTH |  | Stainless steel set with stitch scissors, kidney dishes,gauze & cotton |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 546,549 |  |  |  | Functional | Verified, specific instruments in use |
| MVA Kit | HEALTH |  | Plastic set with Long double valve syringe, cannulas & tubes |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 570,000 |  |  |  | Functional | Verified, 3 in store, 1 in use |
| Stool, Laboratory | HEALTH |  | Black in color with metallic stands |  | RU-OPD-001 | 16-12-21 | Nov 22 |  | 1,497,461 |  |  |  | Functional | 1Verified |
| Penguin Sucker | HEALTH |  | Small rubber-like with a pointed front like a penguine |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 119,743 |  |  |  | Functional | 2 Verified |
| Fetoscope, Dopplar | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | HEALTH |  | Cuboid shape white in color |  | LAB-RUB-HCIII-002 | 16-12-21 | Nov 22 |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | HEALTH |  | Brown soft chair with grey off-white stopper at the arm rest |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 2,454,751 |  |  |  | Functional | 1 Verified |
| Radiant Infant Warmer | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light | HEALTH |  | White adjustable light with a long tube |  | NOT ENGRAVED | 16-12-21 | Nov 22 |  | 753,799 |  |  |  | Functional | Verified |
| Instrument set, ENT Basic for HCIII | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | HEALTH |  | Bag with silicones, small masks and attached reservoir |  | NOT ENGRAVED | 16-12-21 | Nov 21 |  |  |  |  |  | Functional | Verified |
| Incubator | NOT SEEN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | HEALTH |  | Black with 5 rolling balls & stainless stands |  | RUB-HCIII-ART-014 | 16-12-21 | Nov 22 |  | 96,922 |  |  |  | Functional | 7Verified |
| N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  | Brown top with grey body and front drawers |  | RUB-HCIII-REC-003 | 16-12-21 | Nov 22 |  | 805,194 |  |  |  | Functional | 3 Verified |
| Filing Cabinet | HEALTH |  | Off white with 4 lockable filling cabins |  | RUB-HCIII-001 |  |  |  | 668,133 |  |  |  | Functional | 3Verified |
| Non Residential Buildings | HEALTH |  | - Maternity block with 1 block of Latrines with 4 stances, shower rooms and water tanks |  |  |  |  |  |  |  |  |  | Functional | Verified |
|  |  |  | -Solar House for solar back up |  |  |  |  |  |  |  |  |  | Functional | Verified |
| Residential Buildings | HEALTH |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | - Staff Quarters i.e 1 block with 2 units |  |  |  |  |  |  |  |  |  | Functional | Verified |

REMARKS

-Equipment was brought to the facility before completion of the construction work where by some got damaged due to poor storage in a small store

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school ….KATUGUNDA  SEED SEC SCHOOL…………………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

-The school is still under construction

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | N/A |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

- Education has been brought nearer to the community

CHALLENGES

- The staff houses are not enough, they are suggesting that in future its better to make Single self-contained rooms when they are many.

- There is no school kitchen planned for yet meals have to be catered for.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG…………..BUNYANGABU                                           Name of SCHOOL  KATUGUNDA SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCHOOL DESKS | EDUCATION |  | Long light brown wooden |  | ALL NOT ENGRAVED |  | Works still going on. |  |  |  |  |  | Functional | Verified |
|  |  |  | Benches |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | With an attached |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Table like |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | On black metallic |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
| OFFICE | EDUCATION |  | Light Brown |  | ALL NOT |  |  |  |  |  |  |  |  | Verified |
| CHAIRS |  |  | Wooden seats and leaner on |  | ENGRAVED |  | Works still going on. |  |  |  |  |  |  |  |
|  |  |  | With black |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | metallic |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
| tables | EDUCATION |  |  |  |  |  |  |  |  |  |  |  | l |  |
|  |  |  | Light Brown Wooden Top on black |  | NOT ENGRAVED |  | Works still going on |  |  |  |  |  |  | Verified |
|  |  |  | metallic |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | stands |  |  |  |  |  |  |  |  |  |  |  |
| LAB STOOLS | Education |  | 4legged |  | ALL NOT |  | Works still |  |  |  |  |  |  | Verified |
|  |  |  | Black |  | ENGRAVED |  | Going on |  |  |  |  |  |  |  |
|  |  |  | Metallic stands |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | With a light |  |  |  |  |  |  |  |  |  |  | Verified |
|  |  |  | Brown top |  |  |  |  |  |  |  |  |  |  |  |
| IN BUILT | EDUCATION |  | Inbuilt shelves with |  | NOT ENGRAVED |  |  |  |  |  |  |  |  | VERIFIED |
| SHELVES |  |  | Grey Metallic shutters |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 in each class room |  |  |  |  |  |  |  |  |  |  |  |
| OPEN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SHELVES | EDUCATION |  | Open shelves made of wire mesh and light brown wood |  | NOT ENGRAVED |  | Works still going on |  |  |  |  |  |  | VERIFIED |
|  |  |  | And black |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | metals |  |  |  |  |  |  |  |  |  |  |  |
| SOFT BOARDS | EDUCATION |  | Greenish soft pin boards in the class rooms |  | ALL NOT ENGRAVED |  | Works still going on |  |  |  |  |  |  | Verified |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG   BUNYANGABU                                           Name of SCHOOL KATUGUNDA SEED SEC SCH

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NET WORK SWITCH 24 PORT | EDUCATION |  | Glass front with grey sides and visible wires inside |  |  | 16-5-25 | N/A |  |  |  |  |  | Not functional | Verified |
| DNETWORK | EDUCATION |  | Grey |  |  |  |  |  |  |  |  |  |  | Verified |
| SWITCH 24 |  |  | And black |  |  |  |  |  |  |  |  |  |  |  |
| PORT |  |  | With |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Glass door |  |  |  |  |  |  |  |  |  |  |  |
| DESKTOP COMPUTERS & ALL COMPONENTS |  |  | IN BOXES |  |  |  |  |  |  |  |  |  | NOT FUNCTIONAL | VERIFIED |
|  |  |  | TOTAL OF 20 |  |  |  |  |  |  |  |  |  |  |  |
| PRINTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AIR CONDITIONER | EDUCATION |  | STILL IN BOXES |  | NOT ENGRAVED |  |  |  |  |  |  |  |  | VERIFIED |
| CCTV CAMERA | EDUCATION |  | STIL IN BOXES |  | NOT ENGRAVED |  |  |  |  |  |  |  |  | VERIFIED |
| PRINTE | EDUCATION |  | STILL IN BOXES |  | NOT ENGRAVED |  |  |  |  |  |  |  |  | VERIFIED |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…KAMWENGE                                                                           Name of SCHOOL      BWIIZI SEED SEC SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NON | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RESIDENTIAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 BLOCKS |  |  | 3 BLOCKS |  |  |  |  |  |  |  |  |  | NOT FUNCTIONAL | VERIFIED |
| CLASS |  |  | 2ROOMS EACH |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ROOMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STAFF |  |  | 1 BLOCK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ROOM & |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADMN BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SCIENCE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LABARATORIES | EDUCATION |  | 1 BLOCK, 2ROOMS |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| ICT LIB | EDUCATION |  | 1 BLOCK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | 2 ROOMS |  |  |  |  |  |  |  |  |  |  |  |
| MULT PURPOSE | EDUCATION |  | 1 BLOCK |  |  |  |  |  |  |  |  |  |  | VERIFIED |
| HALL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| LATRINES |  |  | 2 BLOCKS( 4stances each) |  |  |  |  |  |  |  |  |  |  | VERIFIED |
|  |  |  | Boys & Girls |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 1 BLOCK(Staff |  |  |  |  |  |  |  |  |  |  |  |
| PLAYGROUND |  |  | For Football |  |  |  |  |  |  |  |  |  |  |  |
| RESIDENTIAL | EDUCATION |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STAFF QUARTERS |  |  | 3 BLOCKS WITH 2 UNITS |  |  |  |  |  |  |  |  |  |  |  |
| LATRINES |  |  | 3 BLOCKS, |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2 STANCES |  |  |  |  |  |  |  |  |  |  |  |
| KITCHENS |  |  | 3 BLOCKS, 2 UNITS |  |  |  |  |  |  |  |  |  |  |  |

``