ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WEST |
| --- | --- |
| SUB-REGION: | BUNYORO |
| Name of Local Government | KAKUMIRO |
| VERIFIER PARTICULARS |  |
| Full name | FATUMA YASIN,NAKAGWA HINDU,NAKITENDE SHARIFA |
| Contact/ email and Telephone | 0703480094 fatmayasin16@gmail.com |
| Supervisor/ Sub team leader | FATUMA YASIN |
| Name | DEPAUL |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: Birembo Health Centre III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 |  |
| --- | --- |

They repair some of them and the others are kept in the store.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No, they have no record on breakdown of the assets provided. They are all recorded as a whole. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT has helped in the following ways; - provided equipment to use which has improved the quality in service. - They have helped with accommodation of staff . - UGIFT constructed a whole maternity ward for women to easily give birth in the area. Challenges; - They have few structures to cater for the patients. - They are not well conversant with the machines, so they keep them in the store. - The facility lacks a fence which risks theft of the equipment. Recommendations; - Someone should train them on use of equipments. - There is need to engrave the equipments. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………………… NAME OF HEALTH FACILITY: Birembo Health Centre III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | MCH 01 |  | It is digital, grey in color |  | Not engraved | 14/11/25 |  |  |  |  |  |  | functioning | In use |
| 02 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | Store |  | Silver basin like bowls |  | Not engraved | 14/11/25 |  |  |  |  |  |  | Still new | Not in use yet |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Store |  | Silver basin like with wheel stands |  | Not engraved | 14/11/25 |  |  |  |  |  |  | Still new | Not yet in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | REC 01 |  | Grey in color with compartments and locks |  | Not engraved | 14/11/25 |  |  |  |  |  |  | functioning | In use |
| 03 | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | LAB 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand |  |  | Silver with 2 hooks |  | Not engraved | 14/11/25 |  |  |  |  |  |  | functioning | In use |
| 08 | MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | Maternity 01 |  | Cream with a black bed |  | Not engraved | 14/11/25 |  |  |  |  |  |  |  |  |
| 02 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED | Store 01 |  | Black in colour |  | Not engraved | 14/11/25 |  |  |  |  |  |  |  |  |
| 02 | MAT 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | Store 01 |  | White in color with a strip tin |  | Not engraved | 14/11/25 |  |  |  |  |  |  |  |  |
| 02 | LAB 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | LAB |  | Cream in color with both inch and cm readings |  | Not engraved | 14/11/25 |  |  |  |  |  |  | Still new | Not in use yet |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | Maternity 01 |  | Cream in colour with both inch and cm readings |  | Not engraved | 14/11/25 |  |  |  |  |  |  | Still new | Not yet in use |
| 02 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | Store |  | Silver in color with 2 partitions |  | Not engraved | 14/11/25 |  |  |  |  |  |  | Still brand new | Not yet in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  | White in color |  | No engravement | 14/11/25 |  |  |  |  |  |  | Still brand new | They had one already in use |
| 01 | Store |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | Store |  | White in color with a black top |  | No engravement |  | 14/11/25 |  |  |  |  |  | Still new | Not in use yet |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Store (2) MCH (4) | 06 | Silver with blue curtain like clothing |  |  |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| Patient Trolley | MCH 01 |  | 4 wheels with a black sponge and 2 handles |  | No engravement |  | 14/11/25 |  |  |  |  |  |  |  |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Staff Quarters |  | Grey in color with 2 compartments |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | Used for staff refreshments |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | Store |  | Black in color |  | No engravement |  |  |  |  |  |  |  | Still brand new | Not in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch | Store |  | Black in color |  | No engravement |  | 14/11/25 |  |  |  |  |  | Still new | Not in use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | MCH |  | It has a black soft sponge with wheels |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | MCH |  | White in color 6kg |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | OPD 01 MCH 01 |  | Cream in color |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | MCH |  | White with a basin like tray |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  | Not verified |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | MCH |  | Black in color with 2-foot pads with wheels |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | MCH 05 |  | Blue in color and wrapped in polythene bag |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | One is faulty |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | Store 02 MCH 02 |  | Round and white in color |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | MCH |  | Scissors and fork like silver equipment |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Store |  | Silver items that include scissors and other instruments |  | No engravement |  | 14/11/25 |  |  |  |  |  | Still new | Not in use yet |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Store |  | Contains glass tools |  | No engravement |  | 20/09/25 |  |  |  |  |  | Still new | Not yet in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Store |  | Silver dish that contains lots of silver instruments |  | No engravement |  | 14/11/25 |  |  |  |  |  | Brand new | Not in use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | ENT |  | Packed in a silver pan with a polythene |  | No engravement |  | 14/11/25 |  |  |  |  |  | Brand new | There is no ENT personnel at the facility |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | Store |  | Has a screen with a grey cable |  | No engravement |  | 14/11/25 |  |  |  |  |  | Still new | Not in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | MCH |  | White with black sponge mattress |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | In use |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | MCH |  | White in color with blue sponge mattress |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | Others are still not used |
| 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | MCH |  | White bed with a blue mattress and drip stand |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | MCH 01 |  | Huge gas cylinder with an apparatus on top |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | 1 is in use and one kept in the store |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | MCH 01 |  | Air bag like mask with tubes |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | 1 is in use and 1is kept in the store |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | Store 02 |  | Huge mask with a tube attached |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | Not in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Store |  | White with a gauge and 2 bags of water |  | No engravement |  | 20/09/25 |  |  |  |  |  | Still new | Not in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Store |  | White box with a rounded plastic casing |  | No engravement |  | 14/11/25 |  |  |  |  |  | Still new | Not in use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | MCH 01 |  | Light grey plastic casing with 2 flow meters |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | 1 is in use and 3 are still new |
| 04 | Store 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench | MCH |  | Wooden long flat seat |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | MCH |  | Normal buckets with rounded tops |  | No engravements |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | Store |  | Silver with a mattress and rails |  | No engravement |  | 14/11/25 |  |  |  |  |  | Still new | Not in use |
| 05 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | Store |  | Sealed in a silver container |  | No engravement |  | 14/11/25 |  |  |  |  |  | Brand new | Not in use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | Store 03 |  | Rectangular silver container with equipment |  | No engravement |  | 14/11/25 |  |  |  |  |  | Still new | Not in use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | MCH |  | Not verified |  |  |  | 14/11/25 |  |  |  |  |  | functioning | The set has been split up for use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | MCH |  | Contains plastic tubes, scissors and other items used in delivery |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | Some items are in use others are still new |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory | Store |  | Blue in color with 4 wheels |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | Not in use yet |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | MCH |  | Rubber with a Nosal like tube |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar | MCH |  | Silver and round with a flat bottom |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Store |  | Consists of clear plastic tubes |  | No engravement |  | 20/09/25 |  |  |  |  |  | Still new | There is no NICU at the facility |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | LAB 01 |  | Rounded dome-like with metallic buttons |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | 1 is in use and 1 in the store |
| 01 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | MCH |  | Low brown leather chair with a pedal to rest feet |  | No engravement |  | 14/11/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light | MCH 01 |  | White in color with a stable base |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | 1 is in use and 1is in still new |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 07 | OPD 02 |  | Black chair rolling with wheels |  | No engravements |  | 20/09/25 |  |  |  |  |  | functioning | In use |
|  | REC 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | STORE 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | LAB 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk |  |  | Wooden large table top |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | In use |
| 03 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | REC 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | LAB 01 |  | Grey in color with compartments |  | No engravement |  | 20/09/25 |  |  |  |  |  | functioning | In use |
| 02 | REC 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Maternity block |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Staff quarters |  | 2 stances |  |  |  |  |  |  |  |  |  |  | In use |
|  | Pit latrines | For patients | 4 stances |  |  |  |  |  |  |  |  |  |  | In use |

PICTURES OF ASSETS VISITED AND VERIFIED

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |