SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: LWAMATA T.C.C SEED SECONDARY SCHOOL.

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. | The school does not have a complete record of the assets supplied under UgIFT because the facility is still under construction. The only available record is the engineer’s report, which indicates the furniture supplied by UgIFT. Therefore, details on the quantity and date of supply of the other assets could not be verified. |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift So far, no maintenance, repair, servicing, or replacement of the assets provided under UgIFT has been carried out because the assets are still new and have not yet required any maintenance or repairs. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | The facility has not yet started keeping regular records on the functionality or breakdown of the assets provided under UgIFT because all the assets are still new and currently functioning properly. No cases of non-functionality or breakdown have been reported so far. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | Impact on Service Delivery Recommendation UgIFT should consider supporting the construction of additional classroom blocks, as the existing classrooms are not sufficient to accommodate the growing number of students in the school. Findings - The ICT laboratory and Chemistry laboratory have been furnished; however, the necessary equipment for these laboratories has not yet been delivered to the school. The equipment is expected to be provided after the construction of the structures is fully completed. - The school is still under construction, and some of the buildings are yet to be completed. Construction works are ongoing on the remaining structures. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG KIBOGA DISTRICT LOCAL GOVERNMENT Name of SCHOOL LWAMATA T.C.C SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks | Class room blocks 1, 2 & 3 |  | A durable student desk designed for classroom use, providing a suitable writing surface and seating space for learners. |  | LWAMATA T.C.C SEED SECONDARY SCHOOL |  | 2026 |  |  |  |  |  | New and fully functional. | A total of 120 school desks were found, . |
| Chairs | Classroom block, Administration Block, ICT Lab / Library, Main hall |  | Metal classroom chairs fitted with wooden backrests and wooden seating surfaces, designed for learners' classroom use. |  | LWAMATA T.C.C SEED SECONDARY SCHOOL |  | 2026 |  |  |  |  |  | New and fully functional. | A total of 269 chairs were found on the premises. All the chairs were in good condition and fully functional. |
| Book shelves | Class room blocks and ICT Lab |  | New metallic bookshelves designed for the safe and organized storage of books and other learning materials. |  | Not engraved |  | 2026 |  |  |  |  |  | New, in good condition, and fully functional. | A total of 15 bookshelves were found on the premises, all in good condition. |
| Tables | SCIENCE LAB, MULTI PURPOSE BLOCK, COMPUTER LAB / LIBRARY, STAFF ROOM |  | Durable classroom tables designed to provide learners with adequate writing and working space during lessons and other learning activities. |  | LWAMATA T.C.C SEED SECONDARY SCHOOL |  | 2026 |  |  |  |  |  | New, in good condition, and fully functional. | A total of 126 tables were found on the premises, all in good condition. |
| Tables with drawers | N/A |  | Wooden office tables with built-in drawers, designed to provide a working surface and convenient storage space for documents, stationery, and other office materials. |  | N/A |  | 2026 |  |  |  |  |  | New, in good condition, and fully functional. | The tables with drawers are in good condition and fully functional. They provide adequate workspace and storage for office use. |
| Laboratory stools | Science Lab |  | Steel laboratory stool with a wooden seat designed for use in science laboratories. |  | LWAMATA T.C.C SEED SECONDARY SCHOOL |  | 2026 |  |  |  |  |  | New, in good condition, and fully functional. | A total of 123 stools were found on the premises all in good condition |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG KIBOGA DISTRICT LOCAL GOVERNMENT                                       Name of SCHOOL LWAMATA T.C.C SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| N/A | ICT BLOCK |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | No ICT equipment had been delivered to or was available on the premises at the time of the visit and verification. The ICT room had only been furnished, with the equipment yet to be supplied. |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG KIBOGA DISTRICT LOCAL GOVERNMENT                                             Name of SCHOOL LWAMATA T.C.C SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CLASS ROOM BLOCKS | N/A |  | Newly constructed classroom blocks designed to provide adequate, safe, and conducive learning spaces for students. |  | NOT ENGRAVED |  | 2026 |  |  |  |  |  | New, completed, and in good condition. | A total of 3 classroom blocks were found on the premises. The classroom blocks are newly constructed, in good condition, and provide adequate space for teaching and learning. No major defects were observed at the time of verification. |
| ADMINSTRATION BLOCK | N/A |  | A newly constructed administration block designed to provide office space for school administration and staff, including facilities for effective management and coordination of school activities. |  | NOT ENGRAVED |  | 2026 |  |  |  |  |  | New, completed, and in good condition. | The administration block is newly constructed, complete, and in good condition. It provides adequate office space for the effective administration and management of the school. |
| SCHOOL FENCE | N/A |  | Barbed Wire Fence, Steel Security Wire Mesh |  | N/A |  |  |  |  |  |  |  | New, complete, and in good condition. | The barbed-wire perimeter fence is complete, secure, and in good condition. No major damage or defects were observed during verification. |
| MULTI PURPOSE/MAIN HALL BLOCK | N/A |  | A spacious main hall designed to accommodate school meetings, assemblies, examinations, functions, and other educational and community activities. |  | NOT ENGRAVED |  |  |  |  |  |  |  | New, complete, and in good condition. | The main hall is newly constructed, complete, and in good condition. It provides adequate space for school assemblies, meetings, examinations, and other activities. |
| ICT/ LIBRARY BLOCK | N/A |  | A newly constructed ICT/Library block designed to provide space for ICT facilities, computer-based learning, reading, research, and the storage and use of educational materials. |  | NOT ENGRAVED |  | 2026 |  |  |  |  |  | New, complete, and in good condition. | The ICT/Library block is newly constructed and in good condition. The facility has been furnished, but the ICT equipment and other necessary facilities have not yet been provided. |
| SCIENCE LABORATORY BLOCK |  |  | A newly constructed science laboratory designed to provide a suitable environment for practical science lessons, experiments, demonstrations, and hands-on learning by students. |  | NOT ENGRAVED |  | 2026 |  |  |  |  |  | New, complete, and in good condition. | The science laboratory is newly constructed and in good condition. It is furnished and provides adequate space for practical science lessons; however, the necessary laboratory equipment has not yet been provided. |
| WATER TANKS | N/A |  | Vertical water storage tank designed for the collection and storage of water for domestic, sanitation, and other school needs. |  | N/A |  | 2026 |  |  |  |  |  | New, complete, and in good condition. | The school so far has 3 Water tanks . 2 of them are at the school and the 3rd one is at the teacher’s quarters The water tanks is newly installed, in good condition, and ready for use. No visible damage or defects were observed during verification. |
| PIT LATRINES | N/A |  | A lined Ventilated Improved Pit (VIP) latrines designed to provide safe, hygienic, and improved sanitation facilities. The pit is lined to enhance stability and durability, while the ventilation system helps control odours and flies. |  | NOT ENGRAVED |  | 2026 |  |  |  |  |  | New, complete, and in good condition. | The school has a total of 4 lined VIP latrines. Three are located within the school premises, while the fourth is located at the teachers’ quarters. lined VIP latrine is newly constructed, complete, and in good condition. It provides a safe and hygienic sanitation facility for students and staff. |
| TEACHER’S HOUSES | N/A |  | A teachers’ residential house comprising two bedrooms and one sitting room, designed to provide comfortable and decent accommodation for two teachers. |  | NOT ENGRAVED |  |  |  |  |  |  |  | New, complete, and in good condition. | Four newly constructed teachers’ residential houses, each comprising two bedrooms and one sitting room, designed to provide decent and comfortable accommodation for two teachers per house. |
| TEACHER’S KITCHENS | N/A |  | A teachers’ kitchen designed to provide a clean, safe, and convenient space for preparing meals and other food-related activities for teaching staff. |  | NOT ENGRAVED |  | 2026 |  |  |  |  |  | New, complete, and in good condition. | The teachers’ house is newly constructed, complete, and in good condition. It provides adequate and decent accommodation for two teachers. |

PICTURES OF ASSETS VISITED AND VERIFIED