ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | BUGANDA |
| --- | --- |
| SUB-REGION: | CENTRAL |
| Name of Local Government | KYANKWANZI DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | FATUMA YASIN,NAKAGWA HINDU,NAKITENDE SHARIFA |
| Contact/ email and Telephone | 0703480094,0702578692,0703780913 |
| Supervisor/ Sub team leader | FATUMA YASIN |
| Name | DEPAUL |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:   BANDA HEALTH CENTRE III…

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | NO |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility plans for repairs from within to repair and service the assets provided under UGIFT

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO, they don’t take any records |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UGIFT has helped the facility by; - Improved infrastructure – UgIFT supports construction and upgrading maternity wards. - Provision of medical equipment – Health centers receive essential equipment for laboratory services, maternity care, immunization and general patient treatment. - Improved access to healthcare – New and upgraded health centers bring healthcare services closer to communities, reducing the distance and cost of seeking medical care. - Improved maternal and child health services – the facility is better equipped to provide antenatal care, safe deliveries, immunization and treatment for mothers and children. - Improved service delivery – Better infrastructure, equipment and staffing enable health workers to provide faster, safer and more effective healthcare services. Challenges - There is power shortage at the facility - The OPD section is small to cater for the big number of patients. Recommendations - The suppliers should take time to train the stores person on use of equipment. - There is need for installation of solar to improve power supply at the facility. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD |  | It is digital, grey in color |  | No engravement |  | 25/08/25 |  |  |  |  |  | Not functional | Not in use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated | maternity |  | It is silver bowl with a round top and black handle |  | No engravement |  | 25/08/25 |  |  |  |  |  | functioning | In use |
| Bowl, Kick | MAT 04 Store 02 |  | Silver basin like bowls |  | No engravement |  | 25/08/25 |  |  |  |  |  | functioning | In use |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | MAT 01 |  | Silver basin like with wheel stands |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | One bowl stand is spoilt |
| 03 | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | MAT 02 |  | Grey in color with compartments and locks |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | One cupboard doesn’t lock |
| 05 | OPD 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | MAT 02 |  | Silver with 2 hooks |  | No engravement |  | 25/08/25 |  |  |  |  |  | fumctional | In use |
| 03 | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | MAT 03 |  | Cream with a black bed |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | They are used as delivery beds |
| 04 | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED | MAT |  | Black in color |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | LAB |  | White in color with a strip tin |  | No engravement |  | 25/08/25 |  |  |  |  |  | One is functional | One is spoilt,not in use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | LAB |  | Cream in colour with both inch and cm readings |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | MAT |  | Cream in colour with both inch and cm readings |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | MAT 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 04 | OPD 01 |  | Silver in color with 2 partitions |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
|  | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | LAB |  | White in color |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | MAT 03 |  | Silver with blue curtain like clothing |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | 2 are not functioning |
| 04 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley | OPD 01 |  | 4 wheels with a black sponge and 2 handles |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 02 | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | OPD 01 |  | White in color with a black top |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 04 | Store 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | MAT 01 |  | It has a black soft sponge with wheels |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | One was taken by district officials |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | OPD |  | Cream in color |  | No engravement |  | 25/08/25 |  |  |  |  |  | One is functional 2 are not | 2 got spoilt |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | MAT 01 |  | White with a basin like tray |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | MAT 01 |  | Black in color with 2-foot pads with wheels |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 02 | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | IPD 06 |  | Blue in color and wrapped in polythene bag |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 06 | MAT 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | MAT 01 |  | Round and white in color |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 03 | LAB 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment | Store |  | Contains glass tools |  |  |  |  | 25/08/25 |  |  |  |  | Still new | Not in use yet |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | Store 03 |  | Packed in a silver pan with a polythene |  | No engravement |  | 25/08/25 |  |  |  |  |  | One is in use | 3 are kept in the store |
| 04 | MAT 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | MAT |  | Has a screen with a grey cable |  | No engravement |  | 25/08/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  | White with black sponge mattress |  | No engravement |  | 25/08/25 |  |  |  |  |  | functioning | In use |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | MAT |  | Black in color with blue sponge mattress |  | No engravement |  | 25/08/25 |  |  |  |  |  | Its broken | Women of the area are so fat for one bed |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | MAT |  | Black in color batch no cm02c112018 |  | No engravement |  | 25/08/25 |  |  |  |  |  | functioning | In use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | MAT |  | Huge mask with a tube attached |  | No engravement |  | 25/08/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Store |  | Light grey plastic casing with 2 flow meters |  | No engravement |  | 25/08/25 |  |  |  |  |  | Brand new | Still sealed |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | MAT |  | Normal buckets with rounded tops |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | Store |  | Rectangular silver container with equipment |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | Not in use yet |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | MAT 03 |  | Silver pans, scissors of different sizes |  | No engravement |  | 25/08/25 |  |  |  |  |  | 3 sets are in use | 2 sets are not in use yet |
| 05 | Store 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | Store 04 |  | Sealed in a brown box |  | No engravement |  | 25/08/25 |  |  |  |  |  | One is in use | 4 sets are still new in the store |
| 05 | MAT 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Store 02 |  | Contains plastic tubes, scissors and other items used in delivery |  | No engravement |  | 25/08/25 |  |  |  |  |  | Still new | Only one is in use now |
| 03 | MAT 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | MAT |  | Rubber with a Nosal like tube |  | No engravement |  | 25/08/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  | Silver and round with a flat bottom |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | 2 fetoscope and one dopplar |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | LAB |  | Rounded dome-like with metallic buttons |  | No engravement |  | 25/05/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  | Black in color with a black base |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | Not in use due to power shortage |
| 03 | MAT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | MAT 03 |  | Grey in color and swinging with wheels |  | No engravement |  | 25/08/25 |  |  |  |  |  | All have broken arms | They were supplied with broken arms |
| 04 | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | MAT |  | Wooden large table top |  | No engravement |  | 25/08/25 |  |  |  |  |  | functional | In use |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings | Maternity block |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 01 | Office block was renovated |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | Staff quarters block |  | 2 stances each with 2 rooms |  |  |  |  |  |  |  |  |  |  |  |
|  | Toilets |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Biometrical waste pit |  | Others include; Placenta pit Septic tank |  |  |  |  |  |  |  |  |  |  |  |

PICTURES OF ASSETS VISITED AND VERIFIED

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |