ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | BUGANDA |
| --- | --- |
| SUB-REGION: | CENTRAL |
| Name of Local Government | KIBOGA DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | FATUMA YASIN,NAKAGWA HINDU,NAKITENDE SHARIFA |
| Contact/ email and Telephone | fatmayasin16@gmail.com 0703480094 |
| Supervisor/ Sub team leader | FATUMA YASIN |
| Name | DEPAUL |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: ……………BULAGA HEALTH CENTRE III…………

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility takes care of the repairs

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT has consistently helped in supplying health equipment to the facility and this has eased admissions hence managing the overwhelming at the facility. It has also helped in the accommodations of staff by building staff quarters near the facility. This has reduced absenteeism at the facility since officials are ever present at the facility. It has also helped in good sanitation because of the increased number of assets at the facility like medical wastebins, pit latrines for patients. Maternity wards and available equipements for labor such as labor beds and labor suits have created enough space for mothers in labor hence reducing congestion. However, the facility has challenges which include: - There is power shortage in the area. No socket power to operate the machines. - There is only one desktop to take all records at the facility. - Staff quarters are not enough to accommodate the medical staff and the facility is remote. - There are so may equipment that are not in use due to power shortage. Recommendations are; - Provision of power supply to enable usage of the equipment. - Staff quarters should be increased to enable availability of health workers. - More computers are needed to improve record keeping. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG………………………………………… NAME OF HEALTH FACILITY…………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | ANC 01 |  | It is digital, grey in color |  | No engravement |  | 10/09/25 |  |  |  |  |  | functioning | In use |
| 02 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | MAT |  | White in color with a gauge and a black metallic base |  | No engravement |  | 10/09/25 |  |  |  |  |  | functioning | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Autoclave 20 Liters.,Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl, Kick | MAT |  | Silver basin like bowls |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | ANC 01 |  | Silver basin like with wheel stands |  | No engravement |  | 10/09/25 |  |  |  |  |  | functioning | In use |
| 02 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved |  |  | Plastic colorless tins |  | No engravement |  | 24/09/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | ANT 01 |  | Grey in color with compartments and locks |  | No engravement |  | 24/09/25 |  |  |  |  |  | functioning | In use |
| 02 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | IPD 04 |  | Silver with a hook |  | No engravement |  | 10/09/25 |  |  |  |  |  | functioning | In use |
| 08 | MAT 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Store |  | Grey in colour |  | No engravement |  | 24/09/25 |  |  |  |  |  | functional | Not in use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | OPD 01 |  | Cream with a black bed |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 | MAT 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light,LED | MAT 01 |  | Black in colour |  | No engravement |  | 24/09/25 |  |  |  |  |  | functional | 1 is not in use yet |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | Lab 01 |  | White in color with a strip tin |  | No engravement |  | 24/09/25 |  |  |  |  |  | functional | In use |
| 02 | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital | Lab |  | White in color with 3 buttons |  | No engravement |  | 24/09/25 |  |  |  |  |  | functional | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | OPD |  | Cream in color with both inch and cm readings |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley | OPD |  | Silver in color with 2 partitions |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular | LAB |  | White in color with a black base |  | No engravement |  | 24/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | OPD |  | Silver in color with a black top |  | No engravement |  | 24/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | IPD 02 |  | Silver with blue curtain like clothing |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 04 | MAT 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley | OPD |  | 4 wheels with a black sponge and 2 handles |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | LAB |  | Grey in color with 2 compartments |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope | OPD 02 |  | Black in color with 2 rubber tube |  | No engravement |  | 18/11/25 |  |  |  |  |  | functional | In use |
| 04 | MCH 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch | MCH 01 |  | It is digital |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | OPD 01 |  | It has 4 black wheels with two rails and a black soft sponge |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | MCH |  | White in color 6kg |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult | OPD 01 |  | White in color, automated with a height and a gauge. With a black rectangular base in nature |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant | MCH 01 |  | White with a basin like tray |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | One is not in use yet |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | MCH 01 |  | Light grey clock like with a hook |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | 1 is not in use yet |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | OPD |  | Black in color with 2 black wheels, 2 foot pads and 2 handles |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | LAB 01 |  | Blue in color wrapped with polythene bags And a round top |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 06 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MCH 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock | IPD 01 |  | Round and white in color with figures running from 1 to 12 and placed on the wall |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | No battery, doesn’t read correct time |
| 04 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | LAB 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH | MCH |  | Scissors and fork like silver equipment |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | OPD |  | Silver items that include scissors and other instruments |  | No engravement |  | 18/11/25 |  |  |  |  |  | functional | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | IPD 01 |  | Contains a bunch instruments like bandages |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT | Store |  | Sealed in a container |  | No engravement |  | 10/09/25 |  |  |  |  |  | Still brand new | No ENT clinical officer |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | OPD 01 |  | Has a screen with a grey cable |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | 1 is faulty |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | IPD 10 |  | White with black sponge mattress |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | 3 are faulty |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | Pediatric ward 02 |  | White in color with black sponge mattress |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 05 | IPD 027 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | MCH |  | White in color with blue sponge mattress |  | No engravement |  | 25/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | MCH |  | White bed with a blue mattress and drip stand |  | No engravement |  | 25/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | MCH 01 |  | Huge gas cylinder with an apparatus on top |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | 1 is in use and the other kept in the store |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | MCH 01 |  | Air bag like mask with tubes |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes | Store |  | Huge mask with a tube attached |  | No engravement |  | 10/09/25 |  |  |  |  |  | Functional but not in use | They have no patients who need them yet |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Store |  | White, with 2 bags of water and a gauge. |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | Not in use yet |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | store |  | White box with a rounded plastic casing |  | No engravement |  | 10/09/25 |  |  |  |  |  | Still new | Not in use yet |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow | Store 02 |  | Grey,2 handles on top and a cylinder also on top |  | No engravement |  | 10/09/25 |  |  |  |  |  | Still new | Not in use yet |
| 04 | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench | LAB 01 |  | Brown wooden with stands |  | No engravement |  | 10/09/25 |  |  |  |  |  | All functional | In use |
| 04 | MCH 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IPD 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | MCH |  | Normal buckets with rounded tops and silver handles |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 06 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  | Not verified |  |  |  |  |  |  |  |  |  | Not seen |  |
| Diagnostic Equipment Set for Ward | IPD 01 |  | Sealed in a silver contain |  | No engravement |  | 10/09/25 |  |  |  |  |  | One is functional | 2 are still new in the store |
| 03 | Store 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | store |  | Rectangular silver container with equipment |  | No engravement |  | 18/11/25 |  |  |  |  |  | Still brand new | Not in use yet |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | MCH |  | Not verified |  | No engravement |  | 18/11/25 |  |  |  |  |  | The set has been separated for use | In use |
| 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | IPD 02 |  |  |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | One set is still new |
| 03 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | MCH |  | Silver instruments used in delivery |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 04 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  | Black in color with 4 wheels |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | MCH 02 |  | Rubber with a Nosal like tube |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 03 | Store 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar | MCH 02 |  | Silver and round with a flat bottom |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Store |  | Consists of clear plastic tubes |  | No engravement |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Lab |  | Rounded dome-like with metallic buttons |  | No engravement |  | 10/09/25 |  |  |  |  |  | functioning | In use |
| 02 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair | MCH |  | Low brown leather chair with a pedal to rest feet |  | No engravement |  | 10/09/25 |  |  |  |  |  | functioning | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | MCH |  | White with a black soft mattress |  | No engravement |  | 15/08/23 |  |  |  |  |  | functional | In use |
| 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | I.C 01 |  |  |  |  |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 07 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | LAB 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MAT 03 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | OPD 02 |  |  |  |  |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 03 | MAT 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filing Cabinet | MAT 01 |  | Grey in color with compartments |  | No engrave number |  | 10/09/25 |  |  |  |  |  | functional | In use |
| 02 | OPD 01 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Non Residential Buildings |  |  | Maternity block |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings |  |  | Staff quarters |  |  |  |  |  |  |  |  |  |  |  |

PICTURES OF ASSETS VISITED AND VERIFIED

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |