ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | BUNYORO |
| Name of Local Government | KAKUMIRO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAKAGWA HINDU, FATUMAH YASIN, NAKITENDE SHARIFAH |
| Contact/ email and Telephone | 0702578692 hindunakagwa@gmail.com 0703480094 0703780913 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIGANDO HEALTH CENTRE  III

| 1a | Does the Facility have a record of all assets provided under UGIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under UGIFT So far, no maintenance, repair, servicing, or replacement of the assets provided under UgIFT has been carried out. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

| 4 | How has the UGIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UGIFT Support and Service Delivery UGIFT support has contributed significantly to the provision of maternity equipment, which has greatly improved the quality and efficiency of maternal healthcare services. RECOMMENDATIONS - UgIFT support for repairs: UgIFT should provide support for the repair and maintenance of some of the supplied equipment and the structures constructed under the programme. - Transport support: UgIFT should consider providing additional transport support, as the health facility currently has only one motorcycle, which is insufficient to meet its operational and service delivery needs. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG KAKUMIRO DISTRICT LOCAL GOVERNMENT  NAME OF HEALTH FACILITY KIGANDO HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - P. Machine, Digital | MATERNITY, |  | It has a start/stop button white in colour and a cuffis wrapped around the upper arm. It is operated using batteries |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 machine |
| B.P. Machine (Aneroid wall mounted) | MATERNITY & STORE |  | It doesn’t use batteries. It has a round presssure gauge/ dial with numbers usually from 300mmHg. Its usually put on the wall. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 machine |
| Autoclave 20 Liters.,Duo Operated | MATERNITY |  | It’s a large, strong metal chamber with a door, pressure temperature & operating controls |  | KMR/KGD-HC/UGIFT |  | 20203 |  |  |  |  |  | Functioning | Received 1 piece and in use |
| Bowl, Kick | STORE |  | Stainless stell bowl or basin |  | Not Engraved |  | 13/05/2024 |  |  |  |  |  | Functioning | Received 1 piece and still kept on store |
| Bowl Stand | STORE |  | Metal frame stand with three legs |  | Not Engraved |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and still kept on store |
| Counting chamber Neubauer- Improved | STORE |  | Small rectangular glass plate. It has a special raised chamber where the sample is placed |  | Not Engraved |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and still kept in store. |
| Cupboard Steel, Lockable | IN CHARGE’S OFFICE & MATERNITY |  | - It is metallic. - Has 2doors - Has a lock a nd key - It has shelves inside for keeping in documents or equipments |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces and all in use. |
| Drip Stand | MATERNITY, OPD & IN PATIENTS |  | - Long vertical metal plole with a stable base having five legs. - It has hooks at the top for hanging on fluid bags |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  |  | Received 3 pieces and all in use. |
| ESR Stand | STORE |  | A small white rectangular metal with several holes for holding ESR tubes |  | Not Engraved |  | 2023 |  |  |  |  |  | Functioning | Found 1 piece in store. |
| Examination Couch | MATERNITY & OPD |  | - Its rectangular in shape with a mattress. - It has a back rest which is adjustable. - It has four metallic legs. - It has a head and lower body section |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Found 2 pieces and all in use |
| Examination light,LED | STORE |  | - Black in colour with a flexible adjustable arm and a LED lamp - It is easily moved - It has an ON & Off switch. - It has a fixed stand with a stable base with wheels. |  | Not Engraved |  | 2023 |  |  |  |  |  | Functioning | Found 2 pieces and still kept in store |
| Glucometer | LAB |  | - White in colour. - Digital meter screen with test strrips. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Found 1 piece in use. |
| Haemoglobin Meter, Digital | LAB |  | - White Small rectangular electronic device. - Has digital screen - Has an opening where a test strip containing blood is inserted. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Found 2 pieces and in use. |
| Height Meter | OPD |  | - It’s a tall vertical measuring rod marked in centimeters - It has a stable base where a person stands. - It has a sliding head piece that is lowered to touch the top of the person’s head. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Found 2. one in use and the other still kept in store The one in use is engraved |
| Instrument Trolley | OPD, LAB, POSTNATAL |  | Its metallic with two trays and four wheels for easy movement |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 4 pieces. in use. |
| Microscope Binocular | LAB |  | Has two eye pieces at the top Has a strong base and supporting arm |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces one in use |
| Otoscope | STORE |  | - Handheld instrument used to look inside the ear. - The handle contains batteries - Its black in colour. |  | NOT ENGRAVED |  | 2023 |  |  |  |  |  | Functioning | Received one and not yet in use still kept in store. |
| Patient Screen | MATERNITY |  | Its blue in colour and tall folding screen and washable. Has wheels for easy movement |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 5 pieces and In use |
| Patient Trolley | MATERNITY |  | - Has wheels for easy movement - Has a mattress where a patient lies. - It has adjustable back rest - It has push handles at the head and foot end - Has lockable wheels or brakes for safety. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received one piece and in use |
| Refrigerator, Basic | MATERNITY |  | Grey in colour |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  |  | Received 1 piece one in use and one still kept in store |
| Stethoscope | OPD & MATERNITY |  | Has 2 ear pieces at the top It has flexible rubber tubing connecting the earpieces to the chest piece. Has a metal chest piece. |  | Not Engraved |  | 2023 |  |  |  |  |  | Functioning | Received 8 pieces and in use |
| Stop Watch | LABOUR SUITE |  | - Its plastic. - Has a stop and stop button. - Has digital display showing minuted seconds. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received one piece and in use |
| Stretcher | MATERNITY & STORE |  | - Has four wheels with brakes. - Has side rails to help prevent falls. - Has a long flat mattress - Has an adjustable back rest. - Has handles at the head and foot end. - They are black in colour |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received two pieces and in use |
| Stove, Gas | STORE |  | Metallic gas plates |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received one piece and not yet in use. Still kept in store. |
| Weighing Scale with Height Meter, Adult | OPD |  | - Has a wide plat form where adults stand. - Has a weight display. - Has a sliding height meter that rests gently on top of the head. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 piece and in use |
| Weighing Scale, Infant | LABOUR SUITE AND STORE |  | - White in colour with a shallow, curved weighing tray where the baby lies. - Has a digital weight display. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 4 pieces one in use and 3 not yet in use and still kept in store. |
| Weighing Scale, Toddler | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  |  |  |
| Wheel Chair | MATERNITY, STORE |  | - Has two large wheels with hand rims - Has two small front wheels - Has arm rests for support, foot rests for the user’s feet. - It has brakes to keep the wheel chair stationary. - Has push handles at the back for an attendant |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 5 pieces and in use |
| Audio Visual Equipment | RECEPTION |  | Flat screen |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received one and in Use |
| Medical Waste Bin | MATERNITY & OPD |  | Metallic containers |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | functioning | Received 10 and in use |
| Wall Clock | LAB,MATERNITY, STORE |  | - White in colour and round with numbers or markings. - Has a hour and minute hand - Has a hook for hanging it. - It operates on a battery. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 4 pieces and one is in use while others are still kept in store. |
| Diagnostic Equipment Set for MCH | MATERNITY |  | Medical kit containing instruments to assess mothers newborns infants and children |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and in use |
| Diagnostic Equipment Set for OPD | STORE |  | Medical case or kit containing instruments that examine and monitor patients at OPD. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces and not yet in use. Still kept in store. |
| Glassware Set, Laboratory, Basic | STORE |  | A set laboratory glassware consisting of test tube, beakers, measuring cylinders, flasks, pipettes and other glass items used for laboratory testing and sample preparations. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and not yet in use. Still kept in store. |
| Hollow Ware Set, Treatment | STORE |  | It’s a set of stainless steel medical containers used for holding instruments and other materials during patient treatment. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces and not yet in use. Still kept in store. |
| Instrument Set, Dressing | OPD |  | It’s a stainless steel dressing instrument set consisting of forceps, scissors kidney dish etc used for wound dressing and minor procedures. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces and in use. |
| Instrument Set, Basic ENT | OPD & STORE |  | A basic instrument set containing ear and nasal instruments for examining minor procedures of the ear, nose and throat. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces. One in use and the other one still kept in store |
| Instrument Set, Suture | OPD & STORE |  | It’s a collection of medical instruments used close and repair wounds in stitches. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces. One in use and the other one still kept in store |
| Pulse Oximeter, Hand held | MATERNITY & OPD |  | - It uses a battery. - Has a small main display unit with an LCD screen. - It has control buttons. - Has a display showing pulse rate |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and in use. |
| Bed, Adult Patient with Mattress | IN PATIENT, MATERNITY, OPD |  | - Its metallic - Has a comfortable mattress - Has four wheels with brakes - Has side rails for patient safety. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 6 pieces and in use. |
| Bed, Pediatric Patient, With Mattress | STORE |  | - Its metallic. - Has 4 wheels with brakes. - Side rails for patient safety. - Adjustable back rest. - Has a comfortable mattress |  | Not Engraved |  | 13/05/2024 |  |  |  |  |  | Functioning | Received 3 pieces and not yet in use. |
| Bedside Locker | PEDIATRIC, POSTNATAL, FEMALE WARD |  | - Its metallic - Has a drawer and a storage part. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 10 pieces and in use |
| Cupboard, Instrument | IN CHARGE’S OFFICE |  | Its metallic Has shelves Has glass doors |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 and in use |
| Delivery Bed, Hydraulic Manual | MATERNITY |  | - Its blue in colour and has a mattress that is easy to clean. - It has side rails for patient safety - It has a removable adjustable delivery section to assist the health worker during child birth. - Has wheels with brakes for movement and stability. - Has adjustable back rest and leg section - Has leg support for delivery |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 piece and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | MATERNITY |  | Has a cylinder valve, flow meter, nasl cannula, oxygen tubing and a cylinder stand for safety movement. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 piece and in use. |
| Resuscitator Manual, Infant, with all Mask sizes | STORE |  | Smaller bag with a small infant sized mask |  | Not engraved |  | 2023 |  |  |  |  |  | Functioning | Received 15 pieces and still kept in use |
| Resuscitator Manual, Adult, with all mask sizes | STORE |  | - Has a large self inflating bag with large transparent face mask. - Has oxygen tubing |  | Not engraved |  | 2023 |  |  |  |  |  | Functioning | Received 15 pieces and still kept in store. |
| Suction Apparatus, (Electric) | MATERNITY |  | Has a collection bottle, vacuum gauge, suction tubing and catheter, power switch and electrical cable |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning and one use. | Received 1 piece and in use |
| Nebulizer, Ultrasonic | STORE |  | Has a main electrical unit medicine chamber, patient tubing, face mask, and power cable. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received one an still kept in store. |
| Oxygen Concentrator, Duo Flow | MATERNITY |  | Has 2 oxygen flow meters, oxygen tubing connections ventilation openings and internal compressor. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 piece and in store. |
| Bench | MATERNITY, FAMILY PLANNING, RECEPTION & ANTENATAL |  | Its long wooden an flat surface with stands. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 4 pieces and in use. |
| Disinfection Buckets | MATERNITY & INJECTION ROOM |  | Its metallic with a lid on top |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | 11 Functioning & one not fuctioning | Received 12 pieces . |
| Baby Cot | MATERNITY |  | - Small rectangular, metallic baby bed with a mattress. - Has a raised protective sides |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 5 pieces and in use. |
| Diagnostic Equipment Set for Ward | MATERNITY |  | It’s a collection of basic medical examination instruments packed in a case |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and in store |
| Hollow Ware Set, Ward | STORE |  | Reusable stainless steel containers and bowls used for nursing procedures, dressing wounds, etc. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and in store |
| Instrument Set, Delivery | MATERNITY |  | It’s a collection of stainless steel instruments used during child birth and related procedures |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 5 pieces and in use. |
| Instrument Set, Stitch Removing | MATERNITY |  | Small collection of surgical instruments used to remove stitches from healed wounds. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 5 pieces and in use. |
| MVA Kit | MATERNITY |  | It’s a set of medical instruments used for uterine evacuation using manual suction. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 5 pieces and in use. |
| Stool, Laboratory | LAB |  | Small containers used to collect stool sample. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces and in use. |
| Penguin Sucker | MATERNITY |  | Its small soft rubber rounded at one end |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces and in use. |
| Fetoscope, Dopplar | MATERNITY, ANTENATAL & STORE |  | Small handheld electronic unit, has a digital screen, a speaker for hearing the fetal heart beat |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3 pieces and in use. |
| Bubble CPAP | N/A |  | N/A |  | N/A |  | 2023 |  |  |  |  |  | N/A | Did not receive |
| Centrifuge (Electric) | LAB |  | Its rounded machine, white in colour, it has a digital display and electrical power cable. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 pieces and in use |
| Kangaroo Mother Care Chair | RECEPTION |  | Has padded seat and high supportive backrest , wide armrests to support the mother’s arms |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 1 pieces and kept at the reception. |
| Radiant Infant Warmer | N/A |  | N/A |  | N/A |  | 2023 |  |  |  |  |  | N/A | Did not receive |
| Haemoglobin Meter, Sahli | LAB |  | - Its white in colour. - Small held electronic machine. - Has simple buttons. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 pieces and in use. |
| Delivery Bed | MATERNITY |  | - Has adjustable back - Has wheels and brakes |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 in use |
| Examination light | MATERNITY |  | - Black in colour - Flexible with a light on top |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 2 in use. |
| Instrument set, ENT Basic for HCIII | OPD |  | Collection of basic ear, nose and throat examination instruments in a sterilized stainless steel tray |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 3pieces and in use. |
| Bag Valve mask (Ambu Bag), Neonatal | STORE, LABOUR SUITE & STORE |  | - It’s a small soft self inflating bag - Has a small transparent face mask - Has one way valve between the bag and mask - Has neonatal mask sizes. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  | Functioning | Received 15 pieces and in use. |
| Incubator | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not receive an incubator |
| Office Chair | OPD, IN-CHARGE, LAB |  | Padded seat and back rest Its adjustable Its black in colour and has wheels. |  | KMR/KGD-HC/UGIFT |  | 2023 |  |  |  |  |  |  | Received 3 pieces and in use. |
| Desk | IN-CHARGE'S OFFICE, OPD, LAB |  | Its wooden brown in colour with a flat top and drawers |  | KMR/MKR/HC/UGIFT |  | 13/05/2024 |  |  |  |  |  | Functioning | Received 3 pieces and in use. |
| Filing Cabinet | RECORDS ROOM, OPD, FAMILY PLANNING & ANTENATAL |  | Metallic with drawers for keeping in files |  | KMR/MKR/HC/UGIFT |  | 13/05/2024 |  |  |  |  |  | Functioning | Received 6pieces but still kept in store. |
| Non Residential Buildings | MATERNITY BLOCK |  |  |  | N/A |  |  |  |  |  |  |  | Functioning | One block constructed |
| Residential Buildings |  |  |  |  | N/A |  |  |  |  |  |  |  |  | N/A |

PICTURES OF ASSETS VISITED AND VERIFIED

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: ………………………………………………………………………………..

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG………………………………………………………………… Name of SCHOOL………………………………………………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG…………………………………………………………………………… Name of SCHOOL………………………….………………………………………

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |