ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL REGION |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | KYANKWANZI DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAKAGWA HINDU, FATUMAH YASIN, NAKITENDE SHARIFAH |
| Contact/ email and Telephone | 0702578692 hindunakagwa@gmail.com 0703480094 0703780913 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: MUJUNZA HEALTH CENTRE  III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under UgIFT Repairs and servicing of the assets are carried out using PHC funds. Where necessary, damaged or non-functional equipment is repaired, serviced, or replaced to ensure continuity of service delivery. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES. Th facility maintains regular records on the functionality and breakdown of the assets and equipment provided. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | - Findings - The equipment supplied under UgIFT were available at the health facility however they did not have visible UgIFT identification numbers. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG KAKUMIRO DISTRICT LOCAL GOVERNMENT  NAME OF HEALTH FACILITY MUJUNZA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - P. Machine, Digital | ANTENATAL, OPD |  | It has a start/stop button white in colour and a cuffs wrapped around the upper arm. It is operated using batteries |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 machines and in use. |
| B.P. Machine (Aneroid wall mounted) | ANTENATAL |  | It doesn’t use batteries. It has a round pressure gauge/ dial with numbers usually from 300mmHg. Its usually put on the wall. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 machines and in use. |
| Autoclave 20 Liters.,Duo Operated | MATERNITY & STORE |  | It’s a large, strong metal chamber with a door, pressure temperature & operating controls |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning and the other spoilt | Found 1 machineand in use. |
| Bowl, Kick | MATERNITY |  | Stainless steel bowl or basin |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Bowl Stand | MATERNITY |  | Metal frame stand with three legs |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Counting chamber Neubauer- Improved | STORE |  | Small rectangular glass plate. It has a special raised chamber where the sample is placed |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received two pieces and still kept in store. |
| Cupboard Steel, Lockable | OPD |  | - It is metallic. - Has 2doors - Has a lock and key - It has shelves inside for keeping in documents or equipments |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and all in use. |
| Drip Stand | MATERNITY, OPD IN PATIENTS |  | - Long vertical metal pole with a stable base having five legs. - It has hooks at the top for hanging on fluid bags |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  |  | Found 8 pieces and all in use. |
| ESR Stand | OPD |  | A small white rectangular metal with several holes for holding ESR tubes |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and all in use. |
| Examination Couch | OPD, MATERNITY |  | - Its rectangular in shape with a mattress. - It has a back rest which is adjustable. - It has four metallic legs. - It has a head and lower body section |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and all in use. |
| Examination light,LED | MATERNITY |  | - Black in colour with a flexible adjustable arm and a LED lamp - It is easily moved - It has an ON & Off switch. - It has a fixed stand with a stable base with wheels. |  | NOT ENGRAVED |  | N/A |  |  |  |  |  | functioning | Found 2 pieces and all in use. |
| Glucometer | LAB, |  | - White in colour. - Digital meter screen with test strrips. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces and 1 was taken to the District during the presidential tour |
| Haemoglobin Meter, Digital | LAB |  | - White Small rectangular electronic device. - Has digital screen - Has an opening where a test strip containing blood is inserted. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 02 pieces and in use |
| Height Meter | ART |  | - It’s a tall vertical measuring rod marked in centimeters - It has a stable base where a person stands. - It has a sliding head piece that is lowered to touch the top of the person’s head. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 01 piece in ART |
| Instrument Trolley | MATERNITY, OPD |  | Its metallic with two trays and four wheels for easy movement |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and in use. |
| Microscope Binocular | LAB |  | Has two eye pieces at the top Has a strong base and supporting arm |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Otoscope | MATERNITY |  | - Handheld instrument used to look inside the ear. - The handle contains batteries - Its black in colour. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Patient Screen | LABOUR SUITE, POSTNATAL,GENERAL WARD ,PEDIATRIC WARD |  | Its blue in colour and tall folding screen and washable. Has wheels for easy movement |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 4 pieces and In use |
| Patient Trolley | MATERNITY |  | - Has wheels for easy movement - Has a mattress where a patient lies. - It has adjustable back rest - Ithas push handles at the head and foot end - Has lockable wheels or brakes for safety. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 pieces and in use |
| Refrigerator, Basic | LAB |  | White in colour |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  |  | Found 1 pieces and in use |
| Stethoscope | ANTENATAL, OPD, MATERNITY |  | Has 2 ear pieces at the top It has flexible rubber tubing connecting the earpieces to the chest piece. Has a metal chest piece. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 4 pieces and in use |
| Stop Watch | STORE |  | - Its plastic. - Has a stop and stop button. - Has digital display showing minuted seconds. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces and still kept in store. |
| Stretcher | IMMUNISATION ROOM, MATERNITY |  | - Has four wheels with brakes. - Has side rails to help prevent falls. - Has a long flat mattress - Has an adjustable back rest. - Has handles at the head and foot end. - They are black in colour |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found two pieces and in use |
| Stove, Gas | STORE |  | Metallic gas plates |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces and not yet in use. Still kept in store. |
| Weighing Scale with Height Meter, Adult | ANTENATAL, OPD |  | - Has a wide plat form where adults stand. - Has a weight display. - Has a sliding height meter that rests gently on top of the head. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and in use. |
| Weighing Scale, Infant | STORE |  | - White in colour with a shallow, curved weighing tray where the baby lies. - Has a digital weight display. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces and not yet in use. Still kept in store. |
| Weighing Scale, Toddler | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any at the facility |
| Wheel Chair | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any at the health facility |
| Audio Visual Equipment | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not receive . |
| Medical Waste Bin | ANTENATAL, POSTNATAL, MATERNITY, YOUNG CHILD CLINIC |  | Metallic containers |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | functioning | Received 20 pieces and they are in use |
| Wall Clock | OPD, INCHARGE OFFICE, MATERNITY, ART |  | - White in colour and round with numbers or markings. - Has a hour and minute hand - Has a hook for hanging it. - It operates on a battery. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 4 pieces and one is in use while others are still kept in store. |
| Diagnostic Equipment Set for MCH | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any at the health facility |
| Diagnostic Equipment Set for OPD | STORE |  | Medical case or kit containing instruments that examine and monitor patients at OPD. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 sets and not yet in use. Still kept in store. |
| Glassware Set, Laboratory, Basic | STORE |  | A set laboratory glassware consisting of test tube, beakers, measuring cylinders, flasks, pipettes and other glass items used for laboratory testing and sample preparations. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received one set and not yet in use. Still kept in store. |
| Hollow Ware Set, Treatment | STORE |  | It’s a set of stainless steel medical containers used for holding instruments and other materials during patient treatment. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received one set and not yet in use. Still kept in store. |
| Instrument Set, Dressing | STORE |  | It’s a stainless steel dressing instrument set consisting of forceps, scissors kidney dish etc used for wound dressing and minor procedures. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 1 set and still kept in store |
| Instrument Set, Basic ENT | STORE |  | A basic instrument set containing ear and nasal instruments for examining minor procedures of the ear, nose and throat. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces. One in use and the other one still kept in store |
| Instrument Set, Suture | STORE |  | It’s a collection of medical instruments used close and repair wounds in stitches. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces. One in use and the other one still kept in store |
| Pulse Oximeter, Hand held | MATERNITY & OPD |  | - It uses a battery. - Has a small main display unit with an LCD screen. - It has control buttons. - Has a display showing pulse rate |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces and in use. |
| Bed, Adult Patient with Mattress | GENERAL WARD, OPD |  | - Its metallic - Has a comfortable mattress - Has four wheels with brakes - Has side rails for patient safety. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 8 pieces and in use. |
| Bed, Pediatric Patient, With Mattress | PEDIATRIC WARD |  | - Its metallic. - Has 4 wheels with brakes. - Side rails for patient safety. - Adjustable back rest. - Has a comfortable mattress |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 5 pieces and in use. |
| Bedside Locker | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any at the health facility |
| Cupboard, Instrument | IN CHARGE’S OFFICE & ANTENATAL |  | Its metallic Has shelves Has glass doors |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | In use |
| Delivery Bed, Hydraulic Manual | MATERNITY |  | - Its blue in colour and has a mattress that is easy to clean. - It has side rails for patient safety - It has a removable adjustable delivery section to assist the health worker during child birth. - Has wheels with brakes for movement and stability. - Has adjustable back rest and leg section - Has leg support for delivery |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | STORE |  | Has a cylinder valve, flow meter, nasl cannula, oxygen tubing and a cylinder stand for safety movement. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces and in use. |
| Resuscitator Manual, Infant, with all Mask sizes | MATERNITY |  | Smaller bag with a small infant sized mask |  | Not engraved |  | 2024 |  |  |  |  |  | Functioning | Received 1 piece and in use |
| Resuscitator Manual, Adult, with all mask sizes | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any at the health facility |
| Suction Apparatus, (Electric) | MATERNITY |  | Has a collection bottle, vacuum gauge, suction tubing and catheter, power switch and electrical cable |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning and one use. | Found 1 piece and in use |
| Nebulizer, Ultrasonic | MATERNITY |  | Has a main electrical unit medicine chamber, patient tubing, face mask, and power cable. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use |
| Oxygen Concentrator, Duo Flow | MATERNITY, OPD |  | Has 2 oxygen flow meters, oxygen tubing connections ventilation openings and internal compressor. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and still kept in store. |
| Bench | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not see any bench in the facility |
| Disinfection Buckets | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not receive |
| Baby Cot | MATERNITY, STORE |  | - Small rectangular, metallic baby bed with a mattress. - Has a raised protective sides |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 4 cots both in maternity & store. |
| Diagnostic Equipment Set for Ward | STORE |  | It’s a collection of basic medical examination instruments packed in a case |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 sets but still kept in store |
| Hollow Ware Set, Ward | STORE |  | Reusable stainless steel containers and bowls used for nursing procedures, dressing wounds, etc. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 pieces but still kept in store |
| Instrument Set, Delivery | STORE |  | It’s a collection of stainless steel instruments used during child birth and related procedures |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 4 in the store . |
| Instrument Set, Stitch Removing | STORE |  | Small collection of surgical instruments used to remove stitches from healed wounds. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found one set in store |
| MVA Kit | STORE |  | It’s a set of medical instruments used for uterine evacuation using manual suction. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | 3 Functioning | Found 3 kits and still kept in store |
| Stool, Laboratory | LAB |  | Small containers used to collect stool sample. |  | KMR/MKR/HC/UGIFT |  | 13/05/2024 |  |  |  |  |  | Functioning | Found 3 pieces and in use. |
| Penguin Sucker | MATERNITY |  | Its small soft rubber rounded at one end |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 pieces and in use. |
| Fetoscope, Dopplar | MATERNITY |  | Small handheld electronic unit, has a digital screen, a speaker for hearing the fetal heart beat |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Bubble CPAP | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | We did not find any during the verification . |
| Centrifuge (Electric) | STORE |  | Its rounded machine, white in colour, it has a digital display and electrical power cable. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces still kept in store |
| Kangaroo Mother Care Chair | STORE |  | Has padded seat and high supportive backrest , wide armrests to support the mother’s arms |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 pieces and still kept in store. . |
| Radiant Infant Warmer | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | We did not find any during the verification . |
| Haemoglobin Meter, Sahli | LAB |  | - Its white in colour. - Small held electronic machine. - Has simple buttons. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 2 pieces and in use. |
| Delivery Bed | GENERAL WARD, OPD |  | - Has adjustable back - Has wheels and brakes |  | N/A |  | N/A |  |  |  |  |  | Functioning | Found 8 pieces in use |
| Examination light | N/A |  | - Black in colour - Flexible with a light on top |  | N/A |  | N/A |  |  |  |  |  | N/A | Found 2 pieces in use |
| Instrument set, ENT Basic for HCIII | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | We did not find any during the verification . |
| Bag Valve mask (Ambu Bag), Neonatal | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | We did not find any during the verification . |
| Incubator | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any incubator |
| Office Chair | OPD, DATA ROOM, ANTENATAL |  | Padded seat and back rest Its adjustable Its black in colour and has wheels. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  |  | Found 6 pieces at the facility |
| Desk | IN CHARGE’S OFFICE ANTENATAL, OPD |  | Its wooden brown in colour with a flat top and drawers |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 pieces and in use. |
| Filing Cabinet | STORE |  | Metallic with drawers foe keeping in files |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 piece and in use. |
| Non Residential Buildings | MATERNITY |  |  |  | N/A |  | 2024 |  |  |  |  |  | Functioning | Constructed by UGIFT |
| Residential Buildings | N/A |  |  |  | N/A |  |  |  |  |  |  |  |  | N/A |

PICTURES OF ASSETS VISITED AND VERIFIED