ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | KYANKWANZI DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NAKAGWA HINDU, FATUMAH YASIN, NAKITENDE SHARIFAH |
| Contact/ email and Telephone | 0702578692 hindunakagwa@gmail.com 0703480094 0703780913 |
| Supervisor/ Sub team leader |  |
| Name |  |
| Contact |  |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: SIRIMULA HEALTH CENTRE  III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | YES |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under UgIFT Repairs and servicing of the assets are carried out using PHC funds. Where necessary, damaged or non-functional equipment is repaired, serviced, or replaced to ensure continuity of service delivery. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES. The facility maintains regular records on the functionality and breakdown of the assets and equipment provided. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT support has significantly improved service delivery at the health facility in several ways: - Construction of additional structures: UgIFT has supported the construction of additional structures at the health facility. This has created more space for patient care and has enabled the facility to admit patients, which was not possible before the support. - Maternity equipment: UgIFT has provided essential maternity equipment, improving the facility’s capacity to provide maternal healthcare services. This has reduced the need for mothers to travel long distances to larger hospitals in order to access services that require specialized maternity equipment. - Improved access to healthcare: The support has brought essential services closer to the community, reducing the burden and costs associated with travelling to distant health facilities. RECOMMENDATION - Maintenance of assets: UgIFT should consider providing support for the maintenance and repair of assets provided to the health facility. The facility has limited funds for repairs, and when equipment breaks down, it is often kept in storage due to the inability to meet the repair costs. Regular maintenance and timely repairs would help ensure that the assets remain functional and continue supporting service delivery. FINDINGS It was found that the assets provided under UgIFT were not engraved or marked with identification labels. As a result, it was difficult to distinguish UgIFT provided assets from equipment and other items supplied by different organizations. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG KAKUMIRO DISTRICT LOCAL GOVERNMENT  NAME OF HEALTH FACILITY SIRIMULA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - P. Machine, Digital | MATERNITY |  | It has a start/stop button white in colour and a cuffs wrapped around the upper arm. It is operated using batteries |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 machine and in use. |
| B.P. Machine (Aneroid wall mounted) | MATERNITY, CLARKING |  | It doesn’t use batteries. It has a round pressure gauge/ dial with numbers usually from 300mmHg. Its usually put on the wall. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 machines. one and in use. |
| Autoclave 20 Liters.,Duo Operated | MATERNITY & STORE |  | It’s a large, strong metal chamber with a door, pressure temperature & operating controls |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning and the other spoilt | Found 1 machine and in use. |
| Bowl, Kick | MATERNITY |  | Stainless steel bowl or basin |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Bowl Stand | MATERNITY |  | Metal frame stand with three legs |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Counting chamber Neubauer- Improved | STORE |  | Small rectangular glass plate. It has a special raised chamber where the sample is placed |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found two pieces and still kept in store. |
| Cupboard Steel, Lockable | MATERNITY, LAB . |  | - It is metallic. - Has 2doors - Has a lock and key - It has shelves inside for keeping in documents or equipments |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 pieces and all in use. |
| Drip Stand | MATERNITY, PRINATAL |  | - Long vertical metal pole with a stable base having five legs. - It has hooks at the top for hanging on fluid bags |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  |  | Found 4 pieces and all in use. |
| ESR Stand | STORE |  | A small white rectangular metal with several holes for holding ESR tubes |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and still in use. |
| Examination Couch | INCHARGE, WARD |  | - Its rectangular in shape with a mattress. - It has a back rest which is adjustable. - It has four metallic legs. - It has a head and lower body section |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and all in use |
| Examination light,LED | STORE |  | - Its rectangular in shape with a mattress. - It has a back rest which is adjustable. - It has four metallic legs. - It has a head and lower body section |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | N/A | Found 1 piece in store |
| Glucometer | LAB, |  | - White in colour. - Digital meter screen with test strrips. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use |
| Haemoglobin Meter, Digital | LAB |  | - White Small rectangular electronic device. - Has digital screen - Has an opening where a test strip containing blood is inserted. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Height Meter | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | There was no height meter found at the facility |
| Instrument Trolley | MATERNITY, OPD, STORE |  | Its metallic with two trays and four wheels for easy movement |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 4 pieces and in use. |
| Microscope Binocular | LAB, DISTRICT |  | Has two eye pieces at the top Has a strong base and supporting arm |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and the other one was sent to District.. |
| Otoscope | OPD |  | - Handheld instrument used to look inside the ear. - The handle contains batteries - Its black in colour. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found one and in use |
| Patient Screen | POSTNATAL WARD |  | Its blue in colour and tall folding screen and washable. Has wheels for easy movement |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and In use |
| Patient Trolley | MATERNITY |  | - Has wheels for easy movement - Has a mattress where a patient lies. - It has adjustable back rest - It has push handles at the head and foot end - Has lockable wheels or brakes for safety. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 1 piece and in use |
| Refrigerator, Basic | MATERNITY, LAB |  | White in colour |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  |  | Found 2 pieces and in use |
| Stethoscope | CLARKING, MATERNITY |  | Has 2 ear pieces at the top It has flexible rubber tubing connecting the earpieces to the chest piece. Has a metal chest piece. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 8 pieces and in use |
| Stop Watch | LAB |  | - Its plastic. - Has a stop and stop button. - Has digital display showing minuted seconds. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found one piece and in use. |
| Stretcher | POSTNATAL |  | - Has four wheels with brakes. - Has side rails to help prevent falls. - Has a long flat mattress - Has an adjustable back rest. - Has handles at the head and foot end. - They are black in colour |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use |
| Stove, Gas | LAB, ANTENATAL |  | Metallic gas plates |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 gas plates and not yet in use. Still kept in store. |
| Weighing Scale with Height Meter, Adult | MATERNITY, FEMALE WARD |  | - Has a wide plat form where adults stand. - Has a weight display. - Has a sliding height meter that rests gently on top of the head. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and in use. |
| Weighing Scale, Infant | MATERNITY, STORE |  | - White in colour with a shallow, curved weighing tray where the baby lies. - Has a digital weight display. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 pieces one in use and 2 in store |
| Weighing Scale, Toddler | MATERNITY |  | - Has digital weight display. - Has a plat form where toddlers stand. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Wheel Chair | MATERNITY |  | - Has two large wheels with hand rims - Has two small front wheels - Has arm rests for support, foot rests for the user’s feet. - It has brakes to keep the wheel chair stationary. - Has push handles at the back for an attendant |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use.. |
| Audio Visual Equipment | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any. |
| Medical Waste Bin | POSTNATAL |  | Metallic containers |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | functioning | Found 3 pieces and they are in use |
| Wall Clock | MATERNITY, LAB |  | - White in colour and round with numbers or markings. - Has a hour and minute hand - Has a hook for hanging it. - It operates on a battery. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and in use. |
| Diagnostic Equipment Set for MCH | STORE |  | Medical kit containing instruments to assess mothers newborns infants and children |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found one set and not yet in use. Still kept in store. |
| Diagnostic Equipment Set for OPD | STORE |  | Medical case or kit containing instruments that examine and monitor patients at OPD. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 set and not yet in use. Still kept in store. |
| Glassware Set, Laboratory, Basic | STORE |  | A set laboratory glassware consisting of test tube, beakers, measuring cylinders, flasks, pipettes and other glass items used for laboratory testing and sample preparations. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 set and not yet in use. Still kept in store. |
| Hollow Ware Set, Treatment | STORE |  | It’s a set of stainless steel medical containers used for holding instruments and other materials during patient treatment. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 sets and not yet in use. Still kept in store. |
| Instrument Set, Dressing | STORE |  | It’s a stainless steel dressing instrument set consisting of forceps, scissors kidney dish etc used for wound dressing and minor procedures. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 sets and not yet in use. Still kept in store. |
| Instrument Set, Basic ENT | OPD |  | A basic instrument set containing ear and nasal instruments for examining minor procedures of the ear, nose and throat. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Instrument Set, Suture | OPD & STORE |  | It’s a collection of medical instruments used close and repair wounds in stitches. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 sets and not yet in use. Still kept in store. |
| Pulse Oximeter, Hand held | MATERNITY, OPD, STORE |  | - It uses a battery. - Has a small main display unit with an LCD screen. - It has control buttons. - Has a display showing pulse rate |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 pieces and they are in use |
| Bed, Adult Patient with Mattress | FEMALE WARD, MALE WARD, PEDIATRIC WARD |  | - Its metallic - Has a comfortable mattress - Has four wheels with brakes - Has side rails for patient safety. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 17 beds in use. The facility gave out 3 beds to Mwangi HC III and 4 beds are still at the District store |
| Bed, Pediatric Patient, With Mattress | PRENATAL WARD |  | - Its metallic. - Has 4 wheels with brakes. - Side rails for patient safety. - Adjustable back rest. - Has a comfortable mattress |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 4 pieces and in use. |
| Bedside Locker | FEMALE & MALE WARD, MATERNITY |  | - Its metallic - Has a drawer and a storage part. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Received 09 pieces and in use. |
| Cupboard, Instrument | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any. |
| Delivery Bed, Hydraulic Manual | POSTNATAL WARD |  | - Its blue in colour and has a mattress that is easy to clean. - It has side rails for patient safety - It has a removable adjustable delivery section to assist the health worker during child birth. - Has wheels with brakes for movement and stability. - Has adjustable back rest and leg section - Has leg support for delivery |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | One delivery bed was found at the facility. However, the midwife reported that staff were unable to operate it because they were not familiar with its operation and had not received adequate training |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | MATERNITY |  | Has a cylinder valve, flow meter, nasl cannula, oxygen tubing and a cylinder stand for safety movement. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Resuscitator Manual, Infant, with all Mask sizes | MATERNITY |  | Smaller bag with a small infant sized mask |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use |
| Resuscitator Manual, Adult, with all mask sizes | MATERNITY |  | - Has a large self inflating bag with large transparent face mask. - Has oxygen tubing |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Suction Apparatus, (Electric) | MATERNITY |  | Has a collection bottle, vacuum gauge, suction tubing and catheter, power switch and electrical cable |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning and one use. | Found 2 pieces and in use |
| Nebulizer, Ultrasonic | STORE,MATERNITY |  | Has a main electrical unit medicine chamber, patient tubing, face mask, and power cable. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces. 1 still kept in store and 1 in use |
| Oxygen Concentrator, Duo Flow | MATERN |  | Has 2 oxygen flow meters, oxygen tubing connections ventilation openings and internal compressor. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 and in use |
| Bench | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any bench in the facility |
| Disinfection Buckets | POSTANATAL |  | Its metallic with a lid on top |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 5 and in use |
| Baby Cot | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | We did not find any baby cot. |
| Diagnostic Equipment Set for Ward | STORE |  | It’s a collection of basic medical examination instruments packed in a case |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece in store |
| Hollow Ware Set, Ward | STORE |  | Reusable stainless steel containers and bowls used for nursing procedures, dressing wounds, etc. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | N/A | Found 4 sets in store |
| Instrument Set, Delivery | MATERNITY |  | It’s a collection of stainless steel instruments used during child birth and related procedures |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 5 sets in the store . |
| Instrument Set, Stitch Removing | STORE |  | Small collection of surgical instruments used to remove stitches from healed wounds. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found one set in store |
| MVA Kit | MATERNITY |  | It’s a set of medical instruments used for uterine evacuation using manual suction. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | 3 Functioning | Found 1 kit but one spoilt |
| Stool, Laboratory | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | We did not find any during the verification . |
| Penguin Sucker | MATERNITY |  | Its small soft rubber rounded at one end |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 3 pieces and in use. |
| Fetoscope, Dopplar | MATERNITY |  | Small handheld electronic unit, has a digital screen, a speaker for hearing the fetal heart beat |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and in use. |
| Bubble CPAP | N/A |  | - N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | We did not find any during the verification . |
| Centrifuge (Electric) | LAB |  | Its rounded machine, white in colour, it has a digital display and electrical power cable. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 piece and in use. |
| Kangaroo Mother Care Chair | LAB |  | Has padded seat and high supportive backrest , wide armrests to support the mother’s arms |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 1 pieces and still kept in store. . |
| Radiant Infant Warmer | N/A |  | - N/A |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | N/A | We did not find any during the verification . |
| Haemoglobin Meter, Sahli | MATERNITY, STORE |  | - Its white in colour. - Small held electronic machine. - Has simple buttons. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and in use. |
| Delivery Bed | POSTNATAL |  | - Has adjustable back - Has wheels and brakes |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | N/A | Found 1 piece and in use. |
| Examination light | STORE, MATERNITY |  | - Black in colour - Flexible with a light on top |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | N/A | We did not find any during the verification . |
| Instrument set, ENT Basic for HCIII | N/A |  | - N/A |  | - N/A |  | - N/A |  |  |  |  |  | N/A | We did not find any during the verification . |
| Bag Valve mask (Ambu Bag), Neonatal | N/A |  | - It’s a small soft self inflating bag - Has a small transparent face mask - Has one way valve between the bag and mask - Has neonatal mask sizes. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  | Functioning | Found 2 pieces and still kept in store. |
| Incubator | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any incubator |
| Office Chair | IN CHARGE'S OFFICE, DATA ROOM |  | Padded seat and back rest Its adjustable Its black in colour and has wheels. |  | NOT ENGRAVED |  | 2024 |  |  |  |  |  |  | Found 2 pieces at the facility |
| Desk | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any desk. |
| Filing Cabinet | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | Did not find any cabinet. |
|  | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | N/A |
| Non Residential Buildings | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | N/A |
|  | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | N/A |
| Residential Buildings | N/A |  | N/A |  | N/A |  | N/A |  |  |  |  |  | N/A | N/A |

PICTURES OF ASSETS VISITED AND VERIFIED