ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL REGION |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | MUBENDE DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | KATO CHARLES |
| Contact/ email and Telephone | 0755790124 & katoc560@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Prof: MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission | 31/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: BUTAWATA HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | No, the facility misplaced the file |
| --- | --- | --- |
| 1b | If not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility has a dedicated budget for repairs/ replacement especially for those items on the NMS credit line, and at times they receive some support from mubende RRH

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No, the facility did not provide a list of the items available |
| --- | --- | --- |

The facility did not have an asset register or a functionality list for equipment in place.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The incharge expressed gratitude to the UGIFT program for equipping the health facility with the necessary equipment which eased their mandate as health workers. She also complained about the quality of office chairs and tables that were delivered to her facility that lasted only 2 weeks and were spoilt.

She recommended that CME, on equipment use should be arranged for health workers after delivery of these items, and that they should be involved in the procurement of the equipment to avoid over supply which causes storage problems

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: MUBENDE DISTRICT    NAME OF HEALTH FACILITY: BUTAWATAHC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | sinoheart, model BA-801 sionocare bp machine |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | 2 functional and one in the store |  |
|  | Health |  | Sinocare bp machine, Model AES-U111 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| B.P. Machine (Aneroid wall mounted) | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
| Autoclave 20 Liters., Duo Operated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Autoclave, external heated, 20liters |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Bowl, Kick | Health |  | 1 bowl kick |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
| Bowl Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Stainless steel movable |  |  |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Stainless steel movable |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Counting chamber Neubauer- Improved | Health |  | 1 Counting chambers, with droppers |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 Counting Rectangular shaped apparatus with droppers |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 Counting Rectangular shaped apparatus with droppers |  |  |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Cupboard Steel, Lockable | Health |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Drip Stand |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
|  | Health |  | 1 Drip stand, stainless steel attached to the beds |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 1Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 1Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 ESR was available with sedimentation tubes |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Examination light,LED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | LED examination light |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | LED examination light |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | A Yuwell glucometer, SN: B25070000104 |  | NOT ENGRAVED |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | health |  | A Yuwell glucometer, SN: B25070000104 |  | NOT ENGRAVED |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 height meter |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Instrument Trolley |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
|  | health |  | 1 instrument trolly |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | health |  | 1 instrument trolly |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 microscope binocular, |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 otoscope, sn: 97412531595 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 patient screen, super care model TS-19 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen, metallic, blue in colour, movable |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen, metallic, blue in colour, movable |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 patient trolley of casp |  |  |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 refrigerator basic, Hisense brand | 18 months | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | stethoscope |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Stopwatch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 stopwatch |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 stretcher, movable |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Stove, Gas | health |  | STOVE GAS |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 weighing scale with height measure |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | health |  | 1 weighing scale with height measure |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Hanging weighing scale foe infants, SN: BS-50 |  | NOT ENGRAVED |  | 8/03/2024 |  |  |  |  |  | NOT FUNCTIONAL |  |
|  | Health |  | Hanging weighing scale foe infants, SN: BS-50 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional in the maternity ward |  |
|  | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional in the maternity ward |  |
| Wheelchair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 wheelchair |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional | Wheelchair was spoilt |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | HEALTH |  | 1 television, flat screen |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Stainless steel bins |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Stainless steel bins |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Wall Clock |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
|  | Health |  | Wall clock |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 8/03/2024 |  |  |  |  |  | NOT FUNCTIONAL |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 8/03/2024 |  |  |  |  |  | NOT FUNCTIONAL |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | 1 diagnostic equipment set OPD |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 diagnostic equipment set OPD |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Treatment | Health |  | 1 hollow ware set, full set |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 hollow ware set, full set |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Instrument Set, Dressing | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Instrument set basic ENT |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Instrument set basic ENT |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Instrument set basic ENT |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Bed, Adult Patient with Mattress | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  |  |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Pediatric beds with metallic mattresses |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics beds with mattresses metallic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics beds with mattresses metallic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatric beds with mattresses metallic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Pediatric beds with metallic mattresses |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Cupboard, Instrument | health |  | 1 cupboard steel lockable |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  |  |  | 1 cupboard steel lockable |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Delivery Bed, Hydraulic Manual | health |  | 1 Delivery bed manual hydraulic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | health |  | 1 Delivery bed manual hydraulic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  |  |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 resuscitator manual |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 resuscitator manual |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional | In the store |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 suction apparatus, electric |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 suction apparatus, electric |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 nebulizer ultrasonic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Oxygen concentrator |  | not |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Oxygen concentrator |  | not |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1Oxygen concentrator |  | not |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1Oxygen concentrator |  | not |  | 8/03/2024 |  |  |  |  |  | Not functional | Machine no longer use it over heats |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 metallic vanished bench |  |  |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  |  |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  |  |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Diagnostic Equipment Set for Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Instrument Set, Delivery | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| MVA Kit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 movable metallic stool |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 fetoscope |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 bubble CPAP |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional | In the store |
|  | Health |  | 1 bubble CPAP |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Centrifuge (Electric) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Centrifuge, new |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Centrifuge, new |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 kangaroo mother care chair, brown colour |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Delivery bed |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Delivery bed |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 examination light |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 examination light |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
|  | HEALTH |  | 1 Instrument set, ENT basic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | HEALTH |  | 1 Instrument set, ENT basic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
|  | HEALTH |  | 1 Instrument set, ENT basic |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 ambu bag |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Office chair, leather coshoned |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional | All the 6 chairs got spoilt after 2 weeks of use |
|  | health |  | Office chair, leather coshoned |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
|  | health |  | Office chair, leather coshoned |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
|  | health |  | Office chair, leather coshoned |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
|  | health |  | Office chair, leather coshoned |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
|  | health |  | Office chair, leather coshoned |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not Functional |  |
|  | Health |  | Office chair, leather cushioned |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Not functional |  |
| Desk |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Filing Cabinet |  |  |  |  |  |  | 8/03/2024 |  |  |  |  |  |  |  |
|  | Health |  | Filling cabinet |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |
|  | Health |  | Filing cabinet |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Non-Residential Buildings | Health |  | MATERNITY BUILDING, with a placenta pit |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
|  | Health |  | 1 fenced solar house with solar panels and batteries |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | functional |  |
| Residential Buildings | Health |  | 1 staff house, 2 self-contained rooms with water 2 water tanks |  | Not engraved |  | 8/03/2024 |  |  |  |  |  | Functional |  |

The table below illustrates some physical status of the verified assets with photographic evidence.

Table 1: Physical verification photos

| BUTAWATA SIGNPOST |  |
| --- | --- |
| Spoilt office chair |  |
| MATERNITY BUIL |  |
| DING WITH A WASTE PIT AND A PLACENTA PIT |  |
| Sample of benches provided under UGIFT |  |
| Sample of patient beds with drip stands. |  |
| Sample of pediatric beds |  |
| Bowl stand |  |
| Office chair sample that’s faulty |  |
| Examination couch |  |
| Delivery bed, hydraulic. the staff have never used this bed because they don’t know how to operate it |  |
| Delivery sets, MCH and instrument trolley |  |
| Examination light, LED and Oxygen concentrator, its faulty and over heats |  |
| Bed side lockers, faulty sample |  |
| Sample of bay cots |  |
| Cupboard with glass, still in its box |  |
| Weighing scale toddler, and other equipment packed in the baby cot |  |
| Sample weighing scale, adult with a height meter |  |
| Oxygen apparatus |  |
| Cupboard metallic lockable |  |
| Sample of Stretcher, with drip stand |  |
| Sample of a wheelchair with a drip stand |  |
| Newly supplied table from UGIFT, however they are all spoilt |  |
| Kangaroo mother care chair still in the box |  |