ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KYENJOJO DISTRICT |
| VERIFIER PARTICULARS |  |
| Full name | KATO CHARLES |
| Contact/ email and Telephone | 0755790124 & katoc560@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Prof: MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission | 06/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: MYERI HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The list was available but didn’t have costs as well as asset numbers and expected lifetime for the equipment. |
| --- | --- | --- |
| 1b | If not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility funds minor repairs using PHC funds; however, the huge cost of repairs cannot be managed by inadequate PHC funds.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, the facility had a list of the items available |
| --- | --- | --- |

The facility had an asset register, however there was no information about the functionality of the available equipment.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The incharge expressed gratitude to the UGIFT program funding the facility with equipment, improving staff housing and easing their work by providing equipment which greatly improved service delivery to the communities.

He recommended that the health facility needs should be consulted, before procurement and their input be considered before delivering equipment because sometimes, they are provided with excess equipment/ oversupply, furniture with short life span and storage becomes a problem.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KYENJOJO DISTRICT    NAME OF HEALTH FACILITY: MYERI HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | sinoheart, model BA-801 sionocare bp machine |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Sinocare bp machine, Model AES-U111 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
| B.P. Machine (Aneroid wall mounted) | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | Machines are in the store not yet used |
|  | health |  | BP machine (aneroid wall mounted, Navy blue in colour |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
| Autoclave 20 Liters., Duo Operated | health |  | Autoclave, external heated, 20liters |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Bowl, Kick | Health |  | 1 bowl kick |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Bowl Stand | Health |  | Stainless steel movable |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | health |  | Stainless steel movable |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | health |  | Stainless steel movable |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Counting chamber Neubauer- Improved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | Rectangular shaped apparatus with droppers |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | The equipment was in store |
|  | Health |  | Rectangular shaped apparatus with droppers |  |  |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
| Cupboard Steel, Lockable | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional | 2 cupboards were delivered to the health facility and are being used to store unused instrument sets. |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Drip stand, stainless steel attached to the beds |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional | 4 drip stands that are in the store |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
| ESR Stand | health |  | 1 ESR was available with sedimentation tubes |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional | The equipment is available in the lab |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Examination light,LED | health |  | LED examination light |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | LED examination light |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Glucometer | health |  | A Yuwell glucometer, SN: B25070000104 |  | NOT ENGRAVED |  | 22/09/2025 |  |  |  |  |  | Not functional | The facility used up all the tubes and cannot obtain other since they are not available at NMS |
|  | health |  | A Yuwell glucometer, SN: B25070000104 |  | NOT ENGRAVED |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
| Haemoglobin Meter, Digital | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | Items are still in the store |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 height meter |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 instrument trolly |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
|  | health |  | 1 instrument trolly |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
| Microscope Binocular | health |  | 1 microscope binocular |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
| Otoscope | health |  | 1 otoscope |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
| Patient Screen | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 patient screen, super care model TS-19 |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen, metallic, movable |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen Metallic, movable |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | The 4 newly delivered patient screens were still in the store in their box |
|  | health |  | 1 patient screen Metallic, movable |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional |  |
| Patient Trolley | Health |  | 1 patient trolley of casp |  |  |  | 20/9/2025 |  |  |  |  |  | functional |  |
| Refrigerator, Basic | Health |  | 1 refrigerator basic, Hisense brand | 18 months | Not engraved |  | 20/09/2025 |  |  |  |  |  | Not functional | The fridge wasn’t available at the facility thus couldn’t be verified |
| Stethoscope | Health |  | stethoscope |  | Not engraved |  | 22/9/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 22/9/2025 |  |  |  |  |  | Not functional | equipment was still stored in the cupboards |
|  | Health |  | stethoscope |  | Not engraved |  | 22/9/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 22/9/2025 |  |  |  |  |  | Not functional |  |
| Stop Watch | Health |  | 1 stopwatch |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  |  |  | 1 stopwatch |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 stretcher, movable |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Stove, Gas | health |  | STOVE, GAS |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not Functional | Items in the store, still in boxes |
| Weighing Scale with Height Meter, Adult | health |  | 1 weighing scale with height measure |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 weighing scale with height measure |  | Not engraved |  | 25/03/2023 |  |  |  |  |  | functional |  |
| Weighing Scale, Infant | Health |  | Hanging weighing scale foe infants, SN: BS-50 |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Hanging weighing scale foe infants, SN: BS-50 |  | NOT ENGRAVED |  | 20/9/25 |  |  |  |  |  | NOT FUNCTIONAL | EQUIPMENTIN THE STORE |
| Weighing Scale, Toddler | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional in the maternity ward |  |
|  | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional in the maternity ward |  |
| Wheelchair | Health |  | 1 wheelchair |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Not functional | Item in the store |
|  | Health |  | 1 wheelchair |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Not functional |  |
| Audio Visual Equipment | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 22/9/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Wall clock |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | functional | All clocks were pinned to the wall |
|  | Health |  | Wall clock |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 17/11/2025 |  |  |  |  |  | NOT FUNCTIONAL |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 17/11/2025 |  |  |  |  |  | NOT FUNCTIONAL |  |
| Diagnostic Equipment Set for OPD | Health | SL304 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health | SL304 | 1 diagnostic equipment set |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 diagnostic equipment set |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
| Glassware Set, Laboratory, Basic | Health |  | 1 glass ware set` |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Treatment | Health |  | 1 hollow ware set, full set |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | Set was still in the store |
|  | Health | SL304 | 1 hollow ware set, full set |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | Items in the store |
| Instrument Set, Dressing | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | In the store |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Instrument Set, Basic ENT | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Instrument Set, Suture | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Pulse Oximeter, Hand held | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional | In the store |
| Bed, Adult Patient with Mattress | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional | 6 beds were still in the store due to oversupply |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  |  |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses, model B11 batch no 20220542 |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Pediatric beds with metallic mattresses |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics beds with mattresses metallic |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics beds with mattresses metallic |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatric beds with mattresses metallic |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Pediatric beds with metallic mattresses |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Bedside Locker | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 cupboard steel lockable |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 Delivery bed manual hydraulic |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
| Oxygen Therapy Apparatus, Minimum 45L cylinder | Health |  | 1 Oxygen cylinders of 45L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | Items are still in the store, and tanks need to be refilled |
|  |  |  | 1 Oxygen cylinders of 45L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 1 resuscitator manual |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 resuscitator manual |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
| Suction Apparatus, (Electric) | Health |  | 1 suction apparatus, electric |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 suction apparatus, electric |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 nebulizer ultrasonic |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | Item in the store |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Oxygen concentrator |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Oxygen concentrator |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Oxygen concentrator |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Oxygen concentrator |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional | All the 4 benches were in use in the maternity wing |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | functional |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | 2 baby cots were still in the store |
|  | Health |  | 1 baby cot |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
| Diagnostic Equipment Set for Ward | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not Functional | Set still the instrument cupboard |
| Hollow Ware Set, Ward |  |  |  |  |  |  | 17/11/2025 |  |  |  |  |  |  |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | Set in the cupboard instruments |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | Set in the cupboard instruments |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional | Set in the cupboard instruments |
| Instrument Set, Delivery | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
| Instrument Set, Stitch Removing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | Health |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
| MVA Kit | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Not functional |  |
| Stool, Laboratory | Health |  | 1 movable metallic stool |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
| Penguin Sucker | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | Functional |  |
| Fetoscope, Dopplar | Health |  | 1 fetoscope |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 fetoscope |  | Not engraved |  | 17/11/2025 |  |  |  |  |  | functional |  |
| Bubble CPAP | Health |  | 1 bubble CPAP |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | In the store |
|  | Health |  | 1 bubble CPAP |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | In the store |
| Centrifuge (Electric) | Health |  | 1 Centrifuge, new |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Centrifuge, new |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Functional |  |
| Kangaroo Mother Care Chair | Health |  | 1 kangaroo mother care chair, brown colour |  | Not engraved |  | 22/09/2025 |  |  |  |  |  | Not functional | Item in the store |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  | 1 haemoglobin meter |  | Not engraved |  | 24/09/2025 |  |  |  |  |  | Not functional | Items are in the store |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 24/09/2025 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 24/09/2025 |  |  |  |  |  | Not functional |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Delivery bed |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
| Examination light | Health |  | 1 examination light |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 examination light |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | functional |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 1 ambu bag |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Not functional | Items were packed in |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Office chair, leather cushioned |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional |  |
| Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 20/9/25 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 20/9/25 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | functional |  |
| Filing Cabinet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Filling cabinet |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | Functional |  |
|  | Health |  | Filing cabinet |  | Not engraved |  | 20/9/2025 |  |  |  |  |  | functional |  |
| Non Residential Buildings | Health |  | MATERNITY BUILDING HC III, with a placenta pit |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | functional | The building was poorly constructed and its leaking which has affected the equipment in it. |
|  | Health |  | 1 six-stance lined pit latrine |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | functional |  |
|  | Health |  | 1 fenced solar house with solar panels and batteries |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | functional |  |
| Residential Buildings | Health |  | 1 staff house, 2 self-contained rooms with water 2 water tanks |  | Not engraved |  | 20/09/2025 |  |  |  |  |  | Functional | The constructed staff house was not in good condition, and the plastering had started to peel off due to little cement used during construction |

The table below illustrates some physical status of the verified assets with photographic evidence.

Table 1: Physical verification photos

| COMMISSIONING PLAQUE | THE BUILDING HAD NO COMISSIONING PLAQUE |
| --- | --- |
| TYPICAL SET OF STAFF QUARTER’S BLOCK (HOUSE BLOCK WITH TWO UNITS, SELF CONTAINED WITH A 10000L WATER HAVESTING TANK) |  |
| 6 STANCE LINED PIT LATRINE |  |
| MATERNITY BUIL DING WITH A WASTE PIT AND A PLACENTA PIT |  |
| PACENTA PIT |  |
| A FENCED SOLAR HOUSE, WITH BATTERIES |  |
| Sample of benches, not engraved |  |
| Refrigerator |  |
| Microscope binocular |  |
| centrifuge |  |
| Hemoglobin meter |  |
| Sample of baby cot, and cupboard with glass |  |
| Patient beds, mattress and patient screens in the store |  |
| Oxygen concetrator |  |
| Instrument trolley |  |
| Sample of Stretcher, with drip stand and beds in the store |  |
| Sample of pedriatic beds with drip stands |  |
| Sample of drip stand and examination lights |  |
| Kangaroo mother care chair still in the box |  |