ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KYENJOJO DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | KATO CHARLES |
| Contact/ email and Telephone | 0755790124 Katoc560@gmail.com |
| Supervisor/ Sub team leader |  |
| Name | Prof. MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission | 01/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KATARAZA HC III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | The facility had a list of items received, with no costs for each item |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility facilitates minor repairs using a dedicated budget on the PHC funds it receives every quarter

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | No |
| --- | --- | --- |

The facility did not have records, or lists indicating which items are functional or broken down

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The construction of kataraza hc iii greatly reduced the long distance that pregnant mothers would walk to health centers which was about 40km.

The health workers stressed the fact that they did not know some of the equipment provided to them and recommended they should be reoriented on how to use this equipment.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG: KYENJOJO DISTRICT NAME OF HEALTH FACILITY: KATALAZA HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed in Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | sinoheart, model BA-801 sionocare bp machine |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| B.P. Machine (Aneroid wall mounted) | health |  | BP machine (aneroid wall mounted, Navy blue in colour novaphon model |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | BP machine (aneroid wall mounted, Navy blue in colour novaphon model |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional | In the store |
| Autoclave 20 Liters., Duo Operated | health | AU2300 | Autoclave, external heated, 20liters |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Bowl, Kick | Health |  | 1 bowl kick |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional | Item in the store |
| Bowl Stand | Health |  | Stainless steel movable |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | health |  | Stainless steel movable |  |  |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Counting chamber Neubauer- Improved | Health |  | Rectangular shaped apparatus with droppers |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | health |  | Rectangular shaped apparatus with droppers |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Cupboard Steel, Lockable | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 cupboard steel with transparent glass, lockable (grey) |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Drip Stand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | Drip stand, MK-ISO, SN MM220210C01 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| ESR Stand | health |  | 1 ESR was available with sedimentation tubes |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Examination couch metallic with a mattress |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Examination light,LED | health |  | LED examination light |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | LED examination light |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Glucometer | health |  | A Yuwell glucometer, SN: B25070000104 |  | NOT ENGRAVED |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Haemoglobin Meter, Digital | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | Haemoglobin Meter, Digital |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 height meter |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | health |  | 1 instrument trolly |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | 1 instrument trolly |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Microscope Binocular | health |  | 1 microscope binocular |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Otoscope | health |  | 1 otoscope |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Patient Screen | health |  |  |  |  |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | health |  | 1 patient screen, super care model TS-19 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | health |  | 1 patient screen, metallic, blue in colour, movable |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | 1 patient screen |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | 1 patient screen |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | 1 patient screen |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | 1 patient screen |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | 1 patient screen |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional | Items in the store |
|  | health |  | 1 patient screen |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Patient Trolley | Health |  | 1 patient trolley of casp |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Refrigerator, Basic | Health |  | 1 refrigerator basic, Hisense brand | 18 months | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Stethoscope | Health |  | stethoscope |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | stethoscope |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Stopwatch | Health |  | 1 stopwatch |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 stretcher, movable |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Stove, Gas | health |  | STOVE GAS, Sn: HU-102 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not Functional | Item in the store |
| Weighing Scale with Height Meter, Adult | health |  | 1 weighing scale with height measure |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 weighing scale with height measure |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | health |  | 1 weighing scale with height measure |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 weighing scale with height measure |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Weighing Scale, Infant | Health |  | Hanging weighing scale foe infants, SN: BS-50 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Hanging weighing scale foe infants, SN: BS-50 |  | NOT ENGRAVED |  | 6/10/2023 |  |  |  |  |  | NOT FUNCTIONAL | Still in the store |
| Weighing Scale, Toddler | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional in the maternity ward |  |
|  | Health |  | 1 weighing scale toddler, KUANYI MODEL, BS-50 |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional in the maternity ward |  |
| Wheelchair | Health |  | 1 wheelchair |  | Not engraved |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | Health |  | 1 wheelchair |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Audio Visual Equipment | Health |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Stainless steel bins |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Stainless steel bins |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Medical waste bins |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Wall Clock |  |  |  |  |  |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | Health |  | Wall clock |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Wall clock |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Diagnostic Equipment Set for MCH | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 6/10/2023 |  |  |  |  |  | NOT FUNCTIONAL |  |
|  | Health | SL304 | Full diagnostic set consisting of all equipment (full medical package) |  | NOT ENGRAVED |  | 6/10/2023 |  |  |  |  |  | NOT FUNCTIONAL |  |
| Diagnostic Equipment Set for OPD | Health | SL304 |  |  |  |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | Health | SL304 | 1 diagnostic equipment set |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 diagnostic equipment set |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Glassware Set, Laboratory, Basic | Health |  | 1 glass ware set` |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 glass ware set` |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Hollow Ware Set, Treatment | Health |  | 1 hollow ware set, full set |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 hollow ware set, full set |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Instrument Set, Dressing | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Instrument Set, Basic ENT | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Instrument Set, Suture | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health | SL304 | 1 Set consists of forceps, scissors, bowls, lotion, kidney, instrument container s/s with cover. |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Pulse Oximeter, Handheld | Health |  |  |  |  |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Pulse oximeter, handheld |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Bed, Adult Patient with Mattress | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Adult beds with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | Health |  | Pediatric bed with metallic mattresses |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics bed with mattress metallic |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatrics bed with mattress metallic |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | pediatric beds with mattresses metallic |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Bedside Locker | Health |  | Metallic bedside locker, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Metallic bedside locker, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside locker, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside locker, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside locker, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Metallic bedside locker, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Metallic bedside lockers, steel |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Cupboard, Instrument | health |  | 1 cupboard steel lockable |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  |  |  | 1 cupboard steel lockable |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  |  |  | 1 Oxygen cylinders of 49,8L 2, oxygen regulators (2), humidifier bottles (2) |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | 1 resuscitator manual |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 resuscitator manual |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 resuscitator manual, adult |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Suction Apparatus, (Electric) | Health |  | 1 suction apparatus, new hospivac brand |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 suction apparatus, electric |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 nebulizer ultrasonic, long fian brand |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Oxygen Concentrator, Duo Flow | Health |  | 1Oxygen concentrator |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Oxygen concentrator |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 Oxygen concentrator |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 metallic vanished bench |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 disinfection bucket |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 baby cot |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Diagnostic Equipment Set for Ward | Health |  |  |  | Not engraved |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | 1 Set consists of: Depressor, tongue, metal, hammer, percussion, reflex test, solid rubber head, ophthalmoscope, aneroid cuffs, stethoscope, tape, measure, cloth, thermometers, tuning forks, proctoscope, and syringes |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not Functional |  |
| Hollow Ware Set, Ward |  |  |  |  |  |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 hollow ware set consisting of a bed pan s/s with lid, bowl, urinal, lotions, forceps, instrument trays, jug measuring 1 litre, and kidney dishes |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Instrument Set, Delivery | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set consisting of forceps, sponge holding, needle holder, scissors, speculum, bowls, kidney dish, and instrument container |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Instrument Set, Stitch Removing | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 set, stitch removing consisting of forceps, sponge holding, scissors, bowls, lotion, and instrument containers |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| MVA Kit | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 MVA kit consisting of MVA Kit (double valve) forceps, sponge holding, manual valve aspirator, syringe aspirator 60CC, Karman cannulas with adaptor, speculum bowls, lotion |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 movable metallic stool |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 movable metallic stool |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 movable metallic stool |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 penguin |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Fetoscope, Doppler | Health |  | 1 fetoscope |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 fetoscope |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Bubble CPAP | Health |  | 1 bubble CPAP |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 bubble CPAP |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Centrifuge (Electric) | Health |  | 1 Centrifuge, new |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 Centrifuge, new |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Kangaroo Mother Care Chair | Health |  | 1 kangaroo mother care chair, green colour |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Radiant Infant Warmer | Health |  | 1 radiant infant warmer |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Haemoglobin Meter, Sahli | Health |  | 1 haemoglobin meter |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | 1 haemoglobin meter |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 Delivery bed |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 examination light |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 examination light |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | Instrument set, ENT basic |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
|  | Health |  | Instrument set, ENT basic |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 1 ambu bag |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Not functional |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Health |  | Office chair, leather cushioned |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | health |  | Office chair, leather cushioned |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Desk | Health |  | 1 desk, vanished |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  |  |  | 1 desk, vanished |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |
| Table | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Table metallic frame of wooden top |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Filing Cabinet |  |  |  |  |  |  | 6/10/2023 |  |  |  |  |  |  |  |
|  | Health |  | Filling cabinet |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Filing cabinet |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Filling cabinet |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | Functional |  |
|  | Health |  | Filing cabinet |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | Filing cabinet |  | KATR-UGIFT |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Non-Residential Buildings | Health |  | MATERNITY BUILDING, with a placenta pit |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 four-stance lined pit latrine |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
|  | Health |  | 1 fenced solar house with solar panels and batteries |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | functional |  |
| Residential Buildings | Health |  | 1 staff house, 2 self-contained rooms with rain harvest water tanks |  | Not engraved |  | 6/10/2023 |  |  |  |  |  | Functional |  |

The table below illustrates some physical status of the verified assets with photographic evidence.

Table 1: Physical verification photos

| KATARAZA HC III SIGNPOST |  |
| --- | --- |
| COMMISSIONING PLAQUE | THE BUILDING HAD NO COMISSIONING PLAQUE |
| TYPICAL SET OF STAFF QUARTER’S BLOCK (HOUSE BLOCK WITH TWO UNITS, SELF CONTAINED WITH A 10000L WATER HAVESTING TANK) |  |
| 4 STANCE LINED PIT LATRINE |  |
| MATERNITY BUIL DING WITH A WASTE PIT AND A PLACENTA PIT |  |
| A FENCED SOLAR HOUSE, WITH BATTERIES |  |
| 5,000LTRS HDPE CREST TANKS. |  |
| Disinfection bucket |  |
| centrifuge |  |
| Weighing scale, toddler |  |
| patient screen |  |
| Delivery bed, hydraulic |  |
| Diagnostic equipment set for OPD |  |
| Examination light, LED and examination couch |  |
| Oxygen concetrator |  |
| Patient trolly |  |
| Sample of the patient beds that are engraved |  |
| Pediatric beds with and bed side lockers |  |
| Kangaroo mother care chair |  |
| Wheelchair |  |
| Instrument cupboard with glass |  |
| Sample of filling cabinet |  |
| Autoclave duo operated |  |
| Sample of resuscitator, newborn- reusable |  |
| Sample of diagnostic sets for the ward |  |
| Sample glassware set, laboratory |  |
| Sample of instrument set, stitch removing |  |
| Stove, gas |  |
| Stethoscope |  |
| Penguin newborn suction |  |