ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | TORO REGION |
| Name of Local Government | KASESE DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | NALUNKUMA FARIDAH |
| Contact/ email and Telephone | 070250903, farivanie@gmail.com |
| Supervisor/ Sub team leader | DEPAUL MBONIGABA |
| Name | DEPAUL MBONIGABA |
| Contact | 0788433159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  RUKOKI GENERAL HOSPITAL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The Equipment that needs repair is normally reported to the District Health Officer, who then send the bio technicians to repair them.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes they do. The facility has Asset registry record book where they record equipment that is still functional and that which is broken. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation | The UGIFT support has helped or saved patients from moving or walking long distances for medication. The support has led to reduced death rates of expecting mother since mothers can deliver safely in their sub-counties Antenatal visits increased and immunization rates improved because mothers come for (ANC) and deliver from the same facility Children get vaccines on time because fridge keeps vaccines cold at the facility. However, the facility has always hard issues and challenges which include: - Some Equipment provided needs technical support in installation. - UGIFT has constructed staff houses, that one block with 2 units, however these are not enough depending on the number of staff. - Since the facility is located up on the hills, it’s very hard to break the terrains for the motorized solar water project, and it has stopped waiting for dam construction to get water, so the facility still finds it hard to get water Recommendations: The facility is not yet commissioned We need (OPD) department, we got the maternity ward but we don’t have the OPD. |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG KASESE DISTRICT LOCAL GOVERNMENT. NAME OF HEALTH FACILITY : BUHUHIRA  HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health |  | Small rounded box with rounded corner attached with a tube and white in color |  |  | 3/12/2024 |  |  | 96,000 |  |  |  | Functional | Verified one and still functioning |
| B.P. Machine (Aneroid wall mounted) | health |  | Square shape like with a plastic body with a rectangular base dark blue in color |  |  | 3/12/2024 |  |  | 520,000 |  |  |  | Functional | 1 verified |
| Autoclave 20 Liters.,Duo Operated | health |  | Long round cylindrical container with a round top and black handles with a gauge and stainless in nature |  | Not engraved | 3/12/2024 | 2024 |  | 720,000 |  |  |  | Functional | 2 verified |
| Bowl, Kick | health |  | U-shaped steel and stainless in nature |  | Not engraved | 3/12/2024 | 2026 |  | 400,000 |  |  |  | functional | 1 verified |
| Bowl Stand | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved | health |  | Flat rectangular glass block |  | Not engraved | 3/12/2024 | 2024 |  | 80,000 |  |  |  | functional | 2 verified |
| Cupboard Steel, Lockable | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | health |  | Cylindrical shaped stands with 5 wheels with a light blue screen |  | Not engraved | 3/12/2024 | 2024 |  | 280,000 |  |  |  | functional | 9 verified |
| ESR Stand | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | health |  | Long rectangular bed with 4 stainless stands with a black soft sponge mattress with a lifter |  | Not engraved | 3/12/2024 | 2024 |  | 720,000 |  |  |  | functional | 3 verified |
| Examination light,LED | health |  | Small flat round with neck lamp with adjustable arm with round torch white in color with 5 rolling wheels |  | Not engrave | 3/12/2024 | 2024 |  | 1,120,000 |  |  |  | functional | 1 verified 2 in store |
| Glucometer | health |  | 0val like shape, white in color with a small screen |  | Not engraved | 22/4/2022 | 2022 |  | 480,0000 |  |  |  | functional | 1 verified and 1 still in the store |
| Haemoglobin Meter, Digital | health |  | Small rectangular palm sized white and blue like a mobile phone |  | Not engraved | 3/12/2024 | 2024 |  | 800,000 |  |  |  | functional | 1 verified |
| Height Meter | health |  | Very tall thin strait vertical scale silver in color |  | Not engraved | 3/12/2024 | 2024 |  | 400,000 |  |  |  | functional | 1 verified |
| Instrument Trolley | health |  | Rectangular Stainless flat plates stands and railing balls |  | Not engraved | 3/12/2024 | 2024 |  | 680,000 |  |  |  | functional | 2 verified |
| Microscope Binocular | health |  | L-shaped with small circular rotating disc with a base white and black in color |  | Not engraved | 3/12/2024 | 2024 |  | 1,520,000 |  |  |  | functional | 1 verified |
| Otoscope | health |  | L-shaped torch or small pistol with small funnels on top black and steel |  | Not engraved | 3/12/2021 | 2021 |  | 320,000 |  |  |  | functional | Still in store |
| Patient Screen | health |  | Very tall and long thin rectangular folding wall with railing and blue screen |  | Not engraved | 3/12/2021 | 2021 |  | 384,000 |  |  |  | functional | 2 verified |
| Patient Trolley | health |  | Stainless stands with a soft black mattress with 4 rolling balls |  | Not engraved | 3/12/2021 | 2021 |  | 1,120,000 |  |  |  | functioning | 1 verified |
| Refrigerator, Basic | Health |  | Large rectangular shape, grey in color and double door |  | Not engraved Rousheng type | 3/12/2021 | 2021 |  | 1,200,000 |  |  |  | functioning | 1 seen and verified |
| Stethoscope | Health |  | black tube with steel drum Y- shaped |  | Not engraved | 3/12/2021 | 2021 |  | 200,000 |  |  |  | All functioning | 1 verified |
| Stop Watch | Health |  | Flat rectangular shape with digital display screen |  | Not engraved | 22/4/22 | 2022 |  | 96000 |  |  |  | functional | 1 verified |
| Stretcher | Health |  | Long rectangular bed with 4 black wheels with two rails and a canvas material |  | Not engraved | 3/12/2024 | 2024 |  | 2,137,000 |  |  |  | functional | 1 seen and verified |
| Stove, Gas | Not seen |  | Cylindrical thin tins kg mogas type and orange in color |  | Not engraved | 3/12/2021 | 2021 |  | 560,000 |  |  |  | functional | 2 varified |
| Weighing Scale with Height Meter, Adult | Not seen |  | White in color with circular face with a height meter and With a black rectangular base in nature |  | Not engraved | 3/12/2021 | 2021 |  | 1,280,000 |  |  |  | functional | 2 seen, verified and functioning |
| Weighing Scale, Infant | health |  | White in color curved like a boat with green digital buttons and rectangular base |  | Not engraved | 3/12/2021 | 2025 |  | 960,000 |  |  |  | functional | 4 seen and verified |
| Weighing Scale, Toddler | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | health |  | Black in color with 2 black wheels, 2 foot pads and 2 handles |  | Not engraved | 2/62021 | 2021 |  | 640,000 |  |  |  | All functioning | 2 verified and 2 still in store |
| Audio Visual Equipment | health |  | Still boxed in the store |  |  | 3/12/21 | 2021 |  | 640,000 |  |  |  | functional | 1 varrified |
| Medical Waste Bin | Health |  | Large rectangular plastic container in different colors, red, yellow and black |  |  | 3/12/21 | 2021 |  | 256,000 |  |  |  | functional | 10 varified, 10 still in store |
| Wall Clock | Health |  | Large round circular disc with clock face |  |  | 3/12/2021 | 2021 |  | 120,000 |  |  |  | functional | 4 varified |
| Diagnostic Equipment Set for MCH | Not verified |  | Received but still boxed in the store |  |  | 2/6/2025 |  |  | 1,000,000 |  |  |  | Functional | Verified 2sets |
| Diagnostic Equipment Set for OPD | Health |  | Received and still boxed in the store |  |  | 15/12/2021 |  |  | 2,000,000 |  |  |  | functional | 2 sets verified |
| Glassware Set, Laboratory, Basic | Not verified |  |  |  |  |  |  |  |  |  |  |  | functional | 2 sets verified |
| Hollow Ware Set, Treatment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Health |  | Received and still boxed in the store |  |  | 15/12/2021 |  |  | 600,000 |  |  |  | functional | 5 sets verified |
| Instrument Set, Basic ENT | Health |  | Still in the box |  |  | 15/12/2021 |  |  | 1,440,000 |  |  |  | functional | 3 set verified |
| Instrument Set, Suture | health |  | Still boxed in the store |  |  | 15/12/2021 |  |  | 360,000 |  |  |  | functional | 3 sets verified |
| Pulse Oximeter, Hand held | Health |  | Still in the box |  |  | 3/12/2021 |  |  | 2,400,000 |  |  |  | functional | 1Verified 10, 4 in use |
| Bed, Adult Patient with Mattress |  |  | Large long flat rectangular on 4 stands with black mattresses |  |  |  |  |  |  |  |  |  | All functional and new | 10 verified |
| Bed, Pediatric Patient, With Mattress | health |  | Medium single bed, rectangular with 4 legs and stainless in nature |  | Not engraved | 15/12/2021 |  |  | 960,000 |  |  |  | functioning | 4 seen and verified |
| Bedside Locker | health |  | Rectangular box with drawers, bigger one down and upper small, grey and blue in color and 4 stands |  | Not engraved | 2/12/2024 |  |  | 520,000 |  |  |  | functional | 10 Seen, functioning |
| Cupboard, Instrument | Health |  | Medium tall rectangular box cabinet with glass doors |  | 856-RUKGN-CBD-OPD-EMS-001 | 3/12/2021 |  |  | 1,140,000 |  |  |  | functional | 1 seen and verified |
| Delivery Bed, Hydraulic Manual | Health |  | Large long flat bed, black in color with a square base with a soft black mattress |  | Not engraved | 3/12/2021 |  |  | 1,150,000 |  |  |  | functioning | 2 seen and verified |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Long and cylindrical in nature black and white in color |  | Not engraved | 3/12/2021 |  |  | 1,760,000 |  |  |  | functional | 2 verified |
| Resuscitator Manual, Infant, with all Mask sizes | Health |  | Oval kinder shape, rubber bag with masks and small bag |  | Not engraved | 3/12/2021 |  |  | 480,000 |  |  |  | Functional | 5 received |
| Resuscitator Manual, Adult, with all mask sizes | Health |  | Oval kinder shape, rubber bag with masks and small |  | Not engraved | 2/12/2021 |  |  | 480,000 |  |  |  | functional | 1 received |
| Suction Apparatus, (Electric) | health |  | Bags box shaped with 2 bottles and long tube and round pressure gauge |  | Not engraved | 3/12/2021 |  |  | 3,360,000 |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic | Health |  | Still boxed and in the store |  | Not engraved | 3/12/2021 |  |  | 720,000 |  |  |  | functional | 1 verified |
| Oxygen Concentrator, Duo Flow | Health |  | Its rectangular shaped electronically operated with 2 vertical tubes and white in color |  | Not engraved | 2/12/2021 |  |  | 800,000 |  |  |  | functional | 1 verified |
| Bench | Health |  | Wooden long rectangular shape with 4 legs |  | Not engraved | 3/13/2024 |  |  | 480,000 |  |  |  | Functional | 4 seen and verified |
| Disinfection Buckets | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot | health |  | Small rectangular bed and stainless in nature and baby size |  | Not engraved |  |  |  |  |  |  |  | functioninal | 2 seen and verified |
| Diagnostic Equipment Set for Ward | health |  | Small shallow rectangular set with instruments in it |  | Not engraved | 15/12/2021 | 2026 |  | 2,000,000 |  |  |  | functional | 1 verified |
| Hollow Ware Set, Ward | Health |  | Set of many small and large urinal, kidney bowl equipment round cylindrical and oval stainless in nature |  | Not engraved | 15/12/2021 |  |  | 2,300,000 |  |  |  | Functional | 1 set seen |
| Instrument Set, Delivery | Health |  | Rectangular shaped stainless container with a number of small equipment |  | Not engraved | 2/12/2021 | 2026 |  | 2,100,000 |  |  |  | functional | 1 seen and verified |
| Instrument Set, Stitch Removing | health |  | Still packed in store |  |  | 2/12/2021 |  |  | 320,000 |  |  |  | functional | Still boxed |
| MVA Kit | Not seen |  | Still boxed and in store |  |  | 22/4/22 |  |  | 200,000 |  |  |  | functional | In the store |
| Stool, Laboratory | health |  | Round seat with rails and black in color |  | Not engraved | 3/12/2021 |  |  | 480,000 |  |  |  | Functional | 4 varified |
| Penguin Sucker | health |  | Penguin shape, rubber and transparent in nature |  | Not engraved | 3/12/2021 |  |  | 32,000 |  |  |  | functional | 2 verified |
| Fetoscope, Dopplar | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | health |  | Rectangular shape cubical box with round drum white in color |  | Not engraved | 3/12/2021 |  |  | 800,000 |  |  |  | functional | 1 seen and verified |
| Kangaroo Mother Care Chair | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | health |  | Large long flat rectangular bed, divided into 2 with hydraulic base and peach in color |  |  | 3/12/2021 | 2021 |  | 1,520,000 |  |  |  | functional | 1 verified |
| Examination light | health |  | Long thin curved with round torch black and white in color with 5 rails |  |  | 3/12/2021 |  |  | 1,120,000 |  |  |  | Functional | 3 varified |
| Instrument set, ENT Basic for HCIII | health |  | Still in store |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | Still in store |  |  |  |  |  |  |  |  |  |  |  |
| Incubator | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | Not seen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | Health |  | Soft laminated board, with aluminum sides in grey color |  | Not engraved | 3/12/2021 |  |  | 640,000 |  |  |  | functional | 5 varified |
| Filing Cabinet | Health |  | Medium tall rectangular box with compartments grey in color |  |  | 3/11/2021 |  |  | 960,000 |  |  |  | functional | 3 functional and one not functional |
| Non Residential Buildings | Health |  | One big block for maternity ward with a neat walk away with a roof on top. A constructed retention wall Solar power backup system Motorized solar water system though incomplete, one block of toilet with 4 stances with water tanks Bubbled wire fance all over the facility. |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | health |  | One block of staff houses with 2 units with a block of toilet with 2 stances |  |  |  |  |  |  |  |  |  |  |  |