ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | Mityana District Local Government |
|  | Mityana District Local Government |
| VERIFIER PARTICULARS |  |
| Full name | Ali Kasule – Nakandi Aidah |
| Contact/ email and Telephone | 0758399112 – aalikasule@gmail.com 0703266299 – nakandiaidah6@gmail.com |
| Supervisor/ Sub team leader | DePaul Mbonigaba Rukara |
| Name | DePaul Mbonigaba Rukara |
| Contact | +256 788 483159 |
| Date of submission | 28/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: BUSEREGENYU HC 111

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yess the facility had a delivery note from the supplier but lacked proper assets register that has standard detailed points like serial numbers, Tag numbers. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift - There is no known system used to maintain the assets at the facility and all the worn out and Brocken down assets are put aside to wait for their superiors to guide them on next steps. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yess they but by only putting them aside to wait from their superior’s guidance. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT support has improved service delivery at Buseregenyu HC III by providing essential medical equipment and supplies. However, the facility lacks a proper asset register and a clear system for maintenance and repair of equipment. It is recommended that the facility be supported to maintain an updated asset register, establish a routine maintenance system, and receive timely technical support for faulty equipment. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: KASANDA DISTRICT LOCAL GOVERNMENT     NAME OF HEALTH FACILITY: BUSEREGENYU HC III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| B.P. Machine (Aneroid wall mounted) | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Autoclave 20 Liters., Duo Operated | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Bowl, Kick | Maternity - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Bowl Stand | Maternity - 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Counting chamber Neubauer- Improved | Laboratory - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Cupboard Steel, Lockable | Laboratory - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Drip Stand | General ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Examination light, LED | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Glucometer | OPD - 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Haemoglobin Meter, Digital | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Height Meter | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Instrument Trolley | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Microscope Binocular | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mid Upper Arm Tape | 4 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 4 |
| Patient Screen | Maternity - 4 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 4 |
| Patient Trolley | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Refrigerator, Basic | Laboratory - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Stethoscope | OPD - 4 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 4 |
| Stop Watch | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Stove, Gas | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Weighing Scale with Height Meter, Adult | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Weighing Scale, Infant | MCH / Child Health - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Weighing Scale, Toddler | MCH / Child Health - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Wheel Chair | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | OPD - 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Wall Clock | General / Facility - 4 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 4 |
| Diagnostic Equipment Set for MCH | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Instrument Set, Basic ENT | 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Bed, Adult Patient with Mattress | Ward - 10 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 10 |
| Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | General ward - 5 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 5 |
| Bedside Locker | General ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument | General ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Delivery Bed, Hydraulic Manual | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Maternity / Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | OPD - 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Resuscitator Manual, Adult, with all mask sizes | OPD - 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Suction Apparatus, (Electric) | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Oxygen Concentrator, Duo Flow | Maternity / Ward - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Bench | OPD / Waiting Area |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets | OPD - 6 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 6 |
| Baby Cot | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Diagnostic Equipment Set for Ward | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | OPD- 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Instrument Set, Delivery | 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Instrument Set, Stitch Removing | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | OPD - 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Stool, Laboratory | LAB - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Penguin Sucker | Maternity / Neonata- 3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Fetoscope, Dopplar | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP | Maternity / Neonata - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Centrifuge (Electric) | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Kangaroo Mother Care Chair | Maternity / Neonata - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Radiant Infant Warmer | 1 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 1 |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | OPD - 4 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 4 |
| Desk | OPD -3 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 3 |
| Filing Cabinet | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Buseregenyu HC III – Qty 2 |
| Non-Residential Buildings | HEALTH CENTER |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | STAFF QUATER |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: MAKOKOTO SEED SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift – |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | . |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG MITYANA LOCAL GOVERNMENT Name of SCHOOL – __________________________________

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG MITYANA LOCAL GOVERNMENT Name of SCHOOL ______________________________________

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG MITYANA LOCAL GOVERNMENT Name of SCHOOL _________________________________

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

MAJOR CONCERNS, CHALLENGES AND RECOMMENDATIONS

BUSEREGENYU HEALTH CENTRE III

KASANDA DISTRICT LOCAL GOVERNMENT

UgIFT Asset Verification – Key Findings

The verification exercise at Buseregenyu Health Centre III identified several key infrastructure, communication and asset-management concerns that may affect the facility’s ability to provide consistent and effective health services. The major concerns, associated challenges and recommended actions are presented below.

1. Inadequate Power Supply

Concern: The facility experiences inadequate power supply, which may affect the reliable operation of essential medical equipment and other facility activities that depend on electricity. Unreliable power can also disrupt service delivery and limit the effective utilisation of equipment provided to the facility.

Challenge/Implication: The limited availability of dependable electricity creates operational challenges, particularly where services and equipment require a stable power source.

Recommendation: The responsible authorities should assess the facility’s power requirements and strengthen the available electricity supply. Priority should be given to ensuring a dependable source of power for essential medical equipment and critical health-service operations.

2. No Reliable Solar System

Concern: The facility does not have a reliable solar power system to provide an alternative or supplementary source of electricity. This leaves the facility more dependent on the available power supply and may increase the risk of interruptions to services.

Challenge/Implication: In the absence of a dependable alternative power source, interruptions in electricity supply may affect continuity of service delivery and the use of equipment.

Recommendation: A reliable solar power system should be considered and, where appropriate, installed or upgraded to provide a dependable backup power source. The system should be appropriately sized for the facility’s essential operational and medical equipment and supported with routine maintenance.

3. Poor Telephone Network

Concern: The facility experiences poor telephone network connectivity, making communication with district authorities, technical personnel, suppliers and other relevant stakeholders difficult, particularly when urgent assistance or follow-up is required.

Challenge/Implication: Poor communication connectivity may delay reporting of equipment faults, requests for technical support and coordination of activities affecting service delivery.

Recommendation: Relevant stakeholders should engage telecommunication service providers to explore options for improving network coverage at the facility. Where feasible, alternative communication arrangements should also be considered to support timely communication and emergency coordination.

4. No Assets Register

Concern: The facility does not have a proper and comprehensive assets register for recording and tracking the assets supplied under UgIFT. This limits the facility’s ability to maintain complete records of asset identification, location, condition and status.

Challenge/Implication: The absence of a standard assets register creates weaknesses in asset accountability, monitoring and future verification. It may also make it difficult to track assets when they are moved, repaired or become non-functional.

Recommendation: The facility should establish and maintain an updated assets register covering all UgIFT-supported assets. The register should capture key details such as asset description, quantity, asset number, serial number, location, condition, status and other relevant identification details. The register should be updated whenever there is a change in the status or location of an asset.

5. Assets Not Engraved

Concern: The supplied assets have not been adequately engraved or otherwise permanently marked with identification details. This makes it more difficult to distinguish the assets, link them to facility records and establish clear ownership and accountability.

Challenge/Implication: Without proper identification or engraving, assets may be difficult to trace during routine monitoring, verification and accountability exercises.

Recommendation: All applicable UgIFT assets should be permanently engraved or tagged with unique identification numbers in line with the relevant asset-management requirements. The identification details should correspond with the facility’s assets register to facilitate easy tracking, verification and accountability.

6. Inadequate Water Supply

Concern: The facility has inadequate water supply, which presents an important operational challenge for a health facility. Adequate and dependable water is necessary to support routine cleaning, infection prevention, patient care and other day-to-day facility activities.

Challenge/Implication: Insufficient water availability may affect hygiene standards, sanitation and the smooth operation of health-service activities, particularly during periods of increased demand.

Recommendation: The Local Government and relevant stakeholders should prioritise improvement of the facility’s water supply. The facility should be supported with a reliable water source and, where necessary, appropriate storage capacity to maintain availability during periods when the main source is interrupted or insufficient.

Overall Recommendation

There is need for coordinated follow-up by Kasanda District Local Government and relevant programme stakeholders to address the identified power, communication, water and asset-management gaps. Strengthening these areas will improve the facility’s operating environment, support proper management and utilisation of UgIFT assets, and contribute to more reliable service delivery at Buseregenyu Health Centre III.