ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN REGION |
| --- | --- |
| SUB-REGION: | BUNYORO REGION |
| Name of Local Government | HOIMA CITY |
| VERIFIER PARTICULARS |  |
| Full name | KATUSHABE RACHEAL KICONCO IMMACULATE |
| Contact/ email and Telephone | 0787499408, shebarac@gmail.com 0775566124 |
| Supervisor/ Sub team leader | MBONIGABA DEPAUL |
| Name | MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission |  |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre:  KIHUUKYAs HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

It is maintained by the facility officials/in charge. For example, of recent the facility covered the mattresses with capilas

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | NO |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT has consistently helped in supplying health equipements to the facility . It has also helped in the accommodations of staff by building staff quarters near the facility. This has reduced absenteeism at the facility since officials are ever present at the facility. |
| --- | --- | --- |
| 11 |  |  |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG HOIMA CITY. NAME OF HEALTH FACILITY : KIHUUKYA  HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | health | 2 | It is white in color model 2088C with a black surface and a rectangular screen |  | Engraved OPD |  | I6/05/2025 |  |  |  |  |  | Received 2 and all still functioning. | All the 2 that were received were verified and are all functioning |
| B.P. Machine (Aneroid wall mounted) | health | 2 | It has a gauge, white in color, with a black metallic base placed on the wall |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | All functioning | All the 2 received were verified and are all functioning well |
| Autoclave 20 Liters.,Duo Operated | health |  | Silver bowl with a round top and black handles with a gauge. |  | Not engraved |  | I6/05/2025 |  |  |  |  |  | They are in good status | All the 2 were received and verified |
| Bowl, Kick | health |  |  |  |  |  |  |  |  |  |  |  |  | Not Received Not verified |
| Bowl Stand | health |  | Silver like basin with 5 wheel stands, silver in color. |  | Not engraved |  |  |  |  |  |  |  | Well-functioning | 6 bowls received and all verified,3 stands and also verified |
| Counting chamber Neubauer- Improved |  | 2 |  |  |  |  | 5/6/25 |  |  |  |  |  |  | verified |
| Cupboard Steel, Lockable | health | 2 | Grey in color with compartments, lockable in nature |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | verified and all functioning` |
| Drip Stand | health | 8 | 5 wheels with a straight vertical stand and locks |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 8 received and verified |
| ESR Stand | health | 1 | verified |  | Not engraved |  | 5/6/25 |  |  |  |  |  | In use | verrified |
| Examination Couch | health | 2 | 4 silver stands with a black soft sponge mattress with a lifter |  | Not engraved |  | 20/6/25 |  |  |  |  |  | functioning | 3 received and verified |
| Examination light,LED |  | 2 |  |  |  |  | 20/6/25 |  |  |  |  |  | In use | verrified |
| Glucometer | health | 2 | White in color with a strip tin without` plickers |  | Not engraved |  | 5/6/25 |  |  |  |  |  | 1 functioning and 1 not functioning | All verified |
| Haemoglobin Meter, Digital | health | 2 | White in color with 3 buttons and a square screen |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | All verified |
| Height Meter |  | 1 |  |  | N/A |  | 5/6/25 |  |  |  |  |  |  |  |
| Instrument Trolley | health | 2 | Silver in color with 2 partitions and 4 black wheels |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 2 verified |
| Microscope Binocular |  | 1 | White in color and a black base |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 1 seen and functioning |
| Otoscope | health | 1 | Silver in color, with a black top and cylindrical in nature |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | Verified but just kept |
| Patient Screen | health | 4 | White in color with 4 stands and a spring support |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 4seen and verified |
| Patient Trolley | health |  | 4 white wheels with a black soft sponge mattress, 2 handles and 2 rails |  | Not engraved |  |  |  |  |  |  |  | functioning | 2 verified and functioning |
| Refrigerator, Basic | Health | 1 | Grey in color with 2 compartments , the lower one bigger than the upper one(CHIQ) |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 1 verified and functioning |
| Stethoscope | Health | 4 | Black in color with 2 rubber tube |  | Not engraved |  | 5/6/25 |  |  |  |  |  | All functioning | 4 verified |
| Stop Watch | Not verified and not seen | 2 |  |  |  |  | 5/6/25 |  |  |  |  |  | IN USE | Verrified |
| Stretcher | Health | 2 | It has 4 black wheels with two rails and a black soft sponge |  | Not engraved |  | 20/6/25 |  |  |  |  |  | All Functioning | 2 seen and verified |
| Stove, Gas | health | 1 | White in color, 6kg(stabex) |  |  |  | 5/6/25 |  |  |  |  |  | working | 1 seen and verified |
| Weighing Scale with Height Meter, Adult | health | 2 | White in color, automated with a height and a guage. With a black rectangular base in nature |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 2 seen, verified and functioning |
| Weighing Scale, Infant | verified | 2 |  |  |  |  | 5/6/25 |  |  |  |  |  |  |  |
| Weighing Scale, Toddler | verified | 2 |  |  |  |  | 5/6/25 |  |  |  |  |  |  |  |
| Wheel Chair | health | 1 | Black in color with 2 balck wheels, 2 foot pads and 2 handles |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 1 seen and verified |
| Audio Visual Equipment | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | health |  | Blue in color wrapped with polythene bags And a round top with silver handle |  |  |  |  |  |  |  |  |  | 19 functioning out of 20 | 1 if faulty |
| Wall Clock |  | 4 | Round and white in color with figures running from 1 to 12 and placed on the wall |  | Not engraved |  |  |  |  |  |  |  | 4 Functioning | All verified, seen and functioning |
| Diagnostic Equipment Set for MCH | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | Not verified |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress |  | 10 | White and blue |  | N/A |  | 20/6/25 |  |  |  |  |  |  | verrified |
| Bed, Pediatric Patient, With Mattress | health | 5 | White in color with blue soft sponge blue mattress |  | Not engraved |  | 20/6/25 |  |  |  |  |  | functioning | 4 seen and verified |
| Bedside Locker | health |  | 2 compartments with a bigger one down and upper small, grey in color and 4 stands |  | Not engraved |  | 20/6/25 |  |  |  |  |  | functioning | Seen, functioning, and verified |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual | health |  | Model H7 with peach mattress and a drip stand |  | Not engraved |  |  |  |  |  |  |  | functioning | Only 1 , seen , verified and functioning |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  | 2 |  |  |  |  | 5/6/25 |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | health | 2 | White, with 2 bags of water and a guage.not Model COO1-A with 4 wheels |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | 1 seen and verified |
| Nebulizer, Ultrasonic |  | 1 |  |  | Not engraved |  | 5/6/25 |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  | 4 | Grey,2 handles on top and a cylinder also on top |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | All seen and verifies |
| Bench | health | 4 | Brown metalic stands |  | Not engraved |  | 5/6/25 |  |  |  |  |  | functioning | All seen and functioning |
| Disinfection Buckets | health | 6 | Normal buckets with rounded tops and silver handles |  | Not engraved |  | 10/6/25 |  |  |  |  |  | functioning | seen and functioning |
| Baby Cot |  | 5 | white in color, rectangular mattress with rails |  | Not engraved |  | 10/6/25 |  |  |  |  |  | functioning | seen and verified |
| Diagnostic Equipment Set for Ward |  | 3 |  |  |  |  | 20/06/25 |  |  |  |  |  | In store | Verrified |
| Hollow Ware Set, Ward |  | 3 |  |  |  |  | 20/06/25 |  |  |  |  |  | In store | Verrified. |
| Instrument Set, Delivery |  | 3 |  |  |  |  | 20/06/25 |  |  |  |  |  | In store | Verrified. |
| Instrument Set, Stitch Removing |  | 3 |  |  |  |  | 20/06/25 |  |  |  |  |  | In store | Verrified. |
| MVA Kit |  | 4 |  |  |  |  | 20/06/25 |  |  |  |  |  | Kept in store |  |
| Stool, Laboratory |  | 1 | Has wheels and black in color |  | Not engraved |  | 20/06/25 |  |  |  |  |  | Functioning | seen and verifies |
| Penguin Sucker |  | 3 | Rubber tune in nature |  | Not engraved |  | 20/06/25 |  |  |  |  |  | functioning | 1 verified |
| Fetoscope, Dopplar |  | 2 | Silver in nature, cylindrical with a round top and base |  | Not engraved |  | 20/06/25 |  |  |  |  |  | functioning | 2 verified |
| Bubble CPAP |  | 2 |  |  | N/A |  | 20/06/25 |  |  |  |  |  |  |  |
| Centrifuge (Electric) |  | 2 |  |  | N/A |  | 20/06/25 |  |  |  |  |  | functioning | Verrified |
| Kangaroo Mother Care Chair |  | 1 |  |  | N/A |  | 20/06/25 |  |  |  |  |  | functioning | Verrified |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  | Has a bulb on top with 5 wheels |  | Not verified |  |  |  |  |  |  |  | functioning | 1 seen and functioning |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | health |  | White, with yellow valve and a glass with white masks |  | Not engraved |  |  |  |  |  |  |  | functioning | 14 verified |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  | Not received |
| Office Chair | health |  | Black in color, swinging in nature with 5 black wheels |  |  |  | 5/6/25 |  |  |  |  |  | functioning | 7 verified and seen |
| Desk | 3 |  | wooden |  | N/A |  | 5/6/25 |  |  |  |  |  |  | verrified |
| Filing Cabinet | 2 |  | Grey |  |  |  | 5/6/25 |  |  |  |  |  |  | verrified |
| Non Residential Buildings |  | 1 | Renovation of maternity block and of walk ways and pavement |  |  |  | 4/6/2026 |  | 251,438,720 |  |  |  | In use | verrrified |
| Residential Buildings |  | 1 | Staff quarters renovation & construction of incinerator |  |  |  |  |  | 54,808,320 |  |  |  | complete | verrified |