ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | KASANDA DISTRICT LOCAL GOVERNMENT |
| VERIFIER PARTICULARS |  |
| Full name | Ali Kasule – Nakandi Aidah |
| Contact/ email and Telephone | 0758399112 – aalikasule@gmail.com 0703266299 – nakandiaidah6@gmail.com |
| Supervisor/ Sub team leader | DePaul Mbonigaba Rukara |
| Name | DePaul Mbonigaba Rukara |
| Contact | +256 788 483159 |
| Date of submission | 28/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIJUNA HC 111

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yes. The facility had supplier delivery notes supporting the assets received, but lacked a proper assets register with standard details such as serial numbers and tag/engraving numbers. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift - There is no known system used to maintain the assets at the facility and all the worn out and Brocken down assets are put aside to wait for their superiors to guide them on next steps. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | Yes, but there is no formal asset functionality/breakdown register. Worn-out or broken-down assets are set aside pending guidance from the relevant superiors. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | The UgIFT support has significantly improved service delivery at Kijuna Health Centre III by providing essential medical equipment and facility assets that have strengthened diagnosis, treatment, maternal and newborn care, and the general working environment. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: KASANDA DISTRICT LOCAL GOVERNMENT     NAME OF HEALTH FACILITY: KIJUNA HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | OPD 1 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 1 evidenced. Delivery date shown: 22/09/2023 |
| B.P. Machine, Aneroid | OPD 2 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
| B.P. Cuff, Infant | OPD 2 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
| B.P. Cuff, Adult | OPD 2 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
| B.P. Cuff, Extra Large | OPD 2 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
| Autoclave 20 Liters.,Duo Operated | OPD 1 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 1 evidenced. Delivery date shown: 22/09/2023 |
| Sterilization Drum, Large | 2 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
| Sterilization Drum, Medium | 2 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
| Sterilization Drum, Small | 2 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
| Bowl, Kick | Maternity |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 1 evidenced on Nairobi Enterprises delivery note. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Maternity |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note; contract quantity also 2. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Counting chamber Neubauer- Improved | Laboratory |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Laboratory |  |  |  |  |  |  |  |  |  |  |  | Partially functional | Qty 3 evidenced. Job card notes: 1 damaged/no mirror or glass; 2 functional. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drip Stand | General ward |  |  |  |  |  |  |  |  |  |  |  | Received | Nairobi delivery note: Qty 3. Crown contract also lists Qty 10 under Lot 5; supporting documents relate to separate delivery records. |
|  | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ESR Stand |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 1 evidenced on Nairobi Enterprises delivery note. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note; Crown contract also lists Qty 2. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light, LED |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced; Crown contract lists Qty 2. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer |  |  |  |  |  |  |  |  |  |  |  |  | Received | Nairobi delivery note: Qty 1. Crown contract lists Qty 3 under Lot 5; supporting documents relate to separate delivery records. |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Digital |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 1 evidenced on Nairobi Enterprises delivery note; Crown contract also lists Qty 1. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Trolley |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note; Crown contract also lists Qty 2. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Microscope Binocular |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 3. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Trolley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 1. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stethoscope |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 4. |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stop Watch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 1. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale with Height Meter, Adult |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 3. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Infant |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 3. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Weighing Scale, Toddler |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair |  |  |  |  |  |  |  |  |  |  |  |  | Non-functional | Contract quantity evidenced: 3. Verification record notes the wheelchairs available at the facility were not functional. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  | Received | Item code OT-143 appears on Crown Healthcare delivery note; quantity is not legible in the attached copy. |
| Medical Waste Bin |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 10 evidenced on Crown Healthcare delivery documentation. |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wall Clock |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 3 evidenced on Crown Healthcare delivery documentation. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | Treatment |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 5 evidenced by contract/related-services schedule. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Adult Patient with Mattress | 20 |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 20. |
| Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | 7 |  |  |  |  |  |  |  |  |  |  |  | Received | Crown Healthcare delivery note records Hospital Chairs: Qty 4 under Lot 2; separate Lot 5 note records Qty 3. |
| Hospital Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | 5 |  |  |  |  |  |  |  |  |  |  |  | Received | Crown Healthcare delivery note records Hospital Table/Desk: Qty 2 under Lot 2; separate Lot 5 note records Qty 3. |
| Hospital Table / Desk |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Filling Cabinet |  |  |  |  |  |  |  |  |  |  |  |  | Received | Crown Healthcare delivery note records Hospital Filing Cabinet: Qty 2 under Lot 2; separate Lot 5 note records Qty 4. |
|  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 10. |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bedside Locker |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 10. |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard, Instrument |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed, Hydraulic Manual |  |  |  |  |  |  |  |  |  |  |  |  | Partially functional | Contract quantity evidenced: 2. Job card notes 1 delivery bed with oil leakage and 1 functional. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder |  |  |  |  |  |  |  |  |  |  |  |  | Incomplete / accessories missing | Contract quantity evidenced: 5. Job card notes no regulators. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 15. |
|  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 15. |
|  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 3. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 1 evidenced on supporting equipment list. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Concentrator, Duo Flow |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 4 evidenced on supporting equipment list. |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 4 evidenced on Crown Healthcare delivery note under Lot 5. |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Disinfection Buckets |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Baby Cot |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for Ward | Ward |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 5 evidenced by contract/related-services schedule and GRN. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Ward | Ward |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 5 evidenced by contract/related-services schedule and GRN. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Delivery | Delivery |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 5 evidenced by contract/related-services schedule and GRN. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | Treatment |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 5 evidenced by contract/related-services schedule and GRN. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MVA Kit | Maternity |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 5 evidenced by contract/related-services schedule and GRN. |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stool, Surgeon |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 1. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker |  |  |  |  |  |  |  |  |  |  |  |  | Received | Contract quantity evidenced: 3. |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  | Received | Item appears in the health-centre checklist; attached supporting delivery documents do not state a separate quantity. |
| Centrifuge (Electric) | Laboratory |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Nairobi Enterprises delivery note. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Kangaroo Mother Care Chair |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 1 evidenced on supporting equipment list. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on supporting equipment list. |
| Haemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed |  |  |  |  |  |  |  |  |  |  |  |  | Partially functional | Supporting job card notes 1 delivery bed with oil leakage and 1 functional. |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 2 evidenced on Crown Healthcare delivery documentation. |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal | 15 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 15 evidenced on supporting equipment list. |
| ADULT | 15 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 15 evidenced on supporting equipment list. |
| PAEDIATRICK | 15 |  |  |  |  |  |  |  |  |  |  |  | Received | Qty 15 evidenced on supporting equipment list. |
| Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school:

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied |  |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL ----------------------------------------------------------

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL _______________________________

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Non-Residential Buildings | Health Center |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Building | Health Center |  |  |  |  |  |  |  |  |  |  |  |  |  |

Major Concerns, Challenges and Recommendations – Kijuna HC III

Major Concerns and Challenges Noted

During the verification exercise at Kijuna HC III, the following key concerns were noted:

1. Inadequate Power Supply

The facility has inadequate power supply to support the functioning of all electronic assets, resulting in underutilisation of some equipment and potentially affecting effective service delivery.

2. Non-Functional Wheelchairs

The wheelchairs available at the facility were not functional, limiting their effective use in supporting patients who require mobility assistance.

3. Assets Not Engraved

The assets were not engraved, creating challenges in proper asset identification, tracking and accountability.

4. Absence of an Assets Register

The facility did not have an assets register, although delivery notes were available to support confirmation of the assets supplied.

5. Inadequate Staffing

The facility has inadequate staffing levels, which may affect the effective utilisation of available resources and the delivery of services.

6. Inadequate Water Supply

The facility has inadequate water supply due to a non-performing water pump, affecting the availability of water required for normal facility operations and service delivery.

7. Incomplete Land Title Processing

The processing of the land title has not been completed, creating a gap in formal documentation and ownership of the facility land.

Recommendations

• The District Local Government should strengthen the power supply, including consideration of a reliable alternative power source, to facilitate the effective functioning and utilisation of all electronic assets.

• The District Local Government should arrange for the assessment and repair or replacement of the non-functional wheelchairs to ensure they are available for effective patient use.

• The District Local Government should ensure that all assets are properly engraved and labelled to strengthen asset identification, tracking and accountability.

• The District Local Government should ensure that a comprehensive assets register is established and maintained, using the available delivery notes to support proper recording and accountability of the assets supplied.

• The District Local Government should address the staffing gaps by providing adequate staffing levels to support effective service delivery.

• The District Local Government should prioritise repair or replacement of the non-performing water pump to improve the reliability and adequacy of water supply at the facility.

• The District Local Government should expedite the completion of the land title processing to ensure proper documentation and formalisation of ownership of the facility land.

• The District Local Government should repair or replace the damaged steel lockable cupboard and address the missing mirror/glass component.

• The District Local Government should service the delivery bed with oil leakage and confirm both delivery beds are fully functional.

• The facility should be provided with the required regulators for the oxygen therapy apparatus to ensure the equipment is complete and usable.

Overall Assessment

The verification exercise at Kijuna HC III identified key gaps relating to power supply, functionality of assets, asset management, staffing, water supply and land documentation. Addressing these concerns will strengthen asset accountability, improve the utilisation of available resources and enhance the overall quality and effectiveness of service delivery at the facility.

Supporting delivery notes, contract/related-services schedules, the Goods Received Note and the maintenance job card were reviewed and incorporated into the health-centre asset checklist. Where the attached evidence did not provide an asset number, tag number, purchase cost or purchase date, the field has been left blank rather than estimated.