ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | WESTERN |
| --- | --- |
| SUB-REGION: | TOORO |
| Name of Local Government | KYENJONJO |
| VERIFIER PARTICULARS |  |
| Full name | JALIYAH BALUUBU |
| Contact/ email and Telephone | Jaliahb45@gmail.com 0794775877 |
| Supervisor/ Sub team leader |  |
| Name | Prof: MBONIGABA DEPAUL |
| Contact | 0788483159 |
| Date of submission | 06/09/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: KIGOYER HEALTH CENTRE III

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The facility has a dedicated budget for repairs/replacements through its professional contacts and the incharge sometimes pays privately.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? | YES |
| --- | --- | --- |

The facility provided a register of all items that were delivered although most of them were still in storage due to lack of enough staff and knowledge on how to operate them

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The incharge expressed gratitude to the UGIFT program for reaching out to provide the most crucial equipment that has helped the health workers to perform their duties diligently.

The incharge said that the program should offer training sessions on how to use the assets so as to facilitate the full usage of the assets.

The incharge said that the assets provided health workers lack knowledge on how to use them.

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health centre checklist

NAME OF LG   KYENJONJO

NAME OF HEALTH FACILITY  KIGOYERA HEALTH CENTER III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | Health |  | White in color with a screen and a plastic frame |  | Not engraved |  | 13,10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | White in color with a screen and a plastic frame |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| B.P. Machine (Aneroid wall mounted) | Health |  | Navy blue, has a bulb and tubing, has a black pulse rate connected on an arm cuff on a holder |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Navy blue, has a bulb and tubing. |  | Not engraved |  | 13,10.21 |  |  |  |  |  | Functional | In use |
| Autoclave 20 Liters.,Duo Operated | Health |  | Cylindrical drum made of stainless steel with a heavy cover with black pressure valves. MS-151 |  |  |  | 17.10.21 |  |  |  |  |  | Functional | Manually in use |
|  | Health |  | Cylindrical drum made of stainless with a heavy cover with black pressure valves |  |  |  | 17.10.21 |  |  |  |  |  | Not functional and still in store | Not in use due to electricity issues. |
| Auto clave charcoal | Health |  | A non electric fired pressure steam sterilizer |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Bowl, Kick |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bowl Stand | Health |  | A double bowl stainless steel device |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A double bowl stainless steel device |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Cupboard Steel, Lockable | Health |  | 1 rectangular gray double door storage cabinet locking steel handles and shelves inside |  | KDG/HCIII/002 |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 rectangular gray double door storage cabinet, locking steel handles and shelves inside |  | KDG/HCIII/001 |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Drip Stand | Health |  | A medical device used to hold and support bottles or bags of fluids, medication, blood products during patient care |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A medical device used to hold and support bottles or bags of fluids. |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A medical device used to hold and support bottles or bags of fluids |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A medical device used to hold bags of fluids. |  | Notb engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A medical tool used to hold and support bags and bottles of fluids |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A medical tool used to hold and support bags and bottles of fluids |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A medical tool used to hold and support bags and bottles of fluids |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| ESR Stand | Health |  | A tool used to hold blood collection tubes completely vertical during a sed rate test |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Not yet functional | Still in store |
| Examination Couch | Health |  | 1 black padded bed with a stainless steel stands which is raisable |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 black padded bed with stainless steel stand and raisable |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 black padded bed with stainless steel stand and raisable |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Examination light,LED | Health |  | 1 specialized medical light that provides bright, focused and cool illumination for patient check up and minor surgeries. KS-Q6 |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 specialized medical light that provides bright, focused and cool illumination for patient check up and minor procedures. KS-Q6 |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 specialized medical light that provides bright, focused and cool illumination for patient check up and minor surgeries. KS-Q6 |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Glucometer | Health |  | Hand held electronic device with a small screen, a slot where you insert a test trip and button for control |  | Not engraved |  | 22.06.21 |  |  |  |  |  | functional but not operating | Still in store |
|  | Health |  | Hand held electronic device with a small screen where you insert a test trip and button for control |  | Not engraved |  | 22.06.21 |  |  |  |  |  | functional but not operating | Still in store |
| Haemoglobin Meter, Digital | Health |  | 1 small portable electronic device used to measure the concentration of haemoglobin | 24.04.22 | Not engraved |  | 13.10.21 |  |  |  |  |  | Not yet functional | Still in store |
|  | Health |  | 1 small portable electronic device used to measure the concentration of haemoglobin | 24.04.22 | Not engraved |  | 13.10.21 |  |  |  |  |  | Not yet functional | Still in store |
| Height Meter | Health |  | 1 long ruler like height measuring board. |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Instrument Trolley | Health |  | Stainless steel instrument with two shelves |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Stainless steel with two shelves |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Stainless steel with two shelves |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Microscope Binocular | Health |  | 1 olympus microscope LE-052 |  | MOH-GF-NMCP-NF-M3-MISC-332 |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Otoscope |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Health |  | 1 patient blue with white stands F-35 |  |  |  | 20.07.23 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 patient blue with White stands F-35 |  |  |  | 20.07.23 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 patient blue with white stands F-35 |  |  |  | 20.07.2023 |  |  |  |  |  | Functional | In use |
| Patient Trolley | Health |  | Stainless steel stands padded with a black bed |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Stainless steel stands padded with a black bed |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Refrigerator, Basic | Health |  | One cream like refrigerator. LE-273 |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Stethoscope | Health |  | A stainless steel rod padded with a black cot used to listen to internal sounds of human |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A stainless steel padded with a black rod used to listen to internal sounds |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A stainless steel padded with a black cot used to listen to internal sounds |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A stainless steel with a black padded rod used to listen to internal sounds |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Stop Watch | Health |  | One digital timer. LE-256 |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | Still in store |
| Stretcher | Health |  | I stainless steel with adjustable height. |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In use |
| Stove, Gas | Health |  | Stove gas |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Stove gas |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Weighing Scale with Height Meter, Adult | Health |  | Heavy duty steel platform, aluminum height rod, rubber mat |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Weighing Scale, Infant | Health |  | Bowl/tray type battery operated scale |  |  |  | 13.10.2021 |  |  |  |  |  | Functional but not operational | In store |
|  | Health |  | Bowl/tray type battery operated scale |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In store |
| Weighing Scale, Toddler | Health |  |  |  |  |  | 13.10.2121 |  |  |  |  |  | Functional | In use |
| Wheel Chair | Health |  | 1 black wheel chair with stainless stands |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | I black wheel chair with stainless steel stands |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
| Audio Visual Equipment | Health |  | 1 audio visual tool that helps people learn by using both hearing and seeing at the same time. |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional but not operational | In store |
| Medical Waste Bin | Health |  | Plastic, brown and yellow with covers |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In good shape and in use |
|  | Health |  | Plastic, brown and yellow with covers |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In good shape and in use |
|  | Health |  | Plastic, brown and yellow with covers |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In a good shape and in use |
|  | Health |  | Plastic, brown and yellow with covers |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In a good shape and in use |
|  | Health |  | Plastic, brown and yellow with covers |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In a good shape and in use |
|  | Health |  | Plastic, brown and yellow with covers |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In a good shape and in use |
| Wall Clock | Health |  | A round clock operating on batteries |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A round clock operating on batteries |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Diagnostic Equipment Set for MCH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | Health |  | I group of non-sterile instruments and devices in the OPD examination room |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | functional | In good shape |
|  | Health |  | 1 group of non-sterile instruments and devices in the OPD examination room |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
| Glassware Set, Laboratory, Basic | Health |  | A set of glass apparatus used in the laboratory. MIS-129 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional but not yet operational | Still in store |
|  | Health |  | A set of glass apparatus used in the laboratory. MIS-129 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional but not yet operational | Still in store |
| Hollow Ware Set, Treatment | Health |  | A set of stainless steel equipment. MIS-122 |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In store |
| Instrument Set, Dressing | Health |  | Stainless steel containing all equipment |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | Stainless steel containing all equipment |  | Not yet engraved |  | 13.10.2021 |  |  |  |  |  | functional | In good shape |
| Instrument Set, Basic ENT | Health |  | 1 set of stainless instrument, auto clavable stainless steel |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
| Instrument Set, Suture | Health |  | 1 small set of ready packed sterilized instruments for stitching or surgical incision. MIS-125 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | 1 small set of ready packed sterilized instruments for stitching or surgical incision. MIS-125 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
| Pulse Oximeter, Hand held | Health |  | 1 small painless medical device that clips onto the finger to measure the amount of oxygen in blood |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 small painless medical device that clips onto the finger to measure the amount of oxygen in blood |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Bed, Adult Patient with Mattress | Health |  | 1 pair of a metallic bed with a black padded mattress1 pair of a metallic bed with a black padded mattress |  | I |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape and in use |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape and in use. |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape and in use |
|  | Health |  | 1 pair of a metallic bed with a black padded bed |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape and in use |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | Already in use |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | Already in use |
|  | Health |  | 1 pair of a metallic bed with a black padded mattress |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | Already in use |
| Bed, Pediatric Patient, With Mattress | Health |  | Black mattress side rails, pink and blue, gray with a drip stand |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | Black mattress, side rails pink and blue, grey with a drip stand |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | Black mattress side rails pink, blue, gray with a drip stand |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | Black matress side rails pink, blue, gray with a drip stand |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | Black mattress side rails pink, blue, gray with a drip stand |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
| Bedside Locker | Health |  | A compact multi compartment storage cabinet placed next to a bed |  |  |  | 13.10.21 |  |  |  |  |  | Functional | Needs re-varnishing |
|  | Health |  | A compact multi compartment storage cabinet placed next to the bed |  |  |  | 13.10.21 |  |  |  |  |  | Functional | Needs re-varnishing |
| Cupboard, Instrument | Health |  | 1 Gray steel with shelves inside |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In use and good shape |
|  | Health |  | 1 gray steel with shelves inside |  | I |  | 13.10.2021 |  |  |  |  |  | Functional | In use and in good shape |
| Delivery Bed, Hydraulic Manual | Health |  | I blue padded surface, washable delivery hydraulic bed. MT 400 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape and in use |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Health |  | Oxygen gas cylinder |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Oxygen gas cylinder |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Resuscitator Manual, Infant, with all Mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Resuscitator Manual, Adult, with all mask sizes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Suction Apparatus, (Electric) | Health |  | A medical device with two jars, suction tubing, foot pedal |  | KGD/HCIII/002 |  | 13.10.21 |  |  |  |  |  | Functional | In good shape |
| Suction catheters | Health |  | A thin flexible tube used to clear mucus, blood, and fluids from a patient’s airway |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In store |
| Nebulizer, Ultrasonic | Health |  | Has mask, mouth piece, air tubing medication caps |  |  |  |  |  |  |  |  |  | Functioning but still in store | Still in store |
| Oxygen Concentrator, Duo Flow | Health | 20210722263 | 1 white electronic machine that takes in normal room air and delivers pure oxygen. AB055 |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
| Bench | Health |  | A long wooden varnished bench |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A long wooden varnished bench |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A long wooden varnished bench |  |  |  | 13.10/21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A long wooden varnished bench |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Disinfection Buckets | Health |  | Stainless steel container like with covers |  |  |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health |  | Stainless steel container like with covers |  |  |  | 13.10.2-021 |  |  |  |  |  | Functional | In good shape |
| Baby Cot | Health |  | Rectangular small bed for infants of steel frame with drop sides, a mattress and wheels |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | Functional |
|  | Health |  | Rectangular small bed for infants of steel frame with drop sides, a mattress and wheels |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In store |
|  | Health |  | Rectangular small bed for infants of steel frame with drop sides, a mattress and wheels |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | Functional |
|  |  |  | Rectangular small bed for infants with steel frame with drop sides, mattress and wheels |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | Functional |
| Diagnostic Equipment Set for Ward | Health |  | 1 set of instruments used for basic examinations kept together in the ward for routine patient assessment. MIS. 121 | 31.03.2024 | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | Received a total of 5 sets in good shape |
|  | Health |  | 1 set of instruments used for basic examinations kept together in the ward for routine patient assessment. MIS.121 | 31.03.2024 | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
| Instrument Set, Delivery | Health |  | 1 set of a already sterilized of instruments packed for conducting a normal vaginal delivery and caring for the newborn cord |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | functional | In good shape and already in use |
| Hollow Ware Set, Ward | Health |  | 1 set of stainless steel containers including bowls, trays, used for carrying, holding and disposing of materials during procedures. MS-123 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape and in shape |
|  | Health |  | 1 set of already sterilized instruments packed for conducting a normal vaginal delivery and caring for the newborn cord |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional |  |
|  | Health |  | 1 set of already sterilized instruments packed for conducting a normal vaginal delivery and caring for a newborn cord |  | Not engraved |  | 13.10.2021 |  |  |  |  |  |  |  |
| Instrument Set, Stitch Removing | Health | 1C218AS0000191 | 1 small light scissors made of stainless steel. MIS-126 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In goog shape |
|  | Health | 1C218AS0000191 | 1 small light scissors made of stainless steel. MIS-126 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health | 1C218AS0000191 | 1 small light scissors made of stainless steel. MIS-126 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | Functional | In good shape |
|  | Health | 1C218AS0000191 | 1 small light scissors made of stainless steel. MIS-126 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | functional | In good shape |
| MVA Kit | Health |  | Not applicable |  | Not applicable |  |  |  |  |  |  |  | Not applicable | Never recieved |
| Stool, Laboratory | Health |  | A black high end height adjustable stool. MF-671 |  | Not engraved |  |  |  |  |  |  |  | Functional | Functional |
| Penguin Sucker | Health |  | I white penguin like shaped reusable suction used to clear mucus/fluids and secretions from a newborns’ nose and mouth | 31.03.2024 | Not engraved |  | 13.10.2021 |  | 55,200 |  | 165,600 |  | functional but not operating | Still in store |
|  | Health |  | 1 white penguin-like shaped reusable suction used to clear mucus/fluids and secretions from a newborns’ nose and mouth | 31.03.2024 | Not engraved | 13.10.2021 |  |  | 55,200 |  | 165,600 |  | Not operational | In good shape but still in store |
|  | Health |  | 1 white penguin like shaped reusable suction used to clear mucus/fluids from the newborns’ nose and mouth | 31.03.2024 | Not engraved | 13.10.2021 |  |  | 55,200 |  | 165,600 |  | Functional | Functional |
| Fetoscope, Dopplar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bubble CPAP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | Health |  | 1 bench top centrifuge used for separation of blood components |  |  |  | 13.10.2-021 |  |  |  |  |  | Functional | In good shape but still in store |
| Kangaroo Mother Care Chair | Health |  | 1 low, reclinable arm chair that allows comfortable sitting for mothers while holding their babies |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | functional | In good shape |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haemoglobin Meter, Sahli | Health |  | 1 hemoglobin meter mission plus. LH-270 |  | Not engraved |  | 13.10.2021 |  |  |  |  |  | functional | Not in use yet, still in storage |
|  | Health |  | I hemoglobin meter mission plus. LH-270 |  | Not engraved. |  | 13.10.2021 |  |  |  |  |  | Not functional | Not in use yet. Still in store |
| Delivery Bed | Health |  | A specialized medical bed designed to support a mother safely through all the stages of labor |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Not functional | In good shape but not yet in use. |
| Examination light |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument set, ENT Basic for HCIII | Health |  | 1 set of basic instruments used for basic examinations MIS-127 |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In good shape |
| Fire extinguisher | Health |  | A portable safety device in a bright red metal cylinder |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
|  | Health |  | A portable safety device in a bright red metal cylinder |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |
| Bag Valve mask (Ambu Bag), Neonatal | Health |  | 1 Ambu bag silicone kit for infants. AB065 |  | Not engraved |  | 13.10..2021 |  |  |  |  |  | Never recievedl | Never recieved |
| Double basin | Health |  | Two separate compartments with high temperature tolerance to handle sanitization |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Two separate compartments with high temperature tolerance to handle sanitization |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | Two separate compartments with high temperature tolerance to handle sanitization |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Megaphones | Health |  | A portable cone shaped device used to make the human voice louder |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Megaphones | Health |  | A portable cone shaped device used to make the human voice louder and direct |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A portable cone shaped device used to make the human voice louder |  | Not engraved |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Office Chair |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Health |  | 1 wooden varnished chair |  | BCM/SNW/KIGOY/F/002 |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 wooden varnished chair |  | BCM/SNW/KIGOY/F/034 |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 wooden varnished chair |  | BCM/SNW/KIGOY/F/028 |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | 1 wooden varnished chair. OT. 65 |  | BCM/SNW/KIGOY/F/038 |  | 13.10.21 |  |  |  |  |  | Functioning and engraved | In good shape and in use |
|  | Health |  | 1 wooden varnished chair. OT.65 |  | BCM/SNW/KIGOY/F/025 |  | 13.10.21 |  |  |  |  |  | functioning | In good shape and in use |
|  | Health |  | 1 wooden varnished chair. OT.65 |  | BCM/SNW/KIGOY/F/010 |  | 13.10.21 |  |  |  |  |  | functioning | In good shape and in use |
|  | Health |  | 1wooden varnished chair. OT.65 |  | BCM/SNW/KIGOY/F/035 |  | 13.10.21 |  |  |  |  |  | functioning | In good shape and in use |
| Desk | Health |  | 1 wooden varnished long desk. OT.66 |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In good shape and already in use |
|  | Health |  | 1 wooden varnished long desk. OT.66 |  |  |  | 13.10.21 |  |  |  |  |  | functional | In good shape and in use |
|  | Health |  | 1 wooden varnished desk. |  |  |  | 13.10.21 |  |  |  |  |  | Functioning | In good shape |
|  | Health |  | 1 wooden varnished desk. |  |  |  | 13.10.21 |  |  |  |  |  | Functioning | In good shape and already in use |
| Filing Cabinet | Health |  | A cupboard like furniture with shelves used for storage. |  | I |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A cupboard like furniture with shelves used for storage. |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A cupboard like tool with shelves used for storage. |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A cupboard like tool with drawers used for storage. |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
|  | Health |  | A cupboard like tool with drawers used for storage. |  |  |  | 13.10.21 |  |  |  |  |  | Functional | In use |
| Non Residential Buildings | Health |  | 1 maternity ward with 1 block of 14 rooms |  |  |  |  |  |  |  |  |  | functional | In use |
|  | Health |  | I renovated opd block |  |  |  |  |  |  |  |  |  | Renovation complete | In use |
|  | Health |  | Toilets of I block of 8 stances with a bathroom |  |  |  |  |  |  |  |  |  | Functional | In use |
| Residential Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water tanks | Health |  | Black water tank of 3000ltr |  | Not engraved |  |  |  |  |  |  |  | functional | In use |
|  | Health |  | Black water tank of 10000ltrs |  | Not engraved |  |  |  |  |  |  |  | unctional | In use |
| Solar | Health |  | Solar panel |  | Not engraved |  |  |  |  |  |  |  | Functional | In use |

Oxygen gas cylinders with chairs

Wheel chair and fire extinguisher

Cupboard

Filing cabinet

m

Maternity ward

Television

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school:   KYEMBOGO SEED SECONDARY SECONDARY SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | yes |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift |
| --- | --- |

The school has a budget in their financial year school budget that was allocated to only maintaining and repairing the UGIFT assets in case of any damage.

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | Not fully |
| --- | --- | --- |

Out of 28 computers that were given to the school, 18 of them were stolen and there was no proper documentation from the police and other responsible authorities to prove the thefty claim.

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. |  |
| --- | --- | --- |

The headmaster appreciated the UGIFT program for promoting sciences and computer subjects following the construction of the

Laboratory and computer teaching facility in their community.

He said that the 18 out of 28 computers that were given to them by the program were stolen.

He recommended that there should be security measures to ensure the safety of these assets like CCTvs

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of SCHOOL  BUKUUKU COMMUNITY SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School desks | Education |  | Wooden varnished desks |  | KYESS KYESS KYESS KYESS | l |  |  |  |  |  |  | Functioning and in good shape | The school received 120 engraved desks, all in good shape |
| School chairs | Education |  | Cushioned chairs |  | KYESS KYESS KYESS KYESS |  |  |  |  |  |  |  | Functional. | The school received 20 chairs in good shape and already in use. |
| School chairs | Education |  | Non-cushioned chairs |  | KYESS KYESS KYESS KYESS |  |  |  |  |  |  |  | Functional | Received 267 well engraved and good in shape chairs. |
| School stools | Education |  | Well varnished stools |  | KYESS KYESS KYESS |  |  |  |  |  |  |  | Functional | The school received 265 already engraved stools ready to use. |
| Lockable shelves | Education |  | Rectangular well varnished wooden with shelves inside |  | KYESS KYESS KYESS KYESS |  |  |  |  |  |  |  | Functional | The school received a total of 26 lockable shelves in good shape |
| School tables | Education |  | Well varnished wooden tables |  | KYESS KYESS KYESS KYESS |  |  |  |  |  |  |  | Functional | Received a total of 81 engraved tables in good shape and already in use |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG              KYENJONJO

Name of SCHOOL    KYEMBOGO SEED SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Computers and accessories | Education |  | Fully eguipped del computers |  | Not engraved |  |  |  |  |  |  |  | Functional | Received fully equipped 28 computers |
| Multi purpose printer | Education |  | Fully equipped printer |  | KYESS |  |  |  |  |  |  |  | Functional | Received a fully functioning printer. |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG                  FORT PORTAL CITY

Name of SCHOOL        BUKUUKU COMMUNITY SECONDARY SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Borehole | education |  | A well built borehole to ease water supply |  | KYESS |  |  |  |  |  |  |  | functional | In good shape and in use |
| Staff toilets | Education |  | Well built 1 block of 2 stances and a bathroom |  |  |  |  |  |  |  |  |  | functional | Fully functioning and in good shape |
| Staff quarters | Education |  | 3 blocks of two units of two rooms |  |  |  |  |  |  |  |  |  | Functioning | Construction still in progress |
| Student toilets | Education |  | 2 blocks of respective gender boys and girls of 5 stances with a dressing room on the girls’ block |  |  |  |  |  |  |  |  |  | Fully functioning | Good shape and already in use |
| Kitchen | Education |  | 2 blocks of 2 rooms |  |  |  |  |  |  |  |  |  | Functional | In use |
| Student Laboratory | Education |  | I block of 2 rooms |  |  |  |  |  |  |  |  |  | Functional l | In use |
| Computer lab | education |  | I block of 2 rooms with a library |  |  |  |  |  |  |  |  |  | Functional | In use |
| Multi purpose hall | Education |  | I block of 2 entrances |  |  |  |  |  |  |  |  |  | Functional | In use |
| Staff quarters toilets | Education |  | 2 blocks of two stances and a bathroom |  |  |  |  |  |  |  |  |  | Functional | In use |
| Staff quarters kitchen | Education |  | 3 blocks of 2 units |  |  |  |  |  |  |  |  |  | Functional | In use |
| classrooms | Education |  | 3 blocks of two classes |  |  |  |  |  |  |  |  |  | Functional | In use |