MAKOKOTO HEALTH CENTRE III

MAJOR CONCERNS, CHALLENGES AND RECOMMENDATIONS

| No. | Challenge / Concern | Recommended Action | Priority |
| --- | --- | --- | --- |
| 1 | Inadequate Water Supply | Provide a reliable and sustainable water source and adequate water storage so that essential Health Centre operations are not dependent solely on rainfall. | High |
| 2 | No Assets Register | Establish and maintain a standard assets register capturing asset description, quantity, asset/tag number, location, condition, acquisition/delivery details and responsible custodian. Update it whenever assets are received, moved, repaired or disposed of. | High |
| 3 | All Assets NOT Engraved | Permanently engrave or otherwise mark applicable assets with unique identification numbers and link those numbers to the assets register. | High |
| 4 | No Clear Identification of Rightful Assets | Clearly label assets belonging to Makokoto Health Centre III and distinguish them from assets belonging to other facilities or programmes. Record location and custody details in the assets register. | High |
| 5 | High Costs of Maintaining Assets | Strengthen preventive maintenance and routine servicing, keep repair/service records, identify faults early and plan maintenance expenditure in advance. | Medium |
| 6 | Government Payments/Funding Comes Late | Improve the timeliness and predictability of funding and payment flows, with clear communication on expected timelines and prioritisation of essential operational requirements during delays. | High |

Detailed Management Response

1. Inadequate Water Supply

Challenge: The Health Centre relies only on rain water, resulting in an inadequate and unreliable water supply.

Recommended action: Provide a reliable and sustainable water source and adequate water storage so that essential Health Centre operations are not dependent solely on rainfall.

Priority: High

2. No Assets Register

Challenge: The Health Centre does not have an assets register for recording and managing the assets provided.

Recommended action: Establish and maintain a standard assets register capturing asset description, quantity, asset/tag number, location, condition, acquisition/delivery details and responsible custodian. Update it whenever assets are received, moved, repaired or disposed of.

Priority: High

3. All Assets NOT Engraved

Challenge: All assets are not engraved, making physical identification and verification difficult.

Recommended action: Permanently engrave or otherwise mark applicable assets with unique identification numbers and link those numbers to the assets register.

Priority: High

4. No Clear Identification of Rightful Assets

Challenge: There is no clear identification of the rightful assets, and separation of assets is not easy.

Recommended action: Clearly label assets belonging to Makokoto Health Centre III and distinguish them from assets belonging to other facilities or programmes. Record location and custody details in the assets register.

Priority: High

5. High Costs of Maintaining Assets

Challenge: The cost of maintaining the assets is high and may affect their continued functionality.

Recommended action: Strengthen preventive maintenance and routine servicing, keep repair/service records, identify faults early and plan maintenance expenditure in advance.

Priority: Medium

6. Government Payments/Funding Comes Late

Challenge: Government payments and funding come late, which can constrain timely response to operational and maintenance needs.

Recommended action: Improve the timeliness and predictability of funding and payment flows, with clear communication on expected timelines and prioritisation of essential operational requirements during delays.

Priority: High

Overall Recommendation: Priority should be given to reliable water supply, asset accountability and identification, followed by strengthened maintenance planning and timely funding. These measures will improve control, traceability and sustainability of the Health Centre assets.