ASSET VERIFICATION AND RECORDING TOOL KIT

Plot 31, Bukoto Street

P.O Box 7657, Kampala, Uganda
+256 (0) 39 2000216/0772525235
email: cpa@cpa.ug

# www.cpa.com

August to September 2026

VERIFICATION DETAILS

| NAME OF THE REGION: | CENTRAL |
| --- | --- |
| SUB-REGION: | BUGANDA |
| Name of Local Government | Kasanda District Local Government |
|  | Kasanda District Local Government |
| VERIFIER PARTICULARS |  |
| Full name | Ali Kasule – Nakandi Aidah |
| Contact/ email and Telephone | 0758399112 – aalikasule@gmail.com 0703266299 – nakandiaidah6@gmail.com |
| Supervisor/ Sub team leader | DePaul Mbonigaba Rukara |
| Name | DePaul Mbonigaba Rukara |
| Contact | +256 788 483159 |
| Date of submission | 28/08/2026 |

HEALTH CENTRES

INFORMANT INTERVIEW/DISCUSSION GUIDE (INCHARGE OR RESPONSIBLE PERSON)

Name of Health Centre: _____________________

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yess the facility had a delivery note from the supplier but lacked proper assets register that has standard detailed points like serial numbers, Tag numbers. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift - There is no known system used to maintain the assets at the facility and all the worn out and Brocken down assets are put aside to wait for their superiors to guide them on next steps. |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? |  |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT Support: UgIFT has improved service delivery through provision of essential medical equipment, supporting diagnosis, treatment, maternity and other health services. Issues/Challenges: The main challenges are inadequate water supply, lack of an assets register, unengraved assets, difficulty identifying assets, high maintenance costs and delays in government funding. Recommendations: Provide a reliable water source, strengthen asset management and tagging, improve maintenance planning, and ensure timely and predictable release of government funds. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

Health center checklist

NAME OF LG: KASANDA  DISTRICT LOCAL GOVERNMENT     NAME OF HEALTH FACILITY:  MAKOKOTO HC III HEALTH CENTRE III

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Purchase | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B.P. Machine, Digital | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine (Aneroid wall mounted) | OPD -1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Autoclave 20 Liters., Duo Operated | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1– required 1 |  |  |
| Bowl, Kick | Maternity - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Bowl Stand | Maternity - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2– required 2 |  |  |
| Counting chamber Neubauer- Improved | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cupboard Steel, Lockable | Laboratory - 4 |  |  |  |  |  |  |  |  |  |  |  |  | Supplied 4 Pc s while required were 4 |  |  |
| Drip Stand | General ward - 5 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -5 – required 5 |  |  |
| ESR Stand | Laboratory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Examination Couch | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Examination light, LED | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glucometer | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Hemoglobin Meter, Digital | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Height Meter | OPD - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Instrument Trolley | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Microscope Binocular | Laboratory - 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Otoscope | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient Screen | Maternity - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Patient Trolley | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Refrigerator, Basic | Laboratory - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Stethoscope | OPD-4 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -4 – required 4 |  |  |
| Stop Watch | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stretcher | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stove, Gas | OPD-1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Weighing Scale with Height Meter, Adult | OPD-1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Weighing Scale, Infant | MCH / Child Health -1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Weighing Scale, Toddler | MCH / Child Health |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wheel Chair | OPD -3 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -3 – required 3 |  |  |
| Audio Visual Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Medical Waste Bin | OPD -10 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -10 – required 10 |  |  |
| Wall Clock | General / Facility - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Diagnostic Equipment Set for MCH | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Equipment Set for OPD | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glassware Set, Laboratory, Basic | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hollow Ware Set, Treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Dressing | OPD -2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 2 |  |  |
| Instrument Set, Basic ENT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instrument Set, Suture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pulse Oximeter, Hand held | OPD -2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Bed, Adult Patient with Mattress | Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Patient with Mattress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bed, Pediatric Patient, With Mattress | General ward -4 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -4 – required 4 |  |  |
| Bedside Locker | General ward -10 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -10 – required 10 |  |  |
| Cupboard, Instrument | General ward 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Delivery Bed, Hydraulic Manual | Maternity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen Therapy Apparatus, Mininum 45L cylinder | Maternity / Ward -2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Resuscitator Manual, Infant, with all Mask sizes | OPD -1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Resuscitator Manual, Adult, with all mask sizes | OPD -1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -1 – required 1 |  |  |
| Suction Apparatus, (Electric) | Maternity / Ward 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nebulizer, Ultrasonic | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -01– required 1 |  |  |
| Oxygen Concentrator, Duo Flow | Maternity / Ward |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bench | OPD / Waiting Area - 4 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -4 – required 4 |  |  |
| Disinfection Buckets | OPD -2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Baby Cot | OPD - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -0 – required 2 |  |  |
| Diagnostic Equipment Set for Ward | OPD -2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Hollow Ware Set, Ward | OPD -2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -02– required 2 |  |  |
| Instrument Set, Delivery | Instrument Sets -2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed -2 – required 2 |  |  |
| Instrument Set, Stitch Removing | OPD -3 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 3 but required were 3 |  |  |
| MVA Kit | OPD - 3 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 3 but required were 3 |  |  |
| Stool, Laboratory | LAB |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penguin Sucker | Maternity / Neonata - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 1 but required were 1 |  |  |
| Fetoscope, Dopplar | Maternity - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 2 but required were 2 |  |  |
| Bubble CPAP | Maternity / Neonata |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Centrifuge (Electric) | OPD -1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 1 but required were 1 |  |  |
| Kangaroo Mother Care Chair | Maternity / Neonata - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 1 but required were 1 |  |  |
| Radiant Infant Warmer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hemoglobin Meter, Sahli |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Delivery Bed | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 1 but required were 1 |  |  |
| Examination light | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 0 but required were 1 |  |  |
| Instrument set, ENT Basic for HCIII |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bag Valve mask (Ambu Bag), Neonatal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Incubator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Office Chair | OPD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Desk | OPD-3 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 3 but required were 3 |  |  |
| Filing Cabinet | OPD - 4 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 4 but required were 4 |  |  |
| Non-Residential Buildings | HEALTH CENTER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Residential Buildings | STAFF QUATER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B.P. Machine aneroid | Maternity / Ward - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Observed 2 but required were 2 |  |  |
| Stool, Surgeon | Maternity / Ward -1 |  |  |  |  |  |  |  |  |  |  |  |  | 1 - Suplied |  |  |
| Suction Apparatus, foot | Maternity / Ward - 0 |  |  |  |  |  |  |  |  |  |  |  |  | Required 1 but observed nill |  |  |
| Flow splitters | Maternity / Ward - 2 |  |  |  |  |  |  |  |  |  |  |  |  | Required 2 but observed 2 |  |  |
| Oxygen Concentrators | Maternity / Ward - 1 |  |  |  |  |  |  |  |  |  |  |  |  | Observe 1-required 1 |  |  |

SCHOOL VERIFICATION CHECKLIST

SCHOOL INTERVIEW/DISCUSSION GUIDE

Name of school: MAKOKOTO SEED SCHOOL

| 1a | Does the Facility have a record of all assets provided under UgIFT. (Obtain a record and verify if it has the costs and numbers supplied | Yess the facility had a delivery note from the supplier but lacked proper assets register that has standard detailed points like serial numbers, Tag numbers. |
| --- | --- | --- |
| 1b | If Not ask how many were supplied and when. |  |

| 2 | How does this facility Maintain (repair/service/replace) the assets provided under Ugift – (The school maintains the assets provided under UgIFT through routine inspection, proper handling and use by responsible staff. Minor repairs and maintenance are undertaken where possible, while assets requiring major repairs, servicing or replacement are reported to the relevant authorities for guidance and support. Non-functional or damaged assets are identified and set aside pending repair, servicing or replacement. However, the school does not currently have a fully documented preventive maintenance system, and there is a need to strengthen regular maintenance, servicing and asset-condition recording.) |
| --- | --- |

| 3 | Does the facility take regular record about functionality/ or breakdown of the assets provided? Nonfunctional/ working, and reasons for non-functionality. | The school does not currently have a fully documented functionality and breakdown of assets working and nonfunctional there is a need to strengthen regular maintenance, servicing and asset-condition recording. |
| --- | --- | --- |

| 4 | How has the UgIFT support helped in service delivery in the area, any issues, challenges and any recommendations for better program implementation. | UgIFT support has improved the learning environment at Makokoto Seed School by providing essential infrastructure, furniture and ICT facilities, which have enhanced teaching and learning. Challenges include maintenance of some assets and limited resources for repairs. It is recommended that regular maintenance, timely repairs and continued support be strengthened to ensure sustainability of the investments. |
| --- | --- | --- |

PROCEED TO VERIFICATION AFTER THIS DISCUSSION

SCHOOL FURNITURE

(School Desks, Office chairs, Laboratory stools, Book shelves)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL – MAKOKOTO SEED SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number (engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WOODEN CHAIRS |  |  |  |  |  |  |  |  |  |  |  |  |  | ALL FUNCTIONAL |
| 266 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SOFT CHAIRS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STOOLS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | ALL FUNCTIONAL |
| 125 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SMALL TABLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CLASSROOM TABLES |  |  |  |  |  |  |  |  |  |  |  |  |  | ALL FUNCTIONAL |
| 121 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DESKS |  |  |  |  |  |  |  |  |  |  |  |  |  | ALL FUNCTIONAL |
| 102 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SMALL 0.6/1.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 0.83/1.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 0.8/1.8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 0.7/1.45 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TABLE WITH DRAWERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BOOK SHELVES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ICT ITEMS TO VERIFY

(Desktop Computer, Server Processor, Network Switch 24 Port, Multipurpose Printer, UPS, Projector, Air Conditioners, Server, CCTV Camera)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL MAKOKOTO SEED SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DESKTOP COMPUTERS |  |  |  |  |  |  |  |  |  |  |  |  |  | ALL FUNCTIONAL |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MONITORS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| KEY BOARDS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MICE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ROUTER |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NETWORK SWITCH |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VIDEO RECORDER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AIR CONDITONER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PROJECTOR |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PRINTER |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SERVER COMPUTER |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PATCH PANNEL |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CCTV CAMERA |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IP DEMO CAMERA |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| POWER SURGE PROTECTOR |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SERVER UPS |  |  |  |  |  |  |  |  |  |  |  |  |  | FUNCTIONAL |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

BUILDINGS TO VERIFY

(Non- Residential and Residential, Kitchen, Toilets/Pit latrine Water tanks, Fences etc.)

Name of LG KASANDA LOCAL GOVERNMENT Name of SCHOOL MAKOKOTO SEED SCHOOL

| Equipment/ Item | Department | Asset Number | Item Description | Life in Months | Tag Number ( engrave no.) | Date Of Pur | Date Placed In Service | Recoverable cost | Cost | Acc Dep Cost | Net Book Value | Ytd Deprn | Equipment status | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UNIT CLASSROOM BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNIT SCIEINCE BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| ADMIN BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNIT TEACHER’S HOUSE |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UNIT TEACHER’S KITCHEN |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| COMPUTER LAB & LIBRARY BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MULTI – PURPOSE HALL |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STANCE GIRLS LATRINES |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STANCE BOYS’ LATRINES |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| KITCHEN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SECURITY HOUSE & GATE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TEMPORARY FENCE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5000L TANK |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ICT - LIBRAY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MULTI -PURPOSE HALL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SPORTS FIELD |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EXTERNAL WORKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10000L TANK |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3000L TANK |  |  |  |  |  |  |  |  |  |  |  |  |  | IN GOOD CONDITION |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |